## SITE
IWAMZU |  |  |  |  | 2003-03-11
Site Description: |  | Open gravel area inside the WWTP, tree line on the north side of Upper Zone
Lat / Long: 262631.988 / 820637.568 D |  |  | Datum: | NAD - 83
Site Owner: Island Water Assoc. |  |  | U.S.G.S. ID:
Site Contact: Rich Calabrese |  |  | Contact Number: 239-472-2113
Written Directions: |  | From the Sanibel Island Causeway, continue to the four way stop. Turn right
on Periwinkle and follow it until it dead ends into Tarpon Bay Rd. Turn right on Tarpon Bay Rd. and
follow it until it ends on Sanibel-Captiva Rd. The Island Water Assoc. plant is approximately 3
miles west on the left side. 3651 Sanibel-Captiva Rd.
Well Info: | Their VHF frequency is 151.535 They have continous pressure readings for both wells.
There is no District VHF in range, hardline or radio?

## PHOTOS
Photo 1: Sanibel, Shallow monitor well before District instrumentation.
Photo 2: Sanibel, Shallow monitor zone outfitted for instrumentation
Photo 3: IWAMZU, Completed instrumentation 12/02.
Photo 4: IWAMZU, close-up of instrumentation.
Photo 5: IWAMZU, overhead view.

## IWAMZU
Name: | IWAMZU
Lat / Long: 262632.126 / 820640.160 |  |  | Datum: | NAD - 83
Landsurface Elevation ( NGVD): |  |  | Survey Date:
Bench Mark Elevation ( NGVD):
Surveyed Elevation ( NGVD): |  |  | U.S.G.S. ID:
Survey / B.M. ( ) + Measuring point above B.M. ( 1.664' ) = Reference Elevation ( )
Total Depth: |  |  | Casing Depth:
Casing Material: |  |  | Casing Diameter:
Aquifer: | Floridan |  | Well Condition: |  | good
Outfit Date: |  | 11/02
CR-10 Install Date: |  | 12/02
Calibration Date: |  | 2003-01-23
W/Q Sample Date:
Enclosure: none
Parts List: Rittmeyer external transducer ( s/n 203434 )
Comments: The well head was replaced before instrumentation.
Well Photo: |  |  | Well Diagram: