## SITE
IWSDGW | [5 empty] | 2003-03-11
Site Description: Flat, open, maintained grassy area
Lat / Long: 262449.454 / 812550.786 |  |  | Datum: | NAD - 83
Site Owner: S.F.W.M.D. |  |  | USGS ID No. :
Site Contact: Michael Bennett |  |  | Contact Number: |  | 561-682-6822
Written Directions: |  | From the intersection of SR-29 and SR-82, travel south on SR-29 for 4.4
miles into Immokalee. At the big curve of SR-29, turn west onto N. 15th St. and follow it 0.4 miles
south and turn west on White Rd. Take White Rd. 0.1 mile west into the Immokalee Water and
Sewer District property. Follow the road between the holding pools to the western edge of the
property. The IWSD quad-zone well is approximately 30 ft. northwest of the western end of the
pools.
Well Info: | The Immokalee site is a quad-zone monitor well. 3 zones are 2 inch wells with
stainless ball valves. MZ-1 is a 3/4" well. The wells are on a 3' 9 1/2" by 3' 9 1/2" slab.
The casing and paint are in good condition.
The production wells are approxamately 200 ft. east of the monitor wells and are
seperated by 21 ft. IWSD PW-1 is 12 inch well on a 3' 10" square slab with a 3" ball valve and a
6" butterfly valve discharge. IWSD PW-2 is a 12" well with an 8" butterfly valve discharge. It is on
a 3' 11" square slab with a benchmark reading 31.76 ft.

## PHOTOS
Photo 1: IWSD Monitor Well, view to the northwest.
Photo 2: IWSD Monitor Well, view to the south.
Photo 3: View of the production wells from | Photo 4: View of the monitor well from the
the monitor well. | production wells, PW-2 in the foreground
Photo 5: Production Well #2. | Photo 6: Production Well #2, side view.
Photo 7: Production Well #2, top view. | Photo 8: IWSD plant.
Photo 9: IWSD, Site completion 11/27/02
Photo 10: IWSD, view to the north 11/27/02

## IWSD-MZ2 (GW1)
Name: | IWSD-MZ2 ( GW 1 )
Lat / Long: | 262449.454 / 812550.786 |  |  | Datum: | NAD-83
Landsurface Elevation ( NGVD): |  |  |  | Survey Date:
Bench Mark Elevation ( NGVD): |  |  | 31.76'
Surveyed Elevation ( NGVD): |  |  |  | U.S.G.S. ID:
Survey / B.M. ( 31.76' ) + Measuring point above B.M. ( 2.864' ) = Reference Elevation ( 34.624' )
Total Depth: | 1160' |  |  | Casing Depth: | 1065'
Casing Material: |  | Steel |  | Casing Diameter: | 12"
Aquifer: | Middle Floridan |  |  | Well Condition: | good
Outfit Date: | 10/02
CR-10 Install Date: |  | 11/02
Calibration Date: |  | 11/26/02
W/Q Sample Date:
Enclosure: | none
Parts List: | External Rittmeyer transducer
Comments: | AMJ installed D.Y., 11/26/02 No slack in data cables. Logger-net communication.
Well Photo: |  |  |  | Well Diagram:

## IWSD-MZ3 (GW2)
Name: | IWSD-MZ3 ( GW 2 )
Lat / Long: | 262449.454 / 812550.786 |  |  | Datum: | NAD-83
Landsurface Elevation ( NGVD): |  |  |  | Survey Date:
Bench Mark Elevation ( NGVD): |  |  | 31.76'
Surveyed Elevation ( NGVD): |  |  |  | U.S.G.S. ID:
Survey / B.M. ( 31.76' ) + Measuring point above B.M. ( 3.534' ) = Reference Elevation ( 35.294' )
Total Depth: | 1880' |  |  | Casing Depth: | 1720'
Casing Material: |  | Steel |  | Casing Diameter: | 7.625"
Aquifer: | Lower Floridan |  |  | Well Condition: | good
Outfit Date: | 10/02
CR-10 Install Date: |  | 11/02
Calibration Date: |  | 11/26/02
W/Q Sample Date: |  | 1999-04-08
Enclosure: | none
Parts List: | External Rittmeyer transducer
Comments: | AMJ installed D.Y., 11/26/02 No slack in data cables. Logger-net communication.
Well Photo: |  |  |  | Well Diagram: