## SITE
L2GW ( PW1, PW2 ) |  |  |  | 2003-03-11
Site Description: Fenced in, open, grassy field
Lat / Long: 263628.811 / 805657.738 PW1 |  |  | Datum: NAD - 83
Site Owner: S.F.W.M.D. |  |  | U.S.G.S. ID:
Site Contact: Michael Bennett |  |  | Contact Number: 561-682-6822
Written Directions: |  | From the intersection of SR-80 and SR-835, go south on SR-835. The road
will turn west and then south and then west again. Travel 11.6 miles from SR-80 to L-1 Rd. Turn
south on L-I Rd. and proceed 1.0 miles. L2 - TW is in a fenced in field on the east side of the road.
There is a grey gate with a master - master lock on it. L2 - TW is on the north end of the field.
L2 - PW 1 is located east of L2 - PW 2 on the south end of the field. There is a 2" surficial well just
north of the entrance gate.
2002-02-10
2002-02-28
Well Info: | L2-TW is a 4" steel well with a brass gate valve. It is on a 4' 1" by 3' 9" slab with an
elevation of 17.84'. L2-Tw needs painting and grouting at the base. The casing is solid but bubbled.
Posts are needed around the wells. L2-PW1 is a 12" steel well with a 10" gate valve discharge on a
4' square slab. L2-PW2 is a 10" steel well with a 3" ball valve and a 6" butterfly valve discharge
on a 3' 10" square slab. Both production wells are in good condition.

## PHOTOS
Photo 1: L2-PW1 and L2-PW2, view from | Photo 2: View towards L2-TW from L2-PW1
the south.
Photo 3: L2-PW 2 | Photo 4: L2-TW
Photo 5: L2-PW1, outfitted 1/15/02
Photo 6: L2-PW1 and L2-PW2, view from the north.
Photo 7: L2-PW1, close-up of the outfit.
Photo 8: L2-PW2, completed instrumentation.( 2/28/02 )
Photo 9: L2-PW1, completed instrumentation.( 2/28/02 )
Photo 10: L2 site, completed instrumentation.

## L2-TW
Name: | L2-TW
Lat / Long: 263631.402 / 805657.631 (TW) |  |  |  | Datum: NAD - 83
Landsurface Elevation ( NGVD): |  |  |  | Survey Date:
Bench Mark Elevation ( NGVD): |  |  | 17.84'
Surveyed Elevation ( NGVD): |  |  |  | U.S.G.S. ID:
Measuring Point above BM : |  |  | 3.92'
Total Depth: | 1810' |  |  | Casing Depth: | 1400'
Casing Material: |  | Carbon Steel |  | Casing Diameter: | 4"
Aquifer: | Lower Floridan |  |  | Well Condition: | fair
Outfit Date:
CR-10 Install Date:
Calibration Date:
W/Q Sample Date:
Enclosure: | none
Parts List:
Comments: | Not being monitored.
Well Photo: |  |  |  | Well Diagram:

## L2-PW1 (GW1)
Name: | L2-PW1 ( GW 1 )
Lat / Long: 263628.811 / 805657.738 |  |  | Datum: | NAD - 83
Landsurface Elevation ( NGVD): |  |  | Survey Date:
Bench Mark Elevation ( NGVD):
Surveyed Elevation ( NGVD): |  |  | U.S.G.S. ID:
Survey / B.M. ( ) + Measuring point above B.M. ( 5.514' ) = Reference Elevation ( )
Total Depth: |  |  | Casing Depth:
Casing Material: |  | Steel | Casing Diameter:
Aquifer: | Floridan |  | Well Condition: |  | good
Outfit Date: | 2002-01-15
CR-10 Install Date: |  | 2002-02-10
Calibration Date: |  | 2002-02-28
W/Q Sample Date:
Enclosure: | none
Parts List: | External Transducer
Comments: A 2" brass ball valve was added to the top of L2-PW1 on 12 / 01
Well Photo: |  |  | Well Diagram:

## L2-PW2 (GW2)
Name: | L2-PW2 ( GW 2 )
Lat / Long: | 263628.795 / 805657.958 |  | Datum: | NAD - 83
Landsurface Elevation ( NGVD): |  |  | Survey Date:
Bench Mark Elevation ( NGVD):
Surveyed Elevation ( NGVD): |  |  | U.S.G.S. ID:
Survey / B.M. ( ) + Measuring point above B.M. ( 4.874' ) = Reference Elevation ( )
Total Depth: | 1125' |  | Casing Depth: | 810'
Casing Material: |  | Steel | Casing Diameter: | 12"
Aquifer: | Floridan |  | Well Condition: | good
Outfit Date: | 2000-01-15
CR-10 Install Date: |  | 2002-02-10
Calibration Date: |  | 2002-02-28
W/Q Sample Date: |  | 1999-10-26
Enclosure: | none
Parts List: | External Transducer
Comments:
Well Photo: |  |  | Well Diagram: