## Sheet1
Project: | LKB MW Network
Well: | D5C
Test no. | 1
Test conducted on | 2005-09-16
Evaluated by | JV
D (ft) | 225
Kv/Kh | 0.1
L (ft) | 5
H (ft) | 12
r(c) (ft) | 0.17
r(w) (ft) | 0.42
n | 0.2
s(0) (ft)
Static WL (ft btoc)
TD well (ft btoc) | 15 | (below surface)
Surface elev. (ft)
Ft. H20 @ t = max | 10.314
time (sec) | Ft. H20 | s (ft) | time (sec) | s (ft)
0 | 0 | 10.314 | 0 | 10.314
2 | 0 | 10.314 | 2 | 10.314
4 | 0.004 | 10.31 | 4 | 10.31
6 | 0.193 | 10.121 | 6 | 10.121
8 | 0.378 | 9.936 | 8 | 9.936
10 | 0.562 | 9.752 | 10 | 9.752
12 | 0.746 | 9.568 | 12 | 9.568
14 | 0.927 | 9.387 | 14 | 9.387
16 | 1.108 | 9.206 | 16 | 9.206
18 | 1.284 | 9.03 | 18 | 9.03
20 | 1.458 | 8.856 | 20 | 8.856
22 | 1.63 | 8.684 | 22 | 8.684
24 | 1.801 | 8.513 | 24 | 8.513
26 | 1.969 | 8.345 | 26 | 8.345
28 | 2.136 | 8.178 | 28 | 8.178
30 | 2.303 | 8.011 | 30 | 8.011
32 | 2.469 | 7.845 | 32 | 7.845
34 | 2.634 | 7.68 | 34 | 7.68
36 | 2.798 | 7.516 | 36 | 7.516
38 | 2.96 | 7.354 | 38 | 7.354
40 | 3.121 | 7.193 | 40 | 7.193
42 | 3.281 | 7.033 | 42 | 7.033
44 | 3.44 | 6.874 | 44 | 6.874
46 | 3.596 | 6.718 | 46 | 6.718
48 | 3.751 | 6.563 | 48 | 6.563
50 | 3.904 | 6.41 | 50 | 6.41
52 | 4.054 | 6.26 | 52 | 6.26
54 | 4.202 | 6.112 | 54 | 6.112
56 | 4.345 | 5.969 | 56 | 5.969
58 | 4.485 | 5.829 | 58 | 5.829
60 | 4.62 | 5.694 | 60 | 5.694
62 | 4.75 | 5.564 | 62 | 5.564
64 | 4.876 | 5.438 | 64 | 5.438
66 | 4.999 | 5.315 | 66 | 5.315
68 | 5.119 | 5.195 | 68 | 5.195
70 | 5.236 | 5.078 | 70 | 5.078
72 | 5.349 | 4.965 | 72 | 4.965
74 | 5.459 | 4.855 | 74 | 4.855
76 | 5.566 | 4.748 | 76 | 4.748
78 | 5.67 | 4.644 | 78 | 4.644
80 | 5.771 | 4.543 | 80 | 4.543
82 | 5.87 | 4.444 | 82 | 4.444
84 | 5.965 | 4.349 | 84 | 4.349
86 | 6.059 | 4.255 | 86 | 4.255
88 | 6.149 | 4.165 | 88 | 4.165
90 | 6.237 | 4.077 | 90 | 4.077
92 | 6.323 | 3.991 | 92 | 3.991
94 | 6.406 | 3.908 | 94 | 3.908
96 | 6.488 | 3.826 | 96 | 3.826
98 | 6.567 | 3.747 | 98 | 3.747
100 | 6.644 | 3.67 | 100 | 3.67
102 | 6.719 | 3.595 | 102 | 3.595
104 | 6.792 | 3.522 | 104 | 3.522
106 | 6.864 | 3.45 | 106 | 3.45
108 | 6.934 | 3.38 | 108 | 3.38
110 | 7.001 | 3.313 | 110 | 3.313
112 | 7.067 | 3.247 | 112 | 3.247
114 | 7.131 | 3.183 | 114 | 3.183
116 | 7.194 | 3.12 | 116 | 3.12
118 | 7.255 | 3.059 | 118 | 3.059
120 | 7.315 | 2.999 | 120 | 2.999
122 | 7.372 | 2.942 | 122 | 2.942
124 | 7.429 | 2.885 | 124 | 2.885
126 | 7.484 | 2.83 | 126 | 2.83
128 | 7.537 | 2.777 | 128 | 2.777
130 | 7.589 | 2.725 | 130 | 2.725
132 | 7.64 | 2.674 | 132 | 2.674
134 | 7.69 | 2.624 | 134 | 2.624
136 | 7.738 | 2.576 | 136 | 2.576
138 | 7.785 | 2.529 | 138 | 2.529
140 | 7.831 | 2.483 | 140 | 2.483
142 | 7.876 | 2.438 | 142 | 2.438
144 | 7.919 | 2.395 | 144 | 2.395
146 | 7.962 | 2.352 | 146 | 2.352
148 | 8.004 | 2.31 | 148 | 2.31
150 | 8.044 | 2.27 | 150 | 2.27
152 | 8.084 | 2.23 | 152 | 2.23
154 | 8.123 | 2.191 | 154 | 2.191
156 | 8.16 | 2.154 | 156 | 2.154
158 | 8.197 | 2.117 | 158 | 2.117
160 | 8.233 | 2.081 | 160 | 2.081
162 | 8.268 | 2.046 | 162 | 2.046
164 | 8.302 | 2.012 | 164 | 2.012
166 | 8.335 | 1.979 | 166 | 1.979
168 | 8.368 | 1.946 | 168 | 1.946
170 | 8.399 | 1.915 | 170 | 1.915
172 | 8.431 | 1.883 | 172 | 1.883
174 | 8.461 | 1.853 | 174 | 1.853
176 | 8.491 | 1.823 | 176 | 1.823
178 | 8.52 | 1.794 | 178 | 1.794
180 | 8.548 | 1.766 | 180 | 1.766
182 | 8.576 | 1.738 | 182 | 1.738
184 | 8.603 | 1.711 | 184 | 1.711
186 | 8.63 | 1.684 | 186 | 1.684
188 | 8.655 | 1.659 | 188 | 1.659
190 | 8.681 | 1.633 | 190 | 1.633
192 | 8.705 | 1.609 | 192 | 1.609
194 | 8.729 | 1.585 | 194 | 1.585
196 | 8.753 | 1.561 | 196 | 1.561
198 | 8.776 | 1.538 | 198 | 1.538
200 | 8.799 | 1.515 | 200 | 1.515
202 | 8.821 | 1.493 | 202 | 1.493
204 | 8.842 | 1.472 | 204 | 1.472
206 | 8.863 | 1.451 | 206 | 1.451
208 | 8.884 | 1.43 | 208 | 1.43
210 | 8.904 | 1.41 | 210 | 1.41
212 | 8.923 | 1.391 | 212 | 1.391
214 | 8.943 | 1.371 | 214 | 1.371
216 | 8.962 | 1.352 | 216 | 1.352
218 | 8.98 | 1.334 | 218 | 1.334
220 | 8.998 | 1.316 | 220 | 1.316
222 | 9.017 | 1.297 | 222 | 1.297
224 | 9.034 | 1.28 | 224 | 1.28
226 | 9.051 | 1.263 | 226 | 1.263
228 | 9.067 | 1.247 | 228 | 1.247
230 | 9.084 | 1.23 | 230 | 1.23
232 | 9.1 | 1.214 | 232 | 1.214
234 | 9.116 | 1.198 | 234 | 1.198
236 | 9.131 | 1.183 | 236 | 1.183
238 | 9.146 | 1.168 | 238 | 1.168
240 | 9.161 | 1.153 | 240 | 1.153
242 | 9.175 | 1.139 | 242 | 1.139
244 | 9.189 | 1.125 | 244 | 1.125
246 | 9.203 | 1.111 | 246 | 1.111
248 | 9.217 | 1.097 | 248 | 1.097
250 | 9.23 | 1.084 | 250 | 1.084
252 | 9.243 | 1.071 | 252 | 1.071
254 | 9.256 | 1.058 | 254 | 1.058
256 | 9.269 | 1.045 | 256 | 1.045
258 | 9.281 | 1.033 | 258 | 1.033
260 | 9.293 | 1.021 | 260 | 1.021
262 | 9.305 | 1.009 | 262 | 1.009
264 | 9.317 | 0.997 | 264 | 0.997
266 | 9.328 | 0.986 | 266 | 0.986
268 | 9.339 | 0.975 | 268 | 0.975
270 | 9.35 | 0.964 | 270 | 0.964
272 | 9.361 | 0.953 | 272 | 0.953
274 | 9.372 | 0.942 | 274 | 0.942
276 | 9.382 | 0.932 | 276 | 0.932
278 | 9.392 | 0.922 | 278 | 0.922
280 | 9.403 | 0.911 | 280 | 0.911
282 | 9.412 | 0.902 | 282 | 0.902
284 | 9.422 | 0.892 | 284 | 0.892
286 | 9.432 | 0.882 | 286 | 0.882
288 | 9.441 | 0.873 | 288 | 0.873
290 | 9.45 | 0.864 | 290 | 0.864
292 | 9.459 | 0.855 | 292 | 0.855
294 | 9.468 | 0.846 | 294 | 0.846
296 | 9.477 | 0.837 | 296 | 0.837
298 | 9.486 | 0.828 | 298 | 0.828
300 | 9.494 | 0.82 | 300 | 0.82
302 | 9.503 | 0.811 | 302 | 0.811
304 | 9.511 | 0.803 | 304 | 0.803
306 | 9.519 | 0.795 | 306 | 0.795
308 | 9.527 | 0.787 | 308 | 0.787
310 | 9.534 | 0.78 | 310 | 0.78
312 | 9.542 | 0.772 | 312 | 0.772
314 | 9.55 | 0.764 | 314 | 0.764
316 | 9.557 | 0.757 | 316 | 0.757
318 | 9.564 | 0.75 | 318 | 0.75
320 | 9.571 | 0.743 | 320 | 0.743
322 | 9.578 | 0.736 | 322 | 0.736
324 | 9.585 | 0.729 | 324 | 0.729
326 | 9.592 | 0.722 | 326 | 0.722
328 | 9.599 | 0.715 | 328 | 0.715
330 | 9.606 | 0.708 | 330 | 0.708
332 | 9.612 | 0.702 | 332 | 0.702
334 | 9.618 | 0.696 | 334 | 0.696
336 | 9.624 | 0.69 | 336 | 0.69
338 | 9.63 | 0.684 | 338 | 0.684
340 | 9.637 | 0.677 | 340 | 0.677
342 | 9.642 | 0.672 | 342 | 0.672
344 | 9.648 | 0.666 | 344 | 0.666
346 | 9.654 | 0.66 | 346 | 0.66
348 | 9.66 | 0.654 | 348 | 0.654
350 | 9.666 | 0.648 | 350 | 0.648
352 | 9.671 | 0.643 | 352 | 0.643
354 | 9.677 | 0.637 | 354 | 0.637
356 | 9.683 | 0.631 | 356 | 0.631
358 | 9.688 | 0.626 | 358 | 0.626
360 | 9.693 | 0.621 | 360 | 0.621
362 | 9.699 | 0.615 | 362 | 0.615
364 | 9.704 | 0.61 | 364 | 0.61
366 | 9.709 | 0.605 | 366 | 0.605
368 | 9.714 | 0.6 | 368 | 0.6
370 | 9.719 | 0.595 | 370 | 0.595
372 | 9.724 | 0.59 | 372 | 0.59
374 | 9.729 | 0.585 | 374 | 0.585
376 | 9.734 | 0.58 | 376 | 0.58
378 | 9.739 | 0.575 | 378 | 0.575
380 | 9.743 | 0.571 | 380 | 0.571
382 | 9.748 | 0.566 | 382 | 0.566
384 | 9.752 | 0.562 | 384 | 0.562
386 | 9.757 | 0.557 | 386 | 0.557
388 | 9.762 | 0.552 | 388 | 0.552
390 | 9.766 | 0.548 | 390 | 0.548
392 | 9.77 | 0.544 | 392 | 0.544
394 | 9.775 | 0.539 | 394 | 0.539
396 | 9.779 | 0.535 | 396 | 0.535
398 | 9.784 | 0.53 | 398 | 0.53
400 | 9.788 | 0.526 | 400 | 0.526
402 | 9.792 | 0.522 | 402 | 0.522
404 | 9.796 | 0.518 | 404 | 0.518
406 | 9.8 | 0.514 | 406 | 0.514
408 | 9.804 | 0.51 | 408 | 0.51
410 | 9.808 | 0.506 | 410 | 0.506
412 | 9.812 | 0.502 | 412 | 0.502
414 | 9.815 | 0.499 | 414 | 0.499
416 | 9.819 | 0.495 | 416 | 0.495
418 | 9.823 | 0.491 | 418 | 0.491
420 | 9.827 | 0.487 | 420 | 0.487
422 | 9.831 | 0.483 | 422 | 0.483
424 | 9.834 | 0.48 | 424 | 0.48
426 | 9.838 | 0.476 | 426 | 0.476
428 | 9.841 | 0.473 | 428 | 0.473
430 | 9.845 | 0.469 | 430 | 0.469
432 | 9.848 | 0.466 | 432 | 0.466
434 | 9.852 | 0.462 | 434 | 0.462
436 | 9.855 | 0.459 | 436 | 0.459
438 | 9.859 | 0.455 | 438 | 0.455
440 | 9.862 | 0.452 | 440 | 0.452
442 | 9.866 | 0.448 | 442 | 0.448
444 | 9.869 | 0.445 | 444 | 0.445
446 | 9.872 | 0.442 | 446 | 0.442
448 | 9.875 | 0.439 | 448 | 0.439
450 | 9.879 | 0.435 | 450 | 0.435
452 | 9.882 | 0.432 | 452 | 0.432
454 | 9.885 | 0.429 | 454 | 0.429
456 | 9.888 | 0.426 | 456 | 0.426
458 | 9.891 | 0.423 | 458 | 0.423
460 | 9.894 | 0.42 | 460 | 0.42
462 | 9.897 | 0.417 | 462 | 0.417
464 | 9.9 | 0.414 | 464 | 0.414
466 | 9.903 | 0.411 | 466 | 0.411
468 | 9.906 | 0.408 | 468 | 0.408
470 | 9.909 | 0.405 | 470 | 0.405
472 | 9.912 | 0.402 | 472 | 0.402
474 | 9.915 | 0.399 | 474 | 0.399
476 | 9.917 | 0.397 | 476 | 0.397
478 | 9.92 | 0.394 | 478 | 0.394
480 | 9.923 | 0.391 | 480 | 0.391
482 | 9.926 | 0.388 | 482 | 0.388
484 | 9.928 | 0.386 | 484 | 0.386
486 | 9.931 | 0.383 | 486 | 0.383
488 | 9.934 | 0.38 | 488 | 0.38
490 | 9.937 | 0.377 | 490 | 0.377
492 | 9.939 | 0.375 | 492 | 0.375
494 | 9.941 | 0.373 | 494 | 0.373
496 | 9.944 | 0.37 | 496 | 0.37
498 | 9.947 | 0.367 | 498 | 0.367
500 | 9.949 | 0.365 | 500 | 0.365
502 | 9.952 | 0.362 | 502 | 0.362
504 | 9.954 | 0.36 | 504 | 0.36
506 | 9.957 | 0.357 | 506 | 0.357
508 | 9.959 | 0.355 | 508 | 0.355
510 | 9.962 | 0.352 | 510 | 0.352
512 | 9.965 | 0.349 | 512 | 0.349
514 | 9.967 | 0.347 | 514 | 0.347
516 | 9.969 | 0.345 | 516 | 0.345
518 | 9.972 | 0.342 | 518 | 0.342
520 | 9.974 | 0.34 | 520 | 0.34
522 | 9.976 | 0.338 | 522 | 0.338
524 | 9.979 | 0.335 | 524 | 0.335
526 | 9.981 | 0.333 | 526 | 0.333
528 | 9.983 | 0.331 | 528 | 0.331
530 | 9.985 | 0.329 | 530 | 0.329
532 | 9.988 | 0.326 | 532 | 0.326
534 | 9.99 | 0.324 | 534 | 0.324
536 | 9.992 | 0.322 | 536 | 0.322
538 | 9.994 | 0.32 | 538 | 0.32
540 | 9.997 | 0.317 | 540 | 0.317
542 | 9.999 | 0.315 | 542 | 0.315
544 | 10.001 | 0.313 | 544 | 0.313
546 | 10.003 | 0.311 | 546 | 0.311
548 | 10.005 | 0.309 | 548 | 0.309
550 | 10.007 | 0.307 | 550 | 0.307
552 | 10.009 | 0.305 | 552 | 0.305
554 | 10.011 | 0.303 | 554 | 0.303
556 | 10.013 | 0.301 | 556 | 0.301
558 | 10.016 | 0.298 | 558 | 0.298
560 | 10.018 | 0.296 | 560 | 0.296
562 | 10.02 | 0.294 | 562 | 0.294
564 | 10.021 | 0.293 | 564 | 0.293
566 | 10.023 | 0.291 | 566 | 0.291
568 | 10.025 | 0.289 | 568 | 0.289
570 | 10.027 | 0.287 | 570 | 0.287
572 | 10.029 | 0.285 | 572 | 0.285
574 | 10.031 | 0.283 | 574 | 0.283
576 | 10.033 | 0.281 | 576 | 0.281
578 | 10.035 | 0.279 | 578 | 0.279
580 | 10.037 | 0.277 | 580 | 0.277
582 | 10.039 | 0.275 | 582 | 0.275
584 | 10.041 | 0.273 | 584 | 0.273
586 | 10.042 | 0.272 | 586 | 0.272
588 | 10.045 | 0.269 | 588 | 0.269
590 | 10.046 | 0.268 | 590 | 0.268
592 | 10.048 | 0.266 | 592 | 0.266
594 | 10.05 | 0.264 | 594 | 0.264
596 | 10.052 | 0.262 | 596 | 0.262
598 | 10.053 | 0.261 | 598 | 0.261
600 | 10.055 | 0.259 | 600 | 0.259
602 | 10.057 | 0.257 | 602 | 0.257
604 | 10.059 | 0.255 | 604 | 0.255
606 | 10.06 | 0.254 | 606 | 0.254
608 | 10.062 | 0.252 | 608 | 0.252
610 | 10.064 | 0.25 | 610 | 0.25
612 | 10.066 | 0.248 | 612 | 0.248
614 | 10.068 | 0.246 | 614 | 0.246
616 | 10.069 | 0.245 | 616 | 0.245
618 | 10.071 | 0.243 | 618 | 0.243
620 | 10.073 | 0.241 | 620 | 0.241
622 | 10.074 | 0.24 | 622 | 0.24
624 | 10.076 | 0.238 | 624 | 0.238
626 | 10.077 | 0.237 | 626 | 0.237
628 | 10.079 | 0.235 | 628 | 0.235
630 | 10.081 | 0.233 | 630 | 0.233
632 | 10.082 | 0.232 | 632 | 0.232
634 | 10.084 | 0.23 | 634 | 0.23
636 | 10.085 | 0.229 | 636 | 0.229
638 | 10.087 | 0.227 | 638 | 0.227
640 | 10.089 | 0.225 | 640 | 0.225
642 | 10.09 | 0.224 | 642 | 0.224
644 | 10.092 | 0.222 | 644 | 0.222
646 | 10.093 | 0.221 | 646 | 0.221
648 | 10.095 | 0.219 | 648 | 0.219
650 | 10.096 | 0.218 | 650 | 0.218
652 | 10.098 | 0.216 | 652 | 0.216
654 | 10.099 | 0.215 | 654 | 0.215
656 | 10.101 | 0.213 | 656 | 0.213
658 | 10.102 | 0.212 | 658 | 0.212
660 | 10.104 | 0.21 | 660 | 0.21
662 | 10.105 | 0.209 | 662 | 0.209
664 | 10.107 | 0.207 | 664 | 0.207
666 | 10.108 | 0.206 | 666 | 0.206
668 | 10.11 | 0.204 | 668 | 0.204
670 | 10.111 | 0.203 | 670 | 0.203
672 | 10.112 | 0.202 | 672 | 0.202
674 | 10.114 | 0.2 | 674 | 0.2
676 | 10.115 | 0.199 | 676 | 0.199
678 | 10.117 | 0.197 | 678 | 0.197
680 | 10.118 | 0.196 | 680 | 0.196
682 | 10.119 | 0.195 | 682 | 0.195
684 | 10.121 | 0.193 | 684 | 0.193
686 | 10.122 | 0.192 | 686 | 0.192
688 | 10.123 | 0.191 | 688 | 0.191
690 | 10.125 | 0.189 | 690 | 0.189
692 | 10.126 | 0.188 | 692 | 0.188
694 | 10.127 | 0.187 | 694 | 0.187
696 | 10.129 | 0.185 | 696 | 0.185
698 | 10.13 | 0.184 | 698 | 0.184
700 | 10.131 | 0.183 | 700 | 0.183
702 | 10.133 | 0.181 | 702 | 0.181
704 | 10.134 | 0.18 | 704 | 0.18
706 | 10.135 | 0.179 | 706 | 0.179
708 | 10.136 | 0.178 | 708 | 0.178
710 | 10.138 | 0.176 | 710 | 0.176
712 | 10.139 | 0.175 | 712 | 0.175
714 | 10.14 | 0.174 | 714 | 0.174
716 | 10.141 | 0.173 | 716 | 0.173
718 | 10.143 | 0.171 | 718 | 0.171
720 | 10.144 | 0.17 | 720 | 0.17
722 | 10.145 | 0.169 | 722 | 0.169
724 | 10.146 | 0.168 | 724 | 0.168
726 | 10.147 | 0.167 | 726 | 0.167
728 | 10.149 | 0.165 | 728 | 0.165
730 | 10.15 | 0.164 | 730 | 0.164
732 | 10.151 | 0.163 | 732 | 0.163
734 | 10.152 | 0.162 | 734 | 0.162
736 | 10.154 | 0.16 | 736 | 0.16
738 | 10.155 | 0.159 | 738 | 0.159
740 | 10.156 | 0.158 | 740 | 0.158
742 | 10.157 | 0.157 | 742 | 0.157
744 | 10.158 | 0.156 | 744 | 0.156
746 | 10.16 | 0.154 | 746 | 0.154
748 | 10.161 | 0.153 | 748 | 0.153
750 | 10.162 | 0.152 | 750 | 0.152
752 | 10.163 | 0.151 | 752 | 0.151
754 | 10.164 | 0.15 | 754 | 0.15
756 | 10.165 | 0.149 | 756 | 0.149
758 | 10.166 | 0.148 | 758 | 0.148
760 | 10.168 | 0.146 | 760 | 0.146
762 | 10.169 | 0.145 | 762 | 0.145
764 | 10.17 | 0.144 | 764 | 0.144
766 | 10.171 | 0.143 | 766 | 0.143
768 | 10.172 | 0.142 | 768 | 0.142
770 | 10.173 | 0.141 | 770 | 0.141
772 | 10.174 | 0.14 | 772 | 0.14
774 | 10.175 | 0.139 | 774 | 0.139
776 | 10.176 | 0.138 | 776 | 0.138
778 | 10.178 | 0.136 | 778 | 0.136
780 | 10.179 | 0.135 | 780 | 0.135
782 | 10.18 | 0.134 | 782 | 0.134
784 | 10.181 | 0.133 | 784 | 0.133
786 | 10.182 | 0.132 | 786 | 0.132
788 | 10.183 | 0.131 | 788 | 0.131
790 | 10.183 | 0.131 | 790 | 0.131
792 | 10.184 | 0.13 | 792 | 0.13
794 | 10.185 | 0.129 | 794 | 0.129
796 | 10.186 | 0.128 | 796 | 0.128
798 | 10.187 | 0.127 | 798 | 0.127
800 | 10.188 | 0.126 | 800 | 0.126
802 | 10.189 | 0.125 | 802 | 0.125
804 | 10.19 | 0.124 | 804 | 0.124
806 | 10.191 | 0.123 | 806 | 0.123
808 | 10.192 | 0.122 | 808 | 0.122
810 | 10.193 | 0.121 | 810 | 0.121
812 | 10.194 | 0.12 | 812 | 0.12
814 | 10.195 | 0.119 | 814 | 0.119
816 | 10.196 | 0.118 | 816 | 0.118
818 | 10.197 | 0.117 | 818 | 0.117
820 | 10.198 | 0.116 | 820 | 0.116
822 | 10.199 | 0.115 | 822 | 0.115
824 | 10.2 | 0.114 | 824 | 0.114
826 | 10.201 | 0.113 | 826 | 0.113
828 | 10.201 | 0.113 | 828 | 0.113
830 | 10.202 | 0.112 | 830 | 0.112
832 | 10.203 | 0.111 | 832 | 0.111
834 | 10.204 | 0.11 | 834 | 0.11
836 | 10.205 | 0.109 | 836 | 0.109
838 | 10.207 | 0.107 | 838 | 0.107
840 | 10.207 | 0.107 | 840 | 0.107
842 | 10.208 | 0.106 | 842 | 0.106
844 | 10.209 | 0.105 | 844 | 0.105
846 | 10.21 | 0.104 | 846 | 0.104
848 | 10.211 | 0.103 | 848 | 0.103
850 | 10.211 | 0.103 | 850 | 0.103
852 | 10.213 | 0.101 | 852 | 0.101
854 | 10.213 | 0.101 | 854 | 0.101
856 | 10.214 | 0.1 | 856 | 0.1
858 | 10.215 | 0.099 | 858 | 0.099
860 | 10.216 | 0.098 | 860 | 0.098
862 | 10.217 | 0.097 | 862 | 0.097
864 | 10.218 | 0.096 | 864 | 0.096
866 | 10.218 | 0.096 | 866 | 0.096
868 | 10.219 | 0.095 | 868 | 0.095
870 | 10.22 | 0.094 | 870 | 0.094
872 | 10.221 | 0.093 | 872 | 0.093
874 | 10.222 | 0.092 | 874 | 0.092
876 | 10.222 | 0.092 | 876 | 0.092
878 | 10.223 | 0.091 | 878 | 0.091
880 | 10.224 | 0.09 | 880 | 0.09
882 | 10.225 | 0.089 | 882 | 0.089
884 | 10.226 | 0.088 | 884 | 0.088
886 | 10.226 | 0.088 | 886 | 0.088
888 | 10.227 | 0.087 | 888 | 0.087
890 | 10.228 | 0.086 | 890 | 0.086
892 | 10.229 | 0.085 | 892 | 0.085
894 | 10.23 | 0.084 | 894 | 0.084
896 | 10.231 | 0.083 | 896 | 0.083
898 | 10.231 | 0.083 | 898 | 0.083
900 | 10.232 | 0.082 | 900 | 0.082
902 | 10.233 | 0.081 | 902 | 0.081
904 | 10.234 | 0.08 | 904 | 0.08
906 | 10.234 | 0.08 | 906 | 0.08
908 | 10.235 | 0.079 | 908 | 0.079
910 | 10.236 | 0.078 | 910 | 0.078
912 | 10.237 | 0.077 | 912 | 0.077
914 | 10.237 | 0.077 | 914 | 0.077
916 | 10.238 | 0.076 | 916 | 0.076
918 | 10.239 | 0.075 | 918 | 0.075
920 | 10.239 | 0.075 | 920 | 0.075
922 | 10.24 | 0.074 | 922 | 0.074
924 | 10.241 | 0.073 | 924 | 0.073
926 | 10.242 | 0.072 | 926 | 0.072
928 | 10.242 | 0.072 | 928 | 0.072
930 | 10.243 | 0.071 | 930 | 0.071
932 | 10.244 | 0.07 | 932 | 0.07
934 | 10.244 | 0.07 | 934 | 0.07
936 | 10.245 | 0.069 | 936 | 0.069
938 | 10.246 | 0.068 | 938 | 0.068
940 | 10.247 | 0.067 | 940 | 0.067
942 | 10.247 | 0.067 | 942 | 0.067
944 | 10.248 | 0.066 | 944 | 0.066
946 | 10.248 | 0.066 | 946 | 0.066
948 | 10.249 | 0.065 | 948 | 0.065
950 | 10.25 | 0.064 | 950 | 0.064
952 | 10.25 | 0.064 | 952 | 0.064
954 | 10.251 | 0.063 | 954 | 0.063
956 | 10.252 | 0.062 | 956 | 0.062
958 | 10.252 | 0.062 | 958 | 0.062
960 | 10.253 | 0.061 | 960 | 0.061
962 | 10.254 | 0.06 | 962 | 0.06
964 | 10.254 | 0.06 | 964 | 0.06
966 | 10.255 | 0.059 | 966 | 0.059
968 | 10.256 | 0.058 | 968 | 0.058
970 | 10.256 | 0.058 | 970 | 0.058
972 | 10.257 | 0.057 | 972 | 0.057
974 | 10.257 | 0.057 | 974 | 0.057
976 | 10.258 | 0.056 | 976 | 0.056
978 | 10.259 | 0.055 | 978 | 0.055
980 | 10.259 | 0.055 | 980 | 0.055
982 | 10.26 | 0.054 | 982 | 0.054
984 | 10.261 | 0.053 | 984 | 0.053
986 | 10.261 | 0.053 | 986 | 0.053
988 | 10.262 | 0.052 | 988 | 0.052
990 | 10.263 | 0.051 | 990 | 0.051
992 | 10.263 | 0.051 | 992 | 0.051
994 | 10.264 | 0.05 | 994 | 0.05
996 | 10.264 | 0.05 | 996 | 0.05
998 | 10.265 | 0.049 | 998 | 0.049
1000 | 10.265 | 0.049 | 1000 | 0.049
1002 | 10.266 | 0.048 | 1002 | 0.048
1004 | 10.267 | 0.047 | 1004 | 0.047
1006 | 10.267 | 0.047 | 1006 | 0.047
1008 | 10.268 | 0.046 | 1008 | 0.046
1010 | 10.269 | 0.045 | 1010 | 0.045
1012 | 10.269 | 0.045 | 1012 | 0.045
1014 | 10.27 | 0.044 | 1014 | 0.044
1016 | 10.27 | 0.044 | 1016 | 0.044
1018 | 10.271 | 0.043 | 1018 | 0.043
1020 | 10.271 | 0.043 | 1020 | 0.043
1022 | 10.272 | 0.042 | 1022 | 0.042
1024 | 10.273 | 0.041 | 1024 | 0.041
1026 | 10.273 | 0.041 | 1026 | 0.041
1028 | 10.274 | 0.04 | 1028 | 0.04
1030 | 10.274 | 0.04 | 1030 | 0.04
1032 | 10.275 | 0.039 | 1032 | 0.039
1034 | 10.275 | 0.039 | 1034 | 0.039
1036 | 10.276 | 0.038 | 1036 | 0.038
1038 | 10.277 | 0.037 | 1038 | 0.037
1040 | 10.277 | 0.037 | 1040 | 0.037
1042 | 10.278 | 0.036 | 1042 | 0.036
1044 | 10.278 | 0.036 | 1044 | 0.036
1046 | 10.279 | 0.035 | 1046 | 0.035
1048 | 10.279 | 0.035 | 1048 | 0.035
1050 | 10.28 | 0.034 | 1050 | 0.034
1052 | 10.281 | 0.033 | 1052 | 0.033
1054 | 10.281 | 0.033 | 1054 | 0.033
1056 | 10.281 | 0.033 | 1056 | 0.033
1058 | 10.282 | 0.032 | 1058 | 0.032
1060 | 10.282 | 0.032 | 1060 | 0.032
1062 | 10.283 | 0.031 | 1062 | 0.031
1064 | 10.283 | 0.031 | 1064 | 0.031
1066 | 10.283 | 0.031 | 1066 | 0.031
1068 | 10.283 | 0.031 | 1068 | 0.031
1070 | 10.283 | 0.031 | 1070 | 0.031
1072 | 10.283 | 0.031 | 1072 | 0.031
1074 | 10.283 | 0.031 | 1074 | 0.031
1076 | 10.284 | 0.03 | 1076 | 0.03
1078 | 10.284 | 0.03 | 1078 | 0.03
1080 | 10.284 | 0.03 | 1080 | 0.03
1082 | 10.284 | 0.03 | 1082 | 0.03
1084 | 10.285 | 0.029 | 1084 | 0.029
1086 | 10.285 | 0.029 | 1086 | 0.029
1088 | 10.285 | 0.029 | 1088 | 0.029
1090 | 10.285 | 0.029 | 1090 | 0.029
1092 | 10.286 | 0.028 | 1092 | 0.028
1094 | 10.286 | 0.028 | 1094 | 0.028
1096 | 10.286 | 0.028 | 1096 | 0.028
1098 | 10.287 | 0.027 | 1098 | 0.027
1100 | 10.287 | 0.027 | 1100 | 0.027
1102 | 10.287 | 0.027 | 1102 | 0.027
1104 | 10.287 | 0.027 | 1104 | 0.027
1106 | 10.288 | 0.026 | 1106 | 0.026
1108 | 10.288 | 0.026 | 1108 | 0.026
1110 | 10.289 | 0.025 | 1110 | 0.025
1112 | 10.289 | 0.025 | 1112 | 0.025
1114 | 10.29 | 0.024 | 1114 | 0.024
1116 | 10.291 | 0.023 | 1116 | 0.023
1118 | 10.292 | 0.022 | 1118 | 0.022
1120 | 10.292 | 0.022 | 1120 | 0.022
1122 | 10.292 | 0.022 | 1122 | 0.022
1124 | 10.292 | 0.022 | 1124 | 0.022
1126 | 10.293 | 0.021 | 1126 | 0.021
1128 | 10.293 | 0.021 | 1128 | 0.021
1130 | 10.293 | 0.021 | 1130 | 0.021
1132 | 10.294 | 0.02 | 1132 | 0.02
1134 | 10.294 | 0.02 | 1134 | 0.02
1136 | 10.295 | 0.019 | 1136 | 0.019
1138 | 10.295 | 0.019 | 1138 | 0.019
1140 | 10.295 | 0.019 | 1140 | 0.019
1142 | 10.296 | 0.018 | 1142 | 0.018
1144 | 10.296 | 0.018 | 1144 | 0.018
1146 | 10.296 | 0.018 | 1146 | 0.018
1148 | 10.297 | 0.017 | 1148 | 0.017
1150 | 10.297 | 0.017 | 1150 | 0.017
1152 | 10.297 | 0.017 | 1152 | 0.017
1154 | 10.298 | 0.016 | 1154 | 0.016
1156 | 10.298 | 0.016 | 1156 | 0.016
1158 | 10.298 | 0.016 | 1158 | 0.016
1160 | 10.299 | 0.015 | 1160 | 0.015
1162 | 10.299 | 0.015 | 1162 | 0.015
1164 | 10.3 | 0.014 | 1164 | 0.014
1166 | 10.3 | 0.014 | 1166 | 0.014
1168 | 10.3 | 0.014 | 1168 | 0.014
1170 | 10.301 | 0.013 | 1170 | 0.013
1172 | 10.301 | 0.013 | 1172 | 0.013
1174 | 10.302 | 0.012 | 1174 | 0.012
1176 | 10.302 | 0.012 | 1176 | 0.012
1178 | 10.302 | 0.012 | 1178 | 0.012
1180 | 10.303 | 0.011 | 1180 | 0.011
1182 | 10.303 | 0.011 | 1182 | 0.011
1184 | 10.304 | 0.01 | 1184 | 0.01
1186 | 10.304 | 0.01 | 1186 | 0.01
1188 | 10.304 | 0.01 | 1188 | 0.01
1190 | 10.305 | 0.009 | 1190 | 0.009
1192 | 10.305 | 0.009 | 1192 | 0.009
1194 | 10.306 | 0.008 | 1194 | 0.008
1196 | 10.306 | 0.008 | 1196 | 0.008
1198 | 10.307 | 0.007 | 1198 | 0.007
1200 | 10.307 | 0.007 | 1200 | 0.007
1202 | 10.307 | 0.007 | 1202 | 0.007
1204 | 10.308 | 0.006 | 1204 | 0.006
1206 | 10.308 | 0.006 | 1206 | 0.006
1208 | 10.309 | 0.005 | 1208 | 0.005
1210 | 10.309 | 0.005 | 1210 | 0.005
1212 | 10.309 | 0.005 | 1212 | 0.005
1214 | 10.31 | 0.004 | 1214 | 0.004
1216 | 10.31 | 0.004 | 1216 | 0.004
1218 | 10.311 | 0.003 | 1218 | 0.003
1220 | 10.311 | 0.003 | 1220 | 0.003
1222 | 10.311 | 0.003 | 1222 | 0.003
1224 | 10.312 | 0.002 | 1224 | 0.002
1226 | 10.312 | 0.002 | 1226 | 0.002
1228 | 10.312 | 0.002 | 1228 | 0.002
1230 | 10.313 | 0.001 | 1230 | 0.001
1232 | 10.313 | 0.001 | 1232 | 0.001
1234 | 10.313 | 0.001 | 1234 | 0.001
1236 | 10.314 | 0 | 1236 | 0

## raw
In-Situ Inc. | MiniTroll Std P
Report generated: | 2005-09-23 | 15:36
Report from file: | ...\SN16147 2005-09-16 093550 D5C - TEST # 1.bin
Win-Situ Version | 4.5
Serial number: | 16147
Firmware Version | 3.09
Unit name: | miniTROLL
Test name: |  | D5C - TEST # 1
Test defined on: | 2005-09-16 | 9:34
Test started on: | 2005-09-16 | 9:36
Test stopped on: | 2005-09-16 | 9:56
Test extracted on: | N/A | N/A
Data gathered using Linear testing
Time between data points: 2.0 | Seconds.
Number of data samples: | 619
TOTAL DATA SAMPLES | 619
Channel number [2]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 5 PSIG.
Specific gravity: | 1
Mode: | Surface
User-defined reference: | 0 | Feet H2O
Referenced on: | test start
Pressure head at reference: | 0.008 | Feet H2O
Chan[2]
Pressure
Date | Time | ET (sec) | Feet H2O
-------- | -------- | ------------ | ---------------
2005-09-16 | 9:36 | 0 | 0
2005-09-16 | 9:36 | 2 | 0
2005-09-16 | 9:36 | 4 | 0.004
2005-09-16 | 9:36 | 6 | 0.193
2005-09-16 | 9:36 | 8 | 0.378
2005-09-16 | 9:36 | 10 | 0.562
2005-09-16 | 9:36 | 12 | 0.746
2005-09-16 | 9:36 | 14 | 0.927
2005-09-16 | 9:36 | 16 | 1.108
2005-09-16 | 9:36 | 18 | 1.284
2005-09-16 | 9:36 | 20 | 1.458
2005-09-16 | 9:36 | 22 | 1.63
2005-09-16 | 9:36 | 24 | 1.801
2005-09-16 | 9:36 | 26 | 1.969
2005-09-16 | 9:36 | 28 | 2.136
2005-09-16 | 9:36 | 30 | 2.303
2005-09-16 | 9:36 | 32 | 2.469
2005-09-16 | 9:36 | 34 | 2.634
2005-09-16 | 9:36 | 36 | 2.798
2005-09-16 | 9:36 | 38 | 2.96
2005-09-16 | 9:36 | 40 | 3.121
2005-09-16 | 9:37 | 42 | 3.281
2005-09-16 | 9:37 | 44 | 3.44
2005-09-16 | 9:37 | 46 | 3.596
2005-09-16 | 9:37 | 48 | 3.751
2005-09-16 | 9:37 | 50 | 3.904
2005-09-16 | 9:37 | 52 | 4.054
2005-09-16 | 9:37 | 54 | 4.202
2005-09-16 | 9:37 | 56 | 4.345
2005-09-16 | 9:37 | 58 | 4.485
2005-09-16 | 9:37 | 60 | 4.62
2005-09-16 | 9:37 | 62 | 4.75
2005-09-16 | 9:37 | 64 | 4.876
2005-09-16 | 9:37 | 66 | 4.999
2005-09-16 | 9:37 | 68 | 5.119
2005-09-16 | 9:37 | 70 | 5.236
2005-09-16 | 9:37 | 72 | 5.349
2005-09-16 | 9:37 | 74 | 5.459
2005-09-16 | 9:37 | 76 | 5.566
2005-09-16 | 9:37 | 78 | 5.67
2005-09-16 | 9:37 | 80 | 5.771
2005-09-16 | 9:37 | 82 | 5.87
2005-09-16 | 9:37 | 84 | 5.965
2005-09-16 | 9:37 | 86 | 6.059
2005-09-16 | 9:37 | 88 | 6.149
2005-09-16 | 9:37 | 90 | 6.237
2005-09-16 | 9:37 | 92 | 6.323
2005-09-16 | 9:37 | 94 | 6.406
2005-09-16 | 9:37 | 96 | 6.488
2005-09-16 | 9:37 | 98 | 6.567
2005-09-16 | 9:38 | 100 | 6.644
2005-09-16 | 9:38 | 102 | 6.719
2005-09-16 | 9:38 | 104 | 6.792
2005-09-16 | 9:38 | 106 | 6.864
2005-09-16 | 9:38 | 108 | 6.934
2005-09-16 | 9:38 | 110 | 7.001
2005-09-16 | 9:38 | 112 | 7.067
2005-09-16 | 9:38 | 114 | 7.131
2005-09-16 | 9:38 | 116 | 7.194
2005-09-16 | 9:38 | 118 | 7.255
2005-09-16 | 9:38 | 120 | 7.315
2005-09-16 | 9:38 | 122 | 7.372
2005-09-16 | 9:38 | 124 | 7.429
2005-09-16 | 9:38 | 126 | 7.484
2005-09-16 | 9:38 | 128 | 7.537
2005-09-16 | 9:38 | 130 | 7.589
2005-09-16 | 9:38 | 132 | 7.64
2005-09-16 | 9:38 | 134 | 7.69
2005-09-16 | 9:38 | 136 | 7.738
2005-09-16 | 9:38 | 138 | 7.785
2005-09-16 | 9:38 | 140 | 7.831
2005-09-16 | 9:38 | 142 | 7.876
2005-09-16 | 9:38 | 144 | 7.919
2005-09-16 | 9:38 | 146 | 7.962
2005-09-16 | 9:38 | 148 | 8.004
2005-09-16 | 9:38 | 150 | 8.044
2005-09-16 | 9:38 | 152 | 8.084
2005-09-16 | 9:38 | 154 | 8.123
2005-09-16 | 9:38 | 156 | 8.16
2005-09-16 | 9:38 | 158 | 8.197
2005-09-16 | 9:38 | 160 | 8.233
2005-09-16 | 9:39 | 162 | 8.268
2005-09-16 | 9:39 | 164 | 8.302
2005-09-16 | 9:39 | 166 | 8.335
2005-09-16 | 9:39 | 168 | 8.368
2005-09-16 | 9:39 | 170 | 8.399
2005-09-16 | 9:39 | 172 | 8.431
2005-09-16 | 9:39 | 174 | 8.461
2005-09-16 | 9:39 | 176 | 8.491
2005-09-16 | 9:39 | 178 | 8.52
2005-09-16 | 9:39 | 180 | 8.548
2005-09-16 | 9:39 | 182 | 8.576
2005-09-16 | 9:39 | 184 | 8.603
2005-09-16 | 9:39 | 186 | 8.63
2005-09-16 | 9:39 | 188 | 8.655
2005-09-16 | 9:39 | 190 | 8.681
2005-09-16 | 9:39 | 192 | 8.705
2005-09-16 | 9:39 | 194 | 8.729
2005-09-16 | 9:39 | 196 | 8.753
2005-09-16 | 9:39 | 198 | 8.776
2005-09-16 | 9:39 | 200 | 8.799
2005-09-16 | 9:39 | 202 | 8.821
2005-09-16 | 9:39 | 204 | 8.842
2005-09-16 | 9:39 | 206 | 8.863
2005-09-16 | 9:39 | 208 | 8.884
2005-09-16 | 9:39 | 210 | 8.904
2005-09-16 | 9:39 | 212 | 8.923
2005-09-16 | 9:39 | 214 | 8.943
2005-09-16 | 9:39 | 216 | 8.962
2005-09-16 | 9:39 | 218 | 8.98
2005-09-16 | 9:40 | 220 | 8.998
2005-09-16 | 9:40 | 222 | 9.017
2005-09-16 | 9:40 | 224 | 9.034
2005-09-16 | 9:40 | 226 | 9.051
2005-09-16 | 9:40 | 228 | 9.067
2005-09-16 | 9:40 | 230 | 9.084
2005-09-16 | 9:40 | 232 | 9.1
2005-09-16 | 9:40 | 234 | 9.116
2005-09-16 | 9:40 | 236 | 9.131
2005-09-16 | 9:40 | 238 | 9.146
2005-09-16 | 9:40 | 240 | 9.161
2005-09-16 | 9:40 | 242 | 9.175
2005-09-16 | 9:40 | 244 | 9.189
2005-09-16 | 9:40 | 246 | 9.203
2005-09-16 | 9:40 | 248 | 9.217
2005-09-16 | 9:40 | 250 | 9.23
2005-09-16 | 9:40 | 252 | 9.243
2005-09-16 | 9:40 | 254 | 9.256
2005-09-16 | 9:40 | 256 | 9.269
2005-09-16 | 9:40 | 258 | 9.281
2005-09-16 | 9:40 | 260 | 9.293
2005-09-16 | 9:40 | 262 | 9.305
2005-09-16 | 9:40 | 264 | 9.317
2005-09-16 | 9:40 | 266 | 9.328
2005-09-16 | 9:40 | 268 | 9.339
2005-09-16 | 9:40 | 270 | 9.35
2005-09-16 | 9:40 | 272 | 9.361
2005-09-16 | 9:40 | 274 | 9.372
2005-09-16 | 9:40 | 276 | 9.382
2005-09-16 | 9:40 | 278 | 9.392
2005-09-16 | 9:40 | 280 | 9.403
2005-09-16 | 9:41 | 282 | 9.412
2005-09-16 | 9:41 | 284 | 9.422
2005-09-16 | 9:41 | 286 | 9.432
2005-09-16 | 9:41 | 288 | 9.441
2005-09-16 | 9:41 | 290 | 9.45
2005-09-16 | 9:41 | 292 | 9.459
2005-09-16 | 9:41 | 294 | 9.468
2005-09-16 | 9:41 | 296 | 9.477
2005-09-16 | 9:41 | 298 | 9.486
2005-09-16 | 9:41 | 300 | 9.494
2005-09-16 | 9:41 | 302 | 9.503
2005-09-16 | 9:41 | 304 | 9.511
2005-09-16 | 9:41 | 306 | 9.519
2005-09-16 | 9:41 | 308 | 9.527
2005-09-16 | 9:41 | 310 | 9.534
2005-09-16 | 9:41 | 312 | 9.542
2005-09-16 | 9:41 | 314 | 9.55
2005-09-16 | 9:41 | 316 | 9.557
2005-09-16 | 9:41 | 318 | 9.564
2005-09-16 | 9:41 | 320 | 9.571
2005-09-16 | 9:41 | 322 | 9.578
2005-09-16 | 9:41 | 324 | 9.585
2005-09-16 | 9:41 | 326 | 9.592
2005-09-16 | 9:41 | 328 | 9.599
2005-09-16 | 9:41 | 330 | 9.606
2005-09-16 | 9:41 | 332 | 9.612
2005-09-16 | 9:41 | 334 | 9.618
2005-09-16 | 9:41 | 336 | 9.624
2005-09-16 | 9:41 | 338 | 9.63
2005-09-16 | 9:41 | 340 | 9.637
2005-09-16 | 9:42 | 342 | 9.642
2005-09-16 | 9:42 | 344 | 9.648
2005-09-16 | 9:42 | 346 | 9.654
2005-09-16 | 9:42 | 348 | 9.66
2005-09-16 | 9:42 | 350 | 9.666
2005-09-16 | 9:42 | 352 | 9.671
2005-09-16 | 9:42 | 354 | 9.677
2005-09-16 | 9:42 | 356 | 9.683
2005-09-16 | 9:42 | 358 | 9.688
2005-09-16 | 9:42 | 360 | 9.693
2005-09-16 | 9:42 | 362 | 9.699
2005-09-16 | 9:42 | 364 | 9.704
2005-09-16 | 9:42 | 366 | 9.709
2005-09-16 | 9:42 | 368 | 9.714
2005-09-16 | 9:42 | 370 | 9.719
2005-09-16 | 9:42 | 372 | 9.724
2005-09-16 | 9:42 | 374 | 9.729
2005-09-16 | 9:42 | 376 | 9.734
2005-09-16 | 9:42 | 378 | 9.739
2005-09-16 | 9:42 | 380 | 9.743
2005-09-16 | 9:42 | 382 | 9.748
2005-09-16 | 9:42 | 384 | 9.752
2005-09-16 | 9:42 | 386 | 9.757
2005-09-16 | 9:42 | 388 | 9.762
2005-09-16 | 9:42 | 390 | 9.766
2005-09-16 | 9:42 | 392 | 9.77
2005-09-16 | 9:42 | 394 | 9.775
2005-09-16 | 9:42 | 396 | 9.779
2005-09-16 | 9:42 | 398 | 9.784
2005-09-16 | 9:43 | 400 | 9.788
2005-09-16 | 9:43 | 402 | 9.792
2005-09-16 | 9:43 | 404 | 9.796
2005-09-16 | 9:43 | 406 | 9.8
2005-09-16 | 9:43 | 408 | 9.804
2005-09-16 | 9:43 | 410 | 9.808
2005-09-16 | 9:43 | 412 | 9.812
2005-09-16 | 9:43 | 414 | 9.815
2005-09-16 | 9:43 | 416 | 9.819
2005-09-16 | 9:43 | 418 | 9.823
2005-09-16 | 9:43 | 420 | 9.827
2005-09-16 | 9:43 | 422 | 9.831
2005-09-16 | 9:43 | 424 | 9.834
2005-09-16 | 9:43 | 426 | 9.838
2005-09-16 | 9:43 | 428 | 9.841
2005-09-16 | 9:43 | 430 | 9.845
2005-09-16 | 9:43 | 432 | 9.848
2005-09-16 | 9:43 | 434 | 9.852
2005-09-16 | 9:43 | 436 | 9.855
2005-09-16 | 9:43 | 438 | 9.859
2005-09-16 | 9:43 | 440 | 9.862
2005-09-16 | 9:43 | 442 | 9.866
2005-09-16 | 9:43 | 444 | 9.869
2005-09-16 | 9:43 | 446 | 9.872
2005-09-16 | 9:43 | 448 | 9.875
2005-09-16 | 9:43 | 450 | 9.879
2005-09-16 | 9:43 | 452 | 9.882
2005-09-16 | 9:43 | 454 | 9.885
2005-09-16 | 9:43 | 456 | 9.888
2005-09-16 | 9:43 | 458 | 9.891
2005-09-16 | 9:43 | 460 | 9.894
2005-09-16 | 9:44 | 462 | 9.897
2005-09-16 | 9:44 | 464 | 9.9
2005-09-16 | 9:44 | 466 | 9.903
2005-09-16 | 9:44 | 468 | 9.906
2005-09-16 | 9:44 | 470 | 9.909
2005-09-16 | 9:44 | 472 | 9.912
2005-09-16 | 9:44 | 474 | 9.915
2005-09-16 | 9:44 | 476 | 9.917
2005-09-16 | 9:44 | 478 | 9.92
2005-09-16 | 9:44 | 480 | 9.923
2005-09-16 | 9:44 | 482 | 9.926
2005-09-16 | 9:44 | 484 | 9.928
2005-09-16 | 9:44 | 486 | 9.931
2005-09-16 | 9:44 | 488 | 9.934
2005-09-16 | 9:44 | 490 | 9.937
2005-09-16 | 9:44 | 492 | 9.939
2005-09-16 | 9:44 | 494 | 9.941
2005-09-16 | 9:44 | 496 | 9.944
2005-09-16 | 9:44 | 498 | 9.947
2005-09-16 | 9:44 | 500 | 9.949
2005-09-16 | 9:44 | 502 | 9.952
2005-09-16 | 9:44 | 504 | 9.954
2005-09-16 | 9:44 | 506 | 9.957
2005-09-16 | 9:44 | 508 | 9.959
2005-09-16 | 9:44 | 510 | 9.962
2005-09-16 | 9:44 | 512 | 9.965
2005-09-16 | 9:44 | 514 | 9.967
2005-09-16 | 9:44 | 516 | 9.969
2005-09-16 | 9:44 | 518 | 9.972
2005-09-16 | 9:45 | 520 | 9.974
2005-09-16 | 9:45 | 522 | 9.976
2005-09-16 | 9:45 | 524 | 9.979
2005-09-16 | 9:45 | 526 | 9.981
2005-09-16 | 9:45 | 528 | 9.983
2005-09-16 | 9:45 | 530 | 9.985
2005-09-16 | 9:45 | 532 | 9.988
2005-09-16 | 9:45 | 534 | 9.99
2005-09-16 | 9:45 | 536 | 9.992
2005-09-16 | 9:45 | 538 | 9.994
2005-09-16 | 9:45 | 540 | 9.997
2005-09-16 | 9:45 | 542 | 9.999
2005-09-16 | 9:45 | 544 | 10.001
2005-09-16 | 9:45 | 546 | 10.003
2005-09-16 | 9:45 | 548 | 10.005
2005-09-16 | 9:45 | 550 | 10.007
2005-09-16 | 9:45 | 552 | 10.009
2005-09-16 | 9:45 | 554 | 10.011
2005-09-16 | 9:45 | 556 | 10.013
2005-09-16 | 9:45 | 558 | 10.016
2005-09-16 | 9:45 | 560 | 10.018
2005-09-16 | 9:45 | 562 | 10.02
2005-09-16 | 9:45 | 564 | 10.021
2005-09-16 | 9:45 | 566 | 10.023
2005-09-16 | 9:45 | 568 | 10.025
2005-09-16 | 9:45 | 570 | 10.027
2005-09-16 | 9:45 | 572 | 10.029
2005-09-16 | 9:45 | 574 | 10.031
2005-09-16 | 9:45 | 576 | 10.033
2005-09-16 | 9:45 | 578 | 10.035
2005-09-16 | 9:45 | 580 | 10.037
2005-09-16 | 9:46 | 582 | 10.039
2005-09-16 | 9:46 | 584 | 10.041
2005-09-16 | 9:46 | 586 | 10.042
2005-09-16 | 9:46 | 588 | 10.045
2005-09-16 | 9:46 | 590 | 10.046
2005-09-16 | 9:46 | 592 | 10.048
2005-09-16 | 9:46 | 594 | 10.05
2005-09-16 | 9:46 | 596 | 10.052
2005-09-16 | 9:46 | 598 | 10.053
2005-09-16 | 9:46 | 600 | 10.055
2005-09-16 | 9:46 | 602 | 10.057
2005-09-16 | 9:46 | 604 | 10.059
2005-09-16 | 9:46 | 606 | 10.06
2005-09-16 | 9:46 | 608 | 10.062
2005-09-16 | 9:46 | 610 | 10.064
2005-09-16 | 9:46 | 612 | 10.066
2005-09-16 | 9:46 | 614 | 10.068
2005-09-16 | 9:46 | 616 | 10.069
2005-09-16 | 9:46 | 618 | 10.071
2005-09-16 | 9:46 | 620 | 10.073
2005-09-16 | 9:46 | 622 | 10.074
2005-09-16 | 9:46 | 624 | 10.076
2005-09-16 | 9:46 | 626 | 10.077
2005-09-16 | 9:46 | 628 | 10.079
2005-09-16 | 9:46 | 630 | 10.081
2005-09-16 | 9:46 | 632 | 10.082
2005-09-16 | 9:46 | 634 | 10.084
2005-09-16 | 9:46 | 636 | 10.085
2005-09-16 | 9:46 | 638 | 10.087
2005-09-16 | 9:47 | 640 | 10.089
2005-09-16 | 9:47 | 642 | 10.09
2005-09-16 | 9:47 | 644 | 10.092
2005-09-16 | 9:47 | 646 | 10.093
2005-09-16 | 9:47 | 648 | 10.095
2005-09-16 | 9:47 | 650 | 10.096
2005-09-16 | 9:47 | 652 | 10.098
2005-09-16 | 9:47 | 654 | 10.099
2005-09-16 | 9:47 | 656 | 10.101
2005-09-16 | 9:47 | 658 | 10.102
2005-09-16 | 9:47 | 660 | 10.104
2005-09-16 | 9:47 | 662 | 10.105
2005-09-16 | 9:47 | 664 | 10.107
2005-09-16 | 9:47 | 666 | 10.108
2005-09-16 | 9:47 | 668 | 10.11
2005-09-16 | 9:47 | 670 | 10.111
2005-09-16 | 9:47 | 672 | 10.112
2005-09-16 | 9:47 | 674 | 10.114
2005-09-16 | 9:47 | 676 | 10.115
2005-09-16 | 9:47 | 678 | 10.117
2005-09-16 | 9:47 | 680 | 10.118
2005-09-16 | 9:47 | 682 | 10.119
2005-09-16 | 9:47 | 684 | 10.121
2005-09-16 | 9:47 | 686 | 10.122
2005-09-16 | 9:47 | 688 | 10.123
2005-09-16 | 9:47 | 690 | 10.125
2005-09-16 | 9:47 | 692 | 10.126
2005-09-16 | 9:47 | 694 | 10.127
2005-09-16 | 9:47 | 696 | 10.129
2005-09-16 | 9:47 | 698 | 10.13
2005-09-16 | 9:47 | 700 | 10.131
2005-09-16 | 9:48 | 702 | 10.133
2005-09-16 | 9:48 | 704 | 10.134
2005-09-16 | 9:48 | 706 | 10.135
2005-09-16 | 9:48 | 708 | 10.136
2005-09-16 | 9:48 | 710 | 10.138
2005-09-16 | 9:48 | 712 | 10.139
2005-09-16 | 9:48 | 714 | 10.14
2005-09-16 | 9:48 | 716 | 10.141
2005-09-16 | 9:48 | 718 | 10.143
2005-09-16 | 9:48 | 720 | 10.144
2005-09-16 | 9:48 | 722 | 10.145
2005-09-16 | 9:48 | 724 | 10.146
2005-09-16 | 9:48 | 726 | 10.147
2005-09-16 | 9:48 | 728 | 10.149
2005-09-16 | 9:48 | 730 | 10.15
2005-09-16 | 9:48 | 732 | 10.151
2005-09-16 | 9:48 | 734 | 10.152
2005-09-16 | 9:48 | 736 | 10.154
2005-09-16 | 9:48 | 738 | 10.155
2005-09-16 | 9:48 | 740 | 10.156
2005-09-16 | 9:48 | 742 | 10.157
2005-09-16 | 9:48 | 744 | 10.158
2005-09-16 | 9:48 | 746 | 10.16
2005-09-16 | 9:48 | 748 | 10.161
2005-09-16 | 9:48 | 750 | 10.162
2005-09-16 | 9:48 | 752 | 10.163
2005-09-16 | 9:48 | 754 | 10.164
2005-09-16 | 9:48 | 756 | 10.165
2005-09-16 | 9:48 | 758 | 10.166
2005-09-16 | 9:49 | 760 | 10.168
2005-09-16 | 9:49 | 762 | 10.169
2005-09-16 | 9:49 | 764 | 10.17
2005-09-16 | 9:49 | 766 | 10.171
2005-09-16 | 9:49 | 768 | 10.172
2005-09-16 | 9:49 | 770 | 10.173
2005-09-16 | 9:49 | 772 | 10.174
2005-09-16 | 9:49 | 774 | 10.175
2005-09-16 | 9:49 | 776 | 10.176
2005-09-16 | 9:49 | 778 | 10.178
2005-09-16 | 9:49 | 780 | 10.179
2005-09-16 | 9:49 | 782 | 10.18
2005-09-16 | 9:49 | 784 | 10.181
2005-09-16 | 9:49 | 786 | 10.182
2005-09-16 | 9:49 | 788 | 10.183
2005-09-16 | 9:49 | 790 | 10.183
2005-09-16 | 9:49 | 792 | 10.184
2005-09-16 | 9:49 | 794 | 10.185
2005-09-16 | 9:49 | 796 | 10.186
2005-09-16 | 9:49 | 798 | 10.187
2005-09-16 | 9:49 | 800 | 10.188
2005-09-16 | 9:49 | 802 | 10.189
2005-09-16 | 9:49 | 804 | 10.19
2005-09-16 | 9:49 | 806 | 10.191
2005-09-16 | 9:49 | 808 | 10.192
2005-09-16 | 9:49 | 810 | 10.193
2005-09-16 | 9:49 | 812 | 10.194
2005-09-16 | 9:49 | 814 | 10.195
2005-09-16 | 9:49 | 816 | 10.196
2005-09-16 | 9:49 | 818 | 10.197
2005-09-16 | 9:50 | 820 | 10.198
2005-09-16 | 9:50 | 822 | 10.199
2005-09-16 | 9:50 | 824 | 10.2
2005-09-16 | 9:50 | 826 | 10.201
2005-09-16 | 9:50 | 828 | 10.201
2005-09-16 | 9:50 | 830 | 10.202
2005-09-16 | 9:50 | 832 | 10.203
2005-09-16 | 9:50 | 834 | 10.204
2005-09-16 | 9:50 | 836 | 10.205
2005-09-16 | 9:50 | 838 | 10.207
2005-09-16 | 9:50 | 840 | 10.207
2005-09-16 | 9:50 | 842 | 10.208
2005-09-16 | 9:50 | 844 | 10.209
2005-09-16 | 9:50 | 846 | 10.21
2005-09-16 | 9:50 | 848 | 10.211
2005-09-16 | 9:50 | 850 | 10.211
2005-09-16 | 9:50 | 852 | 10.213
2005-09-16 | 9:50 | 854 | 10.213
2005-09-16 | 9:50 | 856 | 10.214
2005-09-16 | 9:50 | 858 | 10.215
2005-09-16 | 9:50 | 860 | 10.216
2005-09-16 | 9:50 | 862 | 10.217
2005-09-16 | 9:50 | 864 | 10.218
2005-09-16 | 9:50 | 866 | 10.218
2005-09-16 | 9:50 | 868 | 10.219
2005-09-16 | 9:50 | 870 | 10.22
2005-09-16 | 9:50 | 872 | 10.221
2005-09-16 | 9:50 | 874 | 10.222
2005-09-16 | 9:50 | 876 | 10.222
2005-09-16 | 9:50 | 878 | 10.223
2005-09-16 | 9:50 | 880 | 10.224
2005-09-16 | 9:51 | 882 | 10.225
2005-09-16 | 9:51 | 884 | 10.226
2005-09-16 | 9:51 | 886 | 10.226
2005-09-16 | 9:51 | 888 | 10.227
2005-09-16 | 9:51 | 890 | 10.228
2005-09-16 | 9:51 | 892 | 10.229
2005-09-16 | 9:51 | 894 | 10.23
2005-09-16 | 9:51 | 896 | 10.231
2005-09-16 | 9:51 | 898 | 10.231
2005-09-16 | 9:51 | 900 | 10.232
2005-09-16 | 9:51 | 902 | 10.233
2005-09-16 | 9:51 | 904 | 10.234
2005-09-16 | 9:51 | 906 | 10.234
2005-09-16 | 9:51 | 908 | 10.235
2005-09-16 | 9:51 | 910 | 10.236
2005-09-16 | 9:51 | 912 | 10.237
2005-09-16 | 9:51 | 914 | 10.237
2005-09-16 | 9:51 | 916 | 10.238
2005-09-16 | 9:51 | 918 | 10.239
2005-09-16 | 9:51 | 920 | 10.239
2005-09-16 | 9:51 | 922 | 10.24
2005-09-16 | 9:51 | 924 | 10.241
2005-09-16 | 9:51 | 926 | 10.242
2005-09-16 | 9:51 | 928 | 10.242
2005-09-16 | 9:51 | 930 | 10.243
2005-09-16 | 9:51 | 932 | 10.244
2005-09-16 | 9:51 | 934 | 10.244
2005-09-16 | 9:51 | 936 | 10.245
2005-09-16 | 9:51 | 938 | 10.246
2005-09-16 | 9:52 | 940 | 10.247
2005-09-16 | 9:52 | 942 | 10.247
2005-09-16 | 9:52 | 944 | 10.248
2005-09-16 | 9:52 | 946 | 10.248
2005-09-16 | 9:52 | 948 | 10.249
2005-09-16 | 9:52 | 950 | 10.25
2005-09-16 | 9:52 | 952 | 10.25
2005-09-16 | 9:52 | 954 | 10.251
2005-09-16 | 9:52 | 956 | 10.252
2005-09-16 | 9:52 | 958 | 10.252
2005-09-16 | 9:52 | 960 | 10.253
2005-09-16 | 9:52 | 962 | 10.254
2005-09-16 | 9:52 | 964 | 10.254
2005-09-16 | 9:52 | 966 | 10.255
2005-09-16 | 9:52 | 968 | 10.256
2005-09-16 | 9:52 | 970 | 10.256
2005-09-16 | 9:52 | 972 | 10.257
2005-09-16 | 9:52 | 974 | 10.257
2005-09-16 | 9:52 | 976 | 10.258
2005-09-16 | 9:52 | 978 | 10.259
2005-09-16 | 9:52 | 980 | 10.259
2005-09-16 | 9:52 | 982 | 10.26
2005-09-16 | 9:52 | 984 | 10.261
2005-09-16 | 9:52 | 986 | 10.261
2005-09-16 | 9:52 | 988 | 10.262
2005-09-16 | 9:52 | 990 | 10.263
2005-09-16 | 9:52 | 992 | 10.263
2005-09-16 | 9:52 | 994 | 10.264
2005-09-16 | 9:52 | 996 | 10.264
2005-09-16 | 9:52 | 998 | 10.265
2005-09-16 | 9:52 | 1000 | 10.265
2005-09-16 | 9:53 | 1002 | 10.266
2005-09-16 | 9:53 | 1004 | 10.267
2005-09-16 | 9:53 | 1006 | 10.267
2005-09-16 | 9:53 | 1008 | 10.268
2005-09-16 | 9:53 | 1010 | 10.269
2005-09-16 | 9:53 | 1012 | 10.269
2005-09-16 | 9:53 | 1014 | 10.27
2005-09-16 | 9:53 | 1016 | 10.27
2005-09-16 | 9:53 | 1018 | 10.271
2005-09-16 | 9:53 | 1020 | 10.271
2005-09-16 | 9:53 | 1022 | 10.272
2005-09-16 | 9:53 | 1024 | 10.273
2005-09-16 | 9:53 | 1026 | 10.273
2005-09-16 | 9:53 | 1028 | 10.274
2005-09-16 | 9:53 | 1030 | 10.274
2005-09-16 | 9:53 | 1032 | 10.275
2005-09-16 | 9:53 | 1034 | 10.275
2005-09-16 | 9:53 | 1036 | 10.276
2005-09-16 | 9:53 | 1038 | 10.277
2005-09-16 | 9:53 | 1040 | 10.277
2005-09-16 | 9:53 | 1042 | 10.278
2005-09-16 | 9:53 | 1044 | 10.278
2005-09-16 | 9:53 | 1046 | 10.279
2005-09-16 | 9:53 | 1048 | 10.279
2005-09-16 | 9:53 | 1050 | 10.28
2005-09-16 | 9:53 | 1052 | 10.281
2005-09-16 | 9:53 | 1054 | 10.281
2005-09-16 | 9:53 | 1056 | 10.281
2005-09-16 | 9:53 | 1058 | 10.282
2005-09-16 | 9:54 | 1060 | 10.282
2005-09-16 | 9:54 | 1062 | 10.283
2005-09-16 | 9:54 | 1064 | 10.283
2005-09-16 | 9:54 | 1066 | 10.283
2005-09-16 | 9:54 | 1068 | 10.283
2005-09-16 | 9:54 | 1070 | 10.283
2005-09-16 | 9:54 | 1072 | 10.283
2005-09-16 | 9:54 | 1074 | 10.283
2005-09-16 | 9:54 | 1076 | 10.284
2005-09-16 | 9:54 | 1078 | 10.284
2005-09-16 | 9:54 | 1080 | 10.284
2005-09-16 | 9:54 | 1082 | 10.284
2005-09-16 | 9:54 | 1084 | 10.285
2005-09-16 | 9:54 | 1086 | 10.285
2005-09-16 | 9:54 | 1088 | 10.285
2005-09-16 | 9:54 | 1090 | 10.285
2005-09-16 | 9:54 | 1092 | 10.286
2005-09-16 | 9:54 | 1094 | 10.286
2005-09-16 | 9:54 | 1096 | 10.286
2005-09-16 | 9:54 | 1098 | 10.287
2005-09-16 | 9:54 | 1100 | 10.287
2005-09-16 | 9:54 | 1102 | 10.287
2005-09-16 | 9:54 | 1104 | 10.287
2005-09-16 | 9:54 | 1106 | 10.288
2005-09-16 | 9:54 | 1108 | 10.288
2005-09-16 | 9:54 | 1110 | 10.289
2005-09-16 | 9:54 | 1112 | 10.289
2005-09-16 | 9:54 | 1114 | 10.29
2005-09-16 | 9:54 | 1116 | 10.291
2005-09-16 | 9:54 | 1118 | 10.292
2005-09-16 | 9:54 | 1120 | 10.292
2005-09-16 | 9:55 | 1122 | 10.292
2005-09-16 | 9:55 | 1124 | 10.292
2005-09-16 | 9:55 | 1126 | 10.293
2005-09-16 | 9:55 | 1128 | 10.293
2005-09-16 | 9:55 | 1130 | 10.293
2005-09-16 | 9:55 | 1132 | 10.294
2005-09-16 | 9:55 | 1134 | 10.294
2005-09-16 | 9:55 | 1136 | 10.295
2005-09-16 | 9:55 | 1138 | 10.295
2005-09-16 | 9:55 | 1140 | 10.295
2005-09-16 | 9:55 | 1142 | 10.296
2005-09-16 | 9:55 | 1144 | 10.296
2005-09-16 | 9:55 | 1146 | 10.296
2005-09-16 | 9:55 | 1148 | 10.297
2005-09-16 | 9:55 | 1150 | 10.297
2005-09-16 | 9:55 | 1152 | 10.297
2005-09-16 | 9:55 | 1154 | 10.298
2005-09-16 | 9:55 | 1156 | 10.298
2005-09-16 | 9:55 | 1158 | 10.298
2005-09-16 | 9:55 | 1160 | 10.299
2005-09-16 | 9:55 | 1162 | 10.299
2005-09-16 | 9:55 | 1164 | 10.3
2005-09-16 | 9:55 | 1166 | 10.3
2005-09-16 | 9:55 | 1168 | 10.3
2005-09-16 | 9:55 | 1170 | 10.301
2005-09-16 | 9:55 | 1172 | 10.301
2005-09-16 | 9:55 | 1174 | 10.302
2005-09-16 | 9:55 | 1176 | 10.302
2005-09-16 | 9:55 | 1178 | 10.302
2005-09-16 | 9:56 | 1180 | 10.303
2005-09-16 | 9:56 | 1182 | 10.303
2005-09-16 | 9:56 | 1184 | 10.304
2005-09-16 | 9:56 | 1186 | 10.304
2005-09-16 | 9:56 | 1188 | 10.304
2005-09-16 | 9:56 | 1190 | 10.305
2005-09-16 | 9:56 | 1192 | 10.305
2005-09-16 | 9:56 | 1194 | 10.306
2005-09-16 | 9:56 | 1196 | 10.306
2005-09-16 | 9:56 | 1198 | 10.307
2005-09-16 | 9:56 | 1200 | 10.307
2005-09-16 | 9:56 | 1202 | 10.307
2005-09-16 | 9:56 | 1204 | 10.308
2005-09-16 | 9:56 | 1206 | 10.308
2005-09-16 | 9:56 | 1208 | 10.309
2005-09-16 | 9:56 | 1210 | 10.309
2005-09-16 | 9:56 | 1212 | 10.309
2005-09-16 | 9:56 | 1214 | 10.31
2005-09-16 | 9:56 | 1216 | 10.31
2005-09-16 | 9:56 | 1218 | 10.311
2005-09-16 | 9:56 | 1220 | 10.311
2005-09-16 | 9:56 | 1222 | 10.311
2005-09-16 | 9:56 | 1224 | 10.312
2005-09-16 | 9:56 | 1226 | 10.312
2005-09-16 | 9:56 | 1228 | 10.312
2005-09-16 | 9:56 | 1230 | 10.313
2005-09-16 | 9:56 | 1232 | 10.313
2005-09-16 | 9:56 | 1234 | 10.313
2005-09-16 | 9:56 | 1236 | 10.314