## SITE
OSF53 |  |  |  |  | 2003-03-19
Site Description: | Open area on S-61 grounds
Lat / Long: 280823.747 / 812104.210 |  | Datum: | NAD - 83
Site Owner: S.F.W.M.D. |  | U.S.G.S. ID:
Site Contact: Dave Butler |  | Contact Number: |  | 561-682-6823
Written Directions: | From the intersection of Pleasant Hill ( SR 531 ) and S. Orange Blossom Tr.,
( SR 17 / 92 ) Travel south on Pleasant Hill Rd. for 7.5 miles to W. Southport Rd. Turn left on W.
Southport and travel for 5.4 miles. Along the way, the road name changes to E. Southport Rd.
The paved road dead ends at a stop sign. Continue straight onto the dirt road for 0.5 miles to
structure S - 61. The wells are located on the east bank of the structure.
Well Info:

## PHOTO
Photo 1: OSF-53 site before automation.
Photo 2: OSF-53 Floridan well in red, OSF-53D and OSF-53S from left to right.
Photo 3: OSF-53 fully instrumented.
Photo 4: OSF-53, CR-10 box and instrumentation.
Photo 5: OSF-53, view to the east.
Photo 6: OSF-53, view to the south showing the adjacent weather station.

## OSS53S
Name: | OSS53S | ( GW 1 )
Lat / Long: | 280823.747 / 812104.210 |  |  | Datum: | NAD - 83
Landsurface Elevation ( NGVD): |  |  |  | Survey Date:
Bench Mark Elevation ( NGVD):
Surveyed Elevation ( NGVD): |  |  |  | U.S.G.S. ID:
Ref. Elevation at T.O.C. : |  |  | 64.72' | Transducer Depth: | 21.52' below Ref. Elev.
Total Depth: | 24.35' |  |  | Casing Depth:
Casing Material: |  | PVC |  | Casing Diameter: | 2"
Aquifer: | Surficial |  |  | Well Condition: | good
Outfit Date:
CR-10 Install Date: |  | 2001-11-30
Calibration Date: |  | 2001-12-12
W/Q Sample Date:
Enclosure: | S-61 grounds
Parts List: | Submersible Transducer
Comments:
Well Photo: |  |  |  | Well Diagram:

## OSS53D
Name: | OSS53D ( GW 2 )
Lat / Long: | 280823.747 / 812104.210 |  |  | Datum: | NAD - 83
Landsurface Elevation ( NGVD): |  |  |  | Survey Date:
Bench Mark Elevation ( NGVD):
Surveyed Elevation ( NGVD): |  |  |  | U.S.G.S. ID:
Ref. Elevation at T.O.C. : |  |  | 63.51' | Transducer Depth: | 20.50' below Ref. Elev.
Total Depth: | 57.76' |  |  | Casing Depth:
Casing Material: |  | PVC |  | Casing Diameter: | 2"
Aquifer: | Suficial |  |  | Well Condition: | good
Outfit Date:
CR-10 Install Date: |  | 2001-11-30
Calibration Date: |  | 2001-12-12
W/Q Sample Date:
Enclosure: | S-61 grounds
Parts List: | Submersible Transducer
Comments:
Well Photo: |  |  |  | Well Diagram:

## OSF53
Name: | OSF53 ( GW 3 )
Lat / Long: | 280823.747 / 812104.210 |  |  | Datum: | NAD - 83
Landsurface Elevation ( NGVD): |  |  |  | Survey Date:
Bench Mark Elevation ( NGVD):
Surveyed Elevation ( NGVD): |  |  |  | U.S.G.S. ID:
Ref. Elevation at T.O.C. : |  |  | 64.40' | Transducer Depth: | 22.38' below Ref. Elev.
Total Depth: |  |  |  | Casing Depth:
Casing Material: |  | PVC |  | Casing Diameter: | 4"
Aquifer: | Floridan |  |  | Well Condition: | good
Outfit Date:
CR-10 Install Date: |  | 2001-11-30
Calibration Date: |  | 2001-12-12
W/Q Sample Date:
Enclosure: | S-61 grounds
Parts List: | Submersible Transducer
Comments:
Well Photo: |  |  |  | Well Diagram: