## Sheet1
Project: | LKB MW Network
Well: | RA2-Deep
Test no. | 1
Test conducted on | 2005-03-31
Evaluated by | JV
D (ft) | 225
Kv/Kh | 0.1
L (ft) | 30
H (ft) | 120 | (assumed)
r(c) (ft) | 0.17
r(w) (ft) | 0.42
n | 0.2
s(0) (ft)
Static WL (ft btoc)
TD well (ft btoc) | 125 | (below surface)
Surface elev. (ft)
Ft. H20 @ t = max | 6.823
time (min) | Ft. H20 | s (ft) | time (min) | s (ft)
0 | 0 | 6.823 | 0 | 6.823
0.0333 | 1.846 | 4.977 | 0.0333 | 4.977
0.0667 | 2.19 | 4.633 | 0.0667 | 4.633
0.1 | 2.558 | 4.265 | 0.1 | 4.265
0.1333 | 2.788 | 4.035 | 0.1333 | 4.035
0.1667 | 3.006 | 3.817 | 0.1667 | 3.817
0.2 | 3.267 | 3.556 | 0.2 | 3.556
0.2333 | 3.503 | 3.32 | 0.2333 | 3.32
0.2667 | 3.699 | 3.124 | 0.2667 | 3.124
0.3 | 3.942 | 2.881 | 0.3 | 2.881
0.3333 | 3.948 | 2.875 | 0.3333 | 2.875
0.3667 | 4.326 | 2.497 | 0.3667 | 2.497
0.4 | 4.508 | 2.315 | 0.4 | 2.315
0.4333 | 4.708 | 2.115 | 0.4333 | 2.115
0.4667 | 4.894 | 1.929 | 0.4667 | 1.929
0.5 | 5.004 | 1.819 | 0.5 | 1.819
0.5333 | 5.113 | 1.71 | 0.5333 | 1.71
0.5667 | 5.224 | 1.599 | 0.5667 | 1.599
0.6 | 5.323 | 1.5 | 0.6 | 1.5
0.6333 | 5.42 | 1.403 | 0.6333 | 1.403
0.6667 | 5.518 | 1.305 | 0.6667 | 1.305
0.7 | 5.495 | 1.328 | 0.7 | 1.328
0.7333 | 5.745 | 1.078 | 0.7333 | 1.078
0.7667 | 5.753 | 1.07 | 0.7667 | 1.07
0.8 | 5.811 | 1.012 | 0.8 | 1.012
0.8333 | 5.887 | 0.936 | 0.8333 | 0.936
0.8667 | 5.96 | 0.863 | 0.8667 | 0.863
0.9 | 6.016 | 0.807 | 0.9 | 0.807
0.9333 | 6.079 | 0.744 | 0.9333 | 0.744
0.9667 | 6.11 | 0.713 | 0.9667 | 0.713
1 | 6.094 | 0.729 | 1 | 0.729
1.0333 | 6.281 | 0.542 | 1.0333 | 0.542
1.0667 | 6.321 | 0.502 | 1.0667 | 0.502
1.1 | 6.301 | 0.522 | 1.1 | 0.522
1.1333 | 6.333 | 0.49 | 1.1333 | 0.49
1.1667 | 6.362 | 0.461 | 1.1667 | 0.461
1.2 | 6.395 | 0.428 | 1.2 | 0.428
1.2333 | 6.4 | 0.423 | 1.2333 | 0.423
1.2667 | 6.444 | 0.379 | 1.2667 | 0.379
1.3 | 6.474 | 0.349 | 1.3 | 0.349
1.3333 | 6.363 | 0.46 | 1.3333 | 0.46
1.3667 | 6.537 | 0.286 | 1.3667 | 0.286
1.4 | 6.629 | 0.194 | 1.4 | 0.194
1.4333 | 6.608 | 0.215 | 1.4333 | 0.215
1.4667 | 6.624 | 0.199 | 1.4667 | 0.199
1.5 | 6.644 | 0.179 | 1.5 | 0.179
1.5333 | 6.577 | 0.246 | 1.5333 | 0.246
1.5667 | 6.724 | 0.099 | 1.5667 | 0.099
1.6 | 6.687 | 0.136 | 1.6 | 0.136
1.6333 | 6.713 | 0.11 | 1.6333 | 0.11
1.6667 | 6.716 | 0.107 | 1.6667 | 0.107
1.7 | 6.538 | 0.285 | 1.7 | 0.285
1.7333 | 6.52 | 0.303 | 1.7333 | 0.303
1.7667 | 6.534 | 0.289 | 1.7667 | 0.289
1.8 | 6.542 | 0.281 | 1.8 | 0.281
1.8333 | 6.57 | 0.253 | 1.8333 | 0.253
1.8667 | 6.639 | 0.184 | 1.8667 | 0.184
1.9 | 6.642 | 0.181 | 1.9 | 0.181
1.9333 | 6.658 | 0.165 | 1.9333 | 0.165
1.9667 | 6.532 | 0.291 | 1.9667 | 0.291
2 | 6.739 | 0.084 | 2 | 0.084
2.0333 | 6.748 | 0.075 | 2.0333 | 0.075
2.0667 | 6.7 | 0.123 | 2.0667 | 0.123
2.1 | 6.705 | 0.118 | 2.1 | 0.118
2.1333 | 6.701 | 0.122 | 2.1333 | 0.122
2.1667 | 6.743 | 0.08 | 2.1667 | 0.08
2.2 | 6.694 | 0.129 | 2.2 | 0.129
2.2333 | 6.717 | 0.106 | 2.2333 | 0.106
2.2667 | 6.725 | 0.098 | 2.2667 | 0.098
2.3 | 6.668 | 0.155 | 2.3 | 0.155
2.3333 | 6.744 | 0.079 | 2.3333 | 0.079
2.3667 | 6.804 | 0.019 | 2.3667 | 0.019
2.4 | 6.745 | 0.078 | 2.4 | 0.078
2.4333 | 6.695 | 0.128 | 2.4333 | 0.128
2.4667 | 6.711 | 0.112 | 2.4667 | 0.112
2.5 | 6.709 | 0.114 | 2.5 | 0.114
2.5333 | 6.707 | 0.116 | 2.5333 | 0.116
2.5667 | 6.706 | 0.117 | 2.5667 | 0.117
2.6 | 6.712 | 0.111 | 2.6 | 0.111
2.6333 | 6.708 | 0.115 | 2.6333 | 0.115
2.6667 | 6.717 | 0.106 | 2.6667 | 0.106
2.7 | 6.778 | 0.045 | 2.7 | 0.045
2.7333 | 6.872 | -0.049 | 2.7333 | -0.049
2.7667 | 6.873 | -0.05 | 2.7667 | -0.05
2.8 | 6.674 | 0.149 | 2.8 | 0.149
2.8333 | 6.91 | -0.087 | 2.8333 | -0.087
2.8667 | 6.825 | -0.002 | 2.8667 | -0.002
2.9 | 6.85 | -0.027 | 2.9 | -0.027
2.9333 | 6.85 | -0.027 | 2.9333 | -0.027
2.9667 | 6.844 | -0.021 | 2.9667 | -0.021
3 | 6.84 | -0.017 | 3 | -0.017
3.0333 | 6.846 | -0.023 | 3.0333 | -0.023
3.0667 | 6.827 | -0.004 | 3.0667 | -0.004
3.1 | 6.925 | -0.102 | 3.1 | -0.102
3.1333 | 6.726 | 0.097 | 3.1333 | 0.097
3.1667 | 6.709 | 0.114 | 3.1667 | 0.114
3.2 | 6.736 | 0.087 | 3.2 | 0.087
3.2333 | 6.707 | 0.116 | 3.2333 | 0.116
3.2667 | 6.709 | 0.114 | 3.2667 | 0.114
3.3 | 6.708 | 0.115 | 3.3 | 0.115
3.3333 | 6.712 | 0.111 | 3.3333 | 0.111
3.3667 | 6.696 | 0.127 | 3.3667 | 0.127
3.4 | 6.672 | 0.151 | 3.4 | 0.151
3.4333 | 6.693 | 0.13 | 3.4333 | 0.13
3.4667 | 6.705 | 0.118 | 3.4667 | 0.118
3.5 | 6.698 | 0.125 | 3.5 | 0.125
3.5333 | 6.7 | 0.123 | 3.5333 | 0.123
3.5667 | 6.7 | 0.123 | 3.5667 | 0.123
3.6 | 6.439 | 0.384 | 3.6 | 0.384
3.6333 | 6.738 | 0.085 | 3.6333 | 0.085
3.6667 | 6.695 | 0.128 | 3.6667 | 0.128
3.7 | 6.7 | 0.123 | 3.7 | 0.123
3.7333 | 6.698 | 0.125 | 3.7333 | 0.125
3.7667 | 6.7 | 0.123 | 3.7667 | 0.123
3.8 | 6.702 | 0.121 | 3.8 | 0.121
3.8333 | 6.678 | 0.145 | 3.8333 | 0.145
3.8667 | 6.7 | 0.123 | 3.8667 | 0.123
3.9 | 6.632 | 0.191 | 3.9 | 0.191
3.9333 | 6.753 | 0.07 | 3.9333 | 0.07
3.9667 | 6.752 | 0.071 | 3.9667 | 0.071
4 | 6.696 | 0.127 | 4 | 0.127
4.0333 | 6.697 | 0.126 | 4.0333 | 0.126
4.0667 | 6.697 | 0.126 | 4.0667 | 0.126
4.1 | 6.689 | 0.134 | 4.1 | 0.134
4.1333 | 6.767 | 0.056 | 4.1333 | 0.056
4.1667 | 6.751 | 0.072 | 4.1667 | 0.072
4.2 | 6.751 | 0.072 | 4.2 | 0.072
4.2333 | 6.729 | 0.094 | 4.2333 | 0.094
4.2667 | 6.76 | 0.063 | 4.2667 | 0.063
4.3 | 6.802 | 0.021 | 4.3 | 0.021
4.3333 | 6.778 | 0.045 | 4.3333 | 0.045
4.3667 | 6.781 | 0.042 | 4.3667 | 0.042
4.4 | 6.773 | 0.05 | 4.4 | 0.05
4.4333 | 6.786 | 0.037 | 4.4333 | 0.037
4.4667 | 6.784 | 0.039 | 4.4667 | 0.039
4.5 | 6.793 | 0.03 | 4.5 | 0.03
4.5333 | 6.787 | 0.036 | 4.5333 | 0.036
4.5667 | 6.792 | 0.031 | 4.5667 | 0.031
4.6 | 6.804 | 0.019 | 4.6 | 0.019
4.6333 | 6.796 | 0.027 | 4.6333 | 0.027
4.6667 | 6.793 | 0.03 | 4.6667 | 0.03
4.7 | 6.653 | 0.17 | 4.7 | 0.17
4.7333 | 6.85 | -0.027 | 4.7333 | -0.027
4.7667 | 6.798 | 0.025 | 4.7667 | 0.025
4.8 | 6.795 | 0.028 | 4.8 | 0.028
4.8333 | 6.734 | 0.089 | 4.8333 | 0.089
4.8667 | 6.68 | 0.143 | 4.8667 | 0.143
4.9 | 6.692 | 0.131 | 4.9 | 0.131
4.9333 | 6.702 | 0.121 | 4.9333 | 0.121
4.9667 | 6.71 | 0.113 | 4.9667 | 0.113
5 | 6.701 | 0.122 | 5 | 0.122
5.0333 | 6.762 | 0.061 | 5.0333 | 0.061
5.0667 | 7.723 | -0.9 | 5.0667 | -0.9
5.1 | 7.805 | -0.982 | 5.1 | -0.982
5.1333 | 7.858 | -1.035 | 5.1333 | -1.035
5.1667 | 7.895 | -1.072 | 5.1667 | -1.072
5.2 | 7.924 | -1.101 | 5.2 | -1.101
5.2333 | 7.954 | -1.131 | 5.2333 | -1.131
5.2667 | 8.003 | -1.18 | 5.2667 | -1.18
5.3 | 7.982 | -1.159 | 5.3 | -1.159
5.3333 | 6.833 | -0.01 | 5.3333 | -0.01
5.3667 | 6.852 | -0.029 | 5.3667 | -0.029
5.4 | 6.888 | -0.065 | 5.4 | -0.065
5.4333 | 6.64 | 0.183 | 5.4333 | 0.183
5.4667 | 6.861 | -0.038 | 5.4667 | -0.038
5.5 | 6.815 | 0.008 | 5.5 | 0.008
5.5333 | 6.815 | 0.008 | 5.5333 | 0.008
5.5667 | 6.817 | 0.006 | 5.5667 | 0.006
5.6 | 6.785 | 0.038 | 5.6 | 0.038
5.6333 | 6.811 | 0.012 | 5.6333 | 0.012
5.6667 | 6.809 | 0.014 | 5.6667 | 0.014
5.7 | 6.81 | 0.013 | 5.7 | 0.013
5.7333 | 6.808 | 0.015 | 5.7333 | 0.015
5.7667 | 6.814 | 0.009 | 5.7667 | 0.009
5.8 | 6.83 | -0.007 | 5.8 | -0.007
5.8333 | 6.83 | -0.007 | 5.8333 | -0.007
5.8667 | 6.829 | -0.006 | 5.8667 | -0.006
5.9 | 6.823 | 0 | 5.9 | 0
55

## raw
In-Situ Inc. | MiniTroll Std P
Report generated: | 2005-06-23 | 9:22
Report from file: | C:\Documents and Settings\ddemonst\My Documents\WinSitu Data\jose\SN16147 2005-03-31 171415 RA-2 Deep#1.bin
DataMgr Version | 3.71
Serial number: | 16147
Firmware Version | 3.09
Unit name: | miniTROLL
Test name: |  | RA-2 Deep#1
Test defined on: | 2005-03-31 | 17:13
Test started on: | 2005-03-31 | 17:14
Test stopped on: | N/A | N/A
Test extracted on: N/A
Data gathered using Linear testing
Time between data points: 0.0333 | Minutes.
Number of data samples: | 178
TOTAL DATA SAMPLES | 178
Channel number [1]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 5 PSI.
Specific gravity: | 1
Mode: | Surface
User-defined reference: | 0 | Feet H2O
Referenced on: | test start
Pressure head at reference: | 2.416 | Feet H2O
Chan[1]
Date Time | ET (min) | Feet H2O
-------- -------- | ------------ | ---------------
2005-03-31 17:14 | 0 | 0
2005-03-31 17:14 | 0.0333 | 1.846
2005-03-31 17:14 | 0.0667 | 2.19
2005-03-31 17:14 | 0.1 | 2.558
2005-03-31 17:14 | 0.1333 | 2.788
2005-03-31 17:14 | 0.1667 | 3.006
2005-03-31 17:14 | 0.2 | 3.267
2005-03-31 17:14 | 0.2333 | 3.503
2005-03-31 17:15 | 0.2667 | 3.699
2005-03-31 17:15 | 0.3 | 3.942
2005-03-31 17:15 | 0.3333 | 3.948
2005-03-31 17:15 | 0.3667 | 4.326
2005-03-31 17:15 | 0.4 | 4.508
2005-03-31 17:15 | 0.4333 | 4.708
2005-03-31 17:15 | 0.4667 | 4.894
2005-03-31 17:15 | 0.5 | 5.004
2005-03-31 17:15 | 0.5333 | 5.113
2005-03-31 17:15 | 0.5667 | 5.224
2005-03-31 17:15 | 0.6 | 5.323
2005-03-31 17:15 | 0.6333 | 5.42
2005-03-31 17:15 | 0.6667 | 5.518
2005-03-31 17:15 | 0.7 | 5.495
2005-03-31 17:15 | 0.7333 | 5.745
2005-03-31 17:15 | 0.7667 | 5.753
2005-03-31 17:15 | 0.8 | 5.811
2005-03-31 17:15 | 0.8333 | 5.887
2005-03-31 17:15 | 0.8667 | 5.96
2005-03-31 17:15 | 0.9 | 6.016
2005-03-31 17:15 | 0.9333 | 6.079
2005-03-31 17:15 | 0.9667 | 6.11
2005-03-31 17:15 | 1 | 6.094
2005-03-31 17:15 | 1.0333 | 6.281
2005-03-31 17:15 | 1.0667 | 6.321
2005-03-31 17:15 | 1.1 | 6.301
2005-03-31 17:15 | 1.1333 | 6.333
2005-03-31 17:15 | 1.1667 | 6.362
2005-03-31 17:15 | 1.2 | 6.395
2005-03-31 17:15 | 1.2333 | 6.4
2005-03-31 17:16 | 1.2667 | 6.444
2005-03-31 17:16 | 1.3 | 6.474
2005-03-31 17:16 | 1.3333 | 6.363
2005-03-31 17:16 | 1.3667 | 6.537
2005-03-31 17:16 | 1.4 | 6.629
2005-03-31 17:16 | 1.4333 | 6.608
2005-03-31 17:16 | 1.4667 | 6.624
2005-03-31 17:16 | 1.5 | 6.644
2005-03-31 17:16 | 1.5333 | 6.577
2005-03-31 17:16 | 1.5667 | 6.724
2005-03-31 17:16 | 1.6 | 6.687
2005-03-31 17:16 | 1.6333 | 6.713
2005-03-31 17:16 | 1.6667 | 6.716
2005-03-31 17:16 | 1.7 | 6.538
2005-03-31 17:16 | 1.7333 | 6.52
2005-03-31 17:16 | 1.7667 | 6.534
2005-03-31 17:16 | 1.8 | 6.542
2005-03-31 17:16 | 1.8333 | 6.57
2005-03-31 17:16 | 1.8667 | 6.639
2005-03-31 17:16 | 1.9 | 6.642
2005-03-31 17:16 | 1.9333 | 6.658
2005-03-31 17:16 | 1.9667 | 6.532
2005-03-31 17:16 | 2 | 6.739
2005-03-31 17:16 | 2.0333 | 6.748
2005-03-31 17:16 | 2.0667 | 6.7
2005-03-31 17:16 | 2.1 | 6.705
2005-03-31 17:16 | 2.1333 | 6.701
2005-03-31 17:16 | 2.1667 | 6.743
2005-03-31 17:16 | 2.2 | 6.694
2005-03-31 17:16 | 2.2333 | 6.717
2005-03-31 17:17 | 2.2667 | 6.725
2005-03-31 17:17 | 2.3 | 6.668
2005-03-31 17:17 | 2.3333 | 6.744
2005-03-31 17:17 | 2.3667 | 6.804
2005-03-31 17:17 | 2.4 | 6.745
2005-03-31 17:17 | 2.4333 | 6.695
2005-03-31 17:17 | 2.4667 | 6.711
2005-03-31 17:17 | 2.5 | 6.709
2005-03-31 17:17 | 2.5333 | 6.707
2005-03-31 17:17 | 2.5667 | 6.706
2005-03-31 17:17 | 2.6 | 6.712
2005-03-31 17:17 | 2.6333 | 6.708
2005-03-31 17:17 | 2.6667 | 6.717
2005-03-31 17:17 | 2.7 | 6.778
2005-03-31 17:17 | 2.7333 | 6.872
2005-03-31 17:17 | 2.7667 | 6.873
2005-03-31 17:17 | 2.8 | 6.674
2005-03-31 17:17 | 2.8333 | 6.91
2005-03-31 17:17 | 2.8667 | 6.825
2005-03-31 17:17 | 2.9 | 6.85
2005-03-31 17:17 | 2.9333 | 6.85
2005-03-31 17:17 | 2.9667 | 6.844
2005-03-31 17:17 | 3 | 6.84
2005-03-31 17:17 | 3.0333 | 6.846
2005-03-31 17:17 | 3.0667 | 6.827
2005-03-31 17:17 | 3.1 | 6.925
2005-03-31 17:17 | 3.1333 | 6.726
2005-03-31 17:17 | 3.1667 | 6.709
2005-03-31 17:17 | 3.2 | 6.736
2005-03-31 17:17 | 3.2333 | 6.707
2005-03-31 17:18 | 3.2667 | 6.709
2005-03-31 17:18 | 3.3 | 6.708
2005-03-31 17:18 | 3.3333 | 6.712
2005-03-31 17:18 | 3.3667 | 6.696
2005-03-31 17:18 | 3.4 | 6.672
2005-03-31 17:18 | 3.4333 | 6.693
2005-03-31 17:18 | 3.4667 | 6.705
2005-03-31 17:18 | 3.5 | 6.698
2005-03-31 17:18 | 3.5333 | 6.7
2005-03-31 17:18 | 3.5667 | 6.7
2005-03-31 17:18 | 3.6 | 6.439
2005-03-31 17:18 | 3.6333 | 6.738
2005-03-31 17:18 | 3.6667 | 6.695
2005-03-31 17:18 | 3.7 | 6.7
2005-03-31 17:18 | 3.7333 | 6.698
2005-03-31 17:18 | 3.7667 | 6.7
2005-03-31 17:18 | 3.8 | 6.702
2005-03-31 17:18 | 3.8333 | 6.678
2005-03-31 17:18 | 3.8667 | 6.7
2005-03-31 17:18 | 3.9 | 6.632
2005-03-31 17:18 | 3.9333 | 6.753
2005-03-31 17:18 | 3.9667 | 6.752
2005-03-31 17:18 | 4 | 6.696
2005-03-31 17:18 | 4.0333 | 6.697
2005-03-31 17:18 | 4.0667 | 6.697
2005-03-31 17:18 | 4.1 | 6.689
2005-03-31 17:18 | 4.1333 | 6.767
2005-03-31 17:18 | 4.1667 | 6.751
2005-03-31 17:18 | 4.2 | 6.751
2005-03-31 17:18 | 4.2333 | 6.729
2005-03-31 17:19 | 4.2667 | 6.76
2005-03-31 17:19 | 4.3 | 6.802
2005-03-31 17:19 | 4.3333 | 6.778
2005-03-31 17:19 | 4.3667 | 6.781
2005-03-31 17:19 | 4.4 | 6.773
2005-03-31 17:19 | 4.4333 | 6.786
2005-03-31 17:19 | 4.4667 | 6.784
2005-03-31 17:19 | 4.5 | 6.793
2005-03-31 17:19 | 4.5333 | 6.787
2005-03-31 17:19 | 4.5667 | 6.792
2005-03-31 17:19 | 4.6 | 6.804
2005-03-31 17:19 | 4.6333 | 6.796
2005-03-31 17:19 | 4.6667 | 6.793
2005-03-31 17:19 | 4.7 | 6.653
2005-03-31 17:19 | 4.7333 | 6.85
2005-03-31 17:19 | 4.7667 | 6.798
2005-03-31 17:19 | 4.8 | 6.795
2005-03-31 17:19 | 4.8333 | 6.734
2005-03-31 17:19 | 4.8667 | 6.68
2005-03-31 17:19 | 4.9 | 6.692
2005-03-31 17:19 | 4.9333 | 6.702
2005-03-31 17:19 | 4.9667 | 6.71
2005-03-31 17:19 | 5 | 6.701
2005-03-31 17:19 | 5.0333 | 6.762
2005-03-31 17:19 | 5.0667 | 7.723
2005-03-31 17:19 | 5.1 | 7.805
2005-03-31 17:19 | 5.1333 | 7.858
2005-03-31 17:19 | 5.1667 | 7.895
2005-03-31 17:19 | 5.2 | 7.924
2005-03-31 17:19 | 5.2333 | 7.954
2005-03-31 17:20 | 5.2667 | 8.003
2005-03-31 17:20 | 5.3 | 7.982
2005-03-31 17:20 | 5.3333 | 6.833
2005-03-31 17:20 | 5.3667 | 6.852
2005-03-31 17:20 | 5.4 | 6.888
2005-03-31 17:20 | 5.4333 | 6.64
2005-03-31 17:20 | 5.4667 | 6.861
2005-03-31 17:20 | 5.5 | 6.815
2005-03-31 17:20 | 5.5333 | 6.815
2005-03-31 17:20 | 5.5667 | 6.817
2005-03-31 17:20 | 5.6 | 6.785
2005-03-31 17:20 | 5.6333 | 6.811
2005-03-31 17:20 | 5.6667 | 6.809
2005-03-31 17:20 | 5.7 | 6.81
2005-03-31 17:20 | 5.7333 | 6.808
2005-03-31 17:20 | 5.7667 | 6.814
2005-03-31 17:20 | 5.8 | 6.83
2005-03-31 17:20 | 5.8333 | 6.83
2005-03-31 17:20 | 5.8667 | 6.829
2005-03-31 17:20 | 5.9 | 6.823