## SITE
Lake Lytal ( PBF - 3, 4, 5 ) |  |  |  | 2003-01-03
Site Description: | Open, level area with chainlink fence
Lat / Long: 264034.749 / 800612.596 |  | Datum: | NAD - 83
Site Owner: S.F.W.M.D. |  | U.S.G.S. ID:
Site Contact: Michael Bennett |  | Contact Number: 561-682-6822
Written Directions: | From the intersection of I-95 and Southern Blvd. (SR-80), travel west on
Southern Blvd. 2.0 miles to Kirk Rd.. Turn south ( left ) and travel 0.1 miles. There is a chainlink
gate on the east side of Kirk Rd. with a combination lock on it. The wells are inclosed in a
chainlink fence 100 ft. northeast of the gate. The lock combinations are both 2001.
Well Info:

## PHOTOS
Photo 1: PBF-3,4,5 before restoration. | Photo 2: PBF-3,4,5 before restoration.
Photo 3: PBF-3,4,5 well head redone, view to the north. Dry air box needs to be moved.
Photo 4: PBF-3,4,5 view to the west. Dry air system needs to be moved.
Photo 5: PBF-3,4,5 Dry Air box relocated by DD, JC
Photo 6: PBF-3,4,5 Fully instrumented.

## PBF-3 (GW1)
Name: | PBF - 3 ( GW-1 )
Lat / Long: | 264034.749 / 800612.596 |  |  | Datum: | NAD - 83
Landsurface Elevation ( NGVD): |  |  |  | Survey Date:
Bench Mark Elevation ( NGVD): |  |  | 21.53'
Surveyed Elevation ( NGVD): |  |  |  | U.S.G.S. ID:
Ritt. Measuring Point above BM: |  |  | 3.824' | Trans. MP (NGVD): | 25.354'
Total Depth: | 1250' |  |  | Casing Depth: | 1050'
Casing Material: |  | Steel |  | Casing Diameter: | 2"
Aquifer: | Upper Floridan |  |  | Well Condition: | good
Outfit Date: | 2001-01-25
CR-10 Install Date: |  | 3/01
Calibration Date: |  | 5/11/2001, | GwPSI - 9/28/01, Loggernet 10/01
W/Q Sample Date:
Enclosure: | chain link fence
Parts List: | external transducer
Comments: | Sample port added 8/6/02, new M.P.
Well Photo: |  |  |  | Well Diagram:

## PBF-4 (GW2)
Name: | PBF - 4 ( GW-2 )
Lat / Long: | 264034.749 / 800612.596 |  |  | Datum: | NAD - 83
Landsurface Elevation ( NGVD): |  |  |  | Survey Date:
Bench Mark Elevation ( NGVD): |  |  | 21.53'
Surveyed Elevation ( NGVD): |  |  |  | U.S.G.S. ID:
Ritt. Measuring Point above BM: |  |  | 4.274' | Trans. MP (NGVD): | 25.804'
Total Depth: | 1500' |  |  | Casing Depth: | 1360'
Casing Material: |  | Steel |  | Casing Diameter: | 2"
Aquifer: | Middle Floridan |  |  | Well Condition: | good
Outfit Date: | 2001-01-25
CR-10 Install Date: |  | 3/01
Calibration Date: |  | 5/11/2001, | GwPSI - 9/28/01, Loggernet 10/01
W/Q Sample Date:
Enclosure: | chain link fence
Parts List: | external transducer
Comments: | Sample port added 8/6/02, new M.P.
Well Photo: |  |  |  | Well Diagram:

## PBF-5 (GW3)
Name: | PBF - 5 ( GW-3 )
Lat / Long: | 264034.749 / 800612.596 |  |  | Datum: | NAD - 83
Landsurface Elevation ( NGVD): |  |  |  | Survey Date:
Bench Mark Elevation ( NGVD): |  |  | 21.53'
Surveyed Elevation ( NGVD): |  |  |  | U.S.G.S. ID:
Measuring Point above BM : |  |  | 1.60' | Trans. MP (NGVD): | -6.87'
Total Depth: | 2485' |  |  | Casing Depth: | 2340'
Casing Material: |  | Fiberglass |  | Casing Diameter: | 2"
Aquifer: | Lower Floridan |  |  | Well Condition: | good
Outfit Date: | 2001-01-25
CR-10 Install Date: |  | 3/01
Calibration Date: |  | 5/11/01, | GwPSI - 9/28/01, Loggernet 10/01
W/Q Sample Date:
Enclosure: | chain link fence
Parts List: | Submersible transducer
Comments: | Submersible transducer is set 30' below M.P.
Well Photo: |  |  |  | Well Diagram: