## Sheet1
Project: | LKB MW Network
Well: | C1B
Test no. | 2
Test conducted on | 2005-03-08
Evaluated by | JV
D (ft) | 225
Kv/Kh | 0.1
L (ft) | 5
H (ft) | 10 | (assume wl 5 ft below surface)
r(c) (ft) | 0.17
r(w) (ft) | 0.42
n | 0.2
s(0) (ft)
Static WL (ft btoc)
TD well (ft btoc) | 15 | (below surface)
Surface elev. (ft)
Ft. H20 @ t = max | 10.728
time (min) | Ft. H20 | s (ft) | time (min) | s (ft)
0 | 0 | 10.728 | 0 | 10.728
0.0333 | 0.001 | 10.727 | 0.0333 | 10.727
0.0667 | 0.039 | 10.689 | 0.0667 | 10.689
0.1 | 0.366 | 10.362 | 0.1 | 10.362
0.1333 | 0.742 | 9.986 | 0.1333 | 9.986
0.1667 | 1.146 | 9.582 | 0.1667 | 9.582
0.2 | 1.532 | 9.196 | 0.2 | 9.196
0.2333 | 1.907 | 8.821 | 0.2333 | 8.821
0.2667 | 2.274 | 8.454 | 0.2667 | 8.454
0.3 | 2.63 | 8.098 | 0.3 | 8.098
0.3333 | 2.974 | 7.754 | 0.3333 | 7.754
0.3667 | 3.305 | 7.423 | 0.3667 | 7.423
0.4 | 3.623 | 7.105 | 0.4 | 7.105
0.4333 | 3.925 | 6.803 | 0.4333 | 6.803
0.4667 | 4.218 | 6.51 | 0.4667 | 6.51
0.5 | 4.495 | 6.233 | 0.5 | 6.233
0.5333 | 4.761 | 5.967 | 0.5333 | 5.967
0.5667 | 5.011 | 5.717 | 0.5667 | 5.717
0.6 | 5.257 | 5.471 | 0.6 | 5.471
0.6333 | 5.487 | 5.241 | 0.6333 | 5.241
0.6667 | 5.708 | 5.02 | 0.6667 | 5.02
0.7 | 5.917 | 4.811 | 0.7 | 4.811
0.7333 | 6.119 | 4.609 | 0.7333 | 4.609
0.7667 | 6.302 | 4.426 | 0.7667 | 4.426
0.8 | 6.491 | 4.237 | 0.8 | 4.237
0.8333 | 6.666 | 4.062 | 0.8333 | 4.062
0.8667 | 6.828 | 3.9 | 0.8667 | 3.9
0.9 | 6.986 | 3.742 | 0.9 | 3.742
0.9333 | 7.146 | 3.582 | 0.9333 | 3.582
0.9667 | 7.291 | 3.437 | 0.9667 | 3.437
1 | 7.429 | 3.299 | 1 | 3.299
1.0333 | 7.564 | 3.164 | 1.0333 | 3.164
1.0667 | 7.687 | 3.041 | 1.0667 | 3.041
1.1 | 7.813 | 2.915 | 1.1 | 2.915
1.1333 | 7.929 | 2.799 | 1.1333 | 2.799
1.1667 | 8.042 | 2.686 | 1.1667 | 2.686
1.2 | 8.146 | 2.582 | 1.2 | 2.582
1.2333 | 8.246 | 2.482 | 1.2333 | 2.482
1.2667 | 8.343 | 2.385 | 1.2667 | 2.385
1.3 | 8.435 | 2.293 | 1.3 | 2.293
1.3333 | 8.523 | 2.205 | 1.3333 | 2.205
1.3667 | 8.606 | 2.122 | 1.3667 | 2.122
1.4 | 8.681 | 2.047 | 1.4 | 2.047
1.4333 | 8.762 | 1.966 | 1.4333 | 1.966
1.4667 | 8.835 | 1.893 | 1.4667 | 1.893
1.5 | 8.904 | 1.824 | 1.5 | 1.824
1.5333 | 8.97 | 1.758 | 1.5333 | 1.758
1.5667 | 9.032 | 1.696 | 1.5667 | 1.696
1.6 | 9.094 | 1.634 | 1.6 | 1.634
1.6333 | 9.153 | 1.575 | 1.6333 | 1.575
1.6667 | 9.209 | 1.519 | 1.6667 | 1.519
1.7 | 9.264 | 1.464 | 1.7 | 1.464
1.7333 | 9.312 | 1.416 | 1.7333 | 1.416
1.7667 | 9.365 | 1.363 | 1.7667 | 1.363
1.8 | 9.411 | 1.317 | 1.8 | 1.317
1.8333 | 9.457 | 1.271 | 1.8333 | 1.271
1.8667 | 9.5 | 1.228 | 1.8667 | 1.228
1.9 | 9.541 | 1.187 | 1.9 | 1.187
1.9333 | 9.581 | 1.147 | 1.9333 | 1.147
1.9667 | 9.619 | 1.109 | 1.9667 | 1.109
2 | 9.655 | 1.073 | 2 | 1.073
2.0333 | 9.691 | 1.037 | 2.0333 | 1.037
2.0667 | 9.725 | 1.003 | 2.0667 | 1.003
2.1 | 9.757 | 0.971 | 2.1 | 0.971
2.1333 | 9.786 | 0.942 | 2.1333 | 0.942
2.1667 | 9.816 | 0.912 | 2.1667 | 0.912
2.2 | 9.845 | 0.883 | 2.2 | 0.883
2.2333 | 9.876 | 0.852 | 2.2333 | 0.852
2.2667 | 9.903 | 0.825 | 2.2667 | 0.825
2.3 | 9.929 | 0.799 | 2.3 | 0.799
2.3333 | 9.953 | 0.775 | 2.3333 | 0.775
2.3667 | 9.979 | 0.749 | 2.3667 | 0.749
2.4 | 10.003 | 0.725 | 2.4 | 0.725
2.4333 | 10.023 | 0.705 | 2.4333 | 0.705
2.4667 | 10.047 | 0.681 | 2.4667 | 0.681
2.5 | 10.067 | 0.661 | 2.5 | 0.661
2.5333 | 10.087 | 0.641 | 2.5333 | 0.641
2.5667 | 10.106 | 0.622 | 2.5667 | 0.622
2.6 | 10.126 | 0.602 | 2.6 | 0.602
2.6333 | 10.14 | 0.588 | 2.6333 | 0.588
2.6667 | 10.16 | 0.568 | 2.6667 | 0.568
2.7 | 10.176 | 0.552 | 2.7 | 0.552
2.7333 | 10.194 | 0.534 | 2.7333 | 0.534
2.7667 | 10.209 | 0.519 | 2.7667 | 0.519
2.8 | 10.224 | 0.504 | 2.8 | 0.504
2.8333 | 10.24 | 0.488 | 2.8333 | 0.488
2.8667 | 10.254 | 0.474 | 2.8667 | 0.474
2.9 | 10.267 | 0.461 | 2.9 | 0.461
2.9333 | 10.281 | 0.447 | 2.9333 | 0.447
2.9667 | 10.293 | 0.435 | 2.9667 | 0.435
3 | 10.307 | 0.421 | 3 | 0.421
3.0333 | 10.318 | 0.41 | 3.0333 | 0.41
3.0667 | 10.327 | 0.401 | 3.0667 | 0.401
3.1 | 10.337 | 0.391 | 3.1 | 0.391
3.1333 | 10.35 | 0.378 | 3.1333 | 0.378
3.1667 | 10.361 | 0.367 | 3.1667 | 0.367
3.2 | 10.373 | 0.355 | 3.2 | 0.355
3.2333 | 10.382 | 0.346 | 3.2333 | 0.346
3.2667 | 10.391 | 0.337 | 3.2667 | 0.337
3.3 | 10.4 | 0.328 | 3.3 | 0.328
3.3333 | 10.409 | 0.319 | 3.3333 | 0.319
3.3667 | 10.418 | 0.31 | 3.3667 | 0.31
3.4 | 10.427 | 0.301 | 3.4 | 0.301
3.4333 | 10.433 | 0.295 | 3.4333 | 0.295
3.4667 | 10.438 | 0.29 | 3.4667 | 0.29
3.5 | 10.45 | 0.278 | 3.5 | 0.278
3.5333 | 10.457 | 0.271 | 3.5333 | 0.271
3.5667 | 10.464 | 0.264 | 3.5667 | 0.264
3.6 | 10.471 | 0.257 | 3.6 | 0.257
3.6333 | 10.477 | 0.251 | 3.6333 | 0.251
3.6667 | 10.483 | 0.245 | 3.6667 | 0.245
3.7 | 10.489 | 0.239 | 3.7 | 0.239
3.7333 | 10.491 | 0.237 | 3.7333 | 0.237
3.7667 | 10.502 | 0.226 | 3.7667 | 0.226
3.8 | 10.508 | 0.22 | 3.8 | 0.22
3.8333 | 10.512 | 0.216 | 3.8333 | 0.216
3.8667 | 10.519 | 0.209 | 3.8667 | 0.209
3.9 | 10.524 | 0.204 | 3.9 | 0.204
3.9333 | 10.528 | 0.2 | 3.9333 | 0.2
3.9667 | 10.534 | 0.194 | 3.9667 | 0.194
4 | 10.539 | 0.189 | 4 | 0.189
4.0333 | 10.542 | 0.186 | 4.0333 | 0.186
4.0667 | 10.54 | 0.188 | 4.0667 | 0.188
4.1 | 10.546 | 0.182 | 4.1 | 0.182
4.1333 | 10.556 | 0.172 | 4.1333 | 0.172
4.1667 | 10.56 | 0.168 | 4.1667 | 0.168
4.2 | 10.562 | 0.166 | 4.2 | 0.166
4.2333 | 10.561 | 0.167 | 4.2333 | 0.167
4.2667 | 10.56 | 0.168 | 4.2667 | 0.168
4.3 | 10.57 | 0.158 | 4.3 | 0.158
4.3333 | 10.573 | 0.155 | 4.3333 | 0.155
4.3667 | 10.58 | 0.148 | 4.3667 | 0.148
4.4 | 10.583 | 0.145 | 4.4 | 0.145
4.4333 | 10.587 | 0.141 | 4.4333 | 0.141
4.4667 | 10.59 | 0.138 | 4.4667 | 0.138
4.5 | 10.594 | 0.134 | 4.5 | 0.134
4.5333 | 10.597 | 0.131 | 4.5333 | 0.131
4.5667 | 10.601 | 0.127 | 4.5667 | 0.127
4.6 | 10.603 | 0.125 | 4.6 | 0.125
4.6333 | 10.606 | 0.122 | 4.6333 | 0.122
4.6667 | 10.609 | 0.119 | 4.6667 | 0.119
4.7 | 10.611 | 0.117 | 4.7 | 0.117
4.7333 | 10.613 | 0.115 | 4.7333 | 0.115
4.7667 | 10.615 | 0.113 | 4.7667 | 0.113
4.8 | 10.617 | 0.111 | 4.8 | 0.111
4.8333 | 10.618 | 0.11 | 4.8333 | 0.11
4.8667 | 10.623 | 0.105 | 4.8667 | 0.105
4.9 | 10.621 | 0.107 | 4.9 | 0.107
4.9333 | 10.626 | 0.102 | 4.9333 | 0.102
4.9667 | 10.625 | 0.103 | 4.9667 | 0.103
5 | 10.628 | 0.1 | 5 | 0.1
5.0333 | 10.63 | 0.098 | 5.0333 | 0.098
5.0667 | 10.632 | 0.096 | 5.0667 | 0.096
5.1 | 10.636 | 0.092 | 5.1 | 0.092
5.1333 | 10.637 | 0.091 | 5.1333 | 0.091
5.1667 | 10.637 | 0.091 | 5.1667 | 0.091
5.2 | 10.64 | 0.088 | 5.2 | 0.088
5.2333 | 10.643 | 0.085 | 5.2333 | 0.085
5.2667 | 10.642 | 0.086 | 5.2667 | 0.086
5.3 | 10.641 | 0.087 | 5.3 | 0.087
5.3333 | 10.646 | 0.082 | 5.3333 | 0.082
5.3667 | 10.648 | 0.08 | 5.3667 | 0.08
5.4 | 10.651 | 0.077 | 5.4 | 0.077
5.4333 | 10.65 | 0.078 | 5.4333 | 0.078
5.4667 | 10.651 | 0.077 | 5.4667 | 0.077
5.5 | 10.653 | 0.075 | 5.5 | 0.075
5.5333 | 10.654 | 0.074 | 5.5333 | 0.074
5.5667 | 10.655 | 0.073 | 5.5667 | 0.073
5.6 | 10.657 | 0.071 | 5.6 | 0.071
5.6333 | 10.658 | 0.07 | 5.6333 | 0.07
5.6667 | 10.659 | 0.069 | 5.6667 | 0.069
5.7 | 10.658 | 0.07 | 5.7 | 0.07
5.7333 | 10.663 | 0.065 | 5.7333 | 0.065
5.7667 | 10.663 | 0.065 | 5.7667 | 0.065
5.8 | 10.666 | 0.062 | 5.8 | 0.062
5.8333 | 10.667 | 0.061 | 5.8333 | 0.061
5.8667 | 10.669 | 0.059 | 5.8667 | 0.059
5.9 | 10.668 | 0.06 | 5.9 | 0.06
5.9333 | 10.664 | 0.064 | 5.9333 | 0.064
5.9667 | 10.667 | 0.061 | 5.9667 | 0.061
6 | 10.672 | 0.056 | 6 | 0.056
6.0333 | 10.672 | 0.056 | 6.0333 | 0.056
6.0667 | 10.673 | 0.055 | 6.0667 | 0.055
6.1 | 10.675 | 0.053 | 6.1 | 0.053
6.1333 | 10.676 | 0.052 | 6.1333 | 0.052
6.1667 | 10.677 | 0.051 | 6.1667 | 0.051
6.2 | 10.677 | 0.051 | 6.2 | 0.051
6.2333 | 10.678 | 0.05 | 6.2333 | 0.05
6.2667 | 10.678 | 0.05 | 6.2667 | 0.05
6.3 | 10.679 | 0.049 | 6.3 | 0.049
6.3333 | 10.682 | 0.046 | 6.3333 | 0.046
6.3667 | 10.68 | 0.048 | 6.3667 | 0.048
6.4 | 10.68 | 0.048 | 6.4 | 0.048
6.4333 | 10.683 | 0.045 | 6.4333 | 0.045
6.4667 | 10.684 | 0.044 | 6.4667 | 0.044
6.5 | 10.684 | 0.044 | 6.5 | 0.044
6.5333 | 10.684 | 0.044 | 6.5333 | 0.044
6.5667 | 10.686 | 0.042 | 6.5667 | 0.042
6.6 | 10.686 | 0.042 | 6.6 | 0.042
6.6333 | 10.687 | 0.041 | 6.6333 | 0.041
6.6667 | 10.688 | 0.04 | 6.6667 | 0.04
6.7 | 10.689 | 0.039 | 6.7 | 0.039
6.7333 | 10.69 | 0.038 | 6.7333 | 0.038
6.7667 | 10.689 | 0.039 | 6.7667 | 0.039
6.8 | 10.688 | 0.04 | 6.8 | 0.04
6.8333 | 10.69 | 0.038 | 6.8333 | 0.038
6.8667 | 10.692 | 0.036 | 6.8667 | 0.036
6.9 | 10.692 | 0.036 | 6.9 | 0.036
6.9333 | 10.69 | 0.038 | 6.9333 | 0.038
6.9667 | 10.694 | 0.034 | 6.9667 | 0.034
7 | 10.692 | 0.036 | 7 | 0.036
7.0333 | 10.693 | 0.035 | 7.0333 | 0.035
7.0667 | 10.694 | 0.034 | 7.0667 | 0.034
7.1 | 10.695 | 0.033 | 7.1 | 0.033
7.1333 | 10.695 | 0.033 | 7.1333 | 0.033
7.1667 | 10.695 | 0.033 | 7.1667 | 0.033
7.2 | 10.695 | 0.033 | 7.2 | 0.033
7.2333 | 10.696 | 0.032 | 7.2333 | 0.032
7.2667 | 10.697 | 0.031 | 7.2667 | 0.031
7.3 | 10.696 | 0.032 | 7.3 | 0.032
7.3333 | 10.698 | 0.03 | 7.3333 | 0.03
7.3667 | 10.696 | 0.032 | 7.3667 | 0.032
7.4 | 10.697 | 0.031 | 7.4 | 0.031
7.4333 | 10.697 | 0.031 | 7.4333 | 0.031
7.4667 | 10.698 | 0.03 | 7.4667 | 0.03
7.5 | 10.699 | 0.029 | 7.5 | 0.029
7.5333 | 10.699 | 0.029 | 7.5333 | 0.029
7.5667 | 10.697 | 0.031 | 7.5667 | 0.031
7.6 | 10.697 | 0.031 | 7.6 | 0.031
7.6333 | 10.698 | 0.03 | 7.6333 | 0.03
7.6667 | 10.699 | 0.029 | 7.6667 | 0.029
7.7 | 10.702 | 0.026 | 7.7 | 0.026
7.7333 | 10.704 | 0.024 | 7.7333 | 0.024
7.7667 | 10.701 | 0.027 | 7.7667 | 0.027
7.8 | 10.704 | 0.024 | 7.8 | 0.024
7.8333 | 10.701 | 0.027 | 7.8333 | 0.027
7.8667 | 10.703 | 0.025 | 7.8667 | 0.025
7.9 | 10.702 | 0.026 | 7.9 | 0.026
7.9333 | 10.704 | 0.024 | 7.9333 | 0.024
7.9667 | 10.704 | 0.024 | 7.9667 | 0.024
8 | 10.705 | 0.023 | 8 | 0.023
8.0333 | 10.705 | 0.023 | 8.0333 | 0.023
8.0667 | 10.707 | 0.021 | 8.0667 | 0.021
8.1 | 10.706 | 0.022 | 8.1 | 0.022
8.1333 | 10.705 | 0.023 | 8.1333 | 0.023
8.1667 | 10.703 | 0.025 | 8.1667 | 0.025
8.2 | 10.706 | 0.022 | 8.2 | 0.022
8.2333 | 10.703 | 0.025 | 8.2333 | 0.025
8.2667 | 10.706 | 0.022 | 8.2667 | 0.022
8.3 | 10.707 | 0.021 | 8.3 | 0.021
8.3333 | 10.707 | 0.021 | 8.3333 | 0.021
8.3667 | 10.708 | 0.02 | 8.3667 | 0.02
8.4 | 10.707 | 0.021 | 8.4 | 0.021
8.4333 | 10.708 | 0.02 | 8.4333 | 0.02
8.4667 | 10.704 | 0.024 | 8.4667 | 0.024
8.5 | 10.706 | 0.022 | 8.5 | 0.022
8.5333 | 10.708 | 0.02 | 8.5333 | 0.02
8.5667 | 10.708 | 0.02 | 8.5667 | 0.02
8.6 | 10.709 | 0.019 | 8.6 | 0.019
8.6333 | 10.708 | 0.02 | 8.6333 | 0.02
8.6667 | 10.709 | 0.019 | 8.6667 | 0.019
8.7 | 10.71 | 0.018 | 8.7 | 0.018
8.7333 | 10.71 | 0.018 | 8.7333 | 0.018
8.7667 | 10.71 | 0.018 | 8.7667 | 0.018
8.8 | 10.71 | 0.018 | 8.8 | 0.018
8.8333 | 10.711 | 0.017 | 8.8333 | 0.017
8.8667 | 10.71 | 0.018 | 8.8667 | 0.018
8.9 | 10.711 | 0.017 | 8.9 | 0.017
8.9333 | 10.711 | 0.017 | 8.9333 | 0.017
8.9667 | 10.711 | 0.017 | 8.9667 | 0.017
9 | 10.711 | 0.017 | 9 | 0.017
9.0333 | 10.71 | 0.018 | 9.0333 | 0.018
9.0667 | 10.708 | 0.02 | 9.0667 | 0.02
9.1 | 10.711 | 0.017 | 9.1 | 0.017
9.1333 | 10.712 | 0.016 | 9.1333 | 0.016
9.1667 | 10.71 | 0.018 | 9.1667 | 0.018
9.2 | 10.712 | 0.016 | 9.2 | 0.016
9.2333 | 10.713 | 0.015 | 9.2333 | 0.015
9.2667 | 10.711 | 0.017 | 9.2667 | 0.017
9.3 | 10.712 | 0.016 | 9.3 | 0.016
9.3333 | 10.713 | 0.015 | 9.3333 | 0.015
9.3667 | 10.714 | 0.014 | 9.3667 | 0.014
9.4 | 10.714 | 0.014 | 9.4 | 0.014
9.4333 | 10.713 | 0.015 | 9.4333 | 0.015
9.4667 | 10.714 | 0.014 | 9.4667 | 0.014
9.5 | 10.713 | 0.015 | 9.5 | 0.015
9.5333 | 10.714 | 0.014 | 9.5333 | 0.014
9.5667 | 10.714 | 0.014 | 9.5667 | 0.014
9.6 | 10.714 | 0.014 | 9.6 | 0.014
9.6333 | 10.715 | 0.013 | 9.6333 | 0.013
9.6667 | 10.715 | 0.013 | 9.6667 | 0.013
9.7 | 10.714 | 0.014 | 9.7 | 0.014
9.7333 | 10.713 | 0.015 | 9.7333 | 0.015
9.7667 | 10.712 | 0.016 | 9.7667 | 0.016
9.8 | 10.715 | 0.013 | 9.8 | 0.013
9.8333 | 10.713 | 0.015 | 9.8333 | 0.015
9.8667 | 10.713 | 0.015 | 9.8667 | 0.015
9.9 | 10.713 | 0.015 | 9.9 | 0.015
9.9333 | 10.713 | 0.015 | 9.9333 | 0.015
9.9667 | 10.713 | 0.015 | 9.9667 | 0.015
10 | 10.714 | 0.014 | 10 | 0.014
10.0333 | 10.714 | 0.014 | 10.0333 | 0.014
10.0667 | 10.714 | 0.014 | 10.0667 | 0.014
10.1 | 10.714 | 0.014 | 10.1 | 0.014
10.1333 | 10.715 | 0.013 | 10.1333 | 0.013
10.1667 | 10.715 | 0.013 | 10.1667 | 0.013
10.2 | 10.714 | 0.014 | 10.2 | 0.014
10.2333 | 10.715 | 0.013 | 10.2333 | 0.013
10.2667 | 10.715 | 0.013 | 10.2667 | 0.013
10.3 | 10.716 | 0.012 | 10.3 | 0.012
10.3333 | 10.714 | 0.014 | 10.3333 | 0.014
10.3667 | 10.716 | 0.012 | 10.3667 | 0.012
10.4 | 10.717 | 0.011 | 10.4 | 0.011
10.4333 | 10.716 | 0.012 | 10.4333 | 0.012
10.4667 | 10.713 | 0.015 | 10.4667 | 0.015
10.5 | 10.71 | 0.018 | 10.5 | 0.018
10.5333 | 10.717 | 0.011 | 10.5333 | 0.011
10.5667 | 10.72 | 0.008 | 10.5667 | 0.008
10.6 | 10.717 | 0.011 | 10.6 | 0.011
10.6333 | 10.718 | 0.01 | 10.6333 | 0.01
10.6667 | 10.718 | 0.01 | 10.6667 | 0.01
10.7 | 10.718 | 0.01 | 10.7 | 0.01
10.7333 | 10.716 | 0.012 | 10.7333 | 0.012
10.7667 | 10.717 | 0.011 | 10.7667 | 0.011
10.8 | 10.716 | 0.012 | 10.8 | 0.012
10.8333 | 10.718 | 0.01 | 10.8333 | 0.01
10.8667 | 10.72 | 0.008 | 10.8667 | 0.008
10.9 | 10.718 | 0.01 | 10.9 | 0.01
10.9333 | 10.72 | 0.008 | 10.9333 | 0.008
10.9667 | 10.716 | 0.012 | 10.9667 | 0.012
11 | 10.72 | 0.008 | 11 | 0.008
11.0333 | 10.719 | 0.009 | 11.0333 | 0.009
11.0667 | 10.717 | 0.011 | 11.0667 | 0.011
11.1 | 10.72 | 0.008 | 11.1 | 0.008
11.1333 | 10.722 | 0.006 | 11.1333 | 0.006
11.1667 | 10.72 | 0.008 | 11.1667 | 0.008
11.2 | 10.719 | 0.009 | 11.2 | 0.009
11.2333 | 10.722 | 0.006 | 11.2333 | 0.006
11.2667 | 10.72 | 0.008 | 11.2667 | 0.008
11.3 | 10.72 | 0.008 | 11.3 | 0.008
11.3333 | 10.721 | 0.007 | 11.3333 | 0.007
11.3667 | 10.721 | 0.007 | 11.3667 | 0.007
11.4 | 10.72 | 0.008 | 11.4 | 0.008
11.4333 | 10.722 | 0.006 | 11.4333 | 0.006
11.4667 | 10.72 | 0.008 | 11.4667 | 0.008
11.5 | 10.721 | 0.007 | 11.5 | 0.007
11.5333 | 10.722 | 0.006 | 11.5333 | 0.006
11.5667 | 10.721 | 0.007 | 11.5667 | 0.007
11.6 | 10.722 | 0.006 | 11.6 | 0.006
11.6333 | 10.722 | 0.006 | 11.6333 | 0.006
11.6667 | 10.723 | 0.005 | 11.6667 | 0.005
11.7 | 10.723 | 0.005 | 11.7 | 0.005
11.7333 | 10.722 | 0.006 | 11.7333 | 0.006
11.7667 | 10.723 | 0.005 | 11.7667 | 0.005
11.8 | 10.722 | 0.006 | 11.8 | 0.006
11.8333 | 10.723 | 0.005 | 11.8333 | 0.005
11.8667 | 10.724 | 0.004 | 11.8667 | 0.004
11.9 | 10.724 | 0.004 | 11.9 | 0.004
11.9333 | 10.724 | 0.004 | 11.9333 | 0.004
11.9667 | 10.723 | 0.005 | 11.9667 | 0.005
12 | 10.723 | 0.005 | 12 | 0.005
12.0333 | 10.724 | 0.004 | 12.0333 | 0.004
12.0667 | 10.724 | 0.004 | 12.0667 | 0.004
12.1 | 10.725 | 0.003 | 12.1 | 0.003
12.1333 | 10.724 | 0.004 | 12.1333 | 0.004
12.1667 | 10.725 | 0.003 | 12.1667 | 0.003
12.2 | 10.725 | 0.003 | 12.2 | 0.003
12.2333 | 10.724 | 0.004 | 12.2333 | 0.004
12.2667 | 10.723 | 0.005 | 12.2667 | 0.005
12.3 | 10.725 | 0.003 | 12.3 | 0.003
12.3333 | 10.725 | 0.003 | 12.3333 | 0.003
12.3667 | 10.725 | 0.003 | 12.3667 | 0.003
12.4 | 10.726 | 0.002 | 12.4 | 0.002
12.4333 | 10.727 | 0.001 | 12.4333 | 0.001
12.4667 | 10.725 | 0.003 | 12.4667 | 0.003
12.5 | 10.726 | 0.002 | 12.5 | 0.002
12.5333 | 10.725 | 0.003 | 12.5333 | 0.003
12.5667 | 10.725 | 0.003 | 12.5667 | 0.003
12.6 | 10.725 | 0.003 | 12.6 | 0.003
12.6333 | 10.725 | 0.003 | 12.6333 | 0.003
12.6667 | 10.725 | 0.003 | 12.6667 | 0.003
12.7 | 10.724 | 0.004 | 12.7 | 0.004
12.7333 | 10.725 | 0.003 | 12.7333 | 0.003
12.7667 | 10.725 | 0.003 | 12.7667 | 0.003
12.8 | 10.726 | 0.002 | 12.8 | 0.002
12.8333 | 10.726 | 0.002 | 12.8333 | 0.002
12.8667 | 10.726 | 0.002 | 12.8667 | 0.002
12.9 | 10.726 | 0.002 | 12.9 | 0.002
12.9333 | 10.726 | 0.002 | 12.9333 | 0.002
12.9667 | 10.726 | 0.002 | 12.9667 | 0.002
13 | 10.726 | 0.002 | 13 | 0.002
13.0333 | 10.725 | 0.003 | 13.0333 | 0.003
13.0667 | 10.726 | 0.002 | 13.0667 | 0.002
13.1 | 10.726 | 0.002 | 13.1 | 0.002
13.1333 | 10.726 | 0.002 | 13.1333 | 0.002
13.1667 | 10.726 | 0.002 | 13.1667 | 0.002
13.2 | 10.725 | 0.003 | 13.2 | 0.003
13.2333 | 10.728 | 0 | 13.2333 | 0
13.2667 | 10.725 | 0.003 | 13.2667 | 0.003
13.3 | 10.727 | 0.001 | 13.3 | 0.001
13.3333 | 10.727 | 0.001 | 13.3333 | 0.001
13.3667 | 10.727 | 0.001 | 13.3667 | 0.001
13.4 | 10.727 | 0.001 | 13.4 | 0.001
13.4333 | 10.726 | 0.002 | 13.4333 | 0.002
13.4667 | 10.727 | 0.001 | 13.4667 | 0.001
13.5 | 10.727 | 0.001 | 13.5 | 0.001
13.5333 | 10.726 | 0.002 | 13.5333 | 0.002
13.5667 | 10.726 | 0.002 | 13.5667 | 0.002
13.6 | 10.727 | 0.001 | 13.6 | 0.001
13.6333 | 10.727 | 0.001 | 13.6333 | 0.001
13.6667 | 10.727 | 0.001 | 13.6667 | 0.001
13.7 | 10.727 | 0.001 | 13.7 | 0.001
13.7333 | 10.727 | 0.001 | 13.7333 | 0.001
13.7667 | 10.727 | 0.001 | 13.7667 | 0.001
13.8 | 10.727 | 0.001 | 13.8 | 0.001
13.8333 | 10.728 | 0 | 13.8333 | 0
13.8667 | 10.727 | 0.001 | 13.8667 | 0.001
13.9 | 10.727 | 0.001 | 13.9 | 0.001
13.9333 | 10.728 | 0 | 13.9333 | 0
13.9667 | 10.727 | 0.001 | 13.9667 | 0.001
14 | 10.728 | 0 | 14 | 0
14.0333 | 10.728 | 0 | 14.0333 | 0
14.0667 | 10.728 | 0 | 14.0667 | 0
14.1 | 10.727 | 0.001 | 14.1 | 0.001
14.1333 | 10.727 | 0.001 | 14.1333 | 0.001
14.1667 | 10.728 | 0 | 14.1667 | 0
14.2 | 10.728 | 0 | 14.2 | 0
14.2333 | 10.727 | 0.001 | 14.2333 | 0.001
14.2667 | 10.728 | 0 | 14.2667 | 0
14.3 | 10.728 | 0 | 14.3 | 0
14.3333 | 10.728 | 0 | 14.3333 | 0
14.3667 | 10.728 | 0 | 14.3667 | 0
14.4 | 10.728 | 0 | 14.4 | 0
14.4333 | 10.728 | 0 | 14.4333 | 0
14.4667 | 10.728 | 0 | 14.4667 | 0
14.5 | 10.726 | 0.002 | 14.5 | 0.002
14.5333 | 10.726 | 0.002 | 14.5333 | 0.002
14.5667 | 10.725 | 0.003 | 14.5667 | 0.003
14.6 | 10.727 | 0.001 | 14.6 | 0.001
14.6333 | 10.726 | 0.002 | 14.6333 | 0.002
14.6667 | 10.726 | 0.002 | 14.6667 | 0.002
14.7 | 10.725 | 0.003 | 14.7 | 0.003
14.7333 | 10.726 | 0.002 | 14.7333 | 0.002
14.7667 | 10.726 | 0.002 | 14.7667 | 0.002
14.8 | 10.726 | 0.002 | 14.8 | 0.002
14.8333 | 10.727 | 0.001 | 14.8333 | 0.001
14.8667 | 10.725 | 0.003 | 14.8667 | 0.003
14.9 | 10.724 | 0.004 | 14.9 | 0.004
14.9333 | 10.729 | -0.001 | 14.9333 | -0.001
14.9667 | 10.726 | 0.002 | 14.9667 | 0.002
15 | 10.726 | 0.002 | 15 | 0.002
15.0333 | 10.727 | 0.001 | 15.0333 | 0.001
15.0667 | 10.726 | 0.002 | 15.0667 | 0.002
15.1 | 10.727 | 0.001 | 15.1 | 0.001
15.1333 | 10.727 | 0.001 | 15.1333 | 0.001
15.1667 | 10.728 | 0 | 15.1667 | 0
15.2 | 10.726 | 0.002 | 15.2 | 0.002
15.2333 | 10.728 | 0 | 15.2333 | 0
15.2667 | 10.726 | 0.002 | 15.2667 | 0.002
15.3 | 10.724 | 0.004 | 15.3 | 0.004
15.3333 | 10.728 | 0 | 15.3333 | 0
15.3667 | 10.728 | 0 | 15.3667 | 0
15.4 | 10.728 | 0 | 15.4 | 0
15.4333 | 10.726 | 0.002 | 15.4333 | 0.002
15.4667 | 10.727 | 0.001 | 15.4667 | 0.001
15.5 | 10.728 | 0 | 15.5 | 0
15.5333 | 10.728 | 0 | 15.5333 | 0
15.5667 | 10.728 | 0 | 15.5667 | 0

## raw
In-Situ Inc. | MiniTroll Std P
Report generated: | 2005-06-23 | 8:57
Report from file: | C:\Documents and Settings\ddemonst\My Documents\WinSitu Data\jose\SN16147 2005-03-08 145809 C1B - Test # 2.bin
DataMgr Version | 3.71
Serial number: | 16147
Firmware Version | 3.09
Unit name: | miniTROLL
Test name: |  | C1B - Test # 2
Test defined on: | 2005-03-08 | 14:57
Test started on: | 2005-03-08 | 14:58
Test stopped on: | N/A | N/A
Test extracted on: N/A
Data gathered using Linear testing
Time between data points: 0.0333 | Minutes.
Number of data samples: | 468
TOTAL DATA SAMPLES | 468
Channel number [1]
Measurement type: | Pressure
Channel name: | OnBoard Pressure
Sensor Range: | 5 PSI.
Specific gravity: | 1
Mode: | Surface
User-defined reference: | 0 | Feet H2O
Referenced on: | test start
Pressure head at reference: | 0.004 | Feet H2O
Chan[1]
Date Time | ET (min) | Feet H2O
-------- -------- | ------------ | ---------------
2005-03-08 14:58 | 0 | 0
2005-03-08 14:58 | 0.0333 | 0.001
2005-03-08 14:58 | 0.0667 | 0.039
2005-03-08 14:58 | 0.1 | 0.366
2005-03-08 14:58 | 0.1333 | 0.742
2005-03-08 14:58 | 0.1667 | 1.146
2005-03-08 14:58 | 0.2 | 1.532
2005-03-08 14:58 | 0.2333 | 1.907
2005-03-08 14:58 | 0.2667 | 2.274
2005-03-08 14:58 | 0.3 | 2.63
2005-03-08 14:58 | 0.3333 | 2.974
2005-03-08 14:59 | 0.3667 | 3.305
2005-03-08 14:59 | 0.4 | 3.623
2005-03-08 14:59 | 0.4333 | 3.925
2005-03-08 14:59 | 0.4667 | 4.218
2005-03-08 14:59 | 0.5 | 4.495
2005-03-08 14:59 | 0.5333 | 4.761
2005-03-08 14:59 | 0.5667 | 5.011
2005-03-08 14:59 | 0.6 | 5.257
2005-03-08 14:59 | 0.6333 | 5.487
2005-03-08 14:59 | 0.6667 | 5.708
2005-03-08 14:59 | 0.7 | 5.917
2005-03-08 14:59 | 0.7333 | 6.119
2005-03-08 14:59 | 0.7667 | 6.302
2005-03-08 14:59 | 0.8 | 6.491
2005-03-08 14:59 | 0.8333 | 6.666
2005-03-08 14:59 | 0.8667 | 6.828
2005-03-08 14:59 | 0.9 | 6.986
2005-03-08 14:59 | 0.9333 | 7.146
2005-03-08 14:59 | 0.9667 | 7.291
2005-03-08 14:59 | 1 | 7.429
2005-03-08 14:59 | 1.0333 | 7.564
2005-03-08 14:59 | 1.0667 | 7.687
2005-03-08 14:59 | 1.1 | 7.813
2005-03-08 14:59 | 1.1333 | 7.929
2005-03-08 14:59 | 1.1667 | 8.042
2005-03-08 14:59 | 1.2 | 8.146
2005-03-08 14:59 | 1.2333 | 8.246
2005-03-08 14:59 | 1.2667 | 8.343
2005-03-08 14:59 | 1.3 | 8.435
2005-03-08 14:59 | 1.3333 | 8.523
2005-03-08 15:00 | 1.3667 | 8.606
2005-03-08 15:00 | 1.4 | 8.681
2005-03-08 15:00 | 1.4333 | 8.762
2005-03-08 15:00 | 1.4667 | 8.835
2005-03-08 15:00 | 1.5 | 8.904
2005-03-08 15:00 | 1.5333 | 8.97
2005-03-08 15:00 | 1.5667 | 9.032
2005-03-08 15:00 | 1.6 | 9.094
2005-03-08 15:00 | 1.6333 | 9.153
2005-03-08 15:00 | 1.6667 | 9.209
2005-03-08 15:00 | 1.7 | 9.264
2005-03-08 15:00 | 1.7333 | 9.312
2005-03-08 15:00 | 1.7667 | 9.365
2005-03-08 15:00 | 1.8 | 9.411
2005-03-08 15:00 | 1.8333 | 9.457
2005-03-08 15:00 | 1.8667 | 9.5
2005-03-08 15:00 | 1.9 | 9.541
2005-03-08 15:00 | 1.9333 | 9.581
2005-03-08 15:00 | 1.9667 | 9.619
2005-03-08 15:00 | 2 | 9.655
2005-03-08 15:00 | 2.0333 | 9.691
2005-03-08 15:00 | 2.0667 | 9.725
2005-03-08 15:00 | 2.1 | 9.757
2005-03-08 15:00 | 2.1333 | 9.786
2005-03-08 15:00 | 2.1667 | 9.816
2005-03-08 15:00 | 2.2 | 9.845
2005-03-08 15:00 | 2.2333 | 9.876
2005-03-08 15:00 | 2.2667 | 9.903
2005-03-08 15:00 | 2.3 | 9.929
2005-03-08 15:00 | 2.3333 | 9.953
2005-03-08 15:01 | 2.3667 | 9.979
2005-03-08 15:01 | 2.4 | 10.003
2005-03-08 15:01 | 2.4333 | 10.023
2005-03-08 15:01 | 2.4667 | 10.047
2005-03-08 15:01 | 2.5 | 10.067
2005-03-08 15:01 | 2.5333 | 10.087
2005-03-08 15:01 | 2.5667 | 10.106
2005-03-08 15:01 | 2.6 | 10.126
2005-03-08 15:01 | 2.6333 | 10.14
2005-03-08 15:01 | 2.6667 | 10.16
2005-03-08 15:01 | 2.7 | 10.176
2005-03-08 15:01 | 2.7333 | 10.194
2005-03-08 15:01 | 2.7667 | 10.209
2005-03-08 15:01 | 2.8 | 10.224
2005-03-08 15:01 | 2.8333 | 10.24
2005-03-08 15:01 | 2.8667 | 10.254
2005-03-08 15:01 | 2.9 | 10.267
2005-03-08 15:01 | 2.9333 | 10.281
2005-03-08 15:01 | 2.9667 | 10.293
2005-03-08 15:01 | 3 | 10.307
2005-03-08 15:01 | 3.0333 | 10.318
2005-03-08 15:01 | 3.0667 | 10.327
2005-03-08 15:01 | 3.1 | 10.337
2005-03-08 15:01 | 3.1333 | 10.35
2005-03-08 15:01 | 3.1667 | 10.361
2005-03-08 15:01 | 3.2 | 10.373
2005-03-08 15:01 | 3.2333 | 10.382
2005-03-08 15:01 | 3.2667 | 10.391
2005-03-08 15:01 | 3.3 | 10.4
2005-03-08 15:01 | 3.3333 | 10.409
2005-03-08 15:02 | 3.3667 | 10.418
2005-03-08 15:02 | 3.4 | 10.427
2005-03-08 15:02 | 3.4333 | 10.433
2005-03-08 15:02 | 3.4667 | 10.438
2005-03-08 15:02 | 3.5 | 10.45
2005-03-08 15:02 | 3.5333 | 10.457
2005-03-08 15:02 | 3.5667 | 10.464
2005-03-08 15:02 | 3.6 | 10.471
2005-03-08 15:02 | 3.6333 | 10.477
2005-03-08 15:02 | 3.6667 | 10.483
2005-03-08 15:02 | 3.7 | 10.489
2005-03-08 15:02 | 3.7333 | 10.491
2005-03-08 15:02 | 3.7667 | 10.502
2005-03-08 15:02 | 3.8 | 10.508
2005-03-08 15:02 | 3.8333 | 10.512
2005-03-08 15:02 | 3.8667 | 10.519
2005-03-08 15:02 | 3.9 | 10.524
2005-03-08 15:02 | 3.9333 | 10.528
2005-03-08 15:02 | 3.9667 | 10.534
2005-03-08 15:02 | 4 | 10.539
2005-03-08 15:02 | 4.0333 | 10.542
2005-03-08 15:02 | 4.0667 | 10.54
2005-03-08 15:02 | 4.1 | 10.546
2005-03-08 15:02 | 4.1333 | 10.556
2005-03-08 15:02 | 4.1667 | 10.56
2005-03-08 15:02 | 4.2 | 10.562
2005-03-08 15:02 | 4.2333 | 10.561
2005-03-08 15:02 | 4.2667 | 10.56
2005-03-08 15:02 | 4.3 | 10.57
2005-03-08 15:02 | 4.3333 | 10.573
2005-03-08 15:03 | 4.3667 | 10.58
2005-03-08 15:03 | 4.4 | 10.583
2005-03-08 15:03 | 4.4333 | 10.587
2005-03-08 15:03 | 4.4667 | 10.59
2005-03-08 15:03 | 4.5 | 10.594
2005-03-08 15:03 | 4.5333 | 10.597
2005-03-08 15:03 | 4.5667 | 10.601
2005-03-08 15:03 | 4.6 | 10.603
2005-03-08 15:03 | 4.6333 | 10.606
2005-03-08 15:03 | 4.6667 | 10.609
2005-03-08 15:03 | 4.7 | 10.611
2005-03-08 15:03 | 4.7333 | 10.613
2005-03-08 15:03 | 4.7667 | 10.615
2005-03-08 15:03 | 4.8 | 10.617
2005-03-08 15:03 | 4.8333 | 10.618
2005-03-08 15:03 | 4.8667 | 10.623
2005-03-08 15:03 | 4.9 | 10.621
2005-03-08 15:03 | 4.9333 | 10.626
2005-03-08 15:03 | 4.9667 | 10.625
2005-03-08 15:03 | 5 | 10.628
2005-03-08 15:03 | 5.0333 | 10.63
2005-03-08 15:03 | 5.0667 | 10.632
2005-03-08 15:03 | 5.1 | 10.636
2005-03-08 15:03 | 5.1333 | 10.637
2005-03-08 15:03 | 5.1667 | 10.637
2005-03-08 15:03 | 5.2 | 10.64
2005-03-08 15:03 | 5.2333 | 10.643
2005-03-08 15:03 | 5.2667 | 10.642
2005-03-08 15:03 | 5.3 | 10.641
2005-03-08 15:03 | 5.3333 | 10.646
2005-03-08 15:04 | 5.3667 | 10.648
2005-03-08 15:04 | 5.4 | 10.651
2005-03-08 15:04 | 5.4333 | 10.65
2005-03-08 15:04 | 5.4667 | 10.651
2005-03-08 15:04 | 5.5 | 10.653
2005-03-08 15:04 | 5.5333 | 10.654
2005-03-08 15:04 | 5.5667 | 10.655
2005-03-08 15:04 | 5.6 | 10.657
2005-03-08 15:04 | 5.6333 | 10.658
2005-03-08 15:04 | 5.6667 | 10.659
2005-03-08 15:04 | 5.7 | 10.658
2005-03-08 15:04 | 5.7333 | 10.663
2005-03-08 15:04 | 5.7667 | 10.663
2005-03-08 15:04 | 5.8 | 10.666
2005-03-08 15:04 | 5.8333 | 10.667
2005-03-08 15:04 | 5.8667 | 10.669
2005-03-08 15:04 | 5.9 | 10.668
2005-03-08 15:04 | 5.9333 | 10.664
2005-03-08 15:04 | 5.9667 | 10.667
2005-03-08 15:04 | 6 | 10.672
2005-03-08 15:04 | 6.0333 | 10.672
2005-03-08 15:04 | 6.0667 | 10.673
2005-03-08 15:04 | 6.1 | 10.675
2005-03-08 15:04 | 6.1333 | 10.676
2005-03-08 15:04 | 6.1667 | 10.677
2005-03-08 15:04 | 6.2 | 10.677
2005-03-08 15:04 | 6.2333 | 10.678
2005-03-08 15:04 | 6.2667 | 10.678
2005-03-08 15:04 | 6.3 | 10.679
2005-03-08 15:04 | 6.3333 | 10.682
2005-03-08 15:05 | 6.3667 | 10.68
2005-03-08 15:05 | 6.4 | 10.68
2005-03-08 15:05 | 6.4333 | 10.683
2005-03-08 15:05 | 6.4667 | 10.684
2005-03-08 15:05 | 6.5 | 10.684
2005-03-08 15:05 | 6.5333 | 10.684
2005-03-08 15:05 | 6.5667 | 10.686
2005-03-08 15:05 | 6.6 | 10.686
2005-03-08 15:05 | 6.6333 | 10.687
2005-03-08 15:05 | 6.6667 | 10.688
2005-03-08 15:05 | 6.7 | 10.689
2005-03-08 15:05 | 6.7333 | 10.69
2005-03-08 15:05 | 6.7667 | 10.689
2005-03-08 15:05 | 6.8 | 10.688
2005-03-08 15:05 | 6.8333 | 10.69
2005-03-08 15:05 | 6.8667 | 10.692
2005-03-08 15:05 | 6.9 | 10.692
2005-03-08 15:05 | 6.9333 | 10.69
2005-03-08 15:05 | 6.9667 | 10.694
2005-03-08 15:05 | 7 | 10.692
2005-03-08 15:05 | 7.0333 | 10.693
2005-03-08 15:05 | 7.0667 | 10.694
2005-03-08 15:05 | 7.1 | 10.695
2005-03-08 15:05 | 7.1333 | 10.695
2005-03-08 15:05 | 7.1667 | 10.695
2005-03-08 15:05 | 7.2 | 10.695
2005-03-08 15:05 | 7.2333 | 10.696
2005-03-08 15:05 | 7.2667 | 10.697
2005-03-08 15:05 | 7.3 | 10.696
2005-03-08 15:05 | 7.3333 | 10.698
2005-03-08 15:06 | 7.3667 | 10.696
2005-03-08 15:06 | 7.4 | 10.697
2005-03-08 15:06 | 7.4333 | 10.697
2005-03-08 15:06 | 7.4667 | 10.698
2005-03-08 15:06 | 7.5 | 10.699
2005-03-08 15:06 | 7.5333 | 10.699
2005-03-08 15:06 | 7.5667 | 10.697
2005-03-08 15:06 | 7.6 | 10.697
2005-03-08 15:06 | 7.6333 | 10.698
2005-03-08 15:06 | 7.6667 | 10.699
2005-03-08 15:06 | 7.7 | 10.702
2005-03-08 15:06 | 7.7333 | 10.704
2005-03-08 15:06 | 7.7667 | 10.701
2005-03-08 15:06 | 7.8 | 10.704
2005-03-08 15:06 | 7.8333 | 10.701
2005-03-08 15:06 | 7.8667 | 10.703
2005-03-08 15:06 | 7.9 | 10.702
2005-03-08 15:06 | 7.9333 | 10.704
2005-03-08 15:06 | 7.9667 | 10.704
2005-03-08 15:06 | 8 | 10.705
2005-03-08 15:06 | 8.0333 | 10.705
2005-03-08 15:06 | 8.0667 | 10.707
2005-03-08 15:06 | 8.1 | 10.706
2005-03-08 15:06 | 8.1333 | 10.705
2005-03-08 15:06 | 8.1667 | 10.703
2005-03-08 15:06 | 8.2 | 10.706
2005-03-08 15:06 | 8.2333 | 10.703
2005-03-08 15:06 | 8.2667 | 10.706
2005-03-08 15:06 | 8.3 | 10.707
2005-03-08 15:06 | 8.3333 | 10.707
2005-03-08 15:07 | 8.3667 | 10.708
2005-03-08 15:07 | 8.4 | 10.707
2005-03-08 15:07 | 8.4333 | 10.708
2005-03-08 15:07 | 8.4667 | 10.704
2005-03-08 15:07 | 8.5 | 10.706
2005-03-08 15:07 | 8.5333 | 10.708
2005-03-08 15:07 | 8.5667 | 10.708
2005-03-08 15:07 | 8.6 | 10.709
2005-03-08 15:07 | 8.6333 | 10.708
2005-03-08 15:07 | 8.6667 | 10.709
2005-03-08 15:07 | 8.7 | 10.71
2005-03-08 15:07 | 8.7333 | 10.71
2005-03-08 15:07 | 8.7667 | 10.71
2005-03-08 15:07 | 8.8 | 10.71
2005-03-08 15:07 | 8.8333 | 10.711
2005-03-08 15:07 | 8.8667 | 10.71
2005-03-08 15:07 | 8.9 | 10.711
2005-03-08 15:07 | 8.9333 | 10.711
2005-03-08 15:07 | 8.9667 | 10.711
2005-03-08 15:07 | 9 | 10.711
2005-03-08 15:07 | 9.0333 | 10.71
2005-03-08 15:07 | 9.0667 | 10.708
2005-03-08 15:07 | 9.1 | 10.711
2005-03-08 15:07 | 9.1333 | 10.712
2005-03-08 15:07 | 9.1667 | 10.71
2005-03-08 15:07 | 9.2 | 10.712
2005-03-08 15:07 | 9.2333 | 10.713
2005-03-08 15:07 | 9.2667 | 10.711
2005-03-08 15:07 | 9.3 | 10.712
2005-03-08 15:07 | 9.3333 | 10.713
2005-03-08 15:08 | 9.3667 | 10.714
2005-03-08 15:08 | 9.4 | 10.714
2005-03-08 15:08 | 9.4333 | 10.713
2005-03-08 15:08 | 9.4667 | 10.714
2005-03-08 15:08 | 9.5 | 10.713
2005-03-08 15:08 | 9.5333 | 10.714
2005-03-08 15:08 | 9.5667 | 10.714
2005-03-08 15:08 | 9.6 | 10.714
2005-03-08 15:08 | 9.6333 | 10.715
2005-03-08 15:08 | 9.6667 | 10.715
2005-03-08 15:08 | 9.7 | 10.714
2005-03-08 15:08 | 9.7333 | 10.713
2005-03-08 15:08 | 9.7667 | 10.712
2005-03-08 15:08 | 9.8 | 10.715
2005-03-08 15:08 | 9.8333 | 10.713
2005-03-08 15:08 | 9.8667 | 10.713
2005-03-08 15:08 | 9.9 | 10.713
2005-03-08 15:08 | 9.9333 | 10.713
2005-03-08 15:08 | 9.9667 | 10.713
2005-03-08 15:08 | 10 | 10.714
2005-03-08 15:08 | 10.0333 | 10.714
2005-03-08 15:08 | 10.0667 | 10.714
2005-03-08 15:08 | 10.1 | 10.714
2005-03-08 15:08 | 10.1333 | 10.715
2005-03-08 15:08 | 10.1667 | 10.715
2005-03-08 15:08 | 10.2 | 10.714
2005-03-08 15:08 | 10.2333 | 10.715
2005-03-08 15:08 | 10.2667 | 10.715
2005-03-08 15:08 | 10.3 | 10.716
2005-03-08 15:08 | 10.3333 | 10.714
2005-03-08 15:09 | 10.3667 | 10.716
2005-03-08 15:09 | 10.4 | 10.717
2005-03-08 15:09 | 10.4333 | 10.716
2005-03-08 15:09 | 10.4667 | 10.713
2005-03-08 15:09 | 10.5 | 10.71
2005-03-08 15:09 | 10.5333 | 10.717
2005-03-08 15:09 | 10.5667 | 10.72
2005-03-08 15:09 | 10.6 | 10.717
2005-03-08 15:09 | 10.6333 | 10.718
2005-03-08 15:09 | 10.6667 | 10.718
2005-03-08 15:09 | 10.7 | 10.718
2005-03-08 15:09 | 10.7333 | 10.716
2005-03-08 15:09 | 10.7667 | 10.717
2005-03-08 15:09 | 10.8 | 10.716
2005-03-08 15:09 | 10.8333 | 10.718
2005-03-08 15:09 | 10.8667 | 10.72
2005-03-08 15:09 | 10.9 | 10.718
2005-03-08 15:09 | 10.9333 | 10.72
2005-03-08 15:09 | 10.9667 | 10.716
2005-03-08 15:09 | 11 | 10.72
2005-03-08 15:09 | 11.0333 | 10.719
2005-03-08 15:09 | 11.0667 | 10.717
2005-03-08 15:09 | 11.1 | 10.72
2005-03-08 15:09 | 11.1333 | 10.722
2005-03-08 15:09 | 11.1667 | 10.72
2005-03-08 15:09 | 11.2 | 10.719
2005-03-08 15:09 | 11.2333 | 10.722
2005-03-08 15:09 | 11.2667 | 10.72
2005-03-08 15:09 | 11.3 | 10.72
2005-03-08 15:09 | 11.3333 | 10.721
2005-03-08 15:10 | 11.3667 | 10.721
2005-03-08 15:10 | 11.4 | 10.72
2005-03-08 15:10 | 11.4333 | 10.722
2005-03-08 15:10 | 11.4667 | 10.72
2005-03-08 15:10 | 11.5 | 10.721
2005-03-08 15:10 | 11.5333 | 10.722
2005-03-08 15:10 | 11.5667 | 10.721
2005-03-08 15:10 | 11.6 | 10.722
2005-03-08 15:10 | 11.6333 | 10.722
2005-03-08 15:10 | 11.6667 | 10.723
2005-03-08 15:10 | 11.7 | 10.723
2005-03-08 15:10 | 11.7333 | 10.722
2005-03-08 15:10 | 11.7667 | 10.723
2005-03-08 15:10 | 11.8 | 10.722
2005-03-08 15:10 | 11.8333 | 10.723
2005-03-08 15:10 | 11.8667 | 10.724
2005-03-08 15:10 | 11.9 | 10.724
2005-03-08 15:10 | 11.9333 | 10.724
2005-03-08 15:10 | 11.9667 | 10.723
2005-03-08 15:10 | 12 | 10.723
2005-03-08 15:10 | 12.0333 | 10.724
2005-03-08 15:10 | 12.0667 | 10.724
2005-03-08 15:10 | 12.1 | 10.725
2005-03-08 15:10 | 12.1333 | 10.724
2005-03-08 15:10 | 12.1667 | 10.725
2005-03-08 15:10 | 12.2 | 10.725
2005-03-08 15:10 | 12.2333 | 10.724
2005-03-08 15:10 | 12.2667 | 10.723
2005-03-08 15:10 | 12.3 | 10.725
2005-03-08 15:10 | 12.3333 | 10.725
2005-03-08 15:11 | 12.3667 | 10.725
2005-03-08 15:11 | 12.4 | 10.726
2005-03-08 15:11 | 12.4333 | 10.727
2005-03-08 15:11 | 12.4667 | 10.725
2005-03-08 15:11 | 12.5 | 10.726
2005-03-08 15:11 | 12.5333 | 10.725
2005-03-08 15:11 | 12.5667 | 10.725
2005-03-08 15:11 | 12.6 | 10.725
2005-03-08 15:11 | 12.6333 | 10.725
2005-03-08 15:11 | 12.6667 | 10.725
2005-03-08 15:11 | 12.7 | 10.724
2005-03-08 15:11 | 12.7333 | 10.725
2005-03-08 15:11 | 12.7667 | 10.725
2005-03-08 15:11 | 12.8 | 10.726
2005-03-08 15:11 | 12.8333 | 10.726
2005-03-08 15:11 | 12.8667 | 10.726
2005-03-08 15:11 | 12.9 | 10.726
2005-03-08 15:11 | 12.9333 | 10.726
2005-03-08 15:11 | 12.9667 | 10.726
2005-03-08 15:11 | 13 | 10.726
2005-03-08 15:11 | 13.0333 | 10.725
2005-03-08 15:11 | 13.0667 | 10.726
2005-03-08 15:11 | 13.1 | 10.726
2005-03-08 15:11 | 13.1333 | 10.726
2005-03-08 15:11 | 13.1667 | 10.726
2005-03-08 15:11 | 13.2 | 10.725
2005-03-08 15:11 | 13.2333 | 10.728
2005-03-08 15:11 | 13.2667 | 10.725
2005-03-08 15:11 | 13.3 | 10.727
2005-03-08 15:11 | 13.3333 | 10.727
2005-03-08 15:12 | 13.3667 | 10.727
2005-03-08 15:12 | 13.4 | 10.727
2005-03-08 15:12 | 13.4333 | 10.726
2005-03-08 15:12 | 13.4667 | 10.727
2005-03-08 15:12 | 13.5 | 10.727
2005-03-08 15:12 | 13.5333 | 10.726
2005-03-08 15:12 | 13.5667 | 10.726
2005-03-08 15:12 | 13.6 | 10.727
2005-03-08 15:12 | 13.6333 | 10.727
2005-03-08 15:12 | 13.6667 | 10.727
2005-03-08 15:12 | 13.7 | 10.727
2005-03-08 15:12 | 13.7333 | 10.727
2005-03-08 15:12 | 13.7667 | 10.727
2005-03-08 15:12 | 13.8 | 10.727
2005-03-08 15:12 | 13.8333 | 10.728
2005-03-08 15:12 | 13.8667 | 10.727
2005-03-08 15:12 | 13.9 | 10.727
2005-03-08 15:12 | 13.9333 | 10.728
2005-03-08 15:12 | 13.9667 | 10.727
2005-03-08 15:12 | 14 | 10.728
2005-03-08 15:12 | 14.0333 | 10.728
2005-03-08 15:12 | 14.0667 | 10.728
2005-03-08 15:12 | 14.1 | 10.727
2005-03-08 15:12 | 14.1333 | 10.727
2005-03-08 15:12 | 14.1667 | 10.728
2005-03-08 15:12 | 14.2 | 10.728
2005-03-08 15:12 | 14.2333 | 10.727
2005-03-08 15:12 | 14.2667 | 10.728
2005-03-08 15:12 | 14.3 | 10.728
2005-03-08 15:12 | 14.3333 | 10.728
2005-03-08 15:13 | 14.3667 | 10.728
2005-03-08 15:13 | 14.4 | 10.728
2005-03-08 15:13 | 14.4333 | 10.728
2005-03-08 15:13 | 14.4667 | 10.728
2005-03-08 15:13 | 14.5 | 10.726
2005-03-08 15:13 | 14.5333 | 10.726
2005-03-08 15:13 | 14.5667 | 10.725
2005-03-08 15:13 | 14.6 | 10.727
2005-03-08 15:13 | 14.6333 | 10.726
2005-03-08 15:13 | 14.6667 | 10.726
2005-03-08 15:13 | 14.7 | 10.725
2005-03-08 15:13 | 14.7333 | 10.726
2005-03-08 15:13 | 14.7667 | 10.726
2005-03-08 15:13 | 14.8 | 10.726
2005-03-08 15:13 | 14.8333 | 10.727
2005-03-08 15:13 | 14.8667 | 10.725
2005-03-08 15:13 | 14.9 | 10.724
2005-03-08 15:13 | 14.9333 | 10.729
2005-03-08 15:13 | 14.9667 | 10.726
2005-03-08 15:13 | 15 | 10.726
2005-03-08 15:13 | 15.0333 | 10.727
2005-03-08 15:13 | 15.0667 | 10.726
2005-03-08 15:13 | 15.1 | 10.727
2005-03-08 15:13 | 15.1333 | 10.727
2005-03-08 15:13 | 15.1667 | 10.728
2005-03-08 15:13 | 15.2 | 10.726
2005-03-08 15:13 | 15.2333 | 10.728
2005-03-08 15:13 | 15.2667 | 10.726
2005-03-08 15:13 | 15.3 | 10.724
2005-03-08 15:13 | 15.3333 | 10.728
2005-03-08 15:14 | 15.3667 | 10.728
2005-03-08 15:14 | 15.4 | 10.728
2005-03-08 15:14 | 15.4333 | 10.726
2005-03-08 15:14 | 15.4667 | 10.727
2005-03-08 15:14 | 15.5 | 10.728
2005-03-08 15:14 | 15.5333 | 10.728
2005-03-08 15:14 | 15.5667 | 10.728