## BC
In-Situ Inc. | Hermit 3000
Report generated: | 2008-08-26 | 11:09
Report from file: | D:\ROMP 43\pump tests\raw\SN45241 2006-06-03 005956 r43_APpz_APT_Log2REC.bin
DataMgr Version | 3.68
Serial number: | 45241
Firmware Version | 7.1
Unit name: | LARRY
Test name: |  | r43_AP_APT_Log2
Test defined on: | 2006-04-20 | 15:25
Test started on: | 2006-06-03 | 1:00
Test stopped on: | 2006-06-05 | 10:37
Test extracted on: | 2006-06-05 | 10:40
Data gathered using Logarithmic testing
Maximum time between data points: 10.0000 | Minutes.
Number of data samples: | 441
TOTAL DATA SAMPLES | 441
Channel number [1]
Measurement type: | Pressure
Channel name: | 6128_MW5a
Linearity: | 0.0723
Scale: |  | 51.6971
Offset: |  | 0.1519
Warmup: |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 | Feet H2O
Referenced on: | test start
Pressure head at reference: | 14.141 | Feet H2O
Channel number [2]
Measurement type: | Pressure
Channel name: | 6473_MW5b
Linearity: | 0.1126
Scale: |  | 19.7662
Offset: |  | -0.0602
Warmup: |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 | Feet H2O
Referenced on: | test start
Pressure head at reference: | 2.777 | Feet H2O
Channel number [3]
Measurement type: | Pressure
Channel name: | 5608_OB4a
Linearity: | 0.1185
Scale: |  | 20.0119
Offset: |  | -0.0462
Warmup: |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 | Feet H2O
Referenced on: | test start
Pressure head at reference: | 21.145 | Feet H2O
Channel number [4]
Measurement type: | Pressure
Channel name: | 6900_OB4b
Linearity: | 0.1173
Scale: |  | 19.7198
Offset: |  | -0.1283
Warmup: |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 | Feet H2O
Referenced on: | test start
Pressure head at reference: | 21.137 | Feet H2O
Channel number [5]
Measurement type: | Pressure
Channel name: | 6483_MW3
Linearity: | 0.1259
Scale: |  | 20.2755
Offset: |  | -0.0682
Warmup: |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 | Feet H2O
Referenced on: | test start
Pressure head at reference: | 11.404 | Feet H2O
Channel number [6]
Measurement type: | Pressure
Channel name: | 6493_MW4
Linearity: | 0.1189
Scale: |  | 19.6869
Offset: |  | -0.0043
Warmup: |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 | Feet H2O
Referenced on: | test start
Pressure head at reference: | 11.608 | Feet H2O
Channel number [7]
Measurement type: | Pressure
Channel name: | 5907_MW2
Linearity: | 0.0584
Scale: |  | 14.4572
Offset: |  | 0.0421
Warmup: |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 | Feet H2O
Referenced on: | test start
Pressure head at reference: | 14.1 | Feet H2O
Channel number [8]
Measurement type: | Pressure
Channel name: | 6" flowmeter
Linearity: | 0
Scale: |  | 1500
Offset: |  | 0
Warmup: |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 | Feet H2O
Referenced on: | channel definition.
Pressure head at reference: | -97.85 | Feet H2O
Baro Reference: | 14.691 | PSI
Channel number [0]
Measurement type: | Barometric Pressure
Channel name: | Barometric
Linearity: | 0
Scale: |  | 0
Offset: |  | 0
Warmup: |  | 50
|  | Chan[1] | Chan[2] | Chan[3] | Chan[4] | Chan[5] | Chan[6] | Chan[7] | Chan[8] | Chan[0]
Date Time | ET (min) | Feet H2O | Feet H2O | Feet H2O | Feet H2O | Feet H2O | Feet H2O | Feet H2O | Feet H2O | Inches Hg
-------- -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2006-06-03 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3077.996 | 29.911
2006-06-03 01:00 | 0.0487 | -0.134 | -0.066 | -0.003 | 0 | -0.003 | 0 | -0.002 | -3062.426 | 29.911
2006-06-03 01:00 | 0.0973 | -11.304 | -13.657 | -0.003 | -0.003 | -0.003 | 0 | 0 | -2128.006 | 29.909
2006-06-03 01:00 | 0.146 | -38.771 | -33.162 | -0.012 | -0.009 | -0.003 | -0.003 | -0.002 | -1253.276 | 29.911
2006-06-03 01:00 | 0.1947 | -43.099 | -44.535 | -0.035 | -0.037 | -0.003 | -0.003 | 0 | -748.764 | 29.911
2006-06-03 01:00 | 0.2433 | -43.525 | -44.535 | -0.084 | -0.089 | -0.003 | 0 | 0 | -464.178 | 29.911
2006-06-03 01:00 | 0.292 | -34.048 | -35.218 | -0.157 | -0.163 | -0.003 | -0.003 | -0.002 | -303.286 | 29.909
2006-06-03 01:00 | 0.3407 | -22.827 | -23.395 | -0.235 | -0.243 | 0 | 0 | 0 | -212.03 | 29.911
2006-06-03 01:00 | 0.3893 | -14.414 | -15.203 | -0.299 | -0.3 | -0.003 | 0 | -0.002 | -159.912 | 29.909
2006-06-03 01:00 | 0.438 | -9.85 | -11.068 | -0.328 | -0.323 | 0 | 0 | 0 | -130.288 | 29.911
2006-06-03 01:00 | 0.4867 | -9.111 | -10.714 | -0.31 | -0.303 | 0 | 0 | 0 | -112.988 | 29.911
2006-06-03 01:00 | 0.5353 | -10.67 | -12.484 | -0.244 | -0.237 | 0 | 0 | -0.002 | -103.038 | 29.909
2006-06-03 01:01 | 0.584 | -13.407 | -15.326 | -0.162 | -0.152 | 0 | 0 | 0 | -97.199 | 29.909
2006-06-03 01:01 | 0.6327 | -17.39 | -19.424 | -0.087 | -0.074 | 0 | 0 | 0 | -93.523 | 29.909
2006-06-03 01:01 | 0.6813 | -21.619 | -23.587 | -0.029 | -0.026 | 0 | 0 | -0.002 | -91.574 | 29.907
2006-06-03 01:01 | 0.73 | -24.513 | -26.376 | -0.023 | -0.023 | 0 | 0 | -0.002 | -90.277 | 29.907
2006-06-03 01:01 | 0.7787 | -26.005 | -27.682 | -0.067 | -0.071 | 0 | 0 | 0 | -89.196 | 29.907
2006-06-03 01:01 | 0.8273 | -25.915 | -27.461 | -0.142 | -0.149 | 0 | -0.006 | -0.002 | -88.765 | 29.909
2006-06-03 01:01 | 0.876 | -24.304 | -25.647 | -0.232 | -0.237 | 0 | 0 | 0 | -88.331 | 29.907
2006-06-03 01:01 | 0.9247 | -21.484 | -22.709 | -0.305 | -0.306 | 0 | 0 | 0 | -88.114 | 29.907
2006-06-03 01:01 | 0.9733 | -18.516 | -19.814 | -0.339 | -0.334 | 0 | 0 | 0 | -87.684 | 29.909
2006-06-03 01:01 | 1.0232 | -16.301 | -17.717 | -0.328 | -0.317 | 0 | 0 | 0 | -87.466 | 29.907
2006-06-03 01:01 | 1.0758 | -15.316 | -16.749 | -0.276 | -0.263 | 0 | 0 | 0 | -87.466 | 29.907
2006-06-03 01:01 | 1.1317 | -15.443 | -16.952 | -0.197 | -0.183 | 0 | -0.003 | 0.002 | -87.249 | 29.907
2006-06-03 01:01 | 1.1908 | -16.778 | -18.393 | -0.122 | -0.111 | 0 | -0.003 | 0 | -87.249 | 29.907
2006-06-03 01:01 | 1.2535 | -19.172 | -21.046 | -0.081 | -0.077 | 0 | -0.006 | 0 | -87.033 | 29.907
2006-06-03 01:01 | 1.3198 | -21.76 | -23.535 | -0.102 | -0.103 | 0 | -0.003 | -0.002 | -86.814 | 29.905
2006-06-03 01:01 | 1.3902 | -22.946 | -24.6 | -0.157 | -0.16 | 0.003 | -0.003 | 0 | -86.817 | 29.907
2006-06-03 01:01 | 1.4647 | -22.73 | -24.244 | -0.276 | -0.272 | 0.003 | 0.003 | 0 | -86.814 | 29.905
2006-06-03 01:01 | 1.5437 | -20.246 | -21.634 | -0.31 | -0.306 | 0.003 | -0.003 | 0 | -86.596 | 29.903
2006-06-03 01:02 | 1.6273 | -17.822 | -19.241 | -0.267 | -0.254 | 0.003 | -0.003 | 0.002 | -86.382 | 29.905
2006-06-03 01:02 | 1.7158 | -16.905 | -18.536 | -0.183 | -0.174 | 0.003 | -0.003 | 0 | -86.38 | 29.903
2006-06-03 01:02 | 1.8097 | -18.352 | -20.012 | -0.142 | -0.143 | 0.003 | -0.003 | 0.002 | -86.166 | 29.905
2006-06-03 01:02 | 1.909 | -21.037 | -22.79 | -0.191 | -0.189 | 0.003 | -0.003 | 0.004 | -86.163 | 29.903
2006-06-03 01:02 | 2.0143 | -22.014 | -23.728 | -0.264 | -0.26 | 0.003 | -0.003 | 0.002 | -86.166 | 29.905
2006-06-03 01:02 | 2.1258 | -20.261 | -21.737 | -0.273 | -0.263 | 0.003 | -0.003 | 0.004 | -86.163 | 29.903
2006-06-03 01:02 | 2.244 | -18.001 | -19.398 | -0.22 | -0.214 | 0.003 | -0.003 | 0.002 | -85.947 | 29.903
2006-06-03 01:02 | 2.3692 | -18.18 | -20.017 | -0.197 | -0.194 | 0.003 | -0.003 | 0.002 | -85.945 | 29.901
2006-06-03 01:02 | 2.5017 | -20.716 | -22.486 | -0.232 | -0.232 | 0.003 | -0.003 | 0.002 | -85.945 | 29.901
2006-06-03 01:03 | 2.6422 | -21.291 | -22.75 | -0.255 | -0.249 | 0.003 | -0.003 | 0.004 | -85.731 | 29.903
2006-06-03 01:03 | 2.791 | -18.762 | -20.344 | -0.235 | -0.234 | 0.003 | -0.003 | 0.004 | -85.729 | 29.901
2006-06-03 01:03 | 2.9485 | -18.658 | -20.098 | -0.235 | -0.232 | 0.003 | -0.003 | 0.002 | -85.729 | 29.901
2006-06-03 01:03 | 3.1153 | -20.873 | -22.434 | -0.244 | -0.24 | 0.006 | -0.003 | 0.002 | -85.729 | 29.901
2006-06-03 01:03 | 3.2922 | -20.127 | -21.597 | -0.247 | -0.246 | 0.006 | -0.003 | 0.004 | -85.51 | 29.899
2006-06-03 01:03 | 3.4795 | -18.546 | -20.08 | -0.261 | -0.254 | 0.006 | -0.003 | 0.002 | -85.51 | 29.899
2006-06-03 01:04 | 3.6778 | -20.366 | -22.073 | -0.244 | -0.237 | 0.006 | -0.003 | 0.004 | -85.51 | 29.899
2006-06-03 01:04 | 3.888 | -19.948 | -21.425 | -0.264 | -0.26 | 0.003 | -0.003 | 0.004 | -85.294 | 29.899
2006-06-03 01:04 | 4.1107 | -18.926 | -20.631 | -0.261 | -0.257 | 0.003 | -0.003 | 0.002 | -85.294 | 29.899
2006-06-03 01:04 | 4.3465 | -20.657 | -22.15 | -0.261 | -0.252 | 0 | -0.003 | 0.002 | -85.292 | 29.897
2006-06-03 01:05 | 4.5963 | -19.09 | -20.725 | -0.278 | -0.274 | 0 | -0.006 | 0 | -85.298 | 29.903
2006-06-03 01:05 | 4.861 | -20.261 | -21.927 | -0.261 | -0.254 | -0.003 | -0.009 | 0 | -85.301 | 29.905
2006-06-03 01:05 | 5.1413 | -19.411 | -20.863 | -0.284 | -0.28 | 0 | -0.009 | 0.002 | -85.087 | 29.907
2006-06-03 01:05 | 5.4382 | -20.119 | -21.803 | -0.27 | -0.266 | 0 | -0.009 | 0 | -85.089 | 29.909
2006-06-03 01:06 | 5.7527 | -19.321 | -20.877 | -0.287 | -0.28 | -0.003 | -0.009 | 0.002 | -85.091 | 29.911
2006-06-03 01:06 | 6.0858 | -20.187 | -21.82 | -0.284 | -0.283 | -0.003 | -0.009 | 0 | -84.875 | 29.911
2006-06-03 01:06 | 6.4387 | -19.456 | -20.972 | -0.284 | -0.283 | 0 | -0.009 | 0 | -84.884 | 29.919
2006-06-03 01:07 | 6.8125 | -19.717 | -21.29 | -0.293 | -0.292 | 0 | -0.006 | 0.002 | -84.877 | 29.913
2006-06-03 01:07 | 7.2085 | -20.03 | -21.577 | -0.293 | -0.289 | -0.003 | -0.011 | 0.002 | -84.873 | 29.909
2006-06-03 01:08 | 7.6278 | -19.694 | -21.21 | -0.296 | -0.292 | -0.003 | -0.011 | 0.002 | -84.875 | 29.911
2006-06-03 01:08 | 8.0722 | -19.694 | -21.175 | -0.302 | -0.3 | -0.003 | -0.009 | 0 | -84.88 | 29.915
2006-06-03 01:08 | 8.5428 | -19.851 | -21.264 | -0.307 | -0.303 | -0.006 | -0.011 | 0 | -84.664 | 29.915
2006-06-03 01:09 | 9.0413 | -19.903 | -21.557 | -0.31 | -0.306 | -0.006 | -0.014 | 0.002 | -84.668 | 29.919
2006-06-03 01:10 | 9.5693 | -19.888 | -21.517 | -0.31 | -0.312 | -0.006 | -0.011 | 0 | -84.67 | 29.921
2006-06-03 01:10 | 10.1287 | -19.963 | -21.479 | -0.316 | -0.312 | -0.006 | -0.014 | 0.002 | -84.67 | 29.921
2006-06-03 01:11 | 10.7212 | -19.881 | -21.388 | -0.319 | -0.314 | -0.009 | -0.014 | 0.002 | -84.459 | 29.925
2006-06-03 01:11 | 11.3487 | -19.903 | -21.319 | -0.322 | -0.317 | -0.009 | -0.017 | 0.002 | -84.673 | 29.923
2006-06-03 01:12 | 12.0135 | -19.776 | -21.459 | -0.322 | -0.32 | -0.009 | -0.017 | 0 | -84.459 | 29.925
2006-06-03 01:13 | 12.7177 | -19.702 | -21.476 | -0.325 | -0.323 | -0.009 | -0.017 | 0 | -84.461 | 29.927
2006-06-03 01:13 | 13.4635 | -19.873 | -21.399 | -0.328 | -0.326 | -0.009 | -0.02 | 0 | -84.461 | 29.927
2006-06-03 01:14 | 14.2535 | -19.821 | -21.428 | -0.331 | -0.326 | -0.012 | -0.02 | 0.002 | -84.245 | 29.927
2006-06-03 01:15 | 15.0903 | -19.784 | -21.448 | -0.337 | -0.332 | -0.012 | -0.023 | 0 | -84.461 | 29.927
2006-06-03 01:16 | 15.9768 | -19.843 | -21.431 | -0.339 | -0.334 | -0.015 | -0.026 | 0.002 | -84.029 | 29.927
2006-06-03 01:17 | 16.9158 | -19.866 | -21.399 | -0.342 | -0.337 | -0.015 | -0.026 | 0.002 | -83.815 | 29.929
2006-06-03 01:18 | 17.9105 | -19.896 | -21.385 | -0.348 | -0.343 | -0.018 | -0.031 | 0.002 | -83.596 | 29.927
2006-06-03 01:19 | 18.9642 | -19.836 | -21.388 | -0.357 | -0.346 | -0.018 | -0.034 | 0.002 | -83.596 | 29.927
2006-06-03 01:20 | 20.0802 | -19.866 | -21.445 | -0.36 | -0.357 | -0.021 | -0.037 | 0.002 | -83.596 | 29.927
2006-06-03 01:21 | 21.2623 | -19.866 | -21.422 | -0.366 | -0.363 | -0.023 | -0.04 | 0.002 | -83.596 | 29.927
2006-06-03 01:22 | 22.5145 | -19.866 | -21.425 | -0.374 | -0.369 | -0.026 | -0.043 | 0.002 | -83.596 | 29.927
2006-06-03 01:24 | 23.841 | -19.873 | -21.431 | -0.38 | -0.375 | -0.029 | -0.046 | 0.002 | -83.596 | 29.927
2006-06-03 01:25 | 25.246 | -19.881 | -21.436 | -0.383 | -0.38 | -0.032 | -0.051 | 0.004 | -83.378 | 29.925
2006-06-03 01:27 | 26.7343 | -19.881 | -21.439 | -0.392 | -0.386 | -0.032 | -0.054 | 0.004 | -83.378 | 29.925
2006-06-03 01:28 | 28.3108 | -19.888 | -21.445 | -0.397 | -0.392 | -0.038 | -0.06 | 0.004 | -83.375 | 29.923
2006-06-03 01:30 | 29.9807 | -19.888 | -21.448 | -0.403 | -0.4 | -0.041 | -0.06 | 0.004 | -83.378 | 29.925
2006-06-03 01:32 | 31.7495 | -19.903 | -21.453 | -0.412 | -0.406 | -0.041 | -0.065 | 0.004 | -83.375 | 29.923
2006-06-03 01:34 | 33.6232 | -19.903 | -21.456 | -0.415 | -0.409 | -0.044 | -0.071 | 0.004 | -83.159 | 29.923
2006-06-03 01:36 | 35.6078 | -19.911 | -21.459 | -0.421 | -0.415 | -0.047 | -0.077 | 0.004 | -83.159 | 29.923
2006-06-03 01:38 | 37.7102 | -19.911 | -21.465 | -0.426 | -0.42 | -0.05 | -0.083 | 0.002 | -83.159 | 29.923
2006-06-03 01:40 | 39.937 | -19.911 | -21.465 | -0.432 | -0.423 | -0.053 | -0.085 | 0.004 | -83.161 | 29.925
2006-06-03 01:42 | 42.2958 | -19.911 | -21.468 | -0.438 | -0.432 | -0.056 | -0.091 | 0.002 | -83.159 | 29.923
2006-06-03 01:45 | 44.7945 | -19.926 | -21.474 | -0.441 | -0.437 | -0.062 | -0.1 | 0.002 | -83.161 | 29.925
2006-06-03 01:47 | 47.4412 | -19.926 | -21.482 | -0.45 | -0.446 | -0.065 | -0.108 | 0.002 | -82.94 | 29.921
2006-06-03 01:50 | 50.2447 | -19.926 | -21.482 | -0.453 | -0.452 | -0.07 | -0.114 | 0.002 | -82.943 | 29.923
2006-06-03 01:53 | 53.2143 | -19.926 | -21.479 | -0.455 | -0.455 | -0.076 | -0.12 | 0.004 | -82.94 | 29.921
2006-06-03 01:56 | 56.36 | -19.926 | -21.479 | -0.458 | -0.452 | -0.079 | -0.125 | 0.002 | -82.943 | 29.923
2006-06-03 02:00 | 59.692 | -19.926 | -21.476 | -0.458 | -0.455 | -0.085 | -0.131 | 0.002 | -82.943 | 29.923
2006-06-03 02:03 | 63.2215 | -19.933 | -21.485 | -0.473 | -0.466 | -0.088 | -0.142 | 0.002 | -82.938 | 29.919
2006-06-03 02:07 | 66.96 | -19.94 | -21.494 | -0.479 | -0.475 | -0.094 | -0.148 | 0.002 | -82.72 | 29.917
2006-06-03 02:11 | 70.9202 | -19.948 | -21.499 | -0.49 | -0.48 | -0.103 | -0.157 | 0.002 | -82.717 | 29.915
2006-06-03 02:15 | 75.115 | -19.948 | -21.505 | -0.502 | -0.492 | -0.106 | -0.168 | 0.002 | -82.717 | 29.915
2006-06-03 02:19 | 79.5583 | -19.955 | -21.511 | -0.508 | -0.503 | -0.111 | -0.179 | 0.002 | -82.713 | 29.911
2006-06-03 02:24 | 84.265 | -19.963 | -21.514 | -0.516 | -0.512 | -0.12 | -0.188 | 0 | -82.71 | 29.909
2006-06-03 02:29 | 89.2505 | -19.963 | -21.519 | -0.522 | -0.52 | -0.129 | -0.196 | 0 | -82.71 | 29.909
2006-06-03 02:34 | 94.5313 | -19.963 | -21.522 | -0.531 | -0.526 | -0.135 | -0.205 | 0 | -82.71 | 29.909
2006-06-03 02:40 | 100.1252 | -19.97 | -21.525 | -0.54 | -0.535 | -0.144 | -0.216 | 0 | -82.708 | 29.907
2006-06-03 02:46 | 106.0505 | -19.97 | -21.528 | -0.545 | -0.54 | -0.152 | -0.231 | 0 | -82.708 | 29.907
2006-06-03 02:52 | 112.3268 | -19.978 | -21.531 | -0.554 | -0.549 | -0.161 | -0.239 | -0.002 | -82.487 | 29.903
2006-06-03 02:59 | 118.9752 | -19.978 | -21.537 | -0.566 | -0.558 | -0.173 | -0.251 | -0.002 | -82.701 | 29.901
2006-06-03 03:06 | 126.0173 | -19.978 | -21.539 | -0.571 | -0.563 | -0.182 | -0.265 | -0.002 | -82.483 | 29.899
2006-06-03 03:13 | 133.4768 | -19.97 | -21.531 | -0.569 | -0.56 | -0.194 | -0.276 | -0.004 | -82.483 | 29.899
2006-06-03 03:21 | 141.3783 | -19.978 | -21.539 | -0.583 | -0.58 | -0.211 | -0.288 | -0.004 | -82.48 | 29.897
2006-06-03 03:30 | 149.748 | -19.985 | -21.545 | -0.595 | -0.592 | -0.223 | -0.302 | -0.006 | -82.476 | 29.893
2006-06-03 03:39 | 158.6137 | -19.985 | -21.542 | -0.598 | -0.592 | -0.235 | -0.316 | -0.006 | -82.473 | 29.891
2006-06-03 03:48 | 168.0047 | -19.985 | -21.542 | -0.603 | -0.6 | -0.243 | -0.327 | -0.008 | -82.257 | 29.891
2006-06-03 03:58 | 177.9522 | -19.993 | -21.554 | -0.621 | -0.615 | -0.255 | -0.339 | -0.008 | -82.255 | 29.888
2006-06-03 04:08 | 187.9522 | -19.985 | -21.545 | -0.618 | -0.612 | -0.27 | -0.35 | -0.008 | -82.262 | 29.895
2006-06-03 04:18 | 197.9522 | -19.985 | -21.545 | -0.621 | -0.615 | -0.279 | -0.364 | -0.008 | -82.043 | 29.893
2006-06-03 04:28 | 207.9522 | -19.993 | -21.551 | -0.635 | -0.629 | -0.284 | -0.37 | -0.008 | -82.045 | 29.895
2006-06-03 04:38 | 217.9522 | -19.993 | -21.554 | -0.647 | -0.638 | -0.293 | -0.379 | -0.008 | -82.05 | 29.899
2006-06-03 04:48 | 227.9522 | -19.985 | -21.545 | -0.647 | -0.638 | -0.299 | -0.39 | -0.008 | -81.836 | 29.901
2006-06-03 04:58 | 237.9522 | -20 | -21.554 | -0.659 | -0.652 | -0.311 | -0.399 | -0.008 | -81.836 | 29.901
2006-06-03 05:08 | 247.9522 | -20 | -21.557 | -0.67 | -0.663 | -0.314 | -0.41 | -0.008 | -81.62 | 29.901
2006-06-03 05:18 | 257.9522 | -20.008 | -21.568 | -0.676 | -0.672 | -0.32 | -0.419 | -0.008 | -81.836 | 29.901
2006-06-03 05:28 | 267.9522 | -20.015 | -21.571 | -0.688 | -0.68 | -0.325 | -0.43 | -0.01 | -81.618 | 29.899
2006-06-03 05:38 | 277.9522 | -20.015 | -21.571 | -0.693 | -0.689 | -0.323 | -0.438 | -0.008 | -81.404 | 29.901
2006-06-03 05:48 | 287.9522 | -20.015 | -21.574 | -0.702 | -0.695 | -0.328 | -0.45 | -0.008 | -81.404 | 29.901
2006-06-03 05:58 | 297.9522 | -20.022 | -21.58 | -0.711 | -0.703 | -0.343 | -0.461 | -0.008 | -81.62 | 29.901
2006-06-03 06:08 | 307.9522 | -20.022 | -21.585 | -0.725 | -0.72 | -0.358 | -0.475 | -0.01 | -81.618 | 29.899
2006-06-03 06:18 | 317.9522 | -20.015 | -21.577 | -0.719 | -0.709 | -0.369 | -0.484 | -0.008 | -81.618 | 29.899
2006-06-03 06:28 | 327.9522 | -20.022 | -21.588 | -0.734 | -0.729 | -0.381 | -0.49 | -0.01 | 0.774 | 29.899
2006-06-03 06:38 | 337.9522 | -20.03 | -21.591 | -0.743 | -0.738 | -0.387 | -0.501 | -0.01 | 0.774 | 29.899
2006-06-03 06:48 | 347.9522 | -20.037 | -21.594 | -0.751 | -0.743 | -0.396 | -0.51 | -0.01 | 0.771 | 29.901
2006-06-03 06:58 | 357.9522 | -20.037 | -21.597 | -0.757 | -0.749 | -0.405 | -0.518 | -0.01 | 0.769 | 29.903
2006-06-03 07:08 | 367.9522 | -20.045 | -21.6 | -0.766 | -0.758 | -0.413 | -0.53 | -0.008 | 0.769 | 29.903
2006-06-03 07:18 | 377.9522 | -20.037 | -21.6 | -0.766 | -0.761 | -0.416 | -0.538 | -0.008 | 0.767 | 29.905
2006-06-03 07:28 | 387.9522 | -20.03 | -21.594 | -0.763 | -0.758 | -0.416 | -0.544 | -0.006 | 0.762 | 29.909
2006-06-03 07:38 | 397.9522 | -20.045 | -21.603 | -0.78 | -0.772 | -0.416 | -0.555 | -0.008 | 0.765 | 29.907
2006-06-03 07:48 | 407.9522 | -20.045 | -21.608 | -0.789 | -0.781 | -0.411 | -0.561 | -0.008 | 0.758 | 29.913
2006-06-03 07:58 | 417.9522 | -20.052 | -21.611 | -0.798 | -0.786 | -0.405 | -0.567 | -0.006 | 0.758 | 29.913
2006-06-03 08:08 | 427.9522 | -20.052 | -21.608 | -0.798 | -0.789 | -0.396 | -0.575 | -0.006 | 0.762 | 29.909
2006-06-03 08:18 | 437.9522 | -20.06 | -21.614 | -0.806 | -0.801 | -0.384 | -0.584 | -0.006 | 0.76 | 29.911
2006-06-03 08:28 | 447.9522 | -20.067 | -21.617 | -0.812 | -0.806 | -0.384 | -0.592 | -0.004 | 0.755 | 29.915
2006-06-03 08:38 | 457.9522 | -20.075 | -21.617 | -0.818 | -0.815 | -0.393 | -0.598 | -0.004 | 0.534 | 29.919
2006-06-03 08:48 | 467.9522 | -20.06 | -21.608 | -0.812 | -0.803 | -0.399 | -0.604 | -0.002 | 0.541 | 29.913
2006-06-03 08:58 | 477.9522 | -20.067 | -21.62 | -0.827 | -0.818 | -0.411 | -0.609 | 0 | 0.541 | 29.913
2006-06-03 09:08 | 487.9522 | -20.075 | -21.631 | -0.841 | -0.838 | -0.419 | -0.621 | -0.002 | 0.544 | 29.911
2006-06-03 09:18 | 497.9522 | -20.067 | -21.623 | -0.833 | -0.826 | -0.425 | -0.629 | 0 | 0.548 | 29.907
2006-06-03 09:28 | 507.9522 | -20.075 | -21.631 | -0.847 | -0.838 | -0.431 | -0.632 | 0.002 | 0.546 | 29.909
2006-06-03 09:38 | 517.9522 | -20.067 | -21.628 | -0.844 | -0.835 | -0.422 | -0.638 | 0.004 | 0.551 | 29.905
2006-06-03 09:48 | 527.9522 | -20.067 | -21.623 | -0.844 | -0.832 | -0.411 | -0.643 | 0.006 | 0.337 | 29.903
2006-06-03 09:58 | 537.9522 | -20.082 | -21.637 | -0.865 | -0.849 | -0.408 | -0.646 | 0.002 | 0.339 | 29.901
2006-06-03 10:08 | 547.9522 | -20.082 | -21.637 | -0.865 | -0.861 | -0.422 | -0.661 | 0 | 0.341 | 29.899
2006-06-03 10:18 | 557.9522 | -20.105 | -21.657 | -0.885 | -0.903 | -0.443 | -0.678 | -0.01 | 0.348 | 29.893
2006-06-03 10:28 | 567.9522 | -20.097 | -21.654 | -0.885 | -0.875 | -0.44 | -0.672 | 0.002 | 0.137 | 29.888
2006-06-03 10:38 | 577.9522 | -20.09 | -21.651 | -0.879 | -0.861 | -0.457 | -0.683 | 0.002 | 0.139 | 29.886
2006-06-03 10:48 | 587.9522 | -20.105 | -21.66 | -0.896 | -0.901 | -0.463 | -0.689 | 0 | 0.143 | 29.882
2006-06-03 10:58 | 597.9522 | -20.097 | -21.657 | -0.896 | -0.875 | -0.463 | -0.686 | 0.006 | 0.146 | 29.88
2006-06-03 11:08 | 607.9522 | -20.09 | -21.643 | -0.894 | -0.886 | -0.466 | -0.692 | 0.01 | -0.068 | 29.878
2006-06-03 11:18 | 617.9522 | -20.09 | -21.651 | -0.896 | -0.881 | -0.469 | -0.7 | 0.008 | -0.061 | 29.872
2006-06-03 11:28 | 627.9522 | -20.097 | -21.66 | -0.914 | -0.901 | -0.46 | -0.703 | 0.008 | -0.061 | 29.872
2006-06-03 11:38 | 637.9522 | -20.119 | -21.674 | -0.928 | -0.924 | -0.46 | -0.718 | 0 | -0.052 | 29.864
2006-06-03 11:48 | 647.9522 | -20.097 | -21.657 | -0.92 | -0.909 | -0.443 | -0.72 | 0.013 | -0.264 | 29.86
2006-06-03 11:58 | 657.9522 | -20.127 | -21.68 | -0.934 | -0.926 | -0.46 | -0.729 | 0.004 | -0.261 | 29.858
2006-06-03 12:08 | 667.9522 | -20.112 | -21.677 | -0.931 | -0.901 | -0.454 | -0.729 | 0.013 | -0.254 | 29.852
2006-06-03 12:18 | 677.9522 | -20.127 | -21.674 | -0.937 | -0.926 | -0.454 | -0.737 | 0.008 | -0.25 | 29.848
2006-06-03 12:28 | 687.9522 | -20.142 | -21.694 | -0.969 | -0.972 | -0.472 | -0.74 | 0.004 | -0.461 | 29.844
2006-06-03 12:38 | 697.9522 | -20.127 | -21.691 | -0.949 | -0.921 | -0.484 | -0.752 | 0.004 | -0.457 | 29.84
2006-06-03 12:48 | 707.9522 | -20.142 | -21.7 | -0.972 | -0.961 | -0.504 | -0.763 | 0 | -0.448 | 29.831
2006-06-03 12:58 | 717.9522 | -20.172 | -21.734 | -1.021 | -1.029 | -0.531 | -0.78 | -0.019 | -0.441 | 29.825
2006-06-03 13:08 | 727.9522 | -20.112 | -21.68 | -0.952 | -0.886 | -0.49 | -0.755 | 0.027 | -0.438 | 29.823
2006-06-03 13:18 | 737.9522 | -20.142 | -21.712 | -0.986 | -0.958 | -0.507 | -0.769 | 0.008 | -0.436 | 29.821
2006-06-03 13:28 | 747.9522 | -20.149 | -21.714 | -0.989 | -0.961 | -0.513 | -0.783 | 0.004 | -0.427 | 29.813
2006-06-03 13:38 | 757.9522 | -20.187 | -21.732 | -1.018 | -1.026 | -0.528 | -0.797 | -0.01 | -0.638 | 29.809
2006-06-03 13:48 | 767.9522 | -20.164 | -21.732 | -1.015 | -0.995 | -0.51 | -0.803 | 0.002 | -0.629 | 29.801
2006-06-03 13:58 | 777.9522 | -20.187 | -21.74 | -1.021 | -1.006 | -0.534 | -0.814 | -0.013 | -0.625 | 29.797
2006-06-03 14:08 | 787.9522 | -20.254 | -21.789 | -1.088 | -1.155 | -0.586 | -0.846 | -0.054 | -0.625 | 29.797
2006-06-03 14:18 | 797.9522 | -20.224 | -21.763 | -1.056 | -1.075 | -0.566 | -0.834 | -0.027 | -0.622 | 29.795
2006-06-03 14:28 | 807.9522 | -20.202 | -21.746 | -1.047 | -1.055 | -0.563 | -0.829 | -0.01 | -0.62 | 29.793
2006-06-03 14:38 | 817.9522 | -20.187 | -21.74 | -1.03 | -1.004 | -0.56 | -0.826 | 0.008 | -0.611 | 29.785
2006-06-03 14:48 | 827.9522 | -20.216 | -21.769 | -1.076 | -1.112 | -0.601 | -0.848 | -0.021 | -0.606 | 29.781
2006-06-03 14:58 | 837.9522 | -20.164 | -21.737 | -1.03 | -0.972 | -0.586 | -0.837 | 0.006 | -0.606 | 29.781
2006-06-03 15:08 | 847.9522 | -20.164 | -21.737 | -1.036 | -0.964 | -0.586 | -0.837 | 0.013 | -0.818 | 29.777
2006-06-03 15:18 | 857.9522 | -20.239 | -21.78 | -1.097 | -1.118 | -0.63 | -0.868 | -0.025 | -0.815 | 29.774
2006-06-03 15:28 | 867.9522 | -20.216 | -21.775 | -1.068 | -1.058 | -0.633 | -0.868 | -0.015 | -0.811 | 29.77
2006-06-03 15:38 | 877.9522 | -20.224 | -21.78 | -1.097 | -1.101 | -0.639 | -0.877 | -0.013 | -0.809 | 29.768
2006-06-03 15:48 | 887.9522 | -20.224 | -21.789 | -1.114 | -1.112 | -0.645 | -0.888 | -0.021 | -0.802 | 29.762
2006-06-03 15:58 | 897.9522 | -20.224 | -21.775 | -1.088 | -1.089 | -0.651 | -0.883 | -0.013 | -0.795 | 29.756
2006-06-03 16:08 | 907.9522 | -20.231 | -21.795 | -1.105 | -1.087 | -0.66 | -0.894 | -0.017 | -0.788 | 29.75
2006-06-03 16:18 | 917.9522 | -20.231 | -21.798 | -1.111 | -1.101 | -0.674 | -0.911 | -0.025 | -0.783 | 29.746
2006-06-03 16:28 | 927.9522 | -20.276 | -21.818 | -1.143 | -1.181 | -0.701 | -0.925 | -0.042 | -0.779 | 29.742
2006-06-03 16:38 | 937.9522 | -20.276 | -21.818 | -1.146 | -1.175 | -0.695 | -0.923 | -0.038 | -0.781 | 29.744
2006-06-03 16:48 | 947.9522 | -20.269 | -21.82 | -1.143 | -1.149 | -0.683 | -0.923 | -0.025 | -0.774 | 29.738
2006-06-03 16:58 | 957.9522 | -20.224 | -21.795 | -1.123 | -1.107 | -0.677 | -0.928 | -0.021 | -0.986 | 29.734
2006-06-03 17:08 | 967.9522 | -20.239 | -21.786 | -1.111 | -1.121 | -0.68 | -0.931 | -0.027 | -0.988 | 29.736
2006-06-03 17:18 | 977.9522 | -20.231 | -21.783 | -1.108 | -1.104 | -0.677 | -0.931 | -0.025 | -0.986 | 29.734
2006-06-03 17:28 | 987.9522 | -20.209 | -21.769 | -1.108 | -1.112 | -0.692 | -0.942 | -0.04 | -0.981 | 29.73
2006-06-03 17:38 | 997.9522 | -20.224 | -21.769 | -1.102 | -1.121 | -0.704 | -0.945 | -0.042 | -0.979 | 29.728
2006-06-03 17:48 | 1007.9522 | -20.187 | -21.749 | -1.082 | -1.066 | -0.692 | -0.937 | -0.025 | -0.976 | 29.726
2006-06-03 17:58 | 1017.9522 | -20.179 | -21.737 | -1.071 | -1.069 | -0.701 | -0.937 | -0.033 | -0.976 | 29.726
2006-06-03 18:08 | 1027.9522 | -20.179 | -21.74 | -1.079 | -1.072 | -0.704 | -0.937 | -0.036 | -0.974 | 29.724
2006-06-03 18:18 | 1037.9522 | -20.172 | -21.732 | -1.071 | -1.069 | -0.698 | -0.937 | -0.033 | -0.972 | 29.722
2006-06-03 18:28 | 1047.9522 | -20.164 | -21.723 | -1.062 | -1.049 | -0.677 | -0.934 | -0.029 | -0.969 | 29.719
2006-06-03 18:38 | 1057.9522 | -20.172 | -21.729 | -1.071 | -1.069 | -0.68 | -0.934 | -0.036 | -0.972 | 29.722
2006-06-03 18:48 | 1067.9522 | -20.134 | -21.689 | -1.024 | -1.024 | -0.686 | -0.937 | -0.038 | -0.969 | 29.719
2006-06-03 18:58 | 1077.9522 | -20.067 | -21.62 | -0.963 | -0.961 | -0.704 | -0.888 | -0.038 | -0.969 | 29.719
2006-06-03 19:08 | 1087.9522 | -20.045 | -21.597 | -0.946 | -0.941 | -0.707 | -0.823 | -0.04 | -0.963 | 29.713
2006-06-03 19:18 | 1097.9522 | -20.015 | -21.565 | -0.914 | -0.912 | -0.704 | -0.772 | -0.042 | -0.967 | 29.717
2006-06-03 19:28 | 1107.9522 | -19.993 | -21.554 | -0.902 | -0.898 | -0.698 | -0.729 | -0.042 | -0.972 | 29.722
2006-06-03 19:38 | 1117.9522 | -19.985 | -21.545 | -0.899 | -0.898 | -0.695 | -0.695 | -0.044 | -0.976 | 29.726
2006-06-03 19:48 | 1127.9522 | -19.97 | -21.522 | -0.879 | -0.875 | -0.686 | -0.663 | -0.044 | -0.983 | 29.732
2006-06-03 19:58 | 1137.9522 | -19.963 | -21.517 | -0.87 | -0.866 | -0.68 | -0.635 | -0.044 | -0.988 | 29.736
2006-06-03 20:08 | 1147.9522 | -19.955 | -21.511 | -0.867 | -0.863 | -0.674 | -0.612 | -0.044 | -0.993 | 29.74
2006-06-03 20:18 | 1157.9522 | -19.933 | -21.494 | -0.856 | -0.849 | -0.666 | -0.595 | -0.04 | -0.997 | 29.744
2006-06-03 20:28 | 1167.9522 | -19.94 | -21.494 | -0.853 | -0.849 | -0.663 | -0.572 | -0.04 | -0.79 | 29.752
2006-06-03 20:38 | 1177.9522 | -19.933 | -21.491 | -0.853 | -0.849 | -0.657 | -0.561 | -0.038 | -0.795 | 29.756
2006-06-03 20:48 | 1187.9522 | -19.933 | -21.488 | -0.853 | -0.843 | -0.657 | -0.55 | -0.036 | -0.799 | 29.76
2006-06-03 20:58 | 1197.9522 | -19.926 | -21.479 | -0.841 | -0.838 | -0.66 | -0.538 | -0.036 | -0.804 | 29.764
2006-06-03 21:08 | 1207.9522 | -20.03 | -21.588 | -0.954 | -0.952 | -0.657 | -0.564 | -0.036 | -0.804 | 29.764
2006-06-03 21:18 | 1217.9522 | -20.075 | -21.637 | -1.007 | -1.001 | -0.66 | -0.624 | -0.033 | -0.811 | 29.77
2006-06-03 21:28 | 1227.9522 | -20.112 | -21.671 | -1.042 | -1.038 | -0.671 | -0.678 | -0.029 | -0.597 | 29.772
2006-06-03 21:38 | 1237.9522 | -20.149 | -21.7 | -1.068 | -1.066 | -0.683 | -0.718 | -0.027 | -0.602 | 29.777
2006-06-03 21:48 | 1247.9522 | -20.149 | -21.712 | -1.082 | -1.075 | -0.692 | -0.755 | -0.023 | -0.606 | 29.781
2006-06-03 21:58 | 1257.9522 | -20.179 | -21.732 | -1.108 | -1.104 | -0.704 | -0.783 | -0.021 | -0.611 | 29.785
2006-06-03 22:08 | 1267.9522 | -20.202 | -21.749 | -1.126 | -1.121 | -0.713 | -0.809 | -0.021 | -0.62 | 29.793
2006-06-03 22:18 | 1277.9522 | -20.216 | -21.769 | -1.14 | -1.135 | -0.724 | -0.831 | -0.019 | -0.408 | 29.797
2006-06-03 22:28 | 1287.9522 | -20.224 | -21.78 | -1.158 | -1.149 | -0.733 | -0.854 | -0.017 | -0.415 | 29.803
2006-06-03 22:38 | 1297.9522 | -20.239 | -21.789 | -1.166 | -1.158 | -0.742 | -0.871 | -0.01 | -0.425 | 29.811
2006-06-03 22:48 | 1307.9522 | -20.231 | -21.783 | -1.166 | -1.158 | -0.748 | -0.888 | -0.008 | -0.431 | 29.817
2006-06-03 22:58 | 1317.9522 | -20.254 | -21.803 | -1.184 | -1.178 | -0.759 | -0.903 | -0.006 | -0.434 | 29.819
2006-06-03 23:08 | 1327.9522 | -20.261 | -21.812 | -1.195 | -1.189 | -0.771 | -0.917 | -0.004 | -0.441 | 29.825
2006-06-03 23:18 | 1337.9522 | -20.261 | -21.818 | -1.198 | -1.198 | -0.777 | -0.934 | -0.004 | -0.229 | 29.829
2006-06-03 23:28 | 1347.9522 | -20.261 | -21.823 | -1.21 | -1.204 | -0.786 | -0.948 | 0 | -0.234 | 29.834
2006-06-03 23:38 | 1357.9522 | -20.291 | -21.838 | -1.227 | -1.218 | -0.798 | -0.962 | 0.002 | -0.236 | 29.836
2006-06-03 23:48 | 1367.9522 | -20.291 | -21.849 | -1.239 | -1.229 | -0.803 | -0.974 | 0.002 | -0.236 | 29.836
2006-06-03 23:58 | 1377.9522 | -20.306 | -21.858 | -1.248 | -1.244 | -0.815 | -0.985 | 0.004 | -0.238 | 29.838
2006-06-04 00:08 | 1387.9522 | -20.313 | -21.866 | -1.259 | -1.255 | -0.824 | -1.002 | 0.006 | -0.238 | 29.838
2006-06-04 00:18 | 1397.9522 | -20.306 | -21.861 | -1.253 | -1.25 | -0.83 | -1.014 | 0.006 | -0.243 | 29.842
2006-06-04 00:28 | 1407.9522 | -20.328 | -21.872 | -1.268 | -1.261 | -0.842 | -1.022 | 0.006 | -0.245 | 29.844
2006-06-04 00:38 | 1417.9522 | -20.336 | -21.886 | -1.279 | -1.275 | -0.85 | -1.036 | 0.008 | -0.029 | 29.844
2006-06-04 00:48 | 1427.9522 | -20.343 | -21.895 | -1.288 | -1.284 | -0.865 | -1.048 | 0.008 | -0.031 | 29.846
2006-06-04 00:58 | 1437.9522 | -20.351 | -21.906 | -1.303 | -1.295 | -0.883 | -1.059 | 0.008 | -0.027 | 29.842
2006-06-04 01:08 | 1447.9522 | -20.366 | -21.918 | -1.311 | -1.31 | -0.9 | -1.071 | 0.008 | -0.022 | 29.838
2006-06-04 01:18 | 1457.9522 | -20.351 | -21.912 | -1.308 | -1.301 | -0.912 | -1.085 | 0.006 | -0.022 | 29.838
2006-06-04 01:28 | 1467.9522 | -20.373 | -21.924 | -1.323 | -1.318 | -0.924 | -1.093 | 0.008 | -0.024 | 29.84
2006-06-04 01:38 | 1477.9522 | -20.381 | -21.932 | -1.335 | -1.327 | -0.932 | -1.105 | 0.006 | -0.024 | 29.84
2006-06-04 01:48 | 1487.9522 | -20.388 | -21.941 | -1.343 | -1.338 | -0.944 | -1.116 | 0.004 | -0.022 | 29.838
2006-06-04 01:58 | 1497.9522 | -20.395 | -21.955 | -1.355 | -1.35 | -0.956 | -1.13 | 0.004 | -0.015 | 29.831
2006-06-04 02:08 | 1507.9522 | -20.388 | -21.952 | -1.352 | -1.347 | -0.965 | -1.142 | 0.004 | -0.015 | 29.831
2006-06-04 02:18 | 1517.9522 | -20.41 | -21.961 | -1.364 | -1.358 | -0.974 | -1.15 | 0.002 | 0.203 | 29.829
2006-06-04 02:28 | 1527.9522 | -20.425 | -21.972 | -1.378 | -1.37 | -0.982 | -1.162 | 0.004 | 0.206 | 29.827
2006-06-04 02:38 | 1537.9522 | -20.425 | -21.981 | -1.387 | -1.381 | -0.991 | -1.17 | 0.004 | 0.208 | 29.825
2006-06-04 02:48 | 1547.9522 | -20.425 | -21.978 | -1.387 | -1.381 | -0.997 | -1.179 | 0.002 | 0.208 | 29.825
2006-06-04 02:58 | 1557.9522 | -20.418 | -21.975 | -1.384 | -1.375 | -1.015 | -1.185 | 0.002 | 0.208 | 29.825
2006-06-04 03:08 | 1567.9522 | -20.44 | -21.99 | -1.401 | -1.395 | -1.026 | -1.193 | 0.002 | 0.213 | 29.821
2006-06-04 03:18 | 1577.9522 | -20.433 | -21.998 | -1.407 | -1.401 | -1.035 | -1.202 | 0.002 | 0.208 | 29.825
2006-06-04 03:28 | 1587.9522 | -20.433 | -21.992 | -1.401 | -1.395 | -1.047 | -1.207 | 0 | 0.208 | 29.825
2006-06-04 03:38 | 1597.9522 | -20.44 | -21.998 | -1.41 | -1.404 | -1.056 | -1.213 | 0 | 0.203 | 29.829
2006-06-04 03:48 | 1607.9522 | -20.448 | -22.007 | -1.419 | -1.413 | -1.062 | -1.219 | 0 | 0.203 | 29.829
2006-06-04 03:58 | 1617.9522 | -20.44 | -21.998 | -1.413 | -1.41 | -1.07 | -1.224 | 0 | 0.203 | 29.829
2006-06-04 04:08 | 1627.9522 | -20.44 | -21.998 | -1.413 | -1.407 | -1.076 | -1.23 | 0 | 0.197 | 29.836
2006-06-04 04:18 | 1637.9522 | -20.455 | -22.013 | -1.427 | -1.421 | -1.085 | -1.236 | -0.002 | 0.199 | 29.834
2006-06-04 04:28 | 1647.9522 | -20.455 | -22.018 | -1.43 | -1.427 | -1.091 | -1.239 | 0 | 0.413 | 29.836
2006-06-04 04:38 | 1657.9522 | -20.448 | -22.007 | -1.425 | -1.421 | -1.097 | -1.244 | 0 | 0.41 | 29.838
2006-06-04 04:48 | 1667.9522 | -20.463 | -22.027 | -1.442 | -1.435 | -1.097 | -1.25 | 0 | 0.408 | 29.84
2006-06-04 04:58 | 1677.9522 | -20.47 | -22.033 | -1.451 | -1.444 | -1.103 | -1.253 | 0 | 0.408 | 29.84
2006-06-04 05:08 | 1687.9522 | -20.477 | -22.036 | -1.456 | -1.447 | -1.106 | -1.261 | 0 | 0.408 | 29.84
2006-06-04 05:18 | 1697.9522 | -20.485 | -22.041 | -1.462 | -1.458 | -1.108 | -1.267 | 0 | 0.408 | 29.84
2006-06-04 05:28 | 1707.9522 | -20.485 | -22.047 | -1.471 | -1.464 | -1.114 | -1.27 | 0 | 0.41 | 29.838
2006-06-04 05:38 | 1717.9522 | -20.485 | -22.044 | -1.471 | -1.464 | -1.114 | -1.281 | 0.002 | 0.406 | 29.842
2006-06-04 05:48 | 1727.9522 | -20.485 | -22.044 | -1.468 | -1.461 | -1.114 | -1.278 | 0.002 | 0.404 | 29.844
2006-06-04 05:58 | 1737.9522 | -20.492 | -22.053 | -1.477 | -1.467 | -1.117 | -1.287 | 0.002 | 0.401 | 29.846
2006-06-04 06:08 | 1747.9522 | -20.492 | -22.053 | -1.48 | -1.47 | -1.117 | -1.287 | 0.004 | 0.392 | 29.854
2006-06-04 06:18 | 1757.9522 | -20.5 | -22.056 | -1.485 | -1.475 | -1.12 | -1.296 | 0.006 | 0.394 | 29.852
2006-06-04 06:28 | 1767.9522 | -20.5 | -22.058 | -1.488 | -1.481 | -1.126 | -1.293 | 0.008 | 0.383 | 29.862
2006-06-04 06:38 | 1777.9522 | -20.5 | -22.058 | -1.491 | -1.481 | -1.126 | -1.301 | 0.008 | 0.381 | 29.864
2006-06-04 06:48 | 1787.9522 | -20.5 | -22.061 | -1.491 | -1.484 | -1.12 | -1.298 | 0.013 | 0.376 | 29.868
2006-06-04 06:58 | 1797.9522 | -20.507 | -22.061 | -1.497 | -1.49 | -1.12 | -1.307 | 0.013 | 0.374 | 29.87
2006-06-04 07:08 | 1807.9522 | -20.5 | -22.058 | -1.491 | -1.481 | -1.12 | -1.313 | 0.015 | 0.59 | 29.87
2006-06-04 07:18 | 1817.9522 | -20.507 | -22.064 | -1.497 | -1.49 | -1.111 | -1.316 | 0.015 | 0.588 | 29.872
2006-06-04 07:28 | 1827.9522 | -20.515 | -22.073 | -1.509 | -1.501 | -1.094 | -1.321 | 0.017 | 0.59 | 29.87
2006-06-04 07:38 | 1837.9522 | -20.522 | -22.084 | -1.517 | -1.507 | -1.1 | -1.33 | 0.017 | 0.594 | 29.866
2006-06-04 07:48 | 1847.9522 | -20.53 | -22.087 | -1.52 | -1.513 | -1.094 | -1.335 | 0.019 | 0.592 | 29.868
2006-06-04 07:58 | 1857.9522 | -20.522 | -22.084 | -1.52 | -1.513 | -1.1 | -1.335 | 0.019 | 0.585 | 29.874
2006-06-04 08:08 | 1867.9522 | -20.515 | -22.07 | -1.509 | -1.498 | -1.103 | -1.344 | 0.019 | 0.588 | 29.872
2006-06-04 08:18 | 1877.9522 | -20.515 | -22.073 | -1.514 | -1.501 | -1.1 | -1.344 | 0.021 | 0.59 | 29.87
2006-06-04 08:28 | 1887.9522 | -20.515 | -22.073 | -1.514 | -1.504 | -1.1 | -1.347 | 0.021 | 0.588 | 29.872
2006-06-04 08:38 | 1897.9522 | -20.507 | -22.07 | -1.509 | -1.498 | -1.097 | -1.35 | 0.023 | 0.369 | 29.874
2006-06-04 08:48 | 1907.9522 | -20.5 | -22.061 | -1.5 | -1.49 | -1.097 | -1.35 | 0.023 | 0.371 | 29.872
2006-06-04 08:58 | 1917.9522 | -20.507 | -22.064 | -1.506 | -1.495 | -1.097 | -1.35 | 0.025 | 0.369 | 29.874
2006-06-04 09:08 | 1927.9522 | -20.522 | -22.076 | -1.517 | -1.507 | -1.1 | -1.358 | 0.021 | 0.369 | 29.874
2006-06-04 09:18 | 1937.9522 | -20.492 | -22.058 | -1.497 | -1.481 | -1.091 | -1.353 | 0.029 | 0.367 | 29.876
2006-06-04 09:28 | 1947.9522 | -20.522 | -22.073 | -1.514 | -1.521 | -1.1 | -1.355 | 0.019 | 0.367 | 29.876
2006-06-04 09:38 | 1957.9522 | -20.515 | -22.073 | -1.512 | -1.498 | -1.094 | -1.358 | 0.031 | 0.162 | 29.866
2006-06-04 09:48 | 1967.9522 | -20.522 | -22.076 | -1.506 | -1.498 | -1.114 | -1.367 | 0.017 | 0.162 | 29.866
2006-06-04 09:58 | 1977.9522 | -20.5 | -22.058 | -1.503 | -1.487 | -1.103 | -1.358 | 0.033 | 0.167 | 29.862
2006-06-04 10:08 | 1987.9522 | -20.5 | -22.064 | -1.509 | -1.481 | -1.091 | -1.361 | 0.04 | 0.171 | 29.858
2006-06-04 10:18 | 1997.9522 | -20.507 | -22.073 | -1.514 | -1.495 | -1.094 | -1.364 | 0.036 | 0.173 | 29.856
2006-06-04 10:28 | 2007.9522 | -20.485 | -22.053 | -1.5 | -1.467 | -1.082 | -1.358 | 0.046 | -0.04 | 29.854
2006-06-04 10:38 | 2017.9522 | -20.522 | -22.076 | -1.52 | -1.518 | -1.094 | -1.367 | 0.036 | -0.034 | 29.848
2006-06-04 10:48 | 2027.9522 | -20.522 | -22.084 | -1.532 | -1.513 | -1.091 | -1.37 | 0.038 | -0.034 | 29.848
2006-06-04 10:58 | 2037.9522 | -20.507 | -22.064 | -1.509 | -1.478 | -1.091 | -1.364 | 0.046 | -0.029 | 29.844
2006-06-04 11:08 | 2047.9522 | -20.537 | -22.09 | -1.535 | -1.527 | -1.111 | -1.384 | 0.025 | -0.245 | 29.844
2006-06-04 11:18 | 2057.9522 | -20.537 | -22.096 | -1.543 | -1.524 | -1.103 | -1.381 | 0.036 | -0.236 | 29.836
2006-06-04 11:28 | 2067.9522 | -20.522 | -22.084 | -1.532 | -1.507 | -1.106 | -1.378 | 0.038 | -0.234 | 29.834
2006-06-04 11:38 | 2077.9522 | -20.515 | -22.073 | -1.52 | -1.493 | -1.094 | -1.375 | 0.05 | -0.227 | 29.827
2006-06-04 11:48 | 2087.9522 | -20.582 | -22.124 | -1.581 | -1.604 | -1.135 | -1.401 | 0.019 | -0.434 | 29.819
2006-06-04 11:58 | 2097.9522 | -20.567 | -22.113 | -1.578 | -1.593 | -1.123 | -1.398 | 0.031 | -0.427 | 29.813
2006-06-04 12:08 | 2107.9522 | -20.552 | -22.11 | -1.567 | -1.561 | -1.138 | -1.412 | 0.019 | -0.422 | 29.809
2006-06-04 12:18 | 2117.9522 | -20.522 | -22.09 | -1.532 | -1.495 | -1.117 | -1.398 | 0.04 | -0.418 | 29.805
2006-06-04 12:28 | 2127.9522 | -20.53 | -22.084 | -1.538 | -1.524 | -1.135 | -1.407 | 0.023 | -0.411 | 29.799
2006-06-04 12:38 | 2137.9522 | -20.5 | -22.061 | -1.52 | -1.504 | -1.123 | -1.407 | 0.033 | -0.618 | 29.791
2006-06-04 12:48 | 2147.9522 | -20.515 | -22.076 | -1.523 | -1.513 | -1.141 | -1.415 | 0.017 | -0.611 | 29.785
2006-06-04 12:58 | 2157.9522 | -20.522 | -22.076 | -1.52 | -1.513 | -1.144 | -1.41 | 0.021 | -0.602 | 29.777
2006-06-04 13:08 | 2167.9522 | -20.485 | -22.047 | -1.509 | -1.498 | -1.141 | -1.41 | 0.023 | -0.599 | 29.774
2006-06-04 13:18 | 2177.9522 | -20.515 | -22.067 | -1.535 | -1.547 | -1.155 | -1.412 | 0.008 | -0.59 | 29.766
2006-06-04 13:28 | 2187.9522 | -20.485 | -22.038 | -1.509 | -1.507 | -1.135 | -1.401 | 0.029 | -0.581 | 29.758
2006-06-04 13:38 | 2197.9522 | -20.448 | -22.018 | -1.468 | -1.421 | -1.12 | -1.392 | 0.033 | -0.792 | 29.754
2006-06-04 13:48 | 2207.9522 | -20.44 | -22.015 | -1.468 | -1.407 | -1.106 | -1.384 | 0.048 | -0.783 | 29.746
2006-06-04 13:58 | 2217.9522 | -20.492 | -22.047 | -1.514 | -1.507 | -1.141 | -1.398 | 0.01 | -0.781 | 29.744
2006-06-04 14:08 | 2227.9522 | -20.5 | -22.038 | -1.506 | -1.535 | -1.152 | -1.41 | 0.004 | -0.772 | 29.736
2006-06-04 14:18 | 2237.9522 | -20.47 | -22.021 | -1.483 | -1.484 | -1.135 | -1.395 | 0.013 | -0.774 | 29.738
2006-06-04 14:28 | 2247.9522 | -20.477 | -22.027 | -1.488 | -1.49 | -1.135 | -1.39 | 0.01 | -0.772 | 29.736
2006-06-04 14:38 | 2257.9522 | -20.477 | -22.027 | -1.488 | -1.481 | -1.132 | -1.387 | 0.01 | -0.988 | 29.736
2006-06-04 14:48 | 2267.9522 | -20.485 | -22.036 | -1.494 | -1.493 | -1.129 | -1.387 | 0.01 | -0.986 | 29.734
2006-06-04 14:58 | 2277.9522 | -20.5 | -22.056 | -1.517 | -1.507 | -1.129 | -1.387 | 0.006 | -0.979 | 29.728
2006-06-04 15:08 | 2287.9522 | -20.53 | -22.079 | -1.543 | -1.547 | -1.135 | -1.395 | 0.002 | -0.972 | 29.722
2006-06-04 15:18 | 2297.9522 | -20.522 | -22.076 | -1.535 | -1.53 | -1.126 | -1.39 | 0.002 | -0.981 | 29.73
2006-06-04 15:28 | 2307.9522 | -20.522 | -22.081 | -1.541 | -1.527 | -1.123 | -1.387 | 0.004 | -0.981 | 29.73
2006-06-04 15:38 | 2317.9522 | -20.537 | -22.099 | -1.564 | -1.556 | -1.12 | -1.392 | 0.006 | -0.972 | 29.722
2006-06-04 15:48 | 2327.9522 | -20.537 | -22.101 | -1.561 | -1.533 | -1.12 | -1.398 | 0.013 | -0.967 | 29.717
2006-06-04 15:58 | 2337.9522 | -20.56 | -22.116 | -1.575 | -1.558 | -1.135 | -1.41 | 0.002 | -0.956 | 29.707
2006-06-04 16:08 | 2347.9522 | -20.574 | -22.136 | -1.596 | -1.587 | -1.135 | -1.418 | 0 | -0.946 | 29.699
2006-06-04 16:18 | 2357.9522 | -20.582 | -22.136 | -1.602 | -1.598 | -1.147 | -1.424 | 0 | -0.935 | 29.689
2006-06-04 16:28 | 2367.9522 | -20.589 | -22.142 | -1.604 | -1.601 | -1.155 | -1.435 | -0.008 | -0.928 | 29.683
2006-06-04 16:38 | 2377.9522 | -20.589 | -22.144 | -1.616 | -1.604 | -1.155 | -1.435 | -0.01 | -0.937 | 29.691
2006-06-04 16:48 | 2387.9522 | -20.612 | -22.159 | -1.628 | -1.636 | -1.158 | -1.438 | -0.013 | -0.93 | 29.685
2006-06-04 16:58 | 2397.9522 | -20.604 | -22.153 | -1.625 | -1.621 | -1.17 | -1.444 | -0.013 | -0.926 | 29.681
2006-06-04 17:08 | 2407.9522 | -20.612 | -22.153 | -1.628 | -1.63 | -1.17 | -1.449 | -0.013 | -0.916 | 29.673
2006-06-04 17:18 | 2417.9522 | -20.597 | -22.153 | -1.622 | -1.59 | -1.158 | -1.441 | 0.002 | -1.135 | 29.675
2006-06-04 17:28 | 2427.9522 | -20.612 | -22.162 | -1.633 | -1.638 | -1.185 | -1.452 | -0.019 | -1.14 | 29.679
2006-06-04 17:38 | 2437.9522 | -20.597 | -22.156 | -1.625 | -1.596 | -1.176 | -1.452 | -0.002 | -1.133 | 29.673
2006-06-04 17:48 | 2447.9522 | -20.612 | -22.17 | -1.645 | -1.633 | -1.182 | -1.455 | -0.006 | -1.135 | 29.675
2006-06-04 17:58 | 2457.9522 | -20.612 | -22.167 | -1.639 | -1.633 | -1.188 | -1.466 | -0.013 | -1.133 | 29.673
2006-06-04 18:08 | 2467.9522 | -20.612 | -22.167 | -1.639 | -1.636 | -1.191 | -1.466 | -0.017 | -1.135 | 29.675
2006-06-04 18:18 | 2477.9522 | -20.627 | -22.179 | -1.654 | -1.647 | -1.191 | -1.469 | -0.013 | -1.135 | 29.675
2006-06-04 18:28 | 2487.9522 | -20.634 | -22.182 | -1.657 | -1.658 | -1.202 | -1.472 | -0.017 | -1.137 | 29.677
2006-06-04 18:38 | 2497.9522 | -20.619 | -22.176 | -1.648 | -1.644 | -1.199 | -1.475 | -0.015 | -1.137 | 29.677
2006-06-04 18:48 | 2507.9522 | -20.627 | -22.179 | -1.654 | -1.653 | -1.199 | -1.475 | -0.015 | -1.142 | 29.681
2006-06-04 18:58 | 2517.9522 | -20.642 | -22.19 | -1.665 | -1.661 | -1.196 | -1.481 | -0.015 | -1.137 | 29.677
2006-06-04 19:08 | 2527.9522 | -20.627 | -22.182 | -1.657 | -1.653 | -1.196 | -1.484 | -0.013 | -1.137 | 29.677
2006-06-04 19:18 | 2537.9522 | -20.634 | -22.185 | -1.66 | -1.656 | -1.182 | -1.478 | -0.013 | -1.14 | 29.679
2006-06-04 19:28 | 2547.9522 | -20.627 | -22.182 | -1.657 | -1.653 | -1.132 | -1.447 | -0.013 | -1.142 | 29.681
2006-06-04 19:38 | 2557.9522 | -20.612 | -22.165 | -1.639 | -1.636 | -1.082 | -1.415 | -0.013 | -1.142 | 29.681
2006-06-04 19:48 | 2567.9522 | -20.597 | -22.15 | -1.631 | -1.621 | -1.044 | -1.378 | -0.01 | -1.151 | 29.689
2006-06-04 19:58 | 2577.9522 | -20.597 | -22.15 | -1.631 | -1.63 | -1.012 | -1.35 | -0.01 | -1.153 | 29.691
2006-06-04 20:08 | 2587.9522 | -20.589 | -22.139 | -1.622 | -1.613 | -0.982 | -1.321 | -0.01 | -1.16 | 29.697
2006-06-04 20:18 | 2597.9522 | -20.567 | -22.127 | -1.607 | -1.601 | -0.959 | -1.298 | -0.01 | -0.951 | 29.703
2006-06-04 20:28 | 2607.9522 | -20.574 | -22.13 | -1.613 | -1.607 | -0.944 | -1.281 | -0.008 | -0.956 | 29.707
2006-06-04 20:38 | 2617.9522 | -20.567 | -22.127 | -1.607 | -1.604 | -0.924 | -1.259 | -0.008 | -0.96 | 29.711
2006-06-04 20:48 | 2627.9522 | -20.567 | -22.122 | -1.602 | -1.598 | -0.906 | -1.241 | -0.006 | -0.972 | 29.722
2006-06-04 20:58 | 2637.9522 | -20.567 | -22.119 | -1.599 | -1.596 | -0.894 | -1.222 | -0.006 | -0.981 | 29.73
2006-06-04 21:08 | 2647.9522 | -20.545 | -22.099 | -1.578 | -1.576 | -0.88 | -1.207 | -0.004 | -0.774 | 29.738
2006-06-04 21:18 | 2657.9522 | -20.545 | -22.104 | -1.587 | -1.581 | -0.868 | -1.196 | 0 | -0.779 | 29.742
2006-06-04 21:28 | 2667.9522 | -20.552 | -22.107 | -1.587 | -1.584 | -0.859 | -1.185 | 0 | -0.779 | 29.742
2006-06-04 21:38 | 2677.9522 | -20.552 | -22.104 | -1.587 | -1.584 | -0.853 | -1.176 | 0.002 | -0.783 | 29.746
2006-06-04 21:48 | 2687.9522 | -20.552 | -22.104 | -1.587 | -1.581 | -0.842 | -1.167 | 0.004 | -0.79 | 29.752
2006-06-04 21:58 | 2697.9522 | -20.537 | -22.09 | -1.575 | -1.567 | -0.833 | -1.156 | 0.006 | -0.797 | 29.758
2006-06-04 22:08 | 2707.9522 | -20.537 | -22.093 | -1.578 | -1.573 | -0.827 | -1.15 | 0.006 | -0.588 | 29.764
2006-06-04 22:18 | 2717.9522 | -20.545 | -22.096 | -1.581 | -1.576 | -0.818 | -1.136 | 0.01 | -0.592 | 29.768
2006-06-04 22:28 | 2727.9522 | -20.545 | -22.093 | -1.581 | -1.576 | -0.815 | -1.13 | 0.013 | -0.602 | 29.777
2006-06-04 22:38 | 2737.9522 | -20.537 | -22.093 | -1.581 | -1.573 | -0.809 | -1.125 | 0.015 | -0.606 | 29.781
2006-06-04 22:48 | 2747.9522 | -20.545 | -22.096 | -1.587 | -1.578 | -0.803 | -1.122 | 0.019 | -0.604 | 29.779
2006-06-04 22:58 | 2757.9522 | -20.545 | -22.099 | -1.587 | -1.578 | -0.803 | -1.119 | 0.019 | -0.611 | 29.785
2006-06-04 23:08 | 2767.9522 | -20.552 | -22.104 | -1.596 | -1.59 | -0.806 | -1.122 | 0.019 | -0.388 | 29.779
2006-06-04 23:18 | 2777.9522 | -20.537 | -22.099 | -1.59 | -1.581 | -0.809 | -1.122 | 0.019 | -0.383 | 29.774
2006-06-04 23:28 | 2787.9522 | -20.552 | -22.107 | -1.596 | -1.593 | -0.812 | -1.119 | 0.019 | -0.385 | 29.777
2006-06-04 23:38 | 2797.9522 | -20.552 | -22.11 | -1.599 | -1.593 | -0.809 | -1.119 | 0.019 | -0.388 | 29.779
2006-06-04 23:48 | 2807.9522 | -20.56 | -22.113 | -1.607 | -1.598 | -0.809 | -1.119 | 0.019 | -0.392 | 29.783
2006-06-04 23:58 | 2817.9522 | -20.567 | -22.122 | -1.613 | -1.604 | -0.815 | -1.119 | 0.019 | -0.39 | 29.781
2006-06-05 00:08 | 2827.9522 | -20.574 | -22.127 | -1.619 | -1.61 | -0.815 | -1.122 | 0.021 | -0.171 | 29.779
2006-06-05 00:18 | 2837.9522 | -20.567 | -22.124 | -1.619 | -1.61 | -0.812 | -1.122 | 0.021 | -0.171 | 29.779
2006-06-05 00:28 | 2847.9522 | -20.56 | -22.116 | -1.61 | -1.598 | -0.815 | -1.122 | 0.021 | -0.178 | 29.785
2006-06-05 00:38 | 2857.9522 | -20.574 | -22.127 | -1.622 | -1.613 | -0.818 | -1.119 | 0.021 | -0.178 | 29.785
2006-06-05 00:48 | 2867.9522 | -20.574 | -22.13 | -1.628 | -1.618 | -0.821 | -1.119 | 0.023 | -0.181 | 29.787
2006-06-05 00:58 | 2877.9522 | -20.582 | -22.136 | -1.631 | -1.624 | -0.827 | -1.119 | 0.021 | -0.183 | 29.789
2006-06-05 01:08 | 2887.9522 | -20.582 | -22.139 | -1.636 | -1.627 | -0.83 | -1.119 | 0.023 | -0.185 | 29.791
2006-06-05 01:18 | 2897.9522 | -20.589 | -22.144 | -1.639 | -1.633 | -0.833 | -1.122 | 0.021 | 0.033 | 29.789
2006-06-05 01:28 | 2907.9522 | -20.589 | -22.144 | -1.642 | -1.636 | -0.836 | -1.122 | 0.021 | 0.029 | 29.793
2006-06-05 01:38 | 2917.9522 | -20.589 | -22.15 | -1.645 | -1.636 | -0.842 | -1.128 | 0.021 | 0.026 | 29.795
2006-06-05 01:48 | 2927.9522 | -20.589 | -22.144 | -1.642 | -1.633 | -0.847 | -1.128 | 0.021 | 0.026 | 29.795
2006-06-05 01:58 | 2937.9522 | -20.604 | -22.156 | -1.651 | -1.644 | -0.856 | -1.13 | 0.021 | 0.026 | 29.795
2006-06-05 02:08 | 2947.9522 | -20.604 | -22.159 | -1.657 | -1.65 | -0.865 | -1.136 | 0.021 | 0.026 | 29.795
2006-06-05 02:18 | 2957.9522 | -20.612 | -22.165 | -1.662 | -1.656 | -0.871 | -1.136 | 0.021 | 0.245 | 29.793
2006-06-05 02:28 | 2967.9522 | -20.612 | -22.165 | -1.662 | -1.653 | -0.877 | -1.136 | 0.021 | 0.247 | 29.791
2006-06-05 02:38 | 2977.9522 | -20.604 | -22.159 | -1.66 | -1.653 | -0.883 | -1.142 | 0.021 | 0.245 | 29.793
2006-06-05 02:48 | 2987.9522 | -20.612 | -22.167 | -1.668 | -1.661 | -0.886 | -1.145 | 0.021 | 0.243 | 29.795
2006-06-05 02:58 | 2997.9522 | -20.619 | -22.176 | -1.68 | -1.667 | -0.891 | -1.142 | 0.021 | 0.243 | 29.795
2006-06-05 03:08 | 3007.9522 | -20.627 | -22.185 | -1.686 | -1.678 | -0.894 | -1.147 | 0.021 | 0.247 | 29.791
2006-06-05 03:18 | 3017.9522 | -20.619 | -22.179 | -1.677 | -1.67 | -0.897 | -1.153 | 0.021 | 0.25 | 29.789
2006-06-05 03:28 | 3027.9522 | -20.619 | -22.185 | -1.686 | -1.676 | -0.906 | -1.156 | 0.019 | 0.25 | 29.789
2006-06-05 03:38 | 3037.9522 | -20.634 | -22.193 | -1.691 | -1.687 | -0.906 | -1.159 | 0.017 | 0.25 | 29.789
2006-06-05 03:48 | 3047.9522 | -20.642 | -22.199 | -1.697 | -1.693 | -0.912 | -1.162 | 0.017 | 0.25 | 29.789
2006-06-05 03:58 | 3057.9522 | -20.634 | -22.193 | -1.694 | -1.684 | -0.915 | -1.162 | 0.017 | 0.464 | 29.791
2006-06-05 04:08 | 3067.9522 | -20.634 | -22.19 | -1.691 | -1.684 | -0.915 | -1.165 | 0.017 | 0.461 | 29.793
2006-06-05 04:18 | 3077.9522 | -20.642 | -22.202 | -1.706 | -1.696 | -0.918 | -1.17 | 0.019 | 0.464 | 29.791
2006-06-05 04:28 | 3087.9522 | -20.649 | -22.208 | -1.709 | -1.701 | -0.924 | -1.17 | 0.019 | 0.461 | 29.793
2006-06-05 04:38 | 3097.9522 | -20.642 | -22.202 | -1.706 | -1.699 | -0.921 | -1.173 | 0.017 | 0.459 | 29.795
2006-06-05 04:48 | 3107.9522 | -20.634 | -22.193 | -1.697 | -1.69 | -0.921 | -1.17 | 0.017 | 0.452 | 29.801
2006-06-05 04:58 | 3117.9522 | -20.649 | -22.202 | -1.709 | -1.701 | -0.924 | -1.17 | 0.019 | 0.452 | 29.801
2006-06-05 05:08 | 3127.9522 | -20.649 | -22.205 | -1.715 | -1.704 | -0.924 | -1.173 | 0.021 | 0.452 | 29.801
2006-06-05 05:18 | 3137.9522 | -20.649 | -22.199 | -1.706 | -1.699 | -0.924 | -1.176 | 0.021 | 0.45 | 29.803
2006-06-05 05:28 | 3147.9522 | -20.642 | -22.199 | -1.706 | -1.699 | -0.93 | -1.179 | 0.019 | 0.452 | 29.801
2006-06-05 05:38 | 3157.9522 | -20.657 | -22.21 | -1.718 | -1.71 | -0.93 | -1.179 | 0.021 | 0.666 | 29.803
2006-06-05 05:48 | 3167.9522 | -20.657 | -22.21 | -1.721 | -1.713 | -0.927 | -1.179 | 0.021 | 0.661 | 29.807
2006-06-05 05:58 | 3177.9522 | -20.657 | -22.21 | -1.721 | -1.713 | -0.93 | -1.179 | 0.021 | 0.654 | 29.813
2006-06-05 06:08 | 3187.9522 | -20.664 | -22.219 | -1.729 | -1.721 | -0.935 | -1.185 | 0.023 | 0.659 | 29.809
2006-06-05 06:18 | 3197.9522 | -20.657 | -22.208 | -1.718 | -1.71 | -0.935 | -1.187 | 0.023 | 0.654 | 29.813
2006-06-05 06:28 | 3207.9522 | -20.657 | -22.208 | -1.721 | -1.713 | -0.932 | -1.179 | 0.023 | 0.643 | 29.823
2006-06-05 06:38 | 3217.9522 | -20.657 | -22.213 | -1.723 | -1.716 | -0.932 | -1.182 | 0.025 | 0.641 | 29.825
2006-06-05 06:48 | 3227.9522 | -20.664 | -22.213 | -1.726 | -1.719 | -0.93 | -1.185 | 0.027 | 0.641 | 29.825
2006-06-05 06:58 | 3237.9522 | -20.664 | -22.21 | -1.721 | -1.71 | -0.927 | -1.182 | 0.033 | 0.636 | 29.829
2006-06-05 07:08 | 3247.9522 | -20.664 | -22.216 | -1.726 | -1.719 | -0.924 | -1.187 | 0.033 | 0.636 | 29.829
2006-06-05 07:18 | 3257.9522 | -20.664 | -22.213 | -1.726 | -1.716 | -0.921 | -1.187 | 0.033 | 0.631 | 29.834
2006-06-05 07:28 | 3267.9522 | -20.567 | -22.124 | -1.636 | -1.627 | -0.909 | -1.185 | 0.036 | 0.627 | 29.838
2006-06-05 07:38 | 3277.9522 | -20.507 | -22.07 | -1.581 | -1.57 | -0.894 | -1.176 | 0.038 | 0.627 | 29.838
2006-06-05 07:48 | 3287.9522 | -20.485 | -22.038 | -1.555 | -1.544 | -0.88 | -1.165 | 0.038 | 0.627 | 29.838
2006-06-05 07:58 | 3297.9522 | -20.477 | -22.03 | -1.543 | -1.533 | -0.865 | -1.147 | 0.04 | 0.624 | 29.84
2006-06-05 08:08 | 3307.9522 | -20.463 | -22.015 | -1.523 | -1.518 | -0.839 | -1.133 | 0.04 | 0.62 | 29.844
2006-06-05 08:18 | 3317.9522 | -20.44 | -21.987 | -1.503 | -1.49 | -0.824 | -1.113 | 0.042 | 0.622 | 29.842
2006-06-05 08:28 | 3327.9522 | -20.425 | -21.978 | -1.488 | -1.475 | -0.812 | -1.099 | 0.044 | 0.62 | 29.844
2006-06-05 08:38 | 3337.9522 | -20.425 | -21.972 | -1.488 | -1.487 | -0.798 | -1.088 | 0.04 | 0.62 | 29.844
2006-06-05 08:48 | 3347.9522 | -20.418 | -21.967 | -1.483 | -1.473 | -0.777 | -1.071 | 0.046 | 0.62 | 29.844
2006-06-05 08:58 | 3357.9522 | -20.395 | -21.952 | -1.465 | -1.464 | -0.768 | -1.059 | 0.044 | 0.62 | 29.844
2006-06-05 09:08 | 3367.9522 | -20.366 | -21.921 | -1.436 | -1.413 | -0.733 | -1.039 | 0.059 | 0.613 | 29.85
2006-06-05 09:18 | 3377.9522 | -20.366 | -21.921 | -1.433 | -1.418 | -0.733 | -1.028 | 0.056 | 0.401 | 29.846
2006-06-05 09:28 | 3387.9522 | -20.388 | -21.929 | -1.445 | -1.455 | -0.742 | -1.025 | 0.04 | 0.406 | 29.842
2006-06-05 09:38 | 3397.9522 | -20.366 | -21.921 | -1.433 | -1.43 | -0.721 | -1.011 | 0.05 | 0.406 | 29.842
2006-06-05 09:48 | 3407.9522 | -20.351 | -21.909 | -1.422 | -1.401 | -0.704 | -0.991 | 0.063 | 0.41 | 29.838
2006-06-05 09:58 | 3417.9522 | -20.343 | -21.906 | -1.419 | -1.41 | -0.701 | -0.985 | 0.056 | 0.408 | 29.84
2006-06-05 10:08 | 3427.9522 | -20.343 | -21.898 | -1.41 | -1.401 | -0.692 | -0.985 | 0.054 | 0.417 | 29.831
2006-06-05 10:18 | 3437.9522 | -20.328 | -21.892 | -1.41 | -1.39 | -0.674 | -0.971 | 0.061 | 0.206 | 29.827
2006-06-05 10:28 | 3447.9522 | -20.336 | -21.889 | -1.407 | -1.398 | -0.657 | -0.96 | 0.063 | 0.21 | 29.823