## C2
In-Situ Inc. | Hermit 3000
Report generated: | 2008-08-26 | 11:11
Report from file: | D:\ROMP 43\pump tests\raw\SN45376 2004-06-21 171500 r43_compUFA_APT_BKGD2.bin
DataMgr Version | 3.68
Serial number: | 45376
Firmware Version | 7.1
Unit name: | HERMIT 3000
Test name: |  | r43_cufa_bkgd2
Test defined on: | 2004-06-21 | 17:10
Test scheduled for: | 2004-06-21 | 17:15
Test started on: | 2004-06-21 | 17:15
Test stopped on: | 2004-06-22 | 8:35
Test extracted on: | 2004-06-22 | 9:02
Data gathered using Linear testing
Time between data points: 15.0000 | Minutes.
Number of data samples: | 62
TOTAL DATA SAMPLES | 62
Channel number [1]
Measurement type: | Pressure
Channel name: | 6483
Linearity: | 0.0882
Scale: |  | 19.8737
Offset: |  | 0.0201
Warmup: |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 | Feet H2O
Referenced on: | test start
Pressure head at reference: | 26.666 | Feet H2O
Channel number [2]
Measurement type: | Pressure
Channel name: | 6477
Linearity: | 0.1017
Scale: |  | 19.915
Offset: |  | -0.0341
Warmup: |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 | Feet H2O
Referenced on: | test start
Pressure head at reference: | 34.582 | Feet H2O
Channel number [3]
Measurement type: | Pressure
Channel name: | 6292
Linearity: | 0.0646
Scale: |  | 15.5912
Offset: |  | -0.0537
Warmup: |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 | Feet H2O
Referenced on: | test start
Pressure head at reference: | 29.39 | Feet H2O
Channel number [4]
Measurement type: | Pressure
Channel name: | 7036
Linearity: | 0.0234
Scale: |  | 9.9501
Offset: |  | 0.0251
Warmup: |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 | Feet H2O
Referenced on: | test start
Pressure head at reference: | 19.126 | Feet H2O
Channel number [5]
Measurement type: | Pressure
Channel name: | 7039
Linearity: | 0.0272
Scale: |  | 10.3686
Offset: |  | 0.0152
Warmup: |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 | Feet H2O
Referenced on: | test start
Pressure head at reference: | 13.986 | Feet H2O
Channel number [6]
Measurement type: | Pressure
Channel name: | 6900
Linearity: | 0.1183
Scale: |  | 19.7025
Offset: |  | -0.1254
Warmup: |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 | Feet H2O
Referenced on: | test start
Pressure head at reference: | 26.414 | Feet H2O
Channel number [7]
Measurement type: | Pressure
Channel name: | 6813
Linearity: | 0.1233
Scale: |  | 19.7941
Offset: |  | 0.0402
Warmup: |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 | Feet H2O
Referenced on: | test start
Pressure head at reference: | 34.629 | Feet H2O
Channel number [0]
Measurement type: | Barometric Pressure
Channel name: | Barometric
Linearity: | 0
Scale: |  | 0
Offset: |  | 0
Warmup: |  | 50
|  | Chan[1] | Chan[2] | Chan[3] | Chan[4] | Chan[5] | Chan[6] | Chan[7] | Chan[0]
Date Time | ET (min) | Feet H2O | Feet H2O | Feet H2O | Feet H2O | Feet H2O | Feet H2O | Feet H2O | Inches Hg
-------- -------- | ------------ | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | --------------- | ---------------
2004-06-21 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29.758
2004-06-21 17:30 | 15 | 0.026 | -0.003 | 0.002 | -0.006 | 0.001 | 0 | 0 | 29.768
2004-06-21 17:45 | 30 | 0.035 | -0.003 | 0.005 | -0.006 | -0.003 | 0 | 0.003 | 29.772
2004-06-21 18:00 | 45 | 0.066 | 0 | 0.005 | -0.012 | -0.003 | -0.003 | 0.006 | 29.766
2004-06-21 18:15 | 60 | 0.095 | -0.003 | 0.002 | -0.013 | -0.004 | -0.003 | -0.003 | 29.766
2004-06-21 18:30 | 75 | 0.124 | -0.006 | 0 | -0.023 | -0.006 | -0.006 | -0.003 | 29.768
2004-06-21 18:45 | 90 | 0.144 | 0 | 0.009 | -0.03 | -0.006 | 0.009 | 0.003 | 29.781
2004-06-21 19:00 | 105 | 0.156 | 0.009 | 0.016 | -0.043 | -0.003 | 0.011 | 0.012 | 29.789
2004-06-21 19:15 | 120 | 0.161 | 0.006 | 0.011 | -0.062 | -0.003 | 0.009 | 0.009 | 29.789
2004-06-21 19:30 | 135 | 0.161 | 0.006 | 0.016 | -0.069 | 0 | 0.011 | 0.012 | 29.795
2004-06-21 19:45 | 150 | 0.153 | 0.014 | 0.018 | -0.065 | 0 | 0.014 | 0.017 | 29.801
2004-06-21 20:00 | 165 | 0.132 | 0.014 | 0.02 | -0.068 | 0.001 | 0.014 | 0.017 | 29.801
2004-06-21 20:15 | 180 | 0.084 | 0.003 | 0.02 | -0.069 | 0.003 | 0.003 | 0.003 | 29.805
2004-06-21 20:30 | 195 | 0.052 | 0.009 | 0.02 | -0.062 | 0.003 | 0.009 | 0.009 | 29.805
2004-06-21 20:45 | 210 | 0.026 | 0.009 | 0.02 | -0.068 | 0.004 | 0.009 | 0.012 | 29.807
2004-06-21 21:00 | 225 | 0.003 | 0.017 | 0.029 | -0.075 | 0.007 | 0.017 | 0.017 | 29.821
2004-06-21 21:15 | 240 | -0.012 | 0.017 | 0.029 | -0.081 | 0.01 | 0.023 | 0.017 | 29.821
2004-06-21 21:30 | 255 | -0.037 | 0.023 | 0.034 | -0.075 | 0.012 | 0.026 | 0.023 | 29.829
2004-06-21 21:45 | 270 | -0.06 | 0.026 | 0.034 | -0.066 | 0.015 | 0.031 | 0.026 | 29.834
2004-06-21 22:00 | 285 | -0.078 | 0.038 | 0.045 | -0.05 | 0.021 | 0.043 | 0.04 | 29.848
2004-06-21 22:15 | 300 | -0.092 | 0.041 | 0.048 | -0.046 | 0.022 | 0.046 | 0.04 | 29.846
2004-06-21 22:30 | 315 | -0.115 | 0.043 | 0.052 | -0.032 | 0.027 | 0.049 | 0.046 | 29.852
2004-06-21 22:45 | 330 | -0.144 | 0.041 | 0.054 | -0.024 | 0.031 | 0.043 | 0.043 | 29.864
2004-06-21 23:00 | 345 | -0.156 | 0.052 | 0.057 | -0.017 | 0.033 | 0.057 | 0.055 | 29.864
2004-06-21 23:15 | 360 | -0.187 | 0.043 | 0.059 | -0.02 | 0.036 | 0.046 | 0.046 | 29.872
2004-06-21 23:30 | 375 | -0.193 | 0.052 | 0.061 | -0.03 | 0.037 | 0.054 | 0.055 | 29.87
2004-06-21 23:45 | 390 | -0.225 | 0.041 | 0.057 | -0.037 | 0.039 | 0.043 | 0.046 | 29.868
2004-06-22 | 405 | -0.236 | 0.041 | 0.054 | -0.033 | 0.039 | 0.046 | 0.043 | 29.864
2004-06-22 00:15 | 420 | -0.245 | 0.043 | 0.054 | -0.036 | 0.039 | 0.049 | 0.043 | 29.86
2004-06-22 00:30 | 435 | -0.262 | 0.035 | 0.05 | -0.042 | 0.037 | 0.037 | 0.035 | 29.854
2004-06-22 00:45 | 450 | -0.268 | 0.043 | 0.052 | -0.043 | 0.037 | 0.046 | 0.043 | 29.854
2004-06-22 01:00 | 465 | -0.297 | 0.038 | 0.05 | -0.042 | 0.039 | 0.037 | 0.035 | 29.854
2004-06-22 01:15 | 480 | -0.311 | 0.035 | 0.05 | -0.037 | 0.039 | 0.037 | 0.035 | 29.852
2004-06-22 01:30 | 495 | -0.317 | 0.041 | 0.052 | -0.014 | 0.039 | 0.046 | 0.04 | 29.856
2004-06-22 01:45 | 510 | -0.331 | 0.038 | 0.052 | -0.009 | 0.039 | 0.037 | 0.037 | 29.854
2004-06-22 02:00 | 525 | -0.34 | 0.046 | 0.059 | -0.016 | 0.042 | 0.049 | 0.049 | 29.856
2004-06-22 02:15 | 540 | -0.357 | 0.038 | 0.054 | -0.022 | 0.037 | 0.037 | 0.037 | 29.848
2004-06-22 02:30 | 555 | -0.354 | 0.052 | 0.059 | -0.019 | 0.039 | 0.054 | 0.052 | 29.856
2004-06-22 02:45 | 570 | -0.366 | 0.061 | 0.066 | -0.022 | 0.04 | 0.06 | 0.06 | 29.86
2004-06-22 03:00 | 585 | -0.386 | 0.049 | 0.066 | -0.024 | 0.042 | 0.051 | 0.049 | 29.86
2004-06-22 03:15 | 600 | -0.38 | 0.064 | 0.068 | -0.019 | 0.042 | 0.066 | 0.063 | 29.862
2004-06-22 03:30 | 615 | -0.383 | 0.061 | 0.072 | -0.023 | 0.043 | 0.066 | 0.06 | 29.862
2004-06-22 03:45 | 630 | -0.395 | 0.052 | 0.072 | -0.029 | 0.043 | 0.057 | 0.055 | 29.866
2004-06-22 04:00 | 645 | -0.406 | 0.055 | 0.07 | -0.027 | 0.043 | 0.057 | 0.055 | 29.86
2004-06-22 04:15 | 660 | -0.412 | 0.055 | 0.068 | -0.022 | 0.042 | 0.057 | 0.055 | 29.856
2004-06-22 04:30 | 675 | -0.429 | 0.052 | 0.068 | -0.02 | 0.04 | 0.057 | 0.052 | 29.858
2004-06-22 04:45 | 690 | -0.444 | 0.055 | 0.072 | -0.014 | 0.042 | 0.057 | 0.058 | 29.866
2004-06-22 05:00 | 705 | -0.469 | 0.058 | 0.075 | -0.014 | 0.043 | 0.06 | 0.058 | 29.868
2004-06-22 05:15 | 720 | -0.487 | 0.055 | 0.068 | -0.009 | 0.043 | 0.057 | 0.055 | 29.868
2004-06-22 05:30 | 735 | -0.492 | 0.046 | 0.066 | -0.014 | 0.042 | 0.049 | 0.049 | 29.866
2004-06-22 05:45 | 750 | -0.498 | 0.041 | 0.063 | -0.023 | 0.042 | 0.049 | 0.043 | 29.864
2004-06-22 06:00 | 765 | -0.513 | 0.043 | 0.063 | -0.03 | 0.043 | 0.046 | 0.046 | 29.868
2004-06-22 06:15 | 780 | -0.513 | 0.043 | 0.063 | -0.027 | 0.045 | 0.049 | 0.046 | 29.87
2004-06-22 06:30 | 795 | -0.518 | 0.046 | 0.066 | -0.023 | 0.043 | 0.051 | 0.049 | 29.876
2004-06-22 06:45 | 810 | -0.527 | 0.043 | 0.066 | -0.016 | 0.046 | 0.049 | 0.046 | 29.882
2004-06-22 07:00 | 825 | -0.51 | 0.043 | 0.066 | -0.022 | 0.049 | 0.049 | 0.046 | 29.888
2004-06-22 07:15 | 840 | -0.495 | 0.049 | 0.068 | -0.03 | 0.051 | 0.051 | 0.052 | 29.895
2004-06-22 07:30 | 855 | -0.49 | 0.046 | 0.068 | -0.03 | 0.051 | 0.051 | 0.049 | 29.897
2004-06-22 07:45 | 870 | -0.449 | 0.049 | 0.068 | -0.023 | 0.055 | 0.054 | 0.052 | 29.901
2004-06-22 08:00 | 885 | -0.386 | 0.046 | 0.068 | -0.029 | 0.057 | 0.051 | 0.052 | 29.903
2004-06-22 08:15 | 900 | -0.308 | 0.046 | 0.068 | -0.039 | 0.057 | 0.051 | 0.046 | 29.895
2004-06-22 08:30 | 915 | -0.213 | 0.052 | 0.07 | -0.043 | 0.058 | 0.029 | 0.055 | 29.88