## Sheet1
Table 3-2
CITY OF WEST MELBOURNE
INJECTION WELL
PACKER PUMPING TEST AND DEPTH SAMPLE SUMMARY
Packer Interval (feet) |  | Pumping Test No. and Date |  | Pupping Rate (qjs) | Drawdown (ft) |  | Transaisaivity gpd/ft | Specific . Conductance- (Ughos/cm) | Total Dissolved Solids Olga) | Static Water Level (Referenced to Pad Elev. 32.03') |  | Comments
Start Finish
depth_min | depth_max | testno | Date | Q | dd | SC | T_gpd-ft | spcond | TDS | DTW_I | DTW_F | COMMENTS
1585 | 1605 | 1 | 2015-04-09 | 75 | 39.27 | 1.9099 | 650 | 48900 | 33953 | -3.93 | -24.06 | Niter density increase in drill pipe
1580 | 1600 | 2 | 2015-04-10 | 30 | >80.37 |  |  | 49400 | 34,300- | -25.97 | -20.15 | N.L. drawn below, transducer setting
1580 | 1600 | 3 | 2015-04-10 | 8.5 | 26.96 | 0.31528 |  |  |  | -28.85 |  | Step Test
|  |  |  | 13.5 | 45.28 | 0.29814 |  |  |  | -- | --
|  |  |  | 20 | 74.97 | 0.26677 |  |  |  |  | . -23.53
1510 | 1524 | 5 | 2015-04-11 | 72 | >116.68 |  | 166 |  | -- | -5.18 | -5.54 | V.L. drawn below, transducer setting
1510 | 1524 | 6 | 2015-04-11 | 3.1 | 89.53 | 0.034625 | 15 | 24200 | 15,200- | -5.18 | -4.78
1284 | 1298 | 7 | 2015-04-12 | 84 | 5.71 | 14.711 |  | 9500 | 6,060- | -2.15 | -0.53
1284 | 1298 | 8 | 2015-04-12 | 4.8 |  |  |  | 9760 | 5,120- | -0.48 |  | Transducer malfunction--No drawdown data
1303 | 1317 | 9 | 2015-04-12 | [5 empty] | -- |  |  | No test, packer leaking when set
1301 | 1315 | 10 | 2015-04-12 | 83 | 2.25 | 36.8889 |  | 9630 | 5,280a | 0.78 |  | Transducer malfunction, steel tape measurem
1309 | 1319 | 11 | 2015-04-13 | 87 |  |  |  | 6680 | 4,638- | -11.25 |  | Packer interval shortened, W.Q. test only
1309 | 1319 | 12 | 2015-04-13 | 5 | 0.02 | 250 |  | 8270 | 5,460a | 0.51 |  | Specific capacity test
1426 | 1436 | 13 | 2015-04-13 | 86 | 6.59 | 13.0501 | 5100 | . 15,520 | 10,240- | 0.55 | -3.23 | More saline fluid in drill pipe at end of t
1430 |  | 4/8 | [5 empty] | 11710 |  |  |  | Open borehole depth samples
1490 |  | 4/8 | [5 empty] | 36500 |  |  |  | Open borehole depth samples
1540 |  | 4/8 | [5 empty] | 40500 |  |  |  | Open borehole depth samples
1600 |  | 4/8 | [5 empty] | 48300 |  |  |  | Open borehole depth samples