## Sheet1
Time | ET (min) | Level | Δ Level
2044 | 42.24 | 4.1 | -3.1
2050 | 48.095 | 3.85 | -2.85
2052 | 50.095 | 3.77 | -2.77
2054 | 52.95 | 3.7 | -2.7
2056 | 54.95 | 3.64 | -2.64
2058 | 56.95 | 3.58 | -2.58
RECOVERY | ET: 57.762 | Time: 2100
levels | Tape: 13% | Smpl: 221
1: | 3.47 | F
2: | 3.55 | F
3: | 3.5 | F
4: | 3.52 | F
5: | -999.99 | Open!
6: | -5.47 | F
7: | 1.11 | F
Print ON
levels | Δ levels | extend | done
PLOT | PRINT | COPY
2100 | 58.077 | 3.51 | -2.51
2102 | 60.095 | 3.46 | -2.46
2104 | 52.095 | 3.35 | -2.35
2106 | 64.095 | 3.35 | -2.35
2108 | 66.095 | 3.3 | -2.3
2110 | 68.095 | 3.25 | -2.25
2112 | 70.095 | 3.2 | -2.2
2114 | 72.095 | 3.16 | -2.16
2116 | 74.095 | 3.12 | -2.12
2118 | 76.095 | 3.07 | -2.07
2120 | 78.095 | 3.03 | -2.03
2122 | 80.095 | 2.99 | -1.99
2124 | 82.095 | 2.95 | -1.95
2126 | 84.095 | 2.91 | -1.91
2128 | 86.095 | 2.88 | -1.88
2130 | 88.095 | 2.85 | -1.85
2132 | 90.095 | 2.77 | -1.77
2134 | 92.095 | 2.78 | -1.78
2136 | 94.095 | 2.75 | -1.75
2138 | 96.095 | 2.72 | -1.72
2140 | 98.095 | 2.69 | -1.69
2142 | 100.1 | 2.66 | -1.66
RECOVERY | ET: 117.93 | Time: 2200
levels | Tape: 15% | Smpl: 243
1: | 2.4 | F
2: | 2.48 | F
3: | 2.42 | F
4: | 2.44 | F
5: | -999.99 | Open!
6: | -999.99 | Open!
7: | 1.11 | F
Print ON
levels | Δ levels | extend | done
PLOT | PRINT | COPY
2202 | 120.26 | 2.47 | -1.47
2222 | 140.26 | 2.23 | -1.23
2242 | 160.26 | 2.09 | -1.09
RECOVERY | ET: 173.93 | Time: 2256
levels | Tape: 15% | Smpl: 246
1: | 1.96 | F
2: | 2.05 | F
3: | 1.99 | F
4: | 2 | F
5: | -999.99 | Open!
6: | -999.99 | Open!
7: | 1.1 | F
Print ON
levels | Δ levels | extend | done
PLOT | PRINT | COPY
2302 | 180.27 | 1.97 | -0.97
2322 | 200.27 | 1.86 | -0.86
2342 | 220.27 | 1.78 | -0.78
0002 | 240.27 | 1.71 | -0.71
RECOVERY | ET: 243.93 | Time: 0006
levels | Tape: 15% | Smpl: 250
1: | 1.68 | F
2: | 1.77 | F
3: | 1.71 | F
4: | 1.7 | F
5: | -999.99 | Open!
6: | -999.99 | Open!
7: | 1.08 | F
Print ON
levels | Δ levels | extend | done
PLOT | PRINT | COPY
0022 | 260.270 | 1.65 | -0.65
0042 | 280.270 | 1.60 | -0.6
0102 | 300.270 | 1.56 | -0.56
0122 | 320.270 | 1.53 | -0.53
0142 | 340.270 | 1.49 | -0.49
0202 | 360.270 | 1.49 | -0.47
RECOVERY | ET: 360.6 | Time: 0202
levels | Tape: 16% | Smpl: 256
1: | 1.47 | F
2: | 1.57 | F
3: | 1.51 | F
4: | 1.47 | F
5: | -999.99 | Open!
6: | -999.99 | Open!
7: | 1.08 | F
Print ON
levels | Δ levels | extend | done
PLOT | PRINT | COPY
0222 | 380.270 | 1.44 | -0.44
0242 | 400.270 | 1.41 | -0.41
RECOVERY | ET: 414.93 | Time: 0257
levels | Tape: 16% | Smpl: 258
1: | 1.43 | F
2: | 1.52 | F
3: | 1.46 | F
4: | 1.41 | F
5: | -999.99 | Open!
6: | -999.99 | Open!
7: | 1.08 | F
Print ON
levels | Δ levels | extend | done
PLOT | PRINT | COPY
0302 | 420.270 | 1.41 | -0.41
0322 | 440.270 | 1.39 | -0.39
0342 | 460.270 | 1.36 | -0.36
RECOVERY | ET: 476.27 | Time: 0356
levels | Tape: 16% | Smpl: 261
1: | 1.39 | F
2: | 1.48 | F
3: | 1.43 | F
4: | 1.35 | F
5: | -999.99 | Open!
6: | -999.99 | Open!
7: | 1.07 | F
Print ON
levels | Δ levels | extend | done
PLOT | PRINT | COPY
0402 | 480.270 | 1.35 | -0.35
0422 | 400.270 | 1.35 | -0.35
0442 | 420.270 | 1.34 | -0.34
RECOVERY | ET: 536.27 | Time: 0456
levels | Tape: 16% | Smpl: 264
1: | 1.37 | F
2: | 1.47 | F
3: | 1.41 | F
4: | 1.33 | F
5: | -999.99 | Open!
6: | -999.99 | Open!
7: | 1.07 | F
Print ON
levels | Δ levels | extend | done
PLOT | PRINT | COPY
0502 | 540.270 | 1.33 | -0.333
0522 | 560.270 | 1.32 | -0.32
0542 | 580.270 | 1.31 | -0.31
RECOVERY | ET: 596.27 | Time: 0558
levels | Tape: 16% | Smpl: 267
1: | 1.37 | F
2: | 1.46 | F
3: | 1.41 | F
4: | 1.31 | F
5: | -999.99 | Open!
6: | -999.99 | Open!
7: | 1.07 | F
Print ON
levels | Δ levels | extend | done
PLOT | PRINT | COPY
0602 | 600.270 | 1.31 | -0.31
0622 | 620.270 | 1.3 | -0.3
0642 | 640.270 | 1.3 | -0.3
RECOVERY | ET: 656.27 | Time: 0658
levels | Tape: 17% | Smpl: 270
1: | 1.36 | F
2: | 1.45 | F
3: | 1.40 | F
4: | 1.29 | F
5: | -999.99 | Open!
6: | -999.99 | Open!
7: | 1.07 | F
Print ON
levels | Δ levels | extend | done
PLOT | PRINT | COPY
0702 | 660.270 | 1.29 | -0.29
0722 | 680.270 | 1.28 | -0.28
0742 | 700.270 | 1.28 | -0.28
Input 1: | OKF82P60
Transducer s/n: |  | 4073FD
Scale factor: |  | 49.899
Initial level: |  | 1 feet
FAST DATA
Input 1 (feet):
Time | ET (min) | Level | Δ Level
2002 | 0.017 | 38.96 | -37.96
2002 | 0.034 | 38.97 | -37.97
2002 | 0.05 | 38.01 | -37.01
2002 | 0.067 | 36.37 | -35.37
2002 | 0.084 | 34.8 | -33.8
2002 | 0.1 | 33.19 | -32.19
2002 | 0.117 | 31.82 | -30.82
2002 | 0.134 | 30.64 | -29.64
2002 | 0.15 | 29.42 | -28.42
2002 | 0.167 | 28.31 | -27.31
2002 | 0.257 | 22.81 | -21.81
2002 | 0.347 | 18.65 | -17.65
2002 | 0.424 | 15.45 | -14.45
2002 | 0.507 | 13.1 | -12.1
2002 | 0.591 | 11.52 | -10.52
2002 | 0.674 | 10.6 | -9.6
2003 | 0.757 | 10.17 | -9.17
2003 | 0.841 | 9.99 | -8.99
2003 | 0.924 | 9.92 | -8.92
2003 | 1.007 | 9.85 | -8.85
2003 | 1.404 | 9.37 | -8.37
2003 | 1.737 | 9.09 | -8.09
2004 | 2.07 | 8.87 | -7.87
2004 | 2.404 | 8.68 | -7.68
2004 | 2.737 | 8.51 | -7.51
2005 | 3.07 | 8.37 | -7.37
2005 | 3.404 | 8.24 | -7.24
2005 | 3.737 | 8.11 | -7.11
2006 | 4.07 | 8.01 | -7.01
2006 | 4.404 | 7.89 | -6.89
2006 | 4.737 | 7.79 | -6.79
2007 | 5.07 | 7.7 | -6.7
2007 | 5.404 | 7.6 | -6.6
2007 | 5.737 | 7.52 | -6.52
2008 | 6.07 | 7.45 | -6.45
2008 | 6.404 | 7.36 | -6.36
2008 | 6.737 | 7.29 | -6.29
2009 | 7.07 | 7.22 | -6.22
2009 | 7.404 | 7.14 | -6.14
2009 | 7.737 | 7.07 | -6.07
2010 | 8.07 | 7.01 | -6.01
2010 | 8.404 | 6.94 | -5.94
2010 | 8.737 | 6.88 | -5.88
2011 | 9.07 | 6.83 | -5.83
2011 | 9.404 | 6.77 | -5.77
2011 | 9.737 | 6.71 | -5.71
2012 | 10.07 | 6.65 | -5.65
2014 | 12.235 | 6.32 | -5.32
2020 | 18.24 | 5.62 | -4.62
2026 | 24.24 | 4.67 | -4.09
2032 | 30.240 | 4.67 | -3.67
2038 | 36.24 | 4.32 | -3.32
2044 | 42.24 | 1.04 | -3.04
2052 | 50.095 | 3.72 | -2.72
2058 | 56.095 | 3.52 | -2.52
2104 | 62.095 | 3.35 | -2.35
2110 | 68.095 | 3.17 | -2.19
2116 | 74.095 | 3.06 | -2.06
2122 | 80.095 | 2.94 | -1.94
2128 | 86.095 | 2.83 | -1.83
2134 | 92.095 | 2.73 | -1.73
2140 | 98.095 | 2.64 | -1.64
2202 | 120.26 | 2.37 | -1.37
2302 | 180.27 | 1.94 | -0.94
0002 | 240.27 | 1.69 | -0.69
0102 | 300.27 | 1.56 | -0.56
0202 | 360.27 | 1.47 | -0.47
0302 | 420.27 | 1.42 | -0.42
0402 | 480.27 | 1.39 | -0.39
0502 | 540.27 | 1.37 | -0.37
0602 | 600.27 | 1.37 | -0.37
0702 | 660.27 | 1.35 | -0.35
Input 1 (feet):
Time | ET (min) | Level | Δ Level
2302 | 180.270 | 1.94 | -0.94
0002 | 240.270 | 1.69 | -0.69
0102 | 300.270 | 1.56 | -0.56
0202 | 360.270 | 1.47 | -0.47
0302 | 420.270 | 1.42 | -0.42
0402 | 480.270 | 1.39 | -0.39
0502 | 540.270 | 1.37 | -0.37
0602 | 600.270 | 1.37 | -0.37
0702 | 660.270 | 1.35 | -0.35
0802 | 720.170 | 1.43 | -0.43
Input 1 (feet):
Time | ET (min) | Level | Δ Level
1353 | 0.000 | 1 | 0
1353 | 0.017 | 0.58 | 0.42
1353 | 0.034 | 0.44 | 0.56
1353 | 0.050 | 0.28 | 0.72
1353 | 0.067 | 0.02 | 0.98
1353 | 0.084 | -0.24 | 1.24
1353 | 0.1 | -0.27 | 1.27
1353 | 0.117 | -0.42 | 1.42
1353 | 0.134 | -0.44 | 1.44
1353 | 0.15 | -0.61 | 1.61
1353 | 0.167 | -0.68 | 1.66
1353 | 0.257 | 2.99 | -1.99
1353 | 0.34 | 7.73 | -6.73
1353 | 0.424 | 12.02 | -11.02
1353 | 0.507 | 15.66 | -14.66
1353 | 0.59 | 19 | -18
1353 | 0.674 | 21.92 | -20.92
1353 | 0.757 | 24.44 | -23.44
1354 | 0.84 | 26.54 | -25.54
1354 | 0.924 | 28.29 | -27.29
1354 | 1.007 | 29.65 | -28.65
1354 | 1.404 | 32.58 | -31.58
1354 | 1.738 | 32.94 | -31.94
1355 | 2.071 | 33.23 | -32.23
1355 | 2.404 | 33.33 | -32.33
1355 | 2.738 | 33.44 | -32.44
1356 | 3.071 | 33.63 | -32.63
1356 | 3.404 | 33.7 | -32.7
1356 | 3.738 | 33.83 | -32.83
1357 | 4.071 | 33.93 | -32.97
1357 | 4.404 | 34.02 | -33.02
1357 | 4.738 | 34.05 | -33.05
1358 | 5.071 | 34.15 | -33.15
1358 | 5.404 | 34.21 | -33.21
1358 | 5.738 | 34.27 | -33.27
1359 | 6.071 | 34.34 | -33.34
1359 | 6.404 | 34.36 | -33.36
1359 | 6.738 | 34.44 | -33.44
1400 | 7.071 | 34.47 | -33.47
1400 | 7.404 | 34.57 | -33.57
1400 | 7.738 | 34.57 | -33.5
1401 | 8.071 | 34.64 | -33.64
1401 | 8.404 | 34.71 | -33.71
1401 | 8.738 | 34.72 | -33.72
1402 | 9.071 | 34.77 | -33.77
1402 | 9.404 | 34.81 | -33.81
1402 | 9.738 | 34.87 | -33.87
1403 | 10.071 | 34.91 | -33.91
1405 | 12.232 | 35.17 | -34.17
1407 | 14.232 | 35.33 | -34.33
1407 | 16.232 | 35.49 | -34.49
1411 | 18.232 | 35.66 | -34.66
1413 | 20.232 | 35.75 | -34.75
1415 | 22.232 | 35.92 | -34.92
1417 | 24.232 | 36.03 | -35.03
1419 | 26.232 | 36.14 | -35.14
1421 | 28.232 | 36.18 | -35.18
1423 | 30.232 | 36.34 | -35.34
1425 | 32.232 | 36.38 | -35.38
1427 | 34.232 | 36.48 | -35.48
1429 | 36.232 | 36.54 | -35.54
1431 | 38.177 | 36.65 | -35.65
1433 | 40.177 | 36.7 | -35.7
1435 | 42.493 | 36.74 | -35.74
1437 | 44.16 | 36.77 | -35.77
1439 | 46.098 | 36.86 | -35.86
1441 | 48.098 | 36.9 | -35.9
1443 | 50.098 | 36.9 | -35.9
1445 | 52.098 | 37.03 | -36.03
1447 | 54.098 | 37.08 | -36.08
1449 | 56.103 | 37.1 | -36.1
1451 | 58.103 | 37.13 | -36.13
1453 | 60.103 | 37.14 | -36.14
1455 | 62.103 | 37.19 | -36.19
1457 | 64.103 | 37.21 | -36.21
1459 | 66.103 | 37.27 | -36.27
1501 | 68.103 | 37.31 | -36.31
1503 | 70.103 | 37.36 | -36.36
1505 | 72.103 | 37.42 | -36.42
1507 | 74.103 | 37.36 | -36.36
1509 | 76.103 | 37.42 | -36.42
1511 | 78.392 | 37.43 | -36.43
1513 | 80.448 | 37.5 | -36.5
1515 | 82.215 | 37.52 | -36.52
1517 | 84.215 | 37.5 | -36.5
1519 | 86.215 | 37.56 | -36.56
1521 | 88.215 | 37.57 | -36.57
1523 | 90.215 | 37.59 | -36.59
1525 | 92.215 | 37.63 | -36.63
1527 | 94.215 | 37.62 | -36.62
1529 | 96.215 | 37.67 | -36.67
1531 | 98.215 | 37.72 | -36.72
1553 | 120.22 | 37.91 | -36.91
1613 | 140.22 | 38.03 | -37.03
1633 | 160.14 | 38.16 | -37.16
1653 | 180.13 | 38.22 | -37.22
1713 | 200.13 | 38.32 | -37.32
1733 | 220.12 | 38.34 | -37.34
1753 | 240.12 | 38.45 | -37.45
1813 | 260.12 | 38.52 | -37.52
1833 | 280.12 | 38.52 | -37.52
1853 | 300.12 | 38.54 | -37.54
1913 | 320.12 | 38.58 | -37.58
1933 | 340.22 | 38.58 | -37.58
1953 | 360.07 | 38.6 | -37.6
2013 | 380.15 | 38.64 | -37.64
2033 | 400.15 | 38.68 | -37.68
2053 | 420.15 | 38.67 | -37.67
2113 | 440.15 | 38.63 | -37.63
2133 | 460.15 | 38.7 | -37.7
2153 | 480.15 | 38.7 | -37.7
2213 | 500.12 | 38.68 | -37.68
2233 | 520.12 | 38.74 | -37.74
2253 | 540.12 | 38.77 | -37.77
2313 | 560.12 | 38.75 | -37.75
2333 | 580.12 | 38.75 | -37.75
2353 | 600.12 | 38.77 | -37.77
0013 | 620.12 | 38.77 | -37.77
0033 | 640.12 | 38.77 | -37.77
0053 | 660.12 | 38.75 | -37.75
0113 | 680.12 | 38.75 | -37.75
0133 | 700.12 | 38.78 | -37.78
0153 | 720.12 | 38.8 | -37.8
0213 | 740.12 | 38.8 | -37.8
0233 | 760.12 | 38.78 | -37.78
0253 | 780.12 | 38.83 | -37.83
0313 | 800.12 | 38.84 | -37.84
0333 | 820.12 | 38.81 | -37.81
0353 | 840.12 | 38.83 | -37.83
0413 | 860.12 | 38.87 | -37.87
0433 | 880.12 | 38.86 | -37.86
0453 | 900.12 | 38.88 | -37.88
0513 | 920.12 | 38.91 | -37.91
0533 | 940.12 | 38.9 | -37.9
0553 | 960.12 | 38.94 | -37.94
0613 | 980.12 | 38.95 | -37.95
0633 | 1000.1 | 38.91 | -37.91
0733 | 1060.3 | 39.03 | -38.03
0833 | 1120.3 | 39.03 | -38.03
0933 | 1180.2 | 38.9 | -37.9
1033 | 1240.2 | 38.97 | -37.97
1133 | 1300.2 | 38.97 | -37.97
1233 | 1360.3 | 38.93 | -37.93
1333 | 1420.3 | 38.81 | -37.81
1433 | 1480.2 | 38.94 | -37.94
1533 | 1540.2 | 38.93 | -37.93
1633 | 1600.3 | 38.93 | -37.93
1733 | 1660.2 | 38.91 | -37.91
1833 | 1720.3 | 38.97 | -37.97
1933 | 1780.3 | 38.97 | -37.97
2002 | 1809 | 39.01 | -38.01
Average level: | 38.67
Input 7 (feet):
Time | ET (min) | Level | Δ Level
2002 | .257 | 1.08 | -0.08
2002 | .341 | 1.08 | -0.08
2002 | .424 | 1.08 | -0.08
2002 | .507 | 1.08 | -0.08
2002 | .591 | 1.08 | -0.08
2002 | .674 | 1.08 | -0.08
2003 | .757 | 1.08 | -0.08
2003 | .841 | 1.08 | -0.08
2003 | .924 | 1.08 | -0.08
2003 | 1.007 | 1.08 | -0.08
2003 | 1.404 | 1.09 | -0.09
2003 | 1.737 | 1.09 | -0.09
2004 | 2.070 | 1.1 | -0.1
2004 | 2.404 | 1.1 | -0.1
2004 | 2.737 | 1.1 | -0.1
2005 | 3.070 | 1.1 | -0.1
2005 | 3.404 | 1.1 | -0.1
2005 | 3.737 | 1.1 | -0.1
2006 | 4.070 | 1.1 | -0.1
2006 | 4.404 | 1.1 | -0.1
2006 | 4.737 | 1.1 | -0.1
2007 | 5.070 | 1.1 | -0.1
2007 | 5.404 | 1.1 | -0.1
2007 | 5.737 | 1.1 | -0.1
2008 | 6.070 | 1.1 | -0.1
2008 | 6.404 | 1.1 | -0.1
2008 | 6.737 | 1.1 | -0.1
2009 | 7.070 | 1.1 | -0.1
2009 | 7.404 | 1.1 | -0.1
2009 | 7.737 | 1.1 | -0.1
2010 | 8.070 | 1.1 | -0.1
2010 | 8.404 | 1.1 | -0.1
2010 | 8.737 | 1.1 | -0.1
2011 | 9.070 | 1.1 | -0.1
2011 | 9.404 | 1.1 | -0.1
2011 | 9.737 | 1.1 | -0.1
2012 | 10.070 | 1.1 | -0.1
2014 | 12.235 | 1.11 | -0.11
2020 | 18.240 | 1.11 | -0.11
2026 | 24.240 | 1.11 | -0.11
2032 | 30.240 | 1.11 | -0.11
2038 | 36.240 | 1.12 | -0.12
2044 | 42.240 | 1.12 | -0.12
2052 | 50.095 | 1.12 | -0.12
2058 | 56.095 | 1.12 | -0.12
2101 | 62.095 | 1.12 | -0.12
2110 | 68.095 | 1.12 | -0.12
2116 | 74.095 | 1.12 | -0.12
2122 | 80.095 | 1.12 | -0.12
2128 | 86.095 | 1.12 | -0.12
2134 | 92.095 | 1.11 | -0.11
2140 | 98.095 | 1.11 | -0.11
2202 | 120.260 | 1.1 | -0.1
2302 | 180.270 | 1.1 | -0.1
0002 | 240.270 | 1.09 | -0.09
0102 | 300.270 | 1.08 | -0.08
0202 | 360.270 | 1.08 | -0.08
0302 | 420.270 | 1.08 | -0.08
0402 | 480.270 | 1.07 | -0.07
0502 | 540.270 | 1.07 | -0.07
0602 | 600.270 | 1.07 | -0.07
0702 | 660.270 | 1.08 | -0.08
Input 4 (feet):
Time | ET (min) | Level | Δ Level
2302 | 180.270 | 1.97 | -0.97
0002 | 240.270 | 1.71 | -0.71
0102 | 300.270 | 1.56 | -0.56
0202 | 360.270 | 1.47 | -0.47
0302 | 420.270 | 1.41 | -0.41
0402 | 480.270 | 1.35 | -0.35
0502 | 540.270 | 1.33 | -0.33
0602 | 600.270 | 1.31 | -0.31
0702 | 660.270 | 1.29 | -0.29
0802 | 720.170 | 1.36 | -0.36
Input 4 (feet):
Time | ET (min) | Level | Δ Level
2302 | 180.270 | 1.97 | -0.97
0002 | 240.270 | 1.71 | -0.71
0102 | 300.270 | 1.56 | -0.56
0202 | 360.270 | 1.47 | -0.47
0302 | 420.270 | 1.41 | -0.41
0402 | 480.270 | 1.35 | -0.35
0502 | 540.270 | 1.33 | -0.33
0602 | 600.270 | 1.31 | -0.31
0702 | 660.270 | 1.29 | -0.29
0802 | 720.170 | 1.36 | -0.36
OKF-82
Run 1
01/04/1994
SE200B DATA
constant rate test
TRANSDUCER TABLE
Input 2: | OKF82P60B
Transducer s/n: |  | 1835DD
Scale factor: |  | 29.888
Initial level: |  | 1 feet
Input 3: | OKF8235
Transducer s/n: |  | 3072EA
Scale factor: |  | 10.008
Initial level: |  | 1 feet
Input 4: | OKF82M60
Transducer s/n: |  | 1836DD
Scale factor: |  | 29.944
Initial level: |  | 1 feet
Input 5: | BAD PORT
Transducer s/n: |  | 99999
Scale factor: |  | 99.999
Initial level: |  | 1 feet
Input 6: | OKF82M25
Transducer s/n: |  | 599
Scale factor: |  | 10.06
Initial level: |  | 1 feet
Input 7: | OKF82D01 (20 FT)
Transducer s/n: |  | 1993
Scale factor: |  | 10.11
Initial level: |  | 1 feet
PUMP SCHEDULE
Drawdown for 5760 min
Pump at 492 GPM
Pump set at 70 feet
Recovery for 2160 min
SAMPLING SCHEDULE
0-10 | sec @ | 1 sec
10-60 | sec @ | 5 sec
1-10 | min @ | 20 sec
10-100 | min @ | 2 min
100-1000 | min @ | 20 min
1000-10000 | min @ | 60 min
10000-99999 | min @ | 200 min
DRAWDOWN REPORT
Started at 1353
Lasted 1809 min
Input 2 (feet):
Time | ET (min) | Level | Δ Level
1353 | 0 | 1 | 0
1353 | 0.257 | 3.02 | -2.02
1353 | 0.34 | 8.03 | -7.03
1353 | 0.424 | 11.98 | -10.98
1353 | 0.507 | 15.6 | -14.6
1353 | 0.59 | 18.97 | -17.97
1353 | 0.674 | 21.88 | -20.88
1353 | 0.757 | 24.43 | -23.43
1354 | 0.84 | 26.48 | -25.48
1354 | 0.924 | 28.27 | -27.27
1354 | 1.007 | 29.61 | -28.61
1354 | 1.404 | 32.52 | -31.52
1354 | 1.738 | 32.9 | -31.9
1355 | 2.071 | 33.12 | -32.12
1355 | 2.404 | 33.25 | -32.25
1355 | 2.738 | 33.39 | -32.39
1356 | 3.071 | 33.51 | -32.51
1356 | 3.404 | 33.6 | -32.66
1356 | 3.738 | 33.8 | -32.8
1357 | 4.071 | 33.88 | -32.88
1357 | 4.404 | 33.96 | -32.96
1357 | 4.738 | 33.99 | -32.99
1358 | 5.071 | 34.05 | -33.05
1358 | 5.404 | 34.15 | -33.15
1358 | 5.738 | 34.23 | -33.23
1359 | 6.071 | 34.24 | -33.24
1359 | 6.404 | 34.3 | -33.3
1359 | 6.738 | 34.43 | -33.43
1400 | 7.071 | 34.49 | -33.49
1400 | 7.404 | 34.49 | -33.49
1400 | 7.738 | 34.48 | -33.48
1401 | 8.071 | 34.6 | -33.6
1401 | 8.404 | 34.62 | -33.62
1401 | 8.738 | 34.66 | -33.66
1402 | 9.071 | 34.72 | -33.72
1402 | 9.404 | 34.78 | -33.78
1402 | 9.738 | 34.79 | -33.79
1403 | 10.071 | 34.8 | -33.8
1405 | 12.232 | 35.09 | -34.09
1407 | 14.232 | 35.32 | -34.32
1409 | 16.232 | 35.45 | -34.45
1411 | 18.232 | 35.63 | -34.63
1413 | 20.232 | 35.73 | -34.73
1415 | 22.232 | 35.88 | -34.88
1417 | 24.232 | 35.97 | -34.97
1419 | 26.232 | 36.06 | -35.06
1421 | 28.232 | 36.14 | -35.14
1423 | 30.232 | 36.25 | -35.23
1425 | 32.232 | 36.33 | -35.33
1427 | 34.232 | 36.45 | -35.45
1429 | 36.232 | 36.51 | -35.51
1431 | 38.177 | 36.57 | -33.57
1433 | 40.177 | 36.6 | -35.6
1435 | 42.493 | 36.63 | -35.63
1437 | 44.16 | 36.7 | -35.7
1439 | 46.098 | 36.76 | -35.76
1441 | 48.098 | 36.85 | -35.85
1443 | 50.098 | 36.91 | -35.91
1445 | 52.098 | 36.98 | -35.98
1447 | 54.098 | 37.05 | -36.05
1449 | 56.103 | 37.04 | -36.04
1451 | 58.103 | 37.1 | -36.1
1453 | 60.103 | 37.1 | -36.1
1455 | 62.103 | 37.16 | -36.16
1457 | 64.103 | 37.19 | -36.19
1459 | 66.103 | 37.17 | -36.17
1501 | 68.103 | 37.25 | -36.25
1503 | 70.103 | 37.3 | -36.3
1505 | 72.103 | 37.33 | -36.33
1507 | 74.103 | 37.32 | -36.32
1509 | 76.103 | 37.38 | -36.38
1511 | 78.392 | 37.38 | -36.38
1513 | 80.448 | 37.43 | -36.43
1515 | 82.215 | 37.46 | -36.46
1517 | 84.215 | 37.46 | -36.45
1519 | 86.215 | 37.46 | -36.45
1521 | 88.215 | 37.48 | -36.48
1523 | 90.215 | 37.54 | -36.54
1525 | 92.215 | 37.57 | -36.57
1527 | 94.215 | 37.61 | -36.61
1529 | 96.215 | 37.58 | -36.58
1531 | 98.215 | 37.66 | -36.66
1553 | 120.22 | 37.89 | -36.86
1613 | 140.22 | 37.98 | -36.98
1633 | 160.14 | 38.11 | -37.11
1653 | 180.13 | 38.14 | -37.14
1713 | 200.13 | 38.27 | -37.27
1733 | 220.12 | 38.31 | -37.31
1753 | 240.12 | 38.41 | -37.41
1813 | 260.12 | 38.47 | -37.47
1833 | 280.12 | 38.52 | -37.52
1853 | 300.12 | 38.51 | -37.51
1913 | 320.12 | 38.52 | -37.52
1933 | 340.22 | 38.57 | -37.57
1953 | 360.07 | 38.58 | -37.58
2013 | 380.15 | 38.63 | -37.63
2033 | 400.15 | 38.64 | -37.64
2053 | 420.15 | 38.62 | -37.62
2113 | 440.15 | 38.63 | -37.63
2133 | 460.15 | 38.63 | -37.63
2153 | 480.15 | 38.64 | -37.64
2213 | 500.12 | 38.65 | -37.65
2233 | 520.12 | 38.7 | -37.7
2253 | 540.12 | 38.73 | -37.73
2313 | 560.12 | 38.73 | -37.73
2333 | 580.12 | 38.76 | -37.76
2353 | 600.12 | 38.75 | -37.75
0013 | 620.12 | 38.72 | -37.72
0033 | 640.12 | 38.74 | -37.74
0053 | 660.12 | 38.75 | -37.75
0113 | 680.12 | 38.75 | -37.75
0133 | 700.12 | 38.81 | -37.81
0153 | 720.12 | 38.78 | -37.78
0213 | 740.12 | 38.77 | -37.77
0233 | 760.12 | 38.78 | -37.78
0253 | 780.12 | 38.8 | -37.8
0313 | 800.12 | 38.82 | -37.82
0333 | 820.12 | 38.81 | -37.81
0353 | 840.12 | 38.83 | -37.83
0413 | 860.12 | 38.88 | -37.88
0433 | 880.12 | 38.88 | -37.88
0453 | 900.12 | 38.86 | -37.86
0513 | 920.12 | 38.88 | -37.88
0533 | 940.12 | 38.95 | -37.95
0553 | 960.12 | 38.94 | -37.94
0613 | 980.12 | 38.93 | -37.93
0633 | 1000.1 | 38.96 | -37.96
0733 | 1060.3 | 39.01 | -38.01
0833 | 1120.3 | 39.02 | -38.02
0933 | 1180.2 | 38.88 | -37.88
1033 | 1240.2 | 38.98 | -37.98
1133 | 1300.2 | 38.94 | -37.94
1233 | 1360.3 | 38.95 | -37.95
1333 | 1420.3 | 38.86 | -37.86
1433 | 1480.2 | 38.92 | -37.92
1533 | 1540.2 | 38.92 | -37.92
1633 | 1600.3 | 38.95 | -37.95
1733 | 1660.2 | 38.96 | -37.96
1833 | 1720.3 | 39.01 | -38.01
1933 | 1780.3 | 39.01 | -38.01
2002 | 1809 | 39 | -38
Average level: | 38.66
Input 3 (feet):
Time | ET (min) | Level | Δ Level
1353 | 0 | 1 | 0
1353 | 0.257 | 3.13 | -2.13
1353 | 0.34 | 7.98 | -6.98
1353 | 0.424 | 12.29 | -11.29
1353 | 0.507 | 15.93 | -14.93
1353 | 0.59 | 19.25 | -18.25
1353 | 0.674 | 21.36 | -20.36
1353 | 0.757 | 21.36 | -20.36
1354 | 0.84 | 21.36 | -20.36
1354 | 0.924 | 21.36 | -20.36
1354 | 1.007 | 21.36 | -20.36
1354 | 1.404 | 21.37 | -20.37
1354 | 1.738 | 21.36 | -20.36
1355 | 2.071 | 21.36 | -20.36
1355 | 2.404 | 21.36 | -20.36
1355 | 2.738 | 21.37 | -20.37
1356 | 3.071 | 21.36 | -20.36
1356 | 3.404 | 21.37 | -20.37
1356 | 3.738 | 21.38 | -20.38
1357 | 4.071 | 21.39 | -20.39
1357 | 4.404 | 21.39 | -20.39
1357 | 4.738 | 21.39 | -20.39
1358 | 5.071 | 21.39 | -20.39
1358 | 5.404 | 21.39 | -20.39
1358 | 5.738 | 21.39 | -20.39
1359 | 6.071 | 21.38 | -20.38
1359 | 6.404 | 21.38 | -20.38
1359 | 6.738 | 21.39 | -20.39
1400 | 7.071 | 21.38 | -20.38
1400 | 7.404 | 21.38 | -20.38
1400 | 7.738 | 21.38 | -20.38
1401 | 8.071 | 21.37 | -20.37
1401 | 8.404 | 21.35 | -20.35
1401 | 8.738 | 21.35 | -20.35
1402 | 9.071 | 21.37 | -20.37
1402 | 9.404 | 21.38 | -20.38
1402 | 9.738 | 21.38 | -20.38
1403 | 10.071 | 21.36 | -20.36
1405 | 12.232 | 21.35 | -20.35
1407 | 14.232 | 21.39 | -20.39
1409 | 16.232 | 21.36 | -20.36
1411 | 18.232 | 21.38 | -20.38
1413 | 20.232 | 21.38 | -20.38
1415 | 22.232 | 21.38 | -20.38
1417 | 24.232 | 21.37 | -20.37
1419 | 26.232 | 21.37 | -20.37
1421 | 28.232 | 21.36 | -20.36
1423 | 30.232 | 21.38 | -20.38
1425 | 32.232 | 21.36 | -20.36
1427 | 34.232 | 21.37 | -20.37
1429 | 36.232 | 21.39 | -20.39
1431 | 38.177 | 21.38 | -20.38
1433 | 40.177 | 21.38 | -20.38
1435 | 42.493 | 21.37 | -20.37
1437 | 44.16 | 21.36 | -20.36
1439 | 46.098 | 21.36 | -20.36
1441 | 48.098 | 21.37 | -20.37
1443 | 50.098 | 21.37 | -20.37
1445 | 52.098 | 21.36 | -20.36
1447 | 54.098 | 21.36 | -20.36
1449 | 56.103 | 21.37 | -20.37
1451 | 58.103 | 21.39 | -20.39
1453 | 60.103 | 21.37 | -20.37
1455 | 62.103 | 21.37 | -20.37
1457 | 64.103 | 21.36 | -20.36
1459 | 66.103 | 21.37 | -20.37
1501 | 68.103 | 21.37 | -20.37
1503 | 70.103 | 21.38 | -20.38
1505 | 72.103 | 21.36 | -20.36
1507 | 74.103 | 21.38 | -20.38
1509 | 76.103 | 21.37 | -20.37
1511 | 78.392 | 21.37 | -20.37
1513 | 80.448 | 21.37 | -20.37
1515 | 82.215 | 21.38 | -20.38
1517 | 84.215 | 21.37 | -20.37
1519 | 86.215 | 21.36 | -20.36
1521 | 88.215 | 21.37 | -20.37
1523 | 90.215 | 21.37 | -20.37
1525 | 92.215 | 21.37 | -20.37
1527 | 94.215 | 21.38 | -20.38
1529 | 96.215 | 21.37 | -20.37
1531 | 98.215 | 21.37 | -20.37
1553 | 120.22 | 21.37 | -20.37
1613 | 140.22 | 21.37 | -20.37
1633 | 160.14 | 21.36 | -20.36
1653 | 180.13 | 21.37 | -20.37
1713 | 200.13 | 21.37 | -20.37
1733 | 220.12 | 21.37 | -20.37
1753 | 240.12 | 21.37 | -20.37
1813 | 260.12 | 21.38 | -20.38
1833 | 280.12 | 21.38 | -20.38
1853 | 300.12 | 21.38 | -20.38
1913 | 320.12 | 21.39 | -20.39
1933 | 340.22 | 21.4 | -20.4
1953 | 360.07 | 21.41 | -20.41
2013 | 380.15 | 21.38 | -20.38
2033 | 400.15 | 21.38 | -20.38
2053 | 420.15 | 21.38 | -20.38
2113 | 440.15 | 21.39 | -20.39
2133 | 460.15 | 21.41 | -20.41
2153 | 480.15 | 21.41 | -20.41
2213 | 500.12 | 21.37 | -20.37
2233 | 520.12 | 21.39 | -20.39
2253 | 540.12 | 21.4 | -20.4
2313 | 560.12 | 21.41 | -20.41
2333 | 580.12 | 21.41 | -20.41
2353 | 600.12 | 21.37 | -20.37
0013 | 620.12 | 21.38 | -20.38
0033 | 640.12 | 21.39 | -20.39
0053 | 660.12 | 21.4 | -20.4
0113 | 680.12 | 21.41 | -20.41
0133 | 700.12 | 21.36 | -20.36
0153 | 720.12 | 21.38 | -20.38
0213 | 740.12 | 21.39 | -20.39
0233 | 760.12 | 21.39 | -20.39
0253 | 780.12 | 21.39 | -20.39
0313 | 800.12 | 21.36 | -20.36
0333 | 820.12 | 21.37 | -20.37
0353 | 840.12 | 21.38 | -20.38
0413 | 860.12 | 21.39 | -20.39
0433 | 880.12 | 21.39 | -20.39
0453 | 900.12 | 21.34 | -20.34
0513 | 920.12 | 21.34 | -20.34
0533 | 940.12 | 21.34 | -20.34
0553 | 960.12 | 21.34 | -20.34
0613 | 980.12 | 21.34 | -20.34
0633 | 1000.1 | 21.34 | -20.34
0733 | 1060.3 | 21.34 | -20.34
0833 | 1120.3 | 21.34 | -20.34
0933 | 1180.2 | 21.35 | -20.35
1033 | 1240.2 | 21.35 | -20.35
1133 | 1300.2 | 21.35 | -20.35
1233 | 1360.3 | 21.35 | -20.35
1333 | 1420.3 | 21.35 | -20.35
1433 | 1480.2 | 21.35 | -20.35
1533 | 1540.2 | 21.35 | -20.35
1633 | 1600.3 | 21.35 | -20.35
1733 | 1660.2 | 21.35 | -20.35
1833 | 1720.3 | 21.35 | -20.35
1933 | 1780.3 | 21.35 | -20.35
2002 | 1809 | 21.35 | -20.35
Average level: | 21.36
Input 4 (feet):
Time | ET (min) | Level | Δ Level
1353 | 0 | 1 | 0
1353 | 0.257 | 0.9 | 0.1
1353 | 0.34 | 1.27 | -0.27
1353 | 0.424 | 2.16 | -1.16
1353 | 0.507 | 2.98 | -1.98
1353 | 0.59 | 3.28 | -2.28
1353 | 0.674 | 3.11 | -2.11
1353 | 0.757 | 2.85 | -1.85
1354 | 0.84 | 2.89 | -1.89
1354 | 0.924 | 3.24 | -2.24
1354 | 1.007 | 3.6 | -2.6
1354 | 1.404 | 3.86 | -2.86
1354 | 1.738 | 4.2 | -3.2
1355 | 2.071 | 4.45 | -3.45
1355 | 2.404 | 4.59 | -3.59
1355 | 2.738 | 4.77 | -3.77
1356 | 3.071 | 4.93 | -3.93
1356 | 3.404 | 5.03 | -4.03
1356 | 3.738 | 5.17 | -4.17
1357 | 4.071 | 5.3 | -4.3
1357 | 4.404 | 5.4 | -4.4
1357 | 4.738 | 5.49 | -4.49
1358 | 5.071 | 5.58 | -4.58
1358 | 5.404 | 5.66 | -4.66
1358 | 5.738 | 5.74 | -4.74
1359 | 6.071 | 5.82 | -4.82
1359 | 6.404 | 5.9 | -4.9
1359 | 6.738 | 5.97 | -4.97
1400 | 7.071 | 6.03 | -5.03
1400 | 7.404 | 6.1 | -5.1
1400 | 7.738 | 6.17 | -5.17
1401 | 8.071 | 6.22 | -5.22
1401 | 8.404 | 6.28 | -5.28
1401 | 8.738 | 6.33 | -5.33
1402 | 9.071 | 6.4 | -5.4
1402 | 9.404 | 6.47 | -5.47
1402 | 9.738 | 6.52 | -5.52
1403 | 10.071 | 6.56 | -5.56
1405 | 12.232 | 6.86 | -5.86
1407 | 14.232 | 7.16 | -6.16
1409 | 16.232 | 7.35 | -6.35
1411 | 18.232 | 7.56 | -6.56
1413 | 20.232 | 7.77 | -6.77
1415 | 22.232 | 7.94 | -6.94
1417 | 24.232 | 8.09 | -7.09
1419 | 26.232 | 8.22 | -7.22
1421 | 28.232 | 8.36 | -7.36
1423 | 30.232 | 8.49 | -7.49
1425 | 32.232 | 8.59 | -7.59
1427 | 34.232 | 8.72 | -7.72
1429 | 36.232 | 8.83 | -7.83
1431 | 38.177 | 8.91 | -7.91
1433 | 40.177 | 8.99 | -7.99
1435 | 42.493 | 9.09 | -8.09
1437 | 44.16 | 9.14 | -8.14
1439 | 46.098 | 9.25 | -8.25
1441 | 48.098 | 9.3 | -8.3
1443 | 50.098 | 9.37 | -8.37
1445 | 52.098 | 9.44 | -8.44
1447 | 54.098 | 9.5 | -8.5
1449 | 56.103 | 9.57 | -8.57
1451 | 58.103 | 9.63 | -8.63
1453 | 60.103 | 9.69 | -8.69
1455 | 62.103 | 9.73 | -8.73
1457 | 64.103 | 9.76 | -8.76
1459 | 66.103 | 9.82 | -8.82
1501 | 68.103 | 9.87 | -8.87
1503 | 70.103 | 9.94 | -8.94
1505 | 72.103 | 9.95 | -8.95
1507 | 74.103 | 10.01 | -9.01
1509 | 76.103 | 10.05 | -9.05
1511 | 78.392 | 10.08 | -9.08
1513 | 80.448 | 10.13 | -9.13
1515 | 82.215 | 10.15 | -9.15
1517 | 84.215 | 10.18 | -9.18
1519 | 86.215 | 10.2 | -9.2
1521 | 88.215 | 10.25 | -9.25
1523 | 90.215 | 10.28 | -9.28
1525 | 92.215 | 10.32 | -9.32
1527 | 94.215 | 10.34 | -9.34
1529 | 96.215 | 10.34 | -9.34
1531 | 98.215 | 10.39 | -9.39
1553 | 120.22 | 10.65 | -9.65
1613 | 140.22 | 10.83 | -9.83
1633 | 160.14 | 10.97 | -9.97
1653 | 180.13 | 11.09 | -10.09
1713 | 200.13 | 11.18 | -10.18
1733 | 220.12 | 11.26 | -10.26
1753 | 240.12 | 11.32 | -10.32
1813 | 260.12 | 11.39 | -10.39
1833 | 280.12 | 11.43 | -10.43
1853 | 300.12 | 11.48 | -10.48
1913 | 320.12 | 11.52 | -10.52
1933 | 340.22 | 11.55 | -10.55
1953 | 360.07 | 11.59 | -10.59
2013 | 380.15 | 11.61 | -10.61
2033 | 400.15 | 11.63 | -10.63
2053 | 420.15 | 11.65 | -10.65
2113 | 440.15 | 11.66 | -10.66
2133 | 460.15 | 11.68 | -10.68
2153 | 480.15 | 11.69 | -10.69
2213 | 500.12 | 11.7 | -10.7
2233 | 520.12 | 11.72 | -10.72
2253 | 540.12 | 11.72 | -10.72
2313 | 560.12 | 11.73 | -10.73
2333 | 580.12 | 11.74 | -10.74
2353 | 600.12 | 11.75 | -10.75
0013 | 620.12 | 11.74 | -10.74
0033 | 640.12 | 11.76 | -10.76
0053 | 660.12 | 11.77 | -10.77
0113 | 680.12 | 11.78 | -10.78
0133 | 700.12 | 11.79 | -10.79
0153 | 720.12 | 11.8 | -10.8
0213 | 740.12 | 11.81 | -10.81
0233 | 760.12 | 11.81 | -10.81
0253 | 780.12 | 11.82 | -10.82
0313 | 800.12 | 11.84 | -10.84
0333 | 820.12 | 11.84 | -10.84
0353 | 840.12 | 11.84 | -10.84
0413 | 860.12 | 11.85 | -10.85
0433 | 880.12 | 11.87 | -10.87
0453 | 900.12 | 11.88 | -10.88
0513 | 920.12 | 11.89 | -10.89
0533 | 940.12 | 11.91 | -10.91
0553 | 960.12 | 11.91 | -10.91
0613 | 980.12 | 11.91 | -10.91
0633 | 1000.1 | 11.922 | -10.92
0733 | 1060.3 | 11.95 | -10.95
0833 | 1120.3 | 11.97 | -10.97
0933 | 1180.2 | 11.97 | -10.97
1033 | 1240.2 | 11.97 | -10.97
1133 | 1300.2 | 11.98 | -10.98
1233 | 1360.3 | 11.97 | -10.97
1333 | 1420.3 | 11.96 | -10.96
1433 | 1480.2 | 11.97 | -10.97
1533 | 1540.2 | 11.97 | -10.97
1633 | 1600.3 | 11.99 | -10.99
1733 | 1660.2 | 12.02 | -11.02
1833 | 1720.3 | 12.04 | -11.04
1933 | 1780.3 | 12.04 | -11.04
2002 | 1809 | 12.04 | -11.04
Average level: | 11.64
Input 5 (feet):
Time | ET (min) | Level | Δ Level
1353 | 0 | -999.99 | 0.00
1353 | 0.257 | -999.99 | -999.99
1353 | 0.34 | -999.99 | -999.99
1353 | 0.424 | -999.99 | -999.99
1353 | 0.507 | -999.99 | -999.99
1353 | 0.59 | -999.99 | -999.99
1353 | 0.674 | -999.99 | -999.99
1353 | 0.757 | -999.99 | -999.99
1354 | 0.84 | -999.99 | -999.99
1354 | 0.924 | -999.99 | -999.99
1354 | 1.007 | -999.99 | -999.99
1354 | 1.404 | -999.99 | -999.99
1354 | 1.738 | -999.99 | -999.99
1355 | 2.071 | -999.99 | -999.99
1355 | 2.404 | -999.99 | -999.99
1355 | 2.738 | -999.99 | -999.99
1356 | 3.071 | -999.99 | -999.99
1356 | 3.404 | -999.99 | -999.99
1356 | 3.738 | -999.99 | -999.99
1357 | 4.071 | -999.99 | -999.99
1357 | 4.404 | -999.99 | -999.99
1357 | 4.738 | -999.99 | -999.99
1358 | 5.071 | -999.99 | -999.99
1358 | 5.404 | -999.99 | -999.99
1358 | 5.738 | -999.99 | -999.99
1359 | 6.071 | -999.99 | -999.99
1359 | 6.404 | -999.99 | -999.99
1359 | 6.738 | -999.99 | -999.99
1400 | 7.071 | -999.99 | -999.99
1400 | 7.404 | -999.99 | -999.99
1400 | 7.738 | -999.99 | -999.99
1401 | 8.071 | -999.99 | -999.99
1401 | 8.404 | -999.99 | -999.99
1401 | 8.738 | -999.99 | -999.99
1402 | 9.071 | -999.99 | -999.99
1402 | 9.404 | -999.99 | -999.99
1402 | 9.738 | -999.99 | -999.99
1403 | 10.071 | -999.99 | -999.99
1405 | 12.232 | -999.99 | -999.99
1407 | 14.232 | -999.99 | -999.99
1409 | 16.232 | -999.99 | -999.99
1411 | 18.232 | -999.99 | -999.99
1413 | 20.232 | -999.99 | -999.99
1415 | 22.232 | -999.99 | -999.99
1417 | 24.232 | -999.99 | -999.99
1419 | 26.232 | -999.99 | -999.99
1421 | 28.232 | -999.99 | -999.99
1423 | 30.232 | -999.99 | -999.99
1425 | 32.232 | -999.99 | -999.99
1427 | 34.232 | -999.99 | -999.99
1429 | 36.232 | -999.99 | -999.99
1431 | 38.177 | -999.99 | -999.99
1433 | 40.177 | -999.99 | -999.99
1435 | 42.493 | -999.99 | -999.99
1437 | 44.16 | -999.99 | -999.99
1439 | 46.098 | -999.99 | -999.99
1441 | 48.098 | -999.99 | -999.99
1443 | 50.098 | -999.99 | -999.99
1445 | 52.098 | -999.99 | -999.99
1447 | 54.098 | -999.99 | -999.99
1449 | 56.103 | -999.99 | -999.99
1451 | 58.103 | -999.99 | -999.99
1453 | 60.103 | -999.99 | -999.99
1455 | 62.103 | -999.99 | -999.99
1457 | 64.103 | -999.99 | -999.99
1459 | 66.103 | -999.99 | -999.99
1501 | 68.103 | -999.99 | -999.99
1503 | 70.103 | -999.99 | -999.99
1505 | 72.103 | -999.99 | -999.99
1507 | 74.103 | -999.99 | -999.99
1509 | 76.103 | -999.99 | -999.99
1511 | 78.392 | -999.99 | -999.99
1513 | 80.448 | -999.99 | -999.99
1515 | 82.215 | -999.99 | -999.99
1517 | 84.215 | -999.99 | -999.99
1519 | 86.215 | -999.99 | -999.99
1521 | 88.215 | -999.99 | -999.99
1523 | 90.215 | -999.99 | -999.99
1525 | 92.215 | -999.99 | -999.99
1527 | 94.215 | -999.99 | -999.99
1529 | 96.215 | -999.99 | -999.99
1531 | 98.215 | -999.99 | -999.99
1553 | 120.22 | -999.99 | -999.99
1613 | 140.22 | -999.99 | -999.99
1633 | 160.14 | -999.99 | -999.99
1653 | 180.13 | -999.99 | -999.99
1713 | 200.13 | -999.99 | -999.99
1733 | 220.12 | -999.99 | -999.99
1753 | 240.12 | -999.99 | -999.99
1813 | 260.12 | -999.99 | -999.99
1833 | 280.12 | -999.99 | -999.99
1853 | 300.12 | -999.99 | -999.99
1913 | 320.12 | -999.99 | -999.99
1933 | 340.22 | -999.99 | -999.99
1953 | 360.07 | -999.99 | -999.99
2013 | 380.15 | -999.99 | -999.99
2033 | 400.15 | -999.99 | -999.99
2053 | 420.15 | -999.99 | -999.99
2113 | 440.15 | -999.99 | -999.99
2133 | 460.15 | -999.99 | -999.99
2153 | 480.15 | -999.99 | -999.99
2213 | 500.12 | -999.99 | -999.99
2233 | 520.12 | -999.99 | -999.99
2253 | 540.12 | -999.99 | -999.99
2313 | 560.12 | -999.99 | -999.99
2333 | 580.12 | -999.99 | -999.99
2353 | 600.12 | -999.99 | -999.99
0013 | 620.12 | -999.99 | -999.99
0033 | 640.12 | -999.99 | -999.99
0053 | 660.12 | -999.99 | -999.99
0113 | 680.12 | -999.99 | -999.99
0133 | 700.12 | -999.99 | -999.99
0153 | 720.12 | -999.99 | -999.99
0213 | 740.12 | -999.99 | -999.99
0233 | 760.12 | -999.99 | -999.99
0253 | 780.12 | -999.99 | -999.99
0313 | 800.12 | -999.99 | -999.99
0333 | 820.12 | -999.99 | -999.99
0353 | 840.12 | -999.99 | -999.99
0413 | 860.12 | -999.99 | -999.99
0433 | 880.12 | -999.99 | -999.99
0453 | 900.12 | -999.99 | -999.99
0513 | 920.12 | -999.99 | -999.99
0533 | 940.12 | -999.99 | -999.99
0553 | 960.12 | -999.99 | -999.99
0613 | 980.12 | -999.99 | -999.99
0633 | 1000.1 | -999.99 | -999.99
0733 | 1060.3 | -999.99 | -999.99
0833 | 1120.3 | -999.99 | -999.99
0933 | 1180.2 | -999.99 | -999.99
1033 | 1240.2 | -999.99 | -999.99
1133 | 1300.2 | -999.99 | -999.99
1233 | 1360.3 | -999.99 | -999.99
1333 | 1420.3 | -999.99 | -999.99
1433 | 1480.2 | -999.99 | -999.99
1533 | 1540.2 | -999.99 | -999.99
1633 | 1600.3 | -999.99 | -999.99
1733 | 1660.2 | -999.99 | -999.99
1833 | 1720.3 | -999.99 | -999.99
1933 | 1780.3 | -999.99 | -999.99
2002 | 1809 | -999.99 | -999.99
Run 1
01/04/1994
SE200B DATA
constant rate test
TRANSDUCER TABLE
Input 2: | OKF82P60B
Transducer s/n: |  | 1835DD
Scale factor: |  | 29.888
Initial level: |  | 1 feet
Input 3: | OKF8235
Transducer s/n: |  | 3072EA
Scale factor: |  | 10.008
Initial level: |  | 1 feet
Input 4: | OKF82M60
Transducer s/n: |  | 1836DD
Scale factor: |  | 29.944
Initial level: |  | 1 feet
Input 5: | BAD PORT
Transducer s/n: |  | 99999
Scale factor: |  | 99.999
Initial level: |  | 1 feet
Input 6: | OKF82M25
Transducer s/n: |  | 599
Scale factor: |  | 10.06
Initial level: |  | 1 feet
Input 7: | OKF82D01 (20 FT)
Transducer s/n: |  | 1993
Scale factor: |  | 10.11
Initial level: |  | 1 feet
PUMP SCHEDULE
Drawdown for 5760 min
Pump at 492 GPM
Pump set at 70 feet
Recovery for 2160 min
SAMPLING SCHEDULE
0-10 | sec @ | 1 sec
10-60 | sec @ | 5 sec
1-10 | min @ | 20 sec
10-100 | min @ | 2 min
100-1000 | min @ | 20 min
1000-10000 | min @ | 60 min
10000-99999 | min @ | 200 min
RECOVERY REPORT
Started at 2002
Lasted 729.7 min
Input 7 (feet):
Time | ET (min) | Level | Δ Level
2002 | 0.257 | 1.08 | -0.08
2002 | 0.341 | 1.08 | -0.08
2002 | 0.424 | 1.08 | -0.08
2002 | 0.507 | 1.08 | -0.08
2002 | 0.591 | 1.08 | -0.08
2002 | 0.674 | 1.08 | -0.08
2003 | 0.757 | 1.08 | -0.08
2003 | 0.84 | 1.08 | -0.08
2003 | 0.924 | 1.08 | -0.08
2003 | 1.007 | 1.08 | -0.08
2003 | 1.404 | 1.09 | -0.09
2003 | 1.737 | 1.09 | -0.09
2004 | 2.07 | 1.1 | -0.1
2004 | 2.404 | 1.1 | -0.1
2004 | 2.737 | 1.1 | -0.1
2005 | 3.07 | 1.1 | -0.1
2005 | 3.404 | 1.1 | -0.1
2005 | 3.737 | 1.1 | -0.1
2006 | 4.07 | 1.1 | -0.1
2006 | 4.404 | 1.1 | -0.1
2006 | 4.737 | 1.1 | -0.1
2007 | 5.07 | 1.1 | -0.1
2007 | 5.404 | 1.1 | -0.1
2007 | 5.737 | 1.1 | -0.1
2008 | 6.07 | 1.1 | -0.1
2008 | 6.404 | 1.1 | -0.1
2008 | 6.737 | 1.1 | -0.1
2009 | 7.07 | 1.1 | -0.1
2009 | 7.404 | 1.1 | -0.1
2009 | 7.737 | 1.1 | -0.1
2010 | 8.07 | 1.1 | -0.1
2010 | 8.404 | 1.1 | -0.1
2010 | 8.737 | 1.1 | -0.1
2011 | 9.07 | 1.1 | -0.1
2011 | 9.404 | 1.1 | -0.1
2011 | 9.737 | 1.1 | -0.1
2012 | 10.07 | 1.1 | -0.1
2014 | 12.235 | 1.11 | -0.11
2016 | 14.103 | 1.11 | -0.11
2018 | 16.103 | 1.11 | -0.11
2020 | 18.24 | 1.11 | -0.11
2022 | 20.24 | 1.11 | -0.11
2024 | 22.24 | 1.12 | -0.12
2026 | 24.24 | 1.11 | -0.11
2028 | 26.24 | 1.11 | -0.11
2030 | 28.24 | 1.12 | -0.12
2032 | 30.24 | 1.11 | -0.11
2034 | 32.24 | 1.12 | -0.12
2036 | 34.24 | 1.12 | -0.12
2038 | 36.24 | 1.12 | -0.12
2040 | 38.24 | 1.12 | -0.12
2042 | 40.24 | 1.12 | -0.12
2044 | 42.24 | 1.12 | -0.12
2046 | 44.643 | 1.12 | -0.12
2050 | 48.095 | 1.12 | -0.12
2052 | 50.095 | 1.12 | -0.12
2054 | 52.095 | 1.12 | -0.12
2056 | 54.095 | 1.12 | -0.12
2058 | 56.095 | 1.12 | -0.12
2100 | 58.077 | 1.11 | -0.11
2102 | 60.095 | 1.12 | -0.12
2104 | 62.095 | 1.12 | -0.12
2106 | 64.095 | 1.11 | -0.11
2108 | 66.095 | 1.11 | -0.11
2110 | 68.095 | 1.12 | -0.12
2112 | 70.095 | 1.12 | -0.12
2114 | 72.095 | 1.11 | -0.11
2116 | 74.095 | 1.12 | -0.12
2118 | 76.095 | 1.12 | -0.12
2120 | 78.095 | 1.12 | -0.12
2122 | 80.095 | 1.12 | -0.12
2124 | 82.095 | 1.12 | -0.12
2126 | 84.095 | 1.11 | -0.11
2128 | 86.095 | 1.12 | -0.12
2130 | 88.095 | 1.11 | -0.11
2132 | 90.095 | 1.11 | -0.11
2134 | 92.095 | 1.11 | -0.11
2136 | 94.095 | 1.11 | -0.11
2138 | 96.095 | 1.11 | -0.11
2140 | 98.095 | 1.11 | -0.11
2142 | 100.1 | 1.11 | -0.11
2202 | 120.26 | 1.1 | -0.1
2222 | 140.26 | 1.1 | -0.1
2242 | 160.26 | 1.09 | -0.09
2302 | 180.27 | 1.1 | -0.1
2322 | 200.27 | 1.08 | -0.08
2342 | 220.27 | 1.09 | -0.09
0002 | 240.27 | 1.09 | -0.09
0022 | 260.27 | 1.08 | -0.08
0042 | 280.27 | 1.08 | -0.08
0102 | 300.27 | 1.08 | -0.08
0122 | 320.27 | 1.08 | -0.08
0142 | 340.27 | 1.08 | -0.08
0202 | 360.27 | 1.08 | -0.08
0222 | 380.27 | 1.08 | -0.08
0242 | 400.27 | 1.07 | -0.07
0302 | 420.27 | 1.08 | -0.08
0322 | 440.27 | 1.08 | -0.08
0342 | 460.27 | 1.07 | -0.07
0402 | 480.27 | 1.07 | -0.07
0422 | 500.27 | 1.07 | -0.07
0442 | 520.27 | 1.08 | -0.08
0502 | 540.27 | 1.07 | -0.07
0522 | 560.27 | 1.08 | -0.08
0542 | 580.27 | 1.08 | -0.08
0602 | 600.27 | 1.07 | -0.07
0622 | 620.27 | 1.08 | -0.08
0642 | 640.27 | 1.07 | -0.07
0702 | 660.27 | 1.08 | -0.08
0722 | 680.27 | 1.08 | -0.08
0742 | 700.27 | 1.08 | -0.08
0802 | 720.17 | 1.1 | -0.1
0811 | 725.7 | 1.09 | -0.09
Run 1
01/04/1994
SE200B DATA
constant rate test
DRAWDOWN REPORT
Started at 1353
Lasted 1809 min
Input 4 (feet):
Time | ET (min) | Level | Δ Level
1353 | 0 | 1 | 0
1353 | 0.257 | 0.9 | 0.1
1353 | 0.34 | 1.27 | -0.27
1353 | 0.424 | 2.16 | -1.16
1353 | 0.507 | 2.98 | -1.98
1353 | 0.59 | 3.28 | -2.28
1353 | 0.674 | 3.11 | -2.11
1353 | 0.757 | 2.85 | -1.85
1354 | 0.84 | 2.89 | -1.89
1354 | 0.924 | 3.24 | -2.24
1354 | 1.007 | 3.6 | -2.6
1354 | 1.404 | 3.86 | -2.86
1354 | 1.738 | 4.2 | -3.2
1355 | 2.071 | 4.45 | -3.45
1355 | 2.404 | 4.59 | -3.59
1355 | 2.738 | 4.77 | -3.77
1356 | 3.071 | 4.93 | -3.93
1356 | 3.404 | 5.03 | -4.03
1356 | 3.738 | 5.17 | -4.17
1357 | 4.071 | 5.3 | -4.3
1357 | 4.404 | 5.4 | -4.4
1357 | 4.738 | 5.49 | -4.49
1358 | 5.071 | 5.58 | -4.58
1358 | 5.404 | 5.66 | -4.66
1358 | 5.738 | 5.74 | -4.74
1359 | 6.071 | 5.82 | -4.82
1359 | 6.404 | 5.9 | -4.9
1359 | 6.738 | 5.97 | -4.97
1400 | 7.071 | 6.03 | -5.03
1400 | 7.404 | 6.1 | -5.1
1400 | 7.738 | 6.17 | -5.17
1401 | 8.071 | 6.22 | -5.22
1401 | 8.404 | 6.28 | -5.28
1401 | 8.738 | 6.33 | -5.33
1402 | 9.071 | 6.4 | -5.4
1402 | 9.404 | 6.47 | -5.47
1402 | 9.738 | 6.52 | -5.52
1403 | 10.071 | 6.56 | -5.56
1405 | 12.232 | 6.86 | -5.86
1407 | 14.232 | 7.16 | -6.16
1409 | 16.232 | 7.35 | -6.35
1411 | 18.232 | 7.56 | -6.56
1413 | 20.232 | 7.77 | -6.77
1415 | 22.232 | 7.94 | -6.94
1417 | 24.232 | 8.09 | -7.09
1419 | 26.232 | 8.22 | -7.22
1421 | 28.232 | 8.36 | -7.36
1423 | 30.232 | 8.49 | -7.49
1425 | 32.232 | 8.59 | -7.59
1427 | 34.232 | 8.72 | -7.72
1429 | 36.232 | 8.83 | -7.83
1431 | 38.177 | 8.91 | -7.91
1433 | 40.177 | 8.99 | -7.99
1435 | 42.493 | 9.09 | -8.09
1437 | 44.16 | 9.14 | -8.14
1439 | 46.098 | 9.25 | -8.25
1441 | 48.098 | 9.3 | -8.3
1443 | 50.098 | 9.37 | -8.37
1445 | 52.098 | 9.44 | -8.44
1447 | 54.098 | 9.5 | -8.5
1449 | 56.103 | 9.57 | -8.57
1451 | 58.103 | 9.63 | -8.63
1453 | 60.103 | 9.69 | -8.69
1455 | 62.103 | 9.73 | -8.73
1457 | 64.103 | 9.76 | -8.76
1459 | 66.103 | 9.82 | -8.82
1501 | 68.103 | 9.87 | -8.87
1503 | 70.103 | 9.94 | -8.94
1505 | 72.103 | 9.95 | -8.95
1507 | 74.103 | 10.01 | -9.01
1509 | 76.103 | 10.05 | -9.05
1511 | 78.392 | 10.08 | -9.08
1513 | 80.448 | 10.13 | -9.13
1515 | 82.215 | 10.15 | -9.15
1517 | 84.215 | 10.18 | -9.18
1519 | 86.215 | 10.2 | -9.2
1521 | 88.215 | 10.25 | -9.25
1523 | 90.215 | 10.28 | -9.28
1525 | 92.215 | 10.32 | -9.32
1527 | 94.215 | 10.34 | -9.34
1529 | 96.215 | 10.34 | -9.34
1531 | 98.215 | 10.39 | -9.39
1553 | 120.22 | 10.65 | -9.65
1613 | 140.22 | 10.83 | -9.83
1633 | 160.14 | 10.97 | -9.97
1653 | 180.13 | 11.09 | -10.09
1713 | 200.13 | 11.18 | -10.18
1733 | 220.12 | 11.26 | -10.26
1753 | 240.12 | 11.32 | -10.32
1813 | 260.12 | 11.39 | -10.39
1833 | 280.12 | 11.43 | -10.43
1853 | 300.12 | 11.48 | -10.48
1913 | 320.12 | 11.52 | -10.52
1933 | 340.22 | 11.55 | -10.55
1953 | 360.07 | 11.59 | -10.59
2013 | 380.15 | 11.61 | -10.61
2033 | 400.15 | 11.63 | -10.63
2053 | 420.15 | 11.65 | -10.65
2113 | 440.15 | 11.66 | -10.66
2133 | 460.15 | 11.68 | -10.68
2153 | 480.15 | 11.69 | -10.69
2213 | 500.12 | 11.7 | -10.7
2233 | 520.12 | 11.72 | -10.72
2253 | 540.12 | 11.72 | -10.72
2313 | 560.12 | 11.73 | -10.73
2333 | 580.12 | 11.74 | -10.74
2353 | 600.12 | 11.75 | -10.75
0013 | 620.12 | 11.74 | -10.74
0033 | 640.12 | 11.76 | -10.76
0053 | 660.12 | 11.77 | -10.77
0113 | 680.12 | 11.78 | -10.78
0133 | 700.12 | 11.79 | -10.79
0153 | 720.12 | 11.8 | -10.8
0213 | 740.12 | 11.81 | -10.81
0233 | 760.12 | 11.81 | -10.81
0253 | 780.12 | 11.82 | -10.82
0313 | 800.12 | 11.84 | -10.84
0333 | 820.12 | 11.84 | -10.84
0353 | 840.12 | 11.84 | -10.84
0413 | 860.12 | 11.85 | -10.85
0433 | 880.12 | 11.87 | -10.87
0453 | 900.12 | 11.88 | -10.88
0513 | 920.12 | 11.89 | -10.89
0533 | 940.12 | 11.91 | -10.91
0553 | 960.12 | 11.91 | -10.91
0613 | 980.12 | 11.91 | -10.91
0633 | 1000.1 | 11.922 | -10.92
0733 | 1060.3 | 11.95 | -10.95
0833 | 1120.3 | 11.97 | -10.97
0933 | 1180.2 | 11.97 | -10.97
1033 | 1240.2 | 11.97 | -10.97
1133 | 1300.2 | 11.98 | -10.98
1233 | 1360.3 | 11.97 | -10.97
1333 | 1420.3 | 11.96 | -10.96
1433 | 1480.2 | 11.97 | -10.97
1533 | 1540.2 | 11.97 | -10.97
1633 | 1600.3 | 11.99 | -10.99
1733 | 1660.2 | 12.02 | -11.02
1833 | 1720.3 | 12.04 | -11.04
1933 | 1780.3 | 12.04 | -11.04
2002 | 1809 | 12.04 | -11.04
Average level: | 11.64
RECOVERY REPORT
Started at 2002
Lasted 729.7 min
Input 4 (feet):
Time | ET (min) | Level | Δ Level
2002 | 0.257 | 10.97 | -9.97
2002 | 0.341 | 10.4 | -9.4
2002 | 0.424 | 10.2 | -9.2
2002 | 0.507 | 10.25 | -9.25
2002 | 0.591 | 10.31 | -9.31
2002 | 0.674 | 10.18 | -9.18
2003 | 0.757 | 9.88 | -8.88
2003 | 0.84 | 9.57 | -8.57
2003 | 0.924 | 9.44 | -8.44
2003 | 1.007 | 9.47 | -8.47
2003 | 1.404 | 9.09 | -8.09
2003 | 1.737 | 8.9 | -7.9
2004 | 2.07 | 8.68 | -7.68
2004 | 2.404 | 8.57 | -7.57
2004 | 2.737 | 8.43 | -7.43
2005 | 3.07 | 8.3 | -7.3
2005 | 3.404 | 8.16 | -7.16
2005 | 3.737 | 8.11 | -7.11
2006 | 4.07 | 7.92 | -6.92
2006 | 4.404 | 7.9 | -6.9
2006 | 4.737 | 7.73 | -6.73
2007 | 5.07 | 7.71 | -6.71
2007 | 5.404 | 7.58 | -6.58
2007 | 5.737 | 7.53 | -6.53
2008 | 6.07 | 7.42 | -6.42
2008 | 6.404 | 7.3 | -6.3
2008 | 6.737 | 7.37 | -6.37
2009 | 7.07 | 7.19 | -6.19
2009 | 7.404 | 7.18 | -6.18
2009 | 7.737 | 7.07 | -6.07
2010 | 8.07 | 6.97 | -5.97
2010 | 8.404 | 7.02 | -6.02
2010 | 8.737 | 6.89 | -5.89
2011 | 9.07 | 6.8 | -5.8
2011 | 9.404 | 6.91 | -5.91
2011 | 9.737 | 6.69 | -5.69
2012 | 10.07 | 6.66 | -5.66
2014 | 12.235 | 6.34 | -5.34
2016 | 14.103 | 6.12 | -5.12
2018 | 16.103 | 5.9 | -4.9
2020 | 18.24 | 5.66 | -4.66
2022 | 20.24 | 5.49 | -4.49
2024 | 22.24 | 5.3 | -4.3
2026 | 24.24 | 5.14 | -4.14
2028 | 26.24 | 5.03 | -4.03
2030 | 28.24 | 4.85 | -3.85
2032 | 30.24 | 4.75 | -3.75
2034 | 32.24 | 4.6 | -3.6
2036 | 34.24 | 4.49 | -3.49
2038 | 36.24 | 4.38 | -3.38
2040 | 38.24 | 4.27 | -3.27
2042 | 40.24 | 4.18 | -3.18
2044 | 42.24 | 4.1 | -3.1
2046 | 44.643 | 3.99 | -2.99
2050 | 48.095 | 3.85 | -2.85
2052 | 50.095 | 3.77 | -2.77
2054 | 52.095 | 3.7 | -2.7
2056 | 54.095 | 3.64 | -2.64
2058 | 56.095 | 3.58 | -2.58
2100 | 58.077 | 3.51 | -2.51
2102 | 60.095 | 3.46 | -2.46
2104 | 62.095 | 3.35 | -2.35
2106 | 64.095 | 3.35 | -2.35
2108 | 66.095 | 3.3 | -2.3
2110 | 68.095 | 3.25 | -2.25
2112 | 70.095 | 3.2 | -2.2
2114 | 72.095 | 3.16 | -2.16
2116 | 74.095 | 3.12 | -2.12
2118 | 76.095 | 3.07 | -2.07
2120 | 78.095 | 3.03 | -2.03
2122 | 80.095 | 2.99 | -1.99
2124 | 82.095 | 2.95 | -1.95
2126 | 84.095 | 2.91 | -1.91
2128 | 86.095 | 2.88 | -1.88
2130 | 88.095 | 2.85 | -1.85
2132 | 90.095 | 2.77 | -1.77
2134 | 92.095 | 2.78 | -1.78
2136 | 94.095 | 2.75 | -1.75
2138 | 96.095 | 2.72 | -1.72
2140 | 98.095 | 2.69 | -1.69
2142 | 100.1 | 2.66 | -1.66
2202 | 120.26 | 2.47 | -1.47
2222 | 140.26 | 2.23 | -1.23
2242 | 160.26 | 2.09 | -1.8
2302 | 180.27 | 1.97 | -0.97
2322 | 200.27 | 1.86 | -0.86
2342 | 220.27 | 1.78 | -0.78
0002 | 240.27 | 1.71 | -0.71
0022 | 260.27 | 1.65 | -0.65
0042 | 280.27 | 1.6 | -0.6
0102 | 300.27 | 1.56 | -0.56
0122 | 320.27 | 1.53 | -0.53
0142 | 340.27 | 1.49 | -0.49
0202 | 360.27 | 1.47 | -0.47
0222 | 380.27 | 1.44 | -0.44
0242 | 400.27 | 1.41 | -0.41
0302 | 420.27 | 1.41 | -0.41
0322 | 440.27 | 1.39 | -0.39
0342 | 460.27 | 1.36 | -0.36
0402 | 480.27 | 1.35 | -0.35
0422 | 500.27 | 1.35 | -0.35
0442 | 520.27 | 1.34 | -0.34
0502 | 540.27 | 1.33 | -0.33
0522 | 560.27 | 1.32 | -0.32
0542 | 580.27 | 1.31 | -0.31
0602 | 600.27 | 1.31 | -0.31
0622 | 620.27 | 1.3 | -0.3
0642 | 640.27 | 1.3 | -0.3
0702 | 660.27 | 1.29 | -0.29
0722 | 680.27 | 1.28 | -0.28
0742 | 700.27 | 1.28 | -0.28
0802 | 720.17 | 1.36 | -0.36
0811 | 725.7 | 1.28 | -0.28
DRAWDOWN REPORT
Started at 1353
Lasted 1809 min
Input 7 (feet):
Time | ET (min) | Level | Δ Level
1353 | 0 | 1 | 0
1353 | 0.257 | 0.94 | 0.06
1353 | 0.34 | 0.93 | 0.07
1353 | 0.424 | 0.94 | 0.06
1353 | 0.507 | 0.93 | 0.07
1353 | 0.59 | 0.93 | 0.07
1353 | 0.674 | 0.93 | 0.07
1353 | 0.757 | 0.94 | 0.06
1354 | 0.84 | 0.94 | 0.06
1354 | 0.924 | 0.94 | 0.06
1354 | 1.007 | 0.94 | 0.06
1354 | 1.404 | 0.95 | 0.05
1354 | 1.738 | 0.95 | 0.05
1355 | 2.071 | 0.95 | 0.05
1355 | 2.404 | 0.95 | 0.05
1355 | 2.738 | 0.94 | 0.06
1356 | 3.071 | 0.94 | 0.06
1356 | 3.404 | 0.95 | 0.05
1356 | 3.738 | 0.98 | 0.02
1357 | 4.071 | 1.01 | -0.01
1357 | 4.404 | 1.03 | -0.03
1357 | 4.738 | 1.04 | -0.03
1358 | 5.071 | 1.03 | -0.03
1358 | 5.404 | 1.03 | -0.03
1358 | 5.738 | 1.03 | -0.03
1359 | 6.071 | 1.02 | -0.02
1359 | 6.404 | 1.02 | -0.02
1359 | 6.738 | 1.01 | -0.01
1400 | 7.071 | 1.01 | -0.01
1400 | 7.404 | 1 | 0
1400 | 7.738 | 1 | 0
1401 | 8.071 | 0.99 | 0.01
1401 | 8.404 | 0.96 | 0.04
1401 | 8.738 | 0.94 | 0.06
1402 | 9.071 | 0.95 | 0.05
1402 | 9.404 | 0.97 | 0.03
1402 | 9.738 | 0.98 | 0.02
1403 | 10.071 | 0.95 | 0.05
1405 | 12.231 | 0.92 | 0.08
1407 | 14.231 | 1 | 0
1409 | 16.231 | 0.93 | 0.07
1411 | 18.232 | 0.94 | 0.06
1413 | 20.232 | 1 | 0
1415 | 22.232 | 0.99 | 0.01
1417 | 24.232 | 0.97 | 0.03
1419 | 26.232 | 0.92 | 0.08
1421 | 28.232 | 0.91 | 0.09
1423 | 30.232 | 0.97 | 0.03
1425 | 32.232 | 0.91 | 0.09
1427 | 34.232 | 0.97 | 0.03
1429 | 36.232 | 1 | 0
1431 | 38.177 | 0.97 | 0.03
1433 | 40.177 | 0.96 | 0.04
1435 | 42.493 | 0.94 | 0.06
1437 | 44.16 | 0.9 | 0.1
1439 | 46.098 | 0.9 | 0.1
1441 | 48.098 | 0.92 | 0.08
1443 | 50.098 | 0.95 | 0.05
1445 | 52.098 | 0.93 | 0.07
1447 | 54.098 | 0.94 | 0.06
1449 | 56.103 | 0.97 | 0.03
1451 | 58.103 | 0.98 | 0.02
1453 | 60.103 | 0.97 | 0.03
1455 | 62.103 | 0.94 | 0.06
1457 | 64.103 | 0.9 | 0.1
1459 | 66.103 | 0.92 | 0.08
1501 | 68.103 | 0.94 | 0.06
1503 | 70.103 | 0.99 | 0.01
1505 | 72.103 | 0.95 | 0.05
1507 | 74.103 | 0.97 | 0.03
1509 | 76.103 | 0.98 | 0.02
1511 | 78.392 | 0.96 | 0.04
1513 | 80.448 | 0.96 | 0.04
1515 | 82.215 | 0.96 | 0.04
1517 | 84.215 | 0.94 | 0.06
1519 | 86.215 | 0.91 | 0.09
1521 | 88.215 | 0.92 | 0.08
1523 | 90.215 | 0.93 | 0.07
1525 | 92.215 | 0.94 | 0.06
1527 | 94.215 | 0.94 | 0.06
1529 | 96.215 | 0.93 | 0.07
1531 | 98.215 | 0.93 | 0.07
1553 | 120.22 | 0.95 | 0.05
1613 | 140.22 | 0.96 | 0.04
1633 | 160.14 | 0.94 | 0.06
1653 | 180.13 | 0.97 | 0.03
1713 | 200.13 | 0.97 | 0.03
1733 | 220.12 | 0.97 | 0.03
1753 | 240.12 | 0.96 | 0.04
1813 | 260.12 | 0.97 | 0.03
1833 | 280.12 | 0.97 | 0.03
1853 | 300.12 | 0.98 | 0.02
1913 | 320.12 | 0.98 | 0.02
1933 | 340.22 | 0.98 | 0.02
1953 | 360.07 | 0.99 | 0.01
2013 | 380.15 | 0.99 | 0.01
2033 | 400.15 | 0.99 | 0.01
2053 | 420.15 | 0.99 | 0.01
2113 | 440.15 | 0.99 | 0.01
2133 | 460.15 | 0.99 | 0.01
2153 | 480.15 | 0.99 | 0.01
2213 | 500.12 | 0.99 | 0.01
2233 | 520.12 | 1 | 0
2253 | 540.12 | 1 | 0
2313 | 560.12 | 1 | 0
2333 | 580.12 | 1.01 | -0.01
2353 | 600.12 | 1.01 | -0.01
0013 | 620.12 | 0.99 | 0.01
0033 | 640.12 | 1.01 | -0.01
0053 | 660.12 | 1.01 | -0.01
0113 | 680.12 | 1.01 | -0.01
0133 | 700.12 | 1.02 | -0.02
0153 | 720.12 | 1.02 | -0.02
0213 | 740.12 | 1.02 | -0.02
0233 | 760.12 | 1.02 | -0.02
0253 | 780.12 | 1.02 | -0.02
0313 | 800.12 | 1.03 | -0.03
0333 | 820.12 | 1.02 | -0.02
0353 | 840.12 | 1.02 | -0.02
0413 | 860.12 | 1.02 | -0.02
0433 | 880.12 | 1.03 | -0.03
0453 | 900.12 | 1.03 | -0.03
0513 | 920.12 | 1.03 | -0.03
0533 | 940.12 | 1.04 | -0.04
0553 | 960.12 | 1.04 | -0.04
0613 | 980.12 | 1.03 | -0.03
0633 | 1000.1 | 1.04 | -0.04
0733 | 1060.3 | 1.04 | -0.04
0833 | 1120.3 | 1.06 | -0.06
0933 | 1180.2 | 1.06 | -0.06
1033 | 1240.2 | 1.07 | -0.07
1133 | 1300.2 | 1.07 | -0.07
1233 | 1360.3 | 1.05 | -0.05
1333 | 1420.3 | 1.06 | -0.06
1433 | 1480.2 | 1.05 | -0.05
1533 | 1540.2 | 1.06 | -0.06
1633 | 1600.3 | 1.06 | -0.06
1733 | 1660.2 | 1.05 | -0.05
1833 | 1720.3 | 1.07 | -0.07
1933 | 1780.3 | 1.08 | -0.08
2002 | 1809 | 1.08 | -0.08
Average level: | 1.02

## Sheet2
1