## Raw Data
In-Situ Inc. | Hermit 3000
Report generated: | 2007-08-18 |  | 11:51
Report from file: | C:\Win-Situ\Data\SN45416 2007-08-18 031518 Test #2.bin
DataMgr Version | 3.7
Serial number: | 45416
Firmware Version | 7.1
Unit name: | Hermit 3000
Test name: |  |  | Test #2
Test defined on: | 2007-07-31 |  | 2:20
Test started on: | 2007-08-18 |  | 3:15
Test stopped on: | 2007-08-18 |  | 5:31
Test extracted on: | 2007-08-18 |  | 11:50
Data gathered using Logarithmic testing
Maximum time between data points: 1.0000 | Minutes.
Number of data samples: | 206
TOTAL DATA SAMPLES | 206
Channel number [1]
Measurement type: | Pressure
Channel name: | 6013 30psi
Linearity: | 0.2823
Scale: |  |  | 29.7158
Offset: |  |  | -0.0473
Warmup: |  |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 |  | Feet H2O
Referenced on: | test start
Pressure head at reference: | 27.56 |  | Feet H2O
Channel number [5]
Measurement type: | Pressure
Channel name: | 5392 100psi
Linearity: | 0.2957
Scale: |  |  | 98.6064
Offset: |  |  | -0.4972
Warmup: |  |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 |  | Feet H2O
Referenced on: | test start
Pressure head at reference: | -9.533 |  | Feet H2O
Channel number [7]
Measurement type: | Pressure
Channel name: | 9285 250 psi
Linearity: | 1.7617
Scale: |  |  | 244.4532
Offset: |  |  | -0.5853
Warmup: |  |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 |  | Feet H2O
Referenced on: | test start
Pressure head at reference: | 49.714 |  | Feet H2O
Channel number [0]
Measurement type: | Barometric Pressure
Channel name: | Barometric
Linearity: | 0
Scale: |  |  | 0
Offset: |  |  | 0
Warmup: |  |  | 50
|  |  | Annulus | Pumping probe | Water Level | Water Level | Drawdown | Barro
Date Time | ET (min) | Total ET (min) | Feet H2O | Feet H2O | Ft above the probe | Ft below LS | Ft | Inches Hg
-------- -------- | ------------ |  | --------------- | --------------- |  |  |  | ---------------
2008-02-03 03:04 | 0 | 0 | 0 | 0 | 159.227 | 10.773 |  | 30.155
2008-02-03 03:04 | 0.0222 | 0.0222 | 0.061 | 0 | 159.227 | 10.773 |  | 30.155
2008-02-03 03:04 | 0.0443 | 0.0443 | 0.061 | 0 | 159.227 | 10.773 |  | 30.155
2008-02-03 03:04 | 0.0665 | 0.0665 | 0.061 | 0 | 159.227 | 10.773 |  | 30.153
2008-02-03 03:04 | 0.0887 | 0.0887 | 0.065 | 0 | 159.227 | 10.773 |  | 30.155
2008-02-03 03:04 | 0.1108 | 0.1108 | 0.061 | 0 | 159.227 | 10.773 |  | 30.153
2008-02-03 03:04 | 0.133 | 0.133 | 0.061 | 0 | 159.227 | 10.773 |  | 30.151
2008-02-03 03:04 | 0.1552 | 0.1552 | 0.065 | -0.035 | 159.262 | 10.738 |  | 30.153
2008-02-03 03:04 | 0.1773 | 0.1773 | 0.061 | -0.035 | 159.262 | 10.738 |  | 30.151
2008-02-03 03:04 | 0.1995 | 0.1995 | 0.061 | 0 | 159.227 | 10.773 |  | 30.151
2008-02-03 03:04 | 0.2217 | 0.2217 | 0.065 | 0 | 159.227 | 10.773 |  | 30.151
2008-02-03 03:04 | 0.2438 | 0.2438 | 0.061 | 0 | 159.227 | 10.773 |  | 30.151
2008-02-03 03:04 | 0.266 | 0.266 | 0.061 | 0 | 159.227 | 10.773 |  | 30.151
2008-02-03 03:04 | 0.2882 | 0.2882 | 0.061 | 0 | 159.227 | 10.773 |  | 30.149
2008-02-03 03:04 | 0.3103 | 0.3103 | 0.061 | 0 | 159.227 | 10.773 |  | 30.149
2008-02-03 03:04 | 0.3325 | 0.3325 | 0.061 | 0 | 159.227 | 10.773 |  | 30.147
2008-02-03 03:04 | 0.3547 | 0.3547 | 0.061 | 0 | 159.227 | 10.773 |  | 30.149
2008-02-03 03:04 | 0.3768 | 0.3768 | 0.061 | 0 | 159.227 | 10.773 |  | 30.147
2008-02-03 03:04 | 0.399 | 0.399 | 0.061 | 0 | 159.227 | 10.773 |  | 30.149
2008-02-03 03:04 | 0.4212 | 0.4212 | 0.061 | 0 | 159.227 | 10.773 |  | 30.147
2008-02-03 03:04 | 0.4433 | 0.4433 | 0.065 | 0 | 159.227 | 10.773 |  | 30.149
2008-02-03 03:04 | 0.4655 | 0.4655 | 0.061 | 0 | 159.227 | 10.773 |  | 30.145
2008-02-03 03:05 | 0.489 | 0.489 | 0.061 | 0 | 159.227 | 10.773 |  | 30.147
2008-02-03 03:05 | 0.5138 | 0.5138 | 0.065 | 0 | 159.227 | 10.773 |  | 30.147
2008-02-03 03:05 | 0.5402 | 0.5402 | 0.061 | 0 | 159.227 | 10.773 |  | 30.147
2008-02-03 03:05 | 0.5682 | 0.5682 | 0.065 | 0 | 159.227 | 10.773 |  | 30.147
2008-02-03 03:05 | 0.5978 | 0.5978 | 0.065 | 0 | 159.227 | 10.773 |  | 30.145
2008-02-03 03:05 | 0.6292 | 0.6292 | 0.061 | 0 | 159.227 | 10.773 |  | 30.145
2008-02-03 03:05 | 0.6623 | 0.6623 | 0.074 | 0 | 159.227 | 10.773 |  | 30.145
2008-02-03 03:05 | 0.6975 | 0.6975 | 0.074 | 0 | 159.227 | 10.773 |  | 30.147
2008-02-03 03:05 | 0.7348 | 0.7348 | 0.061 | 0 | 159.227 | 10.773 |  | 30.145
2008-02-03 03:05 | 0.7743 | 0.7743 | 0.065 | 0.035 | 159.192 | 10.808 |  | 30.145
2008-02-03 03:05 | 0.8162 | 0.8162 | -0.004 | 0 | 159.227 | 10.773 |  | 30.145
2008-02-03 03:05 | 0.8605 | 0.8605 | 0.022 | 0 | 159.227 | 10.773 |  | 30.143
2008-02-03 03:05 | 0.9075 | 0.9075 | 0 | 0 | 159.227 | 10.773 |  | 30.143
2008-02-03 03:05 | 0.9573 | 0.9573 | -0.004 | 0 | 159.227 | 10.773 |  | 30.143
2008-02-03 03:05 | 1.01 | 1.01 | -0.004 | 0 | 159.227 | 10.773 |  | 30.141
2008-02-03 03:05 | 1.0658 | 1.0658 | -0.004 | 0 | 159.227 | 10.773 |  | 30.141
2008-02-03 03:05 | 1.125 | 1.125 | -0.009 | 0 | 159.227 | 10.773 |  | 30.141
2008-02-03 03:05 | 1.1877 | 1.1877 | -0.009 | 0 | 159.227 | 10.773 |  | 30.141
2008-02-03 03:05 | 1.254 | 1.254 | -0.009 | 0 | 159.227 | 10.773 |  | 30.139
2008-02-03 03:05 | 1.3243 | 1.3243 | -0.009 | 0 | 159.227 | 10.773 |  | 30.139
2008-02-03 03:05 | 1.3988 | 1.3988 | -0.013 | 0 | 159.227 | 10.773 |  | 30.137
2008-02-03 03:05 | 1.4778 | 1.4778 | -0.013 | 0.035 | 159.192 | 10.808 |  | 30.139
2008-02-03 03:06 | 1.5615 | 1.5615 | -0.013 | 0 | 159.227 | 10.773 |  | 30.139
2008-02-03 03:06 | 1.65 | 1.65 | -0.013 | 0 | 159.227 | 10.773 |  | 30.137
2008-02-03 03:06 | 1.7438 | 1.7438 | -0.013 | 0 | 159.227 | 10.773 |  | 30.137
2008-02-03 03:06 | 1.8432 | 1.8432 | -0.013 | 0 | 159.227 | 10.773 |  | 30.135
2008-02-03 03:06 | 1.9485 | 1.9485 | -0.017 | 0 | 159.227 | 10.773 |  | 30.135
2008-02-03 03:06 | 2.06 | 2.06 | -0.013 | 0 | 159.227 | 10.773 |  | 30.135
2008-02-03 03:06 | 2.1782 | 2.1782 | -0.013 | 0 | 159.227 | 10.773 |  | 30.133
2008-02-03 03:06 | 2.3033 | 2.3033 | -0.013 | 0 | 159.227 | 10.773 |  | 30.133
2008-02-03 03:06 | 2.4358 | 2.4358 | -0.013 | 0 | 159.227 | 10.773 |  | 30.133
2008-02-03 03:07 | 2.5763 | 2.5763 | 0.026 | 0 | 159.227 | 10.773 |  | 30.131
2008-02-03 03:07 | 2.7252 | 2.7252 | -0.013 | 0 | 159.227 | 10.773 |  | 30.131
2008-02-03 03:07 | 2.8827 | 2.8827 | -0.013 | 0 | 159.227 | 10.773 |  | 30.131
2008-02-03 03:07 | 3.0495 | 3.0495 | -0.013 | 0 | 159.227 | 10.773 |  | 30.129
2008-02-03 03:07 | 3.2263 | 3.2263 | -0.013 | 0 | 159.227 | 10.773 |  | 30.131
2008-02-03 03:07 | 3.4137 | 3.4137 | 0.061 | 0 | 159.227 | 10.773 |  | 30.137
2008-02-03 03:08 | 3.612 | 3.612 | 0.061 | 0 | 159.227 | 10.773 |  | 30.145
2008-02-03 03:08 | 3.8222 | 3.8222 | 0.056 | 0 | 159.227 | 10.773 |  | 30.149
2008-02-03 03:08 | 4.0448 | 4.0448 | 0.061 | 0 | 159.227 | 10.773 |  | 30.153
2008-02-03 03:08 | 4.2807 | 4.2807 | 0.061 | 0 | 159.227 | 10.773 |  | 30.153
2008-02-03 03:09 | 4.5305 | 4.5305 | 0.061 | 0 | 159.227 | 10.773 |  | 30.155
2008-02-03 03:09 | 4.7952 | 4.7952 | 0.061 | 0 | 159.227 | 10.773 |  | 30.157
2008-02-03 03:09 | 5.0755 | 5.0755 | 0.061 | 0 | 159.227 | 10.773 |  | 30.159
2008-02-03 03:09 | 5.3723 | 5.3723 | 0.061 | 0 | 159.227 | 10.773 |  | 30.161
2008-02-03 03:10 | 5.6868 | 5.6868 | 0.061 | 0 | 159.227 | 10.773 |  | 30.161
2008-02-03 03:10 | 6.02 | 6.02 | 0.056 | 0 | 159.227 | 10.773 |  | 30.163
2008-02-03 03:10 | 6.3728 | 6.3728 | 0.061 | 0 | 159.227 | 10.773 |  | 30.165
2008-02-03 03:11 | 6.7467 | 6.7467 | 0.061 | 0 | 159.227 | 10.773 |  | 30.165
2008-02-03 03:11 | 7.1427 | 7.1427 | 0.061 | 0 | 159.227 | 10.773 |  | 30.165
2008-02-03 03:12 | 7.562 | 7.562 | 0.061 | 0 | 159.227 | 10.773 |  | 30.169
2008-02-03 03:12 | 8.0063 | 8.0063 | 0.061 | 0 | 159.227 | 10.773 |  | 30.169
2008-02-03 03:12 | 8.477 | 8.477 | 0.061 | 0 | 159.227 | 10.773 |  | 30.171
2008-02-03 03:13 | 8.9755 | 8.9755 | 0.061 | 0 | 159.227 | 10.773 |  | 30.171
2008-02-03 03:14 | 9.5035 | 9.5035 | 0.061 | 0 | 159.227 | 10.773 |  | 30.171
2008-02-03 03:14 | 10.0628 | 10.0628 | 0.056 | 0 | 159.227 | 10.773 |  | 30.174
2008-02-03 03:15 | 10.6553 | 10.6553 | 0.061 | 0 | 159.227 | 10.773 |  | 30.174
2008-02-03 03:15 | 11.2828 | 11.2828 | 0.061 | 0 | 159.227 | 10.773 |  | 30.174
2008-02-03 03:16 | 11.9477 | 11.9477 | 0.061 | 0 | 159.227 | 10.773 |  | 30.174
2008-02-03 03:17 | 12.6518 | 12.6518 | 0.061 | 0 | 159.227 | 10.773 |  | 30.176
2008-02-03 03:17 | 13.3977 | 13.3977 | 0.061 | 0 | 159.227 | 10.773 |  | 30.174
2008-02-03 03:18 | 14.1877 | 14.1877 | 0.061 | 0 | 159.227 | 10.773 |  | 30.176
2008-02-03 03:19 | 15.0245 | 15.0245 | 0.061 | 0 | 159.227 | 10.773 |  | 30.176
2008-02-03 03:20 | 15.911 | 15.911 | 0.061 | 0.035 | 159.192 | 10.808 |  | 30.176
2008-02-03 03:21 | 16.85 | 16.85 | 0.061 | 0 | 159.227 | 10.773 |  | 30.178
2008-02-03 03:22 | 17.8447 | 17.8447 | 0.061 | 0 | 159.227 | 10.773 |  | 30.178
2008-02-03 03:23 | 18.8447 | 18.8447 | 0.061 | 0 | 159.227 | 10.773 |  | 30.178
2008-02-03 03:24 | 19.8447 | 19.8447 | 0.061 | 0 | 159.227 | 10.773 |  | 30.178
2008-02-03 03:25 | 20.8447 | 20.8447 | 0.061 | 0 | 159.227 | 10.773 |  | 30.178
2008-02-03 03:26 | 21.8447 | 21.8447 | 0.061 | 0 | 159.227 | 10.773 |  | 30.178
2008-02-03 03:27 | 22.8447 | 22.8447 | 0.061 | 0.035 | 159.192 | 10.808 |  | 30.178
2008-02-03 03:28 | 23.8447 | 23.8447 | 0.061 | 0.035 | 159.192 | 10.808 |  | 30.178
2008-02-03 03:29 | 24.8447 | 24.8447 | 0.061 | 0.035 | 159.192 | 10.808 |  | 30.176
2008-02-03 03:30 | 25.8447 | 25.8447 | 0.061 | 0 | 159.227 | 10.773 |  | 30.176
2008-02-03 03:31 | 26.8447 | 26.8447 | 0.061 | 0.035 | 159.192 | 10.808 |  | 30.178
2008-02-03 03:32 | 27.8447 | 27.8447 | 0.065 | 0 | 159.227 | 10.773 |  | 30.178
2008-02-03 03:33 | 28.8447 | 28.8447 | 0.061 | 0.035 | 159.192 | 10.808 |  | 30.176
2008-02-03 03:34 | 29.8447 | 29.8447 | 0.061 | 0.035 | 159.192 | 10.808 |  | 30.178
2008-02-03 03:35 | 30.8447 | 30.8447 | 0.065 | 0 | 159.227 | 10.773 |  | 30.178
2008-02-03 03:36 | 31.8447 | 31.8447 | 0.061 | 0 | 159.227 | 10.773 |  | 30.178
2008-02-03 03:37 | 32.8447 | 32.8447 | 0.065 | 0.035 | 159.192 | 10.808 |  | 30.176
2008-02-03 03:38 | 33.8447 | 33.8447 | 0.065 | 0 | 159.227 | 10.773 |  | 30.176
2008-02-03 03:39 | 34.8447 | 34.8447 | 0.065 | 0.035 | 159.192 | 10.808 |  | 30.176
2008-02-03 03:40 | 35.8447 | 35.8447 | 0.065 | 0.035 | 159.192 | 10.808 |  | 30.178
2008-02-03 03:41 | 36.8447 | 36.8447 | 0.065 | 0.035 | 159.192 | 10.808 |  | 30.178
2008-02-03 03:42 | 37.8447 | 37.8447 | 0.065 | 0.035 | 159.192 | 10.808 |  | 30.176
2008-02-03 03:43 | 38.8447 | 38.8447 | 0.065 | 0 | 159.227 | 10.773 |  | 30.178
2008-02-03 03:44 | 39.8447 | 39.8447 | 0.065 | 0 | 159.227 | 10.773 |  | 30.178
2008-02-03 03:45 | 40.8447 | 40.8447 | 0.065 | 0.035 | 159.192 | 10.808 |  | 30.178
2008-02-03 03:46 | 41.8447 | 41.8447 | 0.065 | 0 | 159.227 | 10.773 |  | 30.176
2008-02-03 03:47 | 42.8447 | 42.8447 | 0.065 | 0 | 159.227 | 10.773 |  | 30.176
2008-02-03 03:48 | 43.8447 | 43.8447 | 0.065 | 0 | 159.227 | 10.773 |  | 30.176
2008-02-03 03:49 | 44.8447 | 44.8447 | 0.065 | 0.035 | 159.192 | 10.808 |  | 30.178
2008-02-03 03:50 | 45.8447 | 45.8447 | 0.065 | 0 | 159.227 | 10.773 |  | 30.176
2008-02-03 03:51 | 46.8447 | 46.8447 | 0.065 | 0 | 159.227 | 10.773 |  | 30.176
2008-02-03 03:52 | 47.8447 | 47.8447 | 0.065 | 0.035 | 159.192 | 10.808 |  | 30.176
2008-02-03 03:53 | 48.8447 | 48.8447 | 0.065 | 0 | 159.227 | 10.773 |  | 30.176
2008-02-03 03:54 | 49.8447 | 49.8447 | 0.069 | 0.035 | 159.192 | 10.808 |  | 30.174
2008-02-03 03:55 | 50.8447 | 50.8447 | 0.069 | 0 | 159.227 | 10.773 |  | 30.176
2008-02-03 03:56 | 51.8447 | 51.8447 | 0.069 | 0 | 159.227 | 10.773 |  | 30.176
2008-02-03 03:57 | 52.8447 | 52.8447 | 0.069 | 0.035 | 159.192 | 10.808 |  | 30.176
2008-02-03 03:58 | 53.8447 | 53.8447 | 0.065 | 0 | 159.227 | 10.773 |  | 30.176
2008-02-03 03:59 | 54.8447 | 54.8447 | 0.069 | 0 | 159.227 | 10.773 |  | 30.174
2008-02-03 04:00 | 55.8447 | 55.8447 | 0.069 | 0.035 | 159.192 | 10.808 |  | 30.176
2008-02-03 04:01 | 56.8447 | 56.8447 | 0.069 | 0 | 159.227 | 10.773 |  | 30.176
2008-02-03 04:02 | 57.8447 | 57.8447 | 0 | 0.035 | 159.192 | 10.808 |  | 30.151
2008-02-03 04:03 | 0.0218 | 57.8665 | 0.061 | 0 | 159.227 | 10.773 |  | 30.141
2008-02-03 04:03 | 0.0437 | 57.8884 | 0.065 | 0 | 159.227 | 10.773 |  | 30.141
2008-02-03 04:03 | 0.0655 | 57.9102 | 0.061 | 0 | 159.227 | 10.773 |  | 30.143
2008-02-03 04:03 | 0.0873 | 57.932 | 0.065 | 0 | 159.227 | 10.773 |  | 30.141
2008-02-03 04:03 | 0.1092 | 57.9539 | 0.061 | 0 | 159.227 | 10.773 |  | 30.141
2008-02-03 04:03 | 0.131 | 57.9757 | 0.061 | 0 | 159.227 | 10.773 |  | 30.141
2008-02-03 04:03 | 0.1528 | 57.9975 | 0.061 | 0 | 159.227 | 10.773 |  | 30.141
2008-02-03 04:03 | 0.1747 | 58.0194 | 0.065 | -0.035 | 159.262 | 10.738 |  | 30.139
2008-02-03 04:03 | 0.1965 | 58.0412 | 0.061 | 0 | 159.227 | 10.773 |  | 30.139
2008-02-03 04:03 | 0.2183 | 58.063 | 0.065 | -0.035 | 159.262 | 10.738 |  | 30.139
2008-02-03 04:03 | 0.2402 | 58.0849 | 0.061 | 0 | 159.227 | 10.773 |  | 30.137
2008-02-03 04:03 | 0.262 | 58.1067 | 0.061 | -0.035 | 159.262 | 10.738 |  | 30.139
2008-02-03 04:03 | 0.2838 | 58.1285 | 0.061 | 0 | 159.227 | 10.773 |  | 30.139
2008-02-03 04:03 | 0.3057 | 58.1504 | 0.061 | -0.035 | 159.262 | 10.738 |  | 30.137
2008-02-03 04:03 | 0.3275 | 58.1722 | 0.061 | 0 | 159.227 | 10.773 |  | 30.139
2008-02-03 04:03 | 0.3493 | 58.194 | 0.061 | 0 | 159.227 | 10.773 |  | 30.139
2008-02-03 04:03 | 0.3712 | 58.2159 | 0.061 | -0.035 | 159.262 | 10.738 |  | 30.139
2008-02-03 04:03 | 0.393 | 58.2377 | 0.061 | -0.035 | 159.262 | 10.738 |  | 30.137
2008-02-03 04:03 | 0.4148 | 58.2595 | 0.065 | -0.035 | 159.262 | 10.738 |  | 30.139
2008-02-03 04:03 | 0.4367 | 58.2814 | 0.061 | -0.035 | 159.262 | 10.738 |  | 30.137
2008-02-03 04:03 | 0.4588 | 58.3035 | 0.065 | 0 | 159.227 | 10.773 |  | 30.137
2008-02-03 04:03 | 0.4823 | 58.327 | 0.061 | -0.035 | 159.262 | 10.738 |  | 30.139
2008-02-03 04:03 | 0.5072 | 58.3519 | 0.061 | 0 | 159.227 | 10.773 |  | 30.137
2008-02-03 04:03 | 0.5335 | 58.3782 | 0.061 | -0.035 | 159.262 | 10.738 |  | 30.137
2008-02-03 04:03 | 0.5615 | 58.4062 | 0.061 | -0.035 | 159.262 | 10.738 |  | 30.137
2008-02-03 04:03 | 0.5912 | 58.4359 | 0.061 | -0.035 | 159.262 | 10.738 |  | 30.137
2008-02-03 04:03 | 0.6225 | 58.4672 | 0.061 | 0 | 159.227 | 10.773 |  | 30.137
2008-02-03 04:03 | 0.6557 | 58.5004 | 0.078 | -0.035 | 159.262 | 10.738 |  | 30.135
2008-02-03 04:03 | 0.6908 | 58.5355 | 0.078 | 0 | 159.227 | 10.773 |  | 30.137
2008-02-03 04:03 | 0.7282 | 58.5729 | 0.056 | -0.035 | 159.262 | 10.738 |  | 30.137
2008-02-03 04:03 | 0.7677 | 58.6124 | 0.065 | 0 | 159.227 | 10.773 |  | 30.135
2008-02-03 04:03 | 0.8095 | 58.6542 | -0.004 | 0 | 159.227 | 10.773 |  | 30.135
2008-02-03 04:03 | 0.8538 | 58.6985 | 0.022 | 0 | 159.227 | 10.773 |  | 30.135
2008-02-03 04:03 | 0.9008 | 58.7455 | 0 | 0 | 159.227 | 10.773 |  | 30.133
2008-02-03 04:03 | 0.9507 | 58.7954 | 0 | 0 | 159.227 | 10.773 | 0 | 30.135
2008-02-03 04:04 | 1.0033 | 58.848 | 0 | 1.557 | 157.67 | 12.33 | 1.557 | 30.135
2008-02-03 04:04 | 1.0592 | 58.9039 | 0.022 | 4.423 | 154.804 | 15.196 | 4.423 | 30.133
2008-02-03 04:04 | 1.1183 | 58.963 | -0.004 | 6.263 | 152.964 | 17.036 | 6.263 | 30.133
2008-02-03 04:04 | 1.181 | 59.0257 | -0.004 | 7.961 | 151.266 | 18.734 | 7.961 | 30.131
2008-02-03 04:04 | 1.2473 | 59.092 | -0.004 | 9.482 | 149.745 | 20.255 | 9.482 | 30.133
2008-02-03 04:04 | 1.3177 | 59.1624 | 0.026 | 11.145 | 148.082 | 21.918 | 11.145 | 30.133
2008-02-03 04:04 | 1.3922 | 59.2369 | -0.004 | 12.596 | 146.631 | 23.369 | 12.596 | 30.131
2008-02-03 04:04 | 1.4712 | 59.3159 | 0.022 | 14.117 | 145.11 | 24.89 | 14.117 | 30.131
2008-02-03 04:04 | 1.5548 | 59.3995 | -0.009 | 15.496 | 143.731 | 26.269 | 15.496 | 30.131
2008-02-03 04:04 | 1.6433 | 59.488 | -0.004 | 16.982 | 142.245 | 27.755 | 16.982 | 30.131
2008-02-03 04:04 | 1.7372 | 59.5819 | -0.009 | 18.538 | 140.689 | 29.311 | 18.538 | 30.129
2008-02-03 04:04 | 1.8365 | 59.6812 | -0.009 | 20.094 | 139.133 | 30.867 | 20.094 | 30.131
2008-02-03 04:04 | 1.9418 | 59.7865 | 0.022 | 21.58 | 137.647 | 32.353 | 21.58 | 30.129
2008-02-03 04:05 | 2.0533 | 59.898 | -0.009 | 23.207 | 136.02 | 33.98 | 23.207 | 30.129
2008-02-03 04:05 | 2.1715 | 60.0162 | -0.004 | 24.727 | 134.5 | 35.5 | 24.727 | 30.127
2008-02-03 04:05 | 2.2967 | 60.1414 | -0.009 | 26.283 | 132.944 | 37.056 | 26.283 | 30.127
2008-02-03 04:05 | 2.4292 | 60.2739 | -0.009 | 27.875 | 131.352 | 38.648 | 27.875 | 30.125
2008-02-03 04:05 | 2.5697 | 60.4144 | -0.009 | 29.501 | 129.726 | 40.274 | 29.501 | 30.125
2008-02-03 04:05 | 2.7185 | 60.5632 | -0.013 | 31.093 | 128.134 | 41.866 | 31.093 | 30.125
2008-02-03 04:05 | 2.876 | 60.7207 | -0.009 | 32.613 | 126.614 | 43.386 | 32.613 | 30.125
2008-02-03 04:06 | 3.0428 | 60.8875 | -0.009 | 34.239 | 124.988 | 45.012 | 34.239 | 30.125
2008-02-03 04:06 | 3.2197 | 61.0644 | 0.061 | 35.901 | 123.326 | 46.674 | 35.901 | 30.125
2008-02-03 04:06 | 3.407 | 61.2517 | 0.061 | 37.421 | 121.806 | 48.194 | 37.421 | 30.135
2008-02-03 04:06 | 3.6053 | 61.45 | 0.065 | 39.047 | 120.18 | 49.82 | 39.047 | 30.141
2008-02-03 04:06 | 3.8155 | 61.6602 | 0.065 | 40.568 | 118.659 | 51.341 | 40.568 | 30.145
2008-02-03 04:07 | 4.0382 | 61.8829 | 0.065 | 42.052 | 117.175 | 52.825 | 42.052 | 30.147
2008-02-03 04:07 | 4.274 | 62.1187 | 0.061 | 43.572 | 115.655 | 54.345 | 43.572 | 30.149
2008-02-03 04:07 | 4.5238 | 62.3685 | 0.065 | 45.057 | 114.17 | 55.83 | 45.057 | 30.151
2008-02-03 04:07 | 4.7885 | 62.6332 | 0.069 | 46.541 | 112.686 | 57.314 | 46.541 | 30.153
2008-02-03 04:08 | 5.0688 | 62.9135 | 0.065 | 47.778 | 111.449 | 58.551 | 47.778 | 30.155
2008-02-03 04:08 | 5.3657 | 63.2104 | 0.065 | 49.086 | 110.141 | 59.859 | 49.086 | 30.155
2008-02-03 04:08 | 5.6802 | 63.5249 | 0.065 | 50.394 | 108.833 | 61.167 | 50.394 | 30.157
2008-02-03 04:09 | 6.0133 | 63.858 | 0.065 | 51.525 | 107.702 | 62.298 | 51.525 | 30.159
2008-02-03 04:09 | 6.3662 | 64.2109 | 0.065 | 52.691 | 106.536 | 63.464 | 52.691 | 30.159
2008-02-03 04:09 | 6.74 | 64.5847 | 0.065 | 53.716 | 105.511 | 64.489 | 53.716 | 30.161
2008-02-03 04:10 | 7.136 | 64.9807 | 0.069 | 54.599 | 104.628 | 65.372 | 54.599 | 30.161
2008-02-03 04:10 | 7.5553 | 65.4 | 0.069 | 55.482 | 103.745 | 66.255 | 55.482 | 30.161
2008-02-03 04:11 | 7.9997 | 65.8444 | 0.069 | 56.295 | 102.932 | 67.068 | 56.295 | 30.163
2008-02-03 04:11 | 8.4703 | 66.315 | 0.069 | 56.967 | 102.26 | 67.74 | 56.967 | 30.163
2008-02-03 04:12 | 8.9688 | 66.8135 | 0.069 | 57.638 | 101.589 | 68.411 | 57.638 | 30.165
2008-02-03 04:12 | 9.4968 | 67.3415 | 0.069 | 58.168 | 101.059 | 68.941 | 58.168 | 30.165
2008-02-03 04:13 | 10.0562 | 67.9009 | 0.069 | 58.663 | 100.564 | 69.436 | 58.663 | 30.165
2008-02-03 04:13 | 10.6487 | 68.4934 | 0.069 | 59.122 | 100.105 | 69.895 | 59.122 | 30.167
2008-02-03 04:14 | 11.2762 | 69.1209 | 0.078 | 59.475 | 99.752 | 70.248 | 59.475 | 30.167
2008-02-03 04:14 | 11.941 | 69.7857 | 0.078 | 59.793 | 99.434 | 70.566 | 59.793 | 30.167
2008-02-03 04:15 | 12.6452 | 70.4899 | 0.078 | 60.041 | 99.186 | 70.814 | 60.041 | 30.169
2008-02-03 04:16 | 13.391 | 71.2357 | 0.078 | 60.217 | 99.01 | 70.99 | 60.217 | 30.169
2008-02-03 04:17 | 14.181 | 72.0257 | 0.078 | 60.394 | 98.833 | 71.167 | 60.394 | 30.169
2008-02-03 04:18 | 15.0178 | 72.8625 | 0.082 | 60.606 | 98.621 | 71.379 | 60.606 | 30.169
2008-02-03 04:18 | 15.9043 | 73.749 | 0.078 | 60.641 | 98.586 | 71.414 | 60.641 | 30.169
2008-02-03 04:19 | 16.8433 | 74.688 | 0.082 | 60.747 | 98.48 | 71.52 | 60.747 | 30.171
2008-02-03 04:20 | 17.838 | 75.6827 | 0.017 | 60.959 | 98.268 | 71.732 | 60.959 | 30.157
2008-02-03 04:21 | 18.838 | 76.6827 | 0.009 | 61.136 | 98.091 | 71.909 | 61.136 | 30.139
2008-02-03 04:22 | 19.838 | 77.6827 | 0.013 | 61.065 | 98.162 | 71.838 | 61.065 | 30.131
2008-02-03 04:23 | 20.838 | 78.6827 | 0.078 | 61.277 | 97.95 | 72.05 | 61.277 | 30.153
2008-02-03 04:24 | 21.838 | 79.6827 | 0.087 | 61.313 | 97.914 | 72.086 | 61.313 | 30.161
2008-02-03 04:25 | 22.838 | 80.6827 | 0.087 | 61.313 | 97.914 | 72.086 | 61.313 | 30.163
2008-02-03 04:26 | 23.838 | 81.6827 | 0.087 | 61.277 | 97.95 | 72.05 | 61.277 | 30.167
2008-02-03 04:27 | 24.838 | 82.6827 | 0.087 | 61.242 | 97.985 | 72.015 | 61.242 | 30.167
2008-02-03 04:28 | 25.838 | 83.6827 | 0.087 | 61.383 | 97.844 | 72.156 | 61.383 | 30.171
2008-02-03 04:29 | 26.838 | 84.6827 | 0.091 | 61.313 | 97.914 | 72.086 | 61.313 | 30.171
2008-02-03 04:30 | 27.838 | 85.6827 | 0.091 | 61.383 | 97.844 | 72.156 | 61.383 | 30.171
2008-02-03 04:31 | 28.838 | 86.6827 | 0.091 | 61.525 | 97.702 | 72.298 | 61.525 | 30.174
2008-02-03 04:32 | 29.838 | 87.6827 | 0.091 | 61.56 | 97.667 | 72.333 | 61.56 | 30.174
2008-02-03 04:33 | 30.838 | 88.6827 | 0.095 | 61.313 | 97.914 | 72.086 | 61.313 | 30.174
2008-02-03 04:34 | 31.838 | 89.6827 | 0.091 | 61.419 | 97.808 | 72.192 | 61.419 | 30.171
2008-02-03 04:35 | 32.838 | 90.6827 | 0.095 | 61.419 | 97.808 | 72.192 | 61.419 | 30.174
2008-02-03 04:36 | 33.838 | 91.6827 | 0.091 | 61.489 | 97.738 | 72.262 | 61.489 | 30.174
2008-02-03 04:37 | 34.838 | 92.6827 | 0.091 | 61.525 | 97.702 | 72.298 | 61.525 | 30.176
2008-02-03 04:38 | 35.838 | 93.6827 | 0.091 | 61.419 | 97.808 | 72.192 | 61.419 | 30.176
2008-02-03 04:39 | 36.838 | 94.6827 | 0.095 | 61.631 | 97.596 | 72.404 | 61.631 | 30.174
2008-02-03 04:40 | 37.838 | 95.6827 | 0.091 | 61.595 | 97.632 | 72.368 | 61.595 | 30.176
2008-02-03 04:41 | 38.838 | 96.6827 | 0.065 | 61.631 | 97.596 | 72.404 | 61.631 | 30.176
2008-02-03 04:42 | 39.838 | 97.6827 | 0.022 | 61.666 | 97.561 | 72.439 | 61.666 | 30.153
2008-02-03 04:43 | 40.838 | 98.6827 | 0.022 | 61.56 | 97.667 | 72.333 | 61.56 | 30.141
2008-02-03 04:44 | 41.838 | 99.6827 | 0.026 | 61.701 | 97.526 | 72.474 | 61.701 | 30.135
2008-02-03 04:45 | 42.838 | 100.6827 | 0.1 | 61.525 | 97.702 | 72.298 | 61.525 | 30.149
2008-02-03 04:46 | 43.838 | 101.6827 | 0.095 | 61.737 | 97.49 | 72.51 | 61.737 | 30.161
2008-02-03 04:47 | 44.838 | 102.6827 | 0.095 | 61.807 | 97.42 | 72.58 | 61.807 | 30.165
2008-02-03 04:48 | 45.838 | 103.6827 | 0.091 | 61.737 | 97.49 | 72.51 | 61.737 | 30.171
2008-02-03 04:49 | 46.838 | 104.6827 | 0.1 | 61.701 | 97.526 | 72.474 | 61.701 | 30.171
2008-02-03 04:50 | 47.838 | 105.6827 | 0.095 | 61.666 | 97.561 | 72.439 | 61.666 | 30.174
2008-02-03 04:51 | 48.838 | 106.6827 | 0.104 | 61.666 | 97.561 | 72.439 | 61.666 | 30.174
2008-02-03 04:52 | 49.838 | 107.6827 | 0.091 | 61.666 | 97.561 | 72.439 | 61.666 | 30.176
2008-02-03 04:53 | 50.838 | 108.6827 | 0.095 | 61.737 | 97.49 | 72.51 | 61.737 | 30.178
2008-02-03 04:54 | 51.838 | 109.6827 | 0.1 | 61.666 | 97.561 | 72.439 | 61.666 | 30.178
2008-02-03 04:55 | 52.838 | 110.6827 | 0.095 | 61.666 | 97.561 | 72.439 | 61.666 | 30.18
2008-02-03 04:56 | 53.838 | 111.6827 | 0.1 | 61.701 | 97.526 | 72.474 | 61.701 | 30.18
2008-02-03 04:57 | 54.838 | 112.6827 | 0.1 | 61.737 | 97.49 | 72.51 | 61.737 | 30.18
2008-02-03 04:58 | 55.838 | 113.6827 | 0.104 | 61.772 | 97.455 | 72.545 | 61.772 | 30.18
2008-02-03 04:59 | 56.838 | 114.6827 | 0.104 | 61.772 | 97.455 | 72.545 | 61.772 | 30.18
2008-02-03 05:00 | 57.838 | 115.6827 | 0.1 | 61.807 | 97.42 | 72.58 | 61.807 | 30.18
2008-02-03 05:01 | 58.838 | 116.6827 | 0.1 | 61.772 | 97.455 | 72.545 | 61.772 | 30.18
2008-02-03 05:02 | 59.838 | 117.6827 | 0.095 | 61.772 | 97.455 | 72.545 | 61.772 | 30.18
2008-02-03 05:03 | 60.838 | 118.6827 | 0.095 | 61.772 | 97.455 | 72.545 | 61.772 | 30.182
2008-02-03 05:04 | 61.838 | 119.6827 | 0.095 | 61.807 | 97.42 | 72.58 | 61.807 | 30.182
2008-02-03 05:05 | 62.838 | 120.6827 | 0.1 | 61.878 | 97.349 | 72.651 | 61.878 | 30.184
2008-02-03 05:06 | 63.838 | 121.6827 | 0.1 | 61.807 | 97.42 | 72.58 | 61.807 | 30.184
2008-02-03 05:07 | 64.838 | 122.6827 | 0.1 | 61.878 | 97.349 | 72.651 | 61.878 | 30.182
2008-02-03 05:08 | 65.838 | 123.6827 | 0.1 | 61.843 | 97.384 | 72.616 | 61.843 | 30.184
2008-02-03 05:09 | 66.838 | 124.6827 | 0.1 | 61.913 | 97.314 | 72.686 | 61.913 | 30.184
2008-02-03 05:10 | 67.838 | 125.6827 | 0.1 | 61.984 | 97.243 | 72.757 | 61.984 | 30.184
2008-02-03 05:11 | 68.838 | 126.6827 | 0.1 | 62.019 | 97.208 | 72.792 | 62.019 | 30.184
2008-02-03 05:12 | 69.838 | 127.6827 | 0.1 | 61.949 | 97.278 | 72.722 | 61.949 | 30.182
2008-02-03 05:13 | 70.838 | 128.6827 | 0.1 | 61.949 | 97.278 | 72.722 | 61.949 | 30.186
2008-02-03 05:14 | 71.838 | 129.6827 | 0.1 | 62.161 | 97.066 | 72.934 | 62.161 | 30.184
2008-02-03 05:15 | 72.838 | 130.6827 | 0.095 | 62.196 | 97.031 | 72.969 | 62.196 | 30.184
2008-02-03 05:16 | 73.838 | 131.6827 | 0.1 | 62.161 | 97.066 | 72.934 | 62.161 | 30.184
2008-02-03 05:17 | 74.838 | 132.6827 | 0.1 | 62.161 | 97.066 | 72.934 | 62.161 | 30.186
2008-02-03 05:18 | 75.838 | 133.6827 | 0.1 | 62.125 | 97.102 | 72.898 | 62.125 | 30.184
2008-02-03 05:19 | 76.838 | 134.6827 | 0.1 | 62.125 | 97.102 | 72.898 | 62.125 | 30.186
2008-02-03 05:20 | 77.838 | 135.6827 | 0.095 | 62.161 | 97.066 | 72.934 | 62.161 | 30.184
2008-02-03 05:21 | 78.838 | 136.6827 | 0.1 | 62.09 | 97.137 | 72.863 | 62.09 | 30.186
2008-02-03 05:22 | 79.838 | 137.6827 | 0.1 | 62.267 | 96.96 | 73.04 | 62.267 | 30.186
2008-02-03 05:23 | 80.838 | 138.6827 | 0.095 | 62.231 | 96.996 | 73.004 | 62.231 | 30.188
2008-02-03 05:24 | 81.838 | 139.6827 | 0.091 | 62.161 | 97.066 | 72.934 | 62.161 | 30.188
2008-02-03 05:25 | 82.838 | 140.6827 | 0.095 | 62.196 | 97.031 | 72.969 | 62.196 | 30.19
2008-02-03 05:26 | 83.838 | 141.6827 | 0.1 | 62.196 | 97.031 | 72.969 | 62.196 | 30.188
2008-02-03 05:27 | 84.838 | 142.6827 | 0.1 | 62.196 | 97.031 | 72.969 | 62.196 | 30.188
2008-02-03 05:28 | 85.838 | 143.6827 | 0.1 | 62.196 | 97.031 | 72.969 | 62.196 | 30.188
2008-02-03 05:29 | 86.838 | 144.6827 | 0.095 | 62.196 | 97.031 | 72.969 | 62.196 | 30.19
2008-02-03 05:30 | 87.838 | 145.6827 | 0.1 | 62.196 | 97.031 | 72.969 | 62.196 | 30.188
2008-02-03 05:31 | 88.838 | 146.6827 | 0.1 | 62.267 | 96.96 | 73.04 | 62.267 | 30.19
2008-02-03 05:32 | 89.838 | 147.6827 | 0.095 | 62.267 | 96.96 | 73.04 | 62.267 | 30.192
2008-02-03 05:33 | 90.838 | 148.6827 | 0.1 | 62.019 | 97.208 | 72.792 | 62.019 | 30.194
2008-02-03 05:34 | 91.838 | 149.6827 | 0.095 | 62.125 | 97.102 | 72.898 | 62.125 | 30.194
2008-02-03 05:35 | 92.838 | 150.6827 | 0.091 | 62.055 | 97.172 | 72.828 | 62.055 | 30.194
2008-02-03 05:36 | 93.838 | 151.6827 | 0.095 | 62.161 | 97.066 | 72.934 | 62.161 | 30.194
2008-02-03 05:37 | 94.838 | 152.6827 | 0.095 | 62.125 | 97.102 | 72.898 | 62.125 | 30.194
2008-02-03 05:38 | 95.838 | 153.6827 | 0.095 | 62.302 | 96.925 | 73.075 | 62.302 | 30.194
2008-02-03 05:39 | 96.838 | 154.6827 | 0.1 | 62.231 | 96.996 | 73.004 | 62.231 | 30.194
2008-02-03 05:40 | 97.838 | 155.6827 | 0.095 | 62.161 | 97.066 | 72.934 | 62.161 | 30.196
2008-02-03 05:41 | 98.838 | 156.6827 | 0.1 | 62.231 | 96.996 | 73.004 | 62.231 | 30.196
2008-02-03 05:42 | 99.838 | 157.6827 | 0.095 | 62.231 | 96.996 | 73.004 | 62.231 | 30.196
2008-02-03 05:43 | 100.838 | 158.6827 | 0.104 | 62.196 | 97.031 | 72.969 | 62.196 | 30.194
2008-02-03 05:44 | 101.838 | 159.6827 | 0.1 | 62.231 | 96.996 | 73.004 | 62.231 | 30.196
2008-02-03 05:45 | 102.838 | 160.6827 | 0.095 | 62.337 | 96.89 | 73.11 | 62.337 | 30.198
2008-02-03 05:46 | 103.838 | 161.6827 | 0.095 | 62.231 | 96.996 | 73.004 | 62.231 | 30.198
2008-02-03 05:47 | 104.838 | 162.6827 | 0.104 | 62.196 | 97.031 | 72.969 | 62.196 | 30.2
2008-02-03 05:48 | 105.838 | 163.6827 | 0.095 | 62.196 | 97.031 | 72.969 | 62.196 | 30.2
2008-02-03 05:49 | 106.838 | 164.6827 | 0.1 | 62.196 | 97.031 | 72.969 | 62.196 | 30.2
2008-02-03 05:50 | 107.838 | 165.6827 | 0.095 | 62.231 | 96.996 | 73.004 | 62.231 | 30.2
2008-02-03 05:51 | 108.838 | 166.6827 | 0.104 | 62.337 | 96.89 | 73.11 | 62.337 | 30.202
2008-02-03 05:52 | 109.838 | 167.6827 | 0.1 | 62.161 | 97.066 | 72.934 | 62.161 | 30.202
2008-02-03 05:53 | 110.838 | 168.6827 | 0.1 | 62.267 | 96.96 | 73.04 | 62.267 | 30.2
2008-02-03 05:54 | 111.838 | 169.6827 | 0.1 | 62.267 | 96.96 | 73.04 | 62.267 | 30.2
2008-02-03 05:55 | 112.838 | 170.6827 | 0.026 | 62.231 | 96.996 | 73.004 | 62.231 | 30.186
2008-02-03 05:56 | 113.838 | 171.6827 | 0.065 | 62.337 | 96.89 | 73.11 | 62.337 | 30.169
2008-02-03 05:57 | 114.838 | 172.6827 | 0.026 | 62.302 | 96.925 | 73.075 | 62.302 | 30.161
2008-02-03 05:58 | 115.838 | 173.6827 | 0.104 | 62.373 | 96.854 | 73.146 | 62.373 | 30.178
2008-02-03 05:59 | 116.838 | 174.6827 | 0.091 | 62.373 | 96.854 | 73.146 | 62.373 | 30.188
2008-02-03 06:00 | 117.838 | 175.6827 | 0.095 | 62.196 | 97.031 | 72.969 | 62.196 | 30.192
2008-02-03 06:01 | 118.838 | 176.6827 | 0.1 | 62.231 | 96.996 | 73.004 | 62.231 | 30.194
2008-02-03 06:02 | 119.838 | 177.6827 | 0.095 | 62.196 | 97.031 | 72.969 | 62.196 | 30.198
2008-02-03 06:03 | 120.838 | 178.6827 | 0.104 | 62.231 | 96.996 | 73.004 | 62.231 | 30.2
2008-02-03 06:04 | 121.838 | 179.6827 | 0.1 | 62.125 | 97.102 | 72.898 | 62.125 | 30.2
2008-02-03 06:05 | 122.838 | 180.6827 | 0.1 | 62.267 | 96.96 | 73.04 | 62.267 | 30.2
2008-02-03 06:06 | 123.838 | 181.6827 | 0.104 | 62.231 | 96.996 | 73.004 | 62.231 | 30.2
2008-02-03 06:07 | 124.838 | 182.6827 | 0.095 | 62.267 | 96.96 | 73.04 | 62.267 | 30.2
2008-02-03 06:08 | 125.838 | 183.6827 | 0.095 | 62.337 | 96.89 | 73.11 | 62.337 | 30.202
2008-02-03 06:09 | 126.838 | 184.6827 | 0.104 | 62.267 | 96.96 | 73.04 | 62.267 | 30.202
2008-02-03 06:10 | 127.838 | 185.6827 | 0.104 | 62.337 | 96.89 | 73.11 | 62.337 | 30.202
2008-02-03 06:11 | 128.838 | 186.6827 | 0.1 | 62.373 | 96.854 | 73.146 | 62.373 | 30.202
2008-02-03 06:12 | 129.838 | 187.6827 | 0.1 | 62.196 | 97.031 | 72.969 | 62.196 | 30.202
2008-02-03 06:13 | 130.838 | 188.6827 | 0.1 | 62.373 | 96.854 | 73.146 | 62.373 | 30.204
2008-02-03 06:14 | 131.838 | 189.6827 | 0.1 | 62.196 | 97.031 | 72.969 | 62.196 | 30.202
2008-02-03 06:15 | 132.838 | 190.6827 | 0.091 | 62.231 | 96.996 | 73.004 | 62.231 | 30.202
2008-02-03 06:16 | 133.838 | 191.6827 | 0.1 | 62.302 | 96.925 | 73.075 | 62.302 | 30.2
2008-02-03 06:17 | 134.838 | 192.6827 | 0.1 | 62.373 | 96.854 | 73.146 | 62.373 | 30.202
2008-02-03 06:18 | 135.838 | 193.6827 | 0.095 | 62.302 | 96.925 | 73.075 | 62.302 | 30.2
2008-02-03 06:19 | 136.838 | 194.6827 | 0.1 | 62.337 | 96.89 | 73.11 | 62.337 | 30.204
2008-02-03 06:20 | 137.838 | 195.6827 | 0.104 | 62.337 | 96.89 | 73.11 | 62.337 | 30.202
2008-02-03 06:21 | 138.838 | 196.6827 | 0.1 | 62.196 | 97.031 | 72.969 | 62.196 | 30.202
2008-02-03 06:22 | 139.838 | 197.6827 | 0.095 | 62.267 | 96.96 | 73.04 | 62.267 | 30.204
2008-02-03 06:23 | 140.838 | 198.6827 | 0.091 | 62.408 | 96.819 | 73.181 | 62.408 | 30.204
2008-02-03 06:24 | 141.838 | 199.6827 | 0.1 | 62.267 | 96.96 | 73.04 | 62.267 | 30.204
2008-02-03 06:25 | 142.838 | 200.6827 | 0.1 | 62.337 | 96.89 | 73.11 | 62.337 | 30.204
2008-02-03 06:26 | 143.838 | 201.6827 | 0.1 | 62.302 | 96.925 | 73.075 | 62.302 | 30.204
2008-02-03 06:27 | 144.838 | 202.6827 | 0.1 | 62.408 | 96.819 | 73.181 | 62.408 | 30.206
2008-02-03 06:28 | 145.838 | 203.6827 | 0.095 | 62.337 | 96.89 | 73.11 | 62.337 | 30.206
2008-02-03 06:29 | 146.838 | 204.6827 | 0.1 | 62.231 | 96.996 | 73.004 | 62.231 | 30.204
2008-02-03 06:30 | 147.838 | 205.6827 | 0.095 | 62.443 | 96.784 | 73.216 | 62.443 | 30.204
2008-02-03 06:31 | 148.838 | 206.6827 | 0.095 | 62.302 | 96.925 | 73.075 | 62.302 | 30.204
2008-02-03 06:32 | 149.838 | 207.6827 | 0.1 | 62.443 | 96.784 | 73.216 | 62.443 | 30.206
2008-02-03 06:33 | 150.838 | 208.6827 | 0.1 | 62.337 | 96.89 | 73.11 | 62.337 | 30.204
2008-02-03 06:34 | 151.838 | 209.6827 | 0.091 | 62.408 | 96.819 | 73.181 | 62.408 | 30.204
2008-02-03 06:35 | 152.838 | 210.6827 | 0.1 | 62.373 | 96.854 | 73.146 | 62.373 | 30.206
2008-02-03 06:36 | 153.838 | 211.6827 | 0.095 | 62.373 | 96.854 | 73.146 | 62.373 | 30.204
2008-02-03 06:37 | 154.838 | 212.6827 | 0.095 | 62.408 | 96.819 | 73.181 | 62.408 | 30.204
2008-02-03 06:38 | 155.838 | 213.6827 | 0.104 | 62.302 | 96.925 | 73.075 | 62.302 | 30.206
2008-02-03 06:39 | 156.838 | 214.6827 | 0.1 | 62.373 | 96.854 | 73.146 | 62.373 | 30.206
2008-02-03 06:40 | 157.838 | 215.6827 | 0.095 | 62.514 | 96.713 | 73.287 | 62.514 | 30.208
2008-02-03 06:41 | 158.838 | 216.6827 | 0.095 | 62.337 | 96.89 | 73.11 | 62.337 | 30.206
2008-02-03 06:42 | 159.838 | 217.6827 | 0.095 | 62.479 | 96.748 | 73.252 | 62.479 | 30.206
2008-02-03 06:43 | 160.838 | 218.6827 | 0.091 | 62.408 | 96.819 | 73.181 | 62.408 | 30.206
2008-02-03 06:44 | 161.838 | 219.6827 | 0.1 | 62.443 | 96.784 | 73.216 | 62.443 | 30.208
2008-02-03 06:45 | 162.838 | 220.6827 | 0.1 | 62.373 | 96.854 | 73.146 | 62.373 | 30.206
2008-02-03 06:46 | 163.838 | 221.6827 | 0.095 | 62.443 | 96.784 | 73.216 | 62.443 | 30.206
2008-02-03 06:47 | 164.838 | 222.6827 | 0.095 | 62.549 | 96.678 | 73.322 | 62.549 | 30.206
2008-02-03 06:48 | 165.838 | 223.6827 | 0.095 | 62.549 | 96.678 | 73.322 | 62.549 | 30.208
2008-02-03 06:49 | 166.838 | 224.6827 | 0.095 | 62.514 | 96.713 | 73.287 | 62.514 | 30.208
2008-02-03 06:50 | 167.838 | 225.6827 | 0.095 | 62.514 | 96.713 | 73.287 | 62.514 | 30.208
2008-02-03 06:51 | 168.838 | 226.6827 | 0.095 | 62.373 | 96.854 | 73.146 | 62.373 | 30.206
2008-02-03 06:52 | 169.838 | 227.6827 | 0.095 | 62.585 | 96.642 | 73.358 | 62.585 | 30.206
2008-02-03 06:53 | 170.838 | 228.6827 | 0.091 | 62.443 | 96.784 | 73.216 | 62.443 | 30.208
2008-02-03 06:54 | 171.838 | 229.6827 | 0.095 | 62.443 | 96.784 | 73.216 | 62.443 | 30.21
2008-02-03 06:55 | 172.838 | 230.6827 | 0.095 | 62.479 | 96.748 | 73.252 | 62.479 | 30.21
2008-02-03 06:56 | 173.838 | 231.6827 | 0.095 | 62.514 | 96.713 | 73.287 | 62.514 | 30.21
2008-02-03 06:57 | 174.838 | 232.6827 | 0.095 | 62.549 | 96.678 | 73.322 | 62.549 | 30.208
2008-02-03 06:58 | 175.838 | 233.6827 | 0.017 | 62.479 | 96.748 | 73.252 | 62.479 | 30.212
2008-02-03 06:59 | 176.838 | 234.6827 | 0.017 | 62.62 | 96.607 | 73.393 | 62.62 | 30.184
2008-02-03 07:00 | 177.838 | 235.6827 | 0.017 | 62.549 | 96.678 | 73.322 | 62.549 | 30.176
2008-02-03 07:01 | 178.838 | 236.6827 | 0.1 | 62.585 | 96.642 | 73.358 | 62.585 | 30.182
2008-02-03 07:02 | 179.838 | 237.6827 | 0.095 | 62.62 | 96.607 | 73.393 | 62.62 | 30.198
2008-02-03 07:03 | 180.838 | 238.6827 | 0.095 | 62.514 | 96.713 | 73.287 | 62.514 | 30.202
2008-02-03 07:04 | 181.838 | 239.6827 | 0.095 | 62.514 | 96.713 | 73.287 | 62.514 | 30.204
2008-02-03 07:05 | 182.838 | 240.6827 | 0.095 | 62.549 | 96.678 | 73.322 | 62.549 | 30.206
2008-02-03 07:06 | 183.838 | 241.6827 | 0.1 | 62.62 | 96.607 | 73.393 | 62.62 | 30.208
2008-02-03 07:07 | 184.838 | 242.6827 | 0.095 | 62.62 | 96.607 | 73.393 | 62.62 | 30.208
2008-02-03 07:08 | 185.838 | 243.6827 | 0.091 | 62.585 | 96.642 | 73.358 | 62.585 | 30.21
2008-02-03 07:09 | 186.838 | 244.6827 | 0.095 | 62.337 | 96.89 | 73.11 | 62.337 | 30.21
2008-02-03 07:10 | 187.838 | 245.6827 | 0.095 | 62.62 | 96.607 | 73.393 | 62.62 | 30.212
2008-02-03 07:11 | 188.838 | 246.6827 | 0.095 | 62.479 | 96.748 | 73.252 | 62.479 | 30.212
2008-02-03 07:12 | 189.838 | 247.6827 | 0.091 | 62.549 | 96.678 | 73.322 | 62.549 | 30.212
2008-02-03 07:13 | 190.838 | 248.6827 | 0.095 | 62.549 | 96.678 | 73.322 | 62.549 | 30.212
2008-02-03 07:14 | 191.838 | 249.6827 | 0.095 | 62.479 | 96.748 | 73.252 | 62.479 | 30.214
2008-02-03 07:15 | 192.838 | 250.6827 | 0.095 | 62.655 | 96.572 | 73.428 | 62.655 | 30.214
2008-02-03 07:16 | 193.838 | 251.6827 | 0.091 | 62.655 | 96.572 | 73.428 | 62.655 | 30.214
2008-02-03 07:17 | 194.838 | 252.6827 | 0.095 | 62.514 | 96.713 | 73.287 | 62.514 | 30.214
2008-02-03 07:18 | 195.838 | 253.6827 | 0.087 | 62.514 | 96.713 | 73.287 | 62.514 | 30.214
2008-02-03 07:19 | 196.838 | 254.6827 | 0.091 | 62.549 | 96.678 | 73.322 | 62.549 | 30.218
2008-02-03 07:20 | 197.838 | 255.6827 | 0.091 | 62.585 | 96.642 | 73.358 | 62.585 | 30.214
2008-02-03 07:21 | 198.838 | 256.6827 | 0.091 | 62.585 | 96.642 | 73.358 | 62.585 | 30.216
2008-02-03 07:22 | 199.838 | 257.6827 | 0.091 | 62.62 | 96.607 | 73.393 | 62.62 | 30.218
2008-02-03 07:23 | 200.838 | 258.6827 | 0.095 | 62.62 | 96.607 | 73.393 | 62.62 | 30.218
2008-02-03 07:24 | 201.838 | 259.6827 | 0.091 | 62.62 | 96.607 | 73.393 | 62.62 | 30.216
2008-02-03 07:25 | 202.838 | 260.6827 | 0.091 | 62.549 | 96.678 | 73.322 | 62.549 | 30.216
2008-02-03 07:26 | 203.838 | 261.6827 | 0.091 | 62.655 | 96.572 | 73.428 | 62.655 | 30.218
2008-02-03 07:27 | 204.838 | 262.6827 | 0.091 | 62.726 | 96.501 | 73.499 | 62.726 | 30.218
2008-02-03 07:28 | 205.838 | 263.6827 | 0.095 | 62.761 | 96.466 | 73.534 | 62.761 | 30.218
2008-02-03 07:29 | 206.838 | 264.6827 | 0.087 | 62.761 | 96.466 | 73.534 | 62.761 | 30.218
2008-02-03 07:30 | 207.838 | 265.6827 | 0.091 | 62.691 | 96.536 | 73.464 | 62.691 | 30.218
2008-02-03 07:31 | 208.838 | 266.6827 | 0.091 | 62.655 | 96.572 | 73.428 | 62.655 | 30.22
2008-02-03 07:32 | 209.838 | 267.6827 | 0.091 | 62.655 | 96.572 | 73.428 | 62.655 | 30.218
2008-02-03 07:33 | 210.838 | 268.6827 | 0.091 | 62.62 | 96.607 | 73.393 | 62.62 | 30.22
2008-02-03 07:34 | 211.838 | 269.6827 | 0.091 | 62.691 | 96.536 | 73.464 | 62.691 | 30.218
2008-02-03 07:35 | 212.838 | 270.6827 | 0.091 | 62.655 | 96.572 | 73.428 | 62.655 | 30.218
2008-02-03 07:36 | 213.838 | 271.6827 | 0.087 | 62.726 | 96.501 | 73.499 | 62.726 | 30.22
2008-02-03 07:37 | 214.838 | 272.6827 | 0.091 | 62.62 | 96.607 | 73.393 | 62.62 | 30.218
2008-02-03 07:38 | 215.838 | 273.6827 | 0.087 | 62.585 | 96.642 | 73.358 | 62.585 | 30.22
2008-02-03 07:39 | 216.838 | 274.6827 | 0.087 | 62.585 | 96.642 | 73.358 | 62.585 | 30.22
2008-02-03 07:40 | 217.838 | 275.6827 | 0.091 | 62.62 | 96.607 | 73.393 | 62.62 | 30.222
2008-02-03 07:41 | 218.838 | 276.6827 | 0.091 | 62.691 | 96.536 | 73.464 | 62.691 | 30.222
2008-02-03 07:42 | 219.838 | 277.6827 | 0.091 | 62.726 | 96.501 | 73.499 | 62.726 | 30.222
2008-02-03 07:43 | 220.838 | 278.6827 | 0.091 | 62.655 | 96.572 | 73.428 | 62.655 | 30.224
2008-02-03 07:44 | 221.838 | 279.6827 | 0.095 | 62.691 | 96.536 | 73.464 | 62.691 | 30.222
2008-02-03 07:45 | 222.838 | 280.6827 | 0.095 | 62.62 | 96.607 | 73.393 | 62.62 | 30.222
2008-02-03 07:46 | 223.838 | 281.6827 | 0.087 | 62.832 | 96.395 | 73.605 | 62.832 | 30.222
2008-02-03 07:47 | 224.838 | 282.6827 | 0.087 | 62.726 | 96.501 | 73.499 | 62.726 | 30.226
2008-02-03 07:48 | 225.838 | 283.6827 | 0.087 | 62.726 | 96.501 | 73.499 | 62.726 | 30.224
2008-02-03 07:49 | 226.838 | 284.6827 | 0.091 | 62.867 | 96.36 | 73.64 | 62.867 | 30.226
2008-02-03 07:50 | 227.838 | 285.6827 | 0.091 | 62.691 | 96.536 | 73.464 | 62.691 | 30.226
2008-02-03 07:51 | 228.838 | 286.6827 | 0.087 | 62.867 | 96.36 | 73.64 | 62.867 | 30.226
2008-02-03 07:52 | 229.838 | 287.6827 | 0.087 | 62.797 | 96.43 | 73.57 | 62.797 | 30.226
2008-02-03 07:53 | 230.838 | 288.6827 | 0.087 | 62.867 | 96.36 | 73.64 | 62.867 | 30.224
2008-02-03 07:54 | 231.838 | 289.6827 | 0.087 | 62.691 | 96.536 | 73.464 | 62.691 | 30.226
2008-02-03 07:55 | 232.838 | 290.6827 | 0.091 | 62.797 | 96.43 | 73.57 | 62.797 | 30.224
2008-02-03 07:56 | 233.838 | 291.6827 | 0.087 | 62.761 | 96.466 | 73.534 | 62.761 | 30.226
2008-02-03 07:57 | 234.838 | 292.6827 | 0.091 | 62.761 | 96.466 | 73.534 | 62.761 | 30.226
2008-02-03 07:58 | 235.838 | 293.6827 | 0.087 | 62.691 | 96.536 | 73.464 | 62.691 | 30.224
2008-02-03 07:59 | 236.838 | 294.6827 | 0.095 | 62.797 | 96.43 | 73.57 | 62.797 | 30.224
2008-02-03 08:00 | 237.838 | 295.6827 | 0.091 | 62.726 | 96.501 | 73.499 | 62.726 | 30.224
2008-02-03 08:01 | 238.838 | 296.6827 | 0.082 | 62.797 | 96.43 | 73.57 | 62.797 | 30.224
2008-02-03 08:02 | 239.838 | 297.6827 | 0.087 | 62.761 | 96.466 | 73.534 | 62.761 | 30.224
2008-02-03 08:03 | 240.838 | 298.6827 | 0.087 | 62.726 | 96.501 | 73.499 | 62.726 | 30.224
2008-02-03 08:04 | 241.838 | 299.6827 | 0.017 | 62.726 | 96.501 | 73.499 | 62.726 | 30.202
2008-02-03 08:05 | 0.0218 | 299.7045 | 0.065 | 0.035 | 96.466 | 73.534 | 62.761 | 30.196
2008-02-03 08:05 | 0.5072 | 300.1899 | 0.069 | 0 | 96.501 | 73.499 | 62.726 | 30.192
2008-02-03 08:05 | 0.5335 | 300.2162 | 0.065 | -0.106 | 96.607 | 73.393 | 62.62 | 30.192
2008-02-03 08:05 | 0.5615 | 300.2442 | 0.065 | -0.177 | 96.678 | 73.322 | 62.549 | 30.19
2008-02-03 08:05 | 0.5912 | 300.2739 | 0.061 | -0.106 | 96.607 | 73.393 | 62.62 | 30.194
2008-02-03 08:05 | 0.6225 | 300.3052 | 0.065 | -0.742 | 97.243 | 72.757 | 61.984 | 30.192
2008-02-03 08:05 | 0.6557 | 300.3384 | 0.108 | -1.837 | 98.338 | 71.662 | 60.889 | 30.192
2008-02-03 08:05 | 0.6908 | 300.3735 | 0.095 | -2.897 | 99.398 | 70.602 | 59.829 | 30.19
2008-02-03 08:06 | 0.7282 | 300.4109 | 0.043 | -4.099 | 100.6 | 69.4 | 58.627 | 30.19
2008-02-03 08:06 | 0.7677 | 300.4504 | 0.069 | -4.841 | 101.342 | 68.658 | 57.885 | 30.19
2008-02-03 08:06 | 0.8095 | 300.4922 | -0.004 | -6.466 | 102.967 | 67.033 | 56.26 | 30.19
2008-02-03 08:06 | 0.8538 | 300.5365 | 0 | -7.667 | 104.168 | 65.832 | 55.059 | 30.19
2008-02-03 08:06 | 0.9008 | 300.5835 | -0.004 | -8.94 | 105.441 | 64.559 | 53.786 | 30.19
2008-02-03 08:06 | 0.9507 | 300.6334 | -0.004 | -10.212 | 106.713 | 63.287 | 52.514 | 30.188
2008-02-03 08:06 | 1.0033 | 300.686 | -0.004 | -11.484 | 107.985 | 62.015 | 51.242 | 30.19
2008-02-03 08:06 | 1.0592 | 300.7419 | -0.004 | -12.862 | 109.363 | 60.637 | 49.864 | 30.188
2008-02-03 08:06 | 1.1183 | 300.801 | -0.004 | -14.205 | 110.706 | 59.294 | 48.521 | 30.188
2008-02-03 08:06 | 1.181 | 300.8637 | -0.009 | -15.654 | 112.155 | 57.845 | 47.072 | 30.188
2008-02-03 08:06 | 1.2473 | 300.93 | -0.009 | -17.068 | 113.569 | 56.431 | 45.658 | 30.188
2008-02-03 08:06 | 1.3177 | 301.0004 | -0.009 | -18.482 | 114.983 | 55.017 | 44.244 | 30.188
2008-02-03 08:06 | 1.3922 | 301.0749 | -0.009 | -19.896 | 116.397 | 53.603 | 42.83 | 30.188
2008-02-03 08:06 | 1.4712 | 301.1539 | -0.009 | -21.381 | 117.882 | 52.118 | 41.345 | 30.186
2008-02-03 08:06 | 1.5548 | 301.2375 | -0.009 | -22.865 | 119.366 | 50.634 | 39.861 | 30.186
2008-02-03 08:06 | 1.6433 | 301.326 | -0.009 | -24.421 | 120.922 | 49.078 | 38.305 | 30.186
2008-02-03 08:07 | 1.7372 | 301.4199 | -0.009 | -25.976 | 122.477 | 47.523 | 36.75 | 30.186
2008-02-03 08:07 | 1.8365 | 301.5192 | 0.022 | -27.567 | 124.068 | 45.932 | 35.159 | 30.186
2008-02-03 08:07 | 1.9418 | 301.6245 | -0.013 | -29.158 | 125.659 | 44.341 | 33.568 | 30.186
2008-02-03 08:07 | 2.0533 | 301.736 | -0.009 | -30.749 | 127.25 | 42.75 | 31.977 | 30.184
2008-02-03 08:07 | 2.1715 | 301.8542 | -0.013 | -32.376 | 128.877 | 41.123 | 30.35 | 30.184
2008-02-03 08:07 | 2.2967 | 301.9794 | -0.013 | -34.002 | 130.503 | 39.497 | 28.724 | 30.182
2008-02-03 08:07 | 2.4292 | 302.1119 | -0.013 | -35.7 | 132.201 | 37.799 | 27.026 | 30.184
2008-02-03 08:07 | 2.5697 | 302.2524 | -0.013 | -37.362 | 133.863 | 36.137 | 25.364 | 30.184
2008-02-03 08:08 | 2.7185 | 302.4012 | -0.013 | -39.059 | 135.56 | 34.44 | 23.667 | 30.184
2008-02-03 08:08 | 2.876 | 302.5587 | -0.013 | -40.721 | 137.222 | 32.778 | 22.005 | 30.182
2008-02-03 08:08 | 3.0428 | 302.7255 | -0.013 | -42.419 | 138.92 | 31.08 | 20.307 | 30.182
2008-02-03 08:08 | 3.2197 | 302.9024 | 0.061 | -44.117 | 140.618 | 29.382 | 18.609 | 30.18
2008-02-03 08:08 | 3.407 | 303.0897 | 0.061 | -45.85 | 142.351 | 27.649 | 16.876 | 30.19
2008-02-03 08:08 | 3.6053 | 303.288 | 0.061 | -47.477 | 143.978 | 26.022 | 15.249 | 30.198
2008-02-03 08:09 | 3.8155 | 303.4982 | 0.056 | -49.104 | 145.605 | 24.395 | 13.622 | 30.202
2008-02-03 08:09 | 4.0382 | 303.7209 | 0.056 | -50.696 | 147.197 | 22.803 | 12.03 | 30.206
2008-02-03 08:09 | 4.274 | 303.9567 | 0.061 | -52.182 | 148.683 | 21.317 | 10.544 | 30.208
2008-02-03 08:09 | 4.5238 | 304.2065 | 0.056 | -53.668 | 150.169 | 19.831 | 9.058 | 30.21
2008-02-03 08:10 | 4.7885 | 304.4712 | 0.056 | -55.012 | 151.513 | 18.487 | 7.714 | 30.21
2008-02-03 08:10 | 5.0688 | 304.7515 | 0.056 | -56.286 | 152.787 | 17.213 | 6.44 | 30.212
2008-02-03 08:10 | 5.3657 | 305.0484 | 0.056 | -57.418 | 153.919 | 16.081 | 5.308 | 30.212
2008-02-03 08:10 | 5.6802 | 305.3629 | 0.056 | -58.48 | 154.981 | 15.019 | 4.246 | 30.214
2008-02-03 08:11 | 6.0133 | 305.696 | 0.056 | -59.364 | 155.865 | 14.135 | 3.362 | 30.216
2008-02-03 08:11 | 6.3662 | 306.0489 | 0.056 | -60.178 | 156.679 | 13.321 | 2.548 | 30.214
2008-02-03 08:12 | 6.74 | 306.4227 | 0.056 | -60.815 | 157.316 | 12.684 | 1.911 | 30.216
2008-02-03 08:12 | 7.136 | 306.8187 | 0.052 | -61.346 | 157.847 | 12.153 | 1.38 | 30.218
2008-02-03 08:12 | 7.5553 | 307.238 | 0.056 | -61.7 | 158.201 | 11.799 | 1.026 | 30.218
2008-02-03 08:13 | 7.9997 | 307.6824 | 0.052 | -61.912 | 158.413 | 11.587 | 0.814 | 30.22
2008-02-03 08:13 | 8.4703 | 308.153 | 0.052 | -62.018 | 158.519 | 11.481 | 0.708 | 30.22
2008-02-03 08:14 | 8.9688 | 308.6515 | 0.052 | -62.053 | 158.554 | 11.446 | 0.673 | 30.222
2008-02-03 08:14 | 9.4968 | 309.1795 | 0.052 | -62.089 | 158.59 | 11.41 | 0.637 | 30.222
2008-02-03 08:15 | 10.0562 | 309.7389 | 0.052 | -62.018 | 158.519 | 11.481 | 0.708 | 30.224
2008-02-03 08:15 | 10.6487 | 310.3314 | 0.052 | -62.018 | 158.519 | 11.481 | 0.708 | 30.224
2008-02-03 08:16 | 11.2762 | 310.9589 | 0.052 | -62.018 | 158.519 | 11.481 | 0.708 | 30.226
2008-02-03 08:17 | 11.941 | 311.6237 | 0.048 | -62.018 | 158.519 | 11.481 | 0.708 | 30.226
2008-02-03 08:17 | 12.6452 | 312.3279 | 0.048 | -62.018 | 158.519 | 11.481 | 0.708 | 30.226
2008-02-03 08:18 | 13.391 | 313.0737 | 0.052 | -61.983 | 158.484 | 11.516 | 0.743 | 30.228
2008-02-03 08:19 | 14.181 | 313.8637 | 0.048 | -61.983 | 158.484 | 11.516 | 0.743 | 30.228
2008-02-03 08:20 | 15.0178 | 314.7005 | 0.048 | -61.983 | 158.484 | 11.516 | 0.743 | 30.231
2008-02-03 08:21 | 15.9043 | 315.587 | -0.026 | -61.947 | 158.448 | 11.552 | 0.779 | 30.218
2008-02-03 08:22 | 16.8433 | 316.526 | -0.026 | -61.947 | 158.448 | 11.552 | 0.779 | 30.2
2008-02-03 08:23 | 17.838 | 317.5207 | -0.026 | -61.947 | 158.448 | 11.552 | 0.779 | 30.192
2008-02-03 08:24 | 18.838 | 318.5207 | 0.048 | -61.947 | 158.448 | 11.552 | 0.779 | 30.202
2008-02-03 08:25 | 19.838 | 319.5207 | 0.048 | -61.947 | 158.448 | 11.552 | 0.779 | 30.218
2008-02-03 08:26 | 20.838 | 320.5207 | 0.043 | -61.912 | 158.413 | 11.587 | 0.814 | 30.22
2008-02-03 08:27 | 21.838 | 321.5207 | 0.048 | -61.912 | 158.413 | 11.587 | 0.814 | 30.224
2008-02-03 08:28 | 22.838 | 322.5207 | 0.043 | -61.912 | 158.413 | 11.587 | 0.814 | 30.226
2008-02-03 08:29 | 23.838 | 323.5207 | 0.043 | -61.876 | 158.377 | 11.623 | 0.85 | 30.228
2008-02-03 08:30 | 24.838 | 324.5207 | 0.043 | -61.876 | 158.377 | 11.623 | 0.85 | 30.228
2008-02-03 08:31 | 25.838 | 325.5207 | 0.043 | -61.876 | 158.377 | 11.623 | 0.85 | 30.231
2008-02-03 08:32 | 26.838 | 326.5207 | 0.043 | -61.841 | 158.342 | 11.658 | 0.885 | 30.231
2008-02-03 08:33 | 27.838 | 327.5207 | 0.043 | -61.841 | 158.342 | 11.658 | 0.885 | 30.231
2008-02-03 08:34 | 28.838 | 328.5207 | 0.043 | -61.841 | 158.342 | 11.658 | 0.885 | 30.231
2008-02-03 08:35 | 29.838 | 329.5207 | 0.043 | -61.841 | 158.342 | 11.658 | 0.885 | 30.233
2008-02-03 08:36 | 30.838 | 330.5207 | 0.043 | -61.841 | 158.342 | 11.658 | 0.885 | 30.233
2008-02-03 08:37 | 31.838 | 331.5207 | 0.039 | -61.841 | 158.342 | 11.658 | 0.885 | 30.233
2008-02-03 08:38 | 32.838 | 332.5207 | 0.039 | -61.841 | 158.342 | 11.658 | 0.885 | 30.233
2008-02-03 08:39 | 33.838 | 333.5207 | 0.039 | -61.806 | 158.307 | 11.693 | 0.92 | 30.235
2008-02-03 08:40 | 34.838 | 334.5207 | 0.039 | -61.806 | 158.307 | 11.693 | 0.92 | 30.235
2008-02-03 08:41 | 35.838 | 335.5207 | 0.039 | -61.806 | 158.307 | 11.693 | 0.92 | 30.237
2008-02-03 08:42 | 36.838 | 336.5207 | 0.039 | -61.806 | 158.307 | 11.693 | 0.92 | 30.235
2008-02-03 08:43 | 37.838 | 337.5207 | 0.039 | -61.806 | 158.307 | 11.693 | 0.92 | 30.237
2008-02-03 08:44 | 38.838 | 338.5207 | 0.039 | -61.77 | 158.271 | 11.729 | 0.956 | 30.237
2008-02-03 08:45 | 39.838 | 339.5207 | 0.039 | -61.806 | 158.307 | 11.693 | 0.92 | 30.237
2008-02-03 08:46 | 40.838 | 340.5207 | 0.039 | -61.77 | 158.271 | 11.729 | 0.956 | 30.237
2008-02-03 08:47 | 41.838 | 341.5207 | 0.039 | -61.77 | 158.271 | 11.729 | 0.956 | 30.237
2008-02-03 08:48 | 42.838 | 342.5207 | 0.039 | -61.77 | 158.271 | 11.729 | 0.956 | 30.239
2008-02-03 08:49 | 43.838 | 343.5207 | 0.039 | -61.77 | 158.271 | 11.729 | 0.956 | 30.241
2008-02-03 08:50 | 44.838 | 344.5207 | 0.039 | -61.77 | 158.271 | 11.729 | 0.956 | 30.239
2008-02-03 08:51 | 45.838 | 345.5207 | 0.043 | -61.77 | 158.271 | 11.729 | 0.956 | 30.239
2008-02-03 08:52 | 46.838 | 346.5207 | 0.043 | -61.77 | 158.271 | 11.729 | 0.956 | 30.241
2008-02-03 08:53 | 47.838 | 347.5207 | 0.039 | -61.77 | 158.271 | 11.729 | 0.956 | 30.241
2008-02-03 08:54 | 48.838 | 348.5207 | 0.039 | -61.735 | 158.236 | 11.764 | 0.991 | 30.241
2008-02-03 08:55 | 49.838 | 349.5207 | 0.039 | -61.735 | 158.236 | 11.764 | 0.991 | 30.241
2008-02-03 08:56 | 50.838 | 350.5207 | 0.039 | -61.735 | 158.236 | 11.764 | 0.991 | 30.241
2008-02-03 08:57 | 51.838 | 351.5207 | 0.043 | -61.735 | 158.236 | 11.764 | 0.991 | 30.241
2008-02-03 08:58 | 52.838 | 352.5207 | 0.039 | -61.735 | 158.236 | 11.764 | 0.991 | 30.241
2008-02-03 08:59 | 53.838 | 353.5207 | 0.043 | -61.735 | 158.236 | 11.764 | 0.991 | 30.241
2008-02-03 09:00 | 54.838 | 354.5207 | 0.043 | -61.735 | 158.236 | 11.764 | 0.991 | 30.243
2008-02-03 09:01 | 55.838 | 355.5207 | 0.043 | -61.735 | 158.236 | 11.764 | 0.991 | 30.241
2008-02-03 09:02 | 56.838 | 356.5207 | 0.043 | -61.735 | 158.236 | 11.764 | 0.991 | 30.243
2008-02-03 09:03 | 57.838 | 357.5207 | 0.043 | -61.735 | 158.236 | 11.764 | 0.991 | 30.245
2008-02-03 09:04 | 58.838 | 358.5207 | 0.043 | -61.7 | 158.201 | 11.799 | 1.026 | 30.243
2008-02-03 09:05 | 59.838 | 359.5207 | 0.048 | -61.7 | 158.201 | 11.799 | 1.026 | 30.245
2008-02-03 09:06 | 60.838 | 360.5207 | 0.048 | -61.7 | 158.201 | 11.799 | 1.026 | 30.245
2008-02-03 09:07 | 61.838 | 361.5207 | 0.048 | -61.735 | 158.236 | 11.764 | 0.991 | 30.245
2008-02-03 09:08 | 62.838 | 362.5207 | 0.043 | -61.735 | 158.236 | 11.764 | 0.991 | 30.247
2008-02-03 09:09 | 63.838 | 363.5207 | 0.043 | -61.7 | 158.201 | 11.799 | 1.026 | 30.245
2008-02-03 09:10 | 64.838 | 364.5207 | 0.048 | -61.7 | 158.201 | 11.799 | 1.026 | 30.245
2008-02-03 09:11 | 65.838 | 365.5207 | 0.048 | -61.7 | 158.201 | 11.799 | 1.026 | 30.247
2008-02-03 09:12 | 66.838 | 366.5207 | 0.048 | -61.7 | 158.201 | 11.799 | 1.026 | 30.247
2008-02-03 09:13 | 67.838 | 367.5207 | 0.048 | -61.7 | 158.201 | 11.799 | 1.026 | 30.247
2008-02-03 09:14 | 68.838 | 368.5207 | 0.048 | -61.735 | 158.236 | 11.764 | 0.991 | 30.247
2008-02-03 09:15 | 69.838 | 369.5207 | 0.048 | -61.7 | 158.201 | 11.799 | 1.026 | 30.247
2008-02-03 09:16 | 70.838 | 370.5207 | 0.052 | -61.7 | 158.201 | 11.799 | 1.026 | 30.249
2008-02-03 09:17 | 71.838 | 371.5207 | 0.052 | -61.7 | 158.201 | 11.799 | 1.026 | 30.249
2008-02-03 09:18 | 72.838 | 372.5207 | 0.052 | -61.7 | 158.201 | 11.799 | 1.026 | 30.249
2008-02-03 09:19 | 73.838 | 373.5207 | 0.052 | -61.7 | 158.201 | 11.799 | 1.026 | 30.249
2008-02-03 09:20 | 74.838 | 374.5207 | 0.052 | -61.664 | 158.165 | 11.835 | 1.062 | 30.247
2008-02-03 09:21 | 75.838 | 375.5207 | 0.052 | -61.7 | 158.201 | 11.799 | 1.026 | 30.251
2008-02-03 09:22 | 76.838 | 376.5207 | 0.056 | -61.664 | 158.165 | 11.835 | 1.062 | 30.249
2008-02-03 09:23 | 77.838 | 377.5207 | 0.056 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:24 | 78.838 | 378.5207 | 0.056 | -61.7 | 158.201 | 11.799 | 1.026 | 30.249
2008-02-03 09:25 | 79.838 | 379.5207 | 0.056 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:26 | 80.838 | 380.5207 | 0.056 | -61.7 | 158.201 | 11.799 | 1.026 | 30.251
2008-02-03 09:27 | 81.838 | 381.5207 | 0.056 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:28 | 82.838 | 382.5207 | 0.061 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:29 | 83.838 | 383.5207 | 0.061 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:30 | 84.838 | 384.5207 | 0.061 | -61.7 | 158.201 | 11.799 | 1.026 | 30.251
2008-02-03 09:31 | 85.838 | 385.5207 | 0.061 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:32 | 86.838 | 386.5207 | 0.061 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:33 | 87.838 | 387.5207 | 0.061 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:34 | 88.838 | 388.5207 | 0.065 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:35 | 89.838 | 389.5207 | 0.065 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:36 | 90.838 | 390.5207 | 0.065 | -61.664 | 158.165 | 11.835 | 1.062 | 30.253
2008-02-03 09:37 | 91.838 | 391.5207 | 0.065 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:38 | 92.838 | 392.5207 | 0.065 | -61.664 | 158.165 | 11.835 | 1.062 | 30.253
2008-02-03 09:39 | 93.838 | 393.5207 | 0.065 | -61.664 | 158.165 | 11.835 | 1.062 | 30.253
2008-02-03 09:40 | 94.838 | 394.5207 | 0.065 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:41 | 95.838 | 395.5207 | 0.065 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:42 | 96.838 | 396.5207 | 0.065 | -61.664 | 158.165 | 11.835 | 1.062 | 30.253
2008-02-03 09:43 | 97.838 | 397.5207 | 0.069 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:44 | 98.838 | 398.5207 | 0.069 | -61.664 | 158.165 | 11.835 | 1.062 | 30.253
2008-02-03 09:45 | 99.838 | 399.5207 | 0.069 | -61.629 | 158.13 | 11.87 | 1.097 | 30.253
2008-02-03 09:46 | 100.838 | 400.5207 | 0.069 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:47 | 101.838 | 401.5207 | 0.069 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:48 | 102.838 | 402.5207 | 0.069 | -61.664 | 158.165 | 11.835 | 1.062 | 30.253
2008-02-03 09:49 | 103.838 | 403.5207 | 0.074 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:50 | 104.838 | 404.5207 | 0.069 | -61.664 | 158.165 | 11.835 | 1.062 | 30.249
2008-02-03 09:51 | 105.838 | 405.5207 | 0.074 | -61.664 | 158.165 | 11.835 | 1.062 | 30.249
2008-02-03 09:52 | 106.838 | 406.5207 | 0.074 | -61.664 | 158.165 | 11.835 | 1.062 | 30.249
2008-02-03 09:53 | 107.838 | 407.5207 | 0.074 | -61.664 | 158.165 | 11.835 | 1.062 | 30.249
2008-02-03 09:54 | 108.838 | 408.5207 | 0.074 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:55 | 109.838 | 409.5207 | 0.074 | -61.629 | 158.13 | 11.87 | 1.097 | 30.251
2008-02-03 09:56 | 110.838 | 410.5207 | 0.078 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:57 | 111.838 | 411.5207 | 0.078 | -61.664 | 158.165 | 11.835 | 1.062 | 30.249
2008-02-03 09:58 | 112.838 | 412.5207 | 0.078 | -61.664 | 158.165 | 11.835 | 1.062 | 30.251
2008-02-03 09:59 | 113.838 | 413.5207 | 0.078 | -61.629 | 158.13 | 11.87 | 1.097 | 30.249
2008-02-03 10:00 | 114.838 | 414.5207 | 0.078 | -61.664 | 158.165 | 11.835 | 1.062 | 30.249
2008-02-03 10:01 | 115.838 | 415.5207 | 0.078 | -61.664 | 158.165 | 11.835 | 1.062 | 30.249
2008-02-03 10:02 | 116.838 | 416.5207 | 0.082 | -61.629 | 158.13 | 11.87 | 1.097 | 30.249
2008-02-03 10:03 | 117.838 | 417.5207 | 0.078 | -61.629 | 158.13 | 11.87 | 1.097 | 30.249
2008-02-03 10:04 | 118.838 | 418.5207 | 0.082 | -61.629 | 158.13 | 11.87 | 1.097 | 30.249
2008-02-03 10:05 | 119.838 | 419.5207 | 0.082 | -61.629 | 158.13 | 11.87 | 1.097 | 30.249
2008-02-03 10:06 | 120.838 | 420.5207 | 0.082 | -61.664 | 158.165 | 11.835 | 1.062 | 30.249
2008-02-03 10:07 | 121.838 | 421.5207 | 0.082 | -61.664 | 158.165 | 11.835 | 1.062 | 30.249
2008-02-03 10:08 | 122.838 | 422.5207 | 0.087 | -61.664 | 158.165 | 11.835 | 1.062 | 30.249
2008-02-03 10:09 | 123.838 | 423.5207 | 0.087 | -61.664 | 158.165 | 11.835 | 1.062 | 30.249
2008-02-03 10:10 | 124.838 | 424.5207 | 0.087 | -61.629 | 158.13 | 11.87 | 1.097 | 30.249
2008-02-03 10:11 | 125.838 | 425.5207 | 0.087 | -61.593 | 158.094 | 11.906 | 1.133 | 30.249
2008-02-03 10:12 | 126.838 | 426.5207 | 0.087 | -61.629 | 158.13 | 11.87 | 1.097 | 30.249
2008-02-03 10:13 | 127.838 | 427.5207 | 0.091 | -61.629 | 158.13 | 11.87 | 1.097 | 30.249
2008-02-03 10:14 | 128.838 | 428.5207 | 0.087 | -61.629 | 158.13 | 11.87 | 1.097 | 30.251
2008-02-03 10:15 | 129.838 | 429.5207 | 0.091 | -61.629 | 158.13 | 11.87 | 1.097 | 30.249
2008-02-03 10:16 | 130.838 | 430.5207 | 0.091 | -61.593 | 158.094 | 11.906 | 1.133 | 30.249
2008-02-03 10:17 | 131.838 | 431.5207 | 0.091 | -61.629 | 158.13 | 11.87 | 1.097 | 30.249
2008-02-03 10:18 | 132.838 | 432.5207 | 0.091 | -61.629 | 158.13 | 11.87 | 1.097 | 30.249
2008-02-03 10:19 | 133.838 | 433.5207 | 0.091 | -61.629 | 158.13 | 11.87 | 1.097 | 30.249
2008-02-03 10:20 | 134.838 | 434.5207 | 0.095 | -61.629 | 158.13 | 11.87 | 1.097 | 30.249
2008-02-03 10:21 | 135.838 | 435.5207 | 0.095 | -61.629 | 158.13 | 11.87 | 1.097 | 30.249
2008-02-03 10:22 | 136.838 | 436.5207 | 0.095 | -61.593 | 158.094 | 11.906 | 1.133 | 30.249
2008-02-03 10:23 | 137.838 | 437.5207 | 0.095 | -61.629 | 158.13 | 11.87 | 1.097 | 30.247
2008-02-03 10:24 | 138.838 | 438.5207 | 0.091 | -61.593 | 158.094 | 11.906 | 1.133 | 30.245
2008-02-03 10:25 | 139.838 | 439.5207 | 0.095 | -61.629 | 158.13 | 11.87 | 1.097 | 30.247
2008-02-03 10:26 | 140.838 | 440.5207 | 0.095 | -61.629 | 158.13 | 11.87 | 1.097 | 30.245
2008-02-03 10:27 | 141.838 | 441.5207 | 0.095 | -61.593 | 158.094 | 11.906 | 1.133 | 30.245
2008-02-03 10:28 | 142.838 | 442.5207 | 0.095 | -61.629 | 158.13 | 11.87 | 1.097 | 30.245
2008-02-03 10:29 | 143.838 | 443.5207 | 0.1 | -61.593 | 158.094 | 11.906 | 1.133 | 30.245
2008-02-03 10:30 | 144.838 | 444.5207 | 0.1 | -61.629 | 158.13 | 11.87 | 1.097 | 30.245
2008-02-03 10:31 | 145.838 | 445.5207 | 0.1 | -61.593 | 158.094 | 11.906 | 1.133 | 30.245
2008-02-03 10:32 | 146.838 | 446.5207 | 0.1 | -61.593 | 158.094 | 11.906 | 1.133 | 30.245
2008-02-03 10:33 | 147.838 | 447.5207 | 0.1 | -61.629 | 158.13 | 11.87 | 1.097 | 30.245
2008-02-03 10:34 | 148.838 | 448.5207 | 0.1 | -61.629 | 158.13 | 11.87 | 1.097 | 30.245
2008-02-03 10:35 | 149.838 | 449.5207 | 0.1 | -61.593 | 158.094 | 11.906 | 1.133 | 30.243
2008-02-03 10:36 | 150.838 | 450.5207 | 0.104 | -61.629 | 158.13 | 11.87 | 1.097 | 30.243
2008-02-03 10:37 | 151.838 | 451.5207 | 0.104 | -61.629 | 158.13 | 11.87 | 1.097 | 30.243
2008-02-03 10:38 | 152.838 | 452.5207 | 0.104 | -61.629 | 158.13 | 11.87 | 1.097 | 30.243
2008-02-03 10:39 | 153.838 | 453.5207 | 0.104 | -61.629 | 158.13 | 11.87 | 1.097 | 30.243
2008-02-03 10:40 | 154.838 | 454.5207 | 0.104 | -61.629 | 158.13 | 11.87 | 1.097 | 30.243
2008-02-03 10:41 | 155.838 | 455.5207 | 0.104 | -61.629 | 158.13 | 11.87 | 1.097 | 30.241
2008-02-03 10:42 | 156.838 | 456.5207 | 0.108 | -61.629 | 158.13 | 11.87 | 1.097 | 30.243
2008-02-03 10:43 | 157.838 | 457.5207 | 0.108 | -61.629 | 158.13 | 11.87 | 1.097 | 30.241
2008-02-03 10:44 | 158.838 | 458.5207 | 0.104 | -61.629 | 158.13 | 11.87 | 1.097 | 30.243
2008-02-03 10:45 | 159.838 | 459.5207 | 0.104 | -61.629 | 158.13 | 11.87 | 1.097 | 30.241
2008-02-03 10:46 | 160.838 | 460.5207 | 0.108 | -61.629 | 158.13 | 11.87 | 1.097 | 30.241
2008-02-03 10:47 | 161.838 | 461.5207 | 0.108 | -61.629 | 158.13 | 11.87 | 1.097 | 30.239
2008-02-03 10:48 | 162.838 | 462.5207 | 0.1 | -61.629 | 158.13 | 11.87 | 1.097 | 30.239
2008-02-03 10:49 | 163.838 | 463.5207 | 0.108 | -61.629 | 158.13 | 11.87 | 1.097 | 30.241
2008-02-03 10:50 | 164.838 | 464.5207 | 0.108 | -61.629 | 158.13 | 11.87 | 1.097 | 30.239
2008-02-03 10:51 | 165.838 | 465.5207 | 0.108 | -61.629 | 158.13 | 11.87 | 1.097 | 30.237
2008-02-03 10:52 | 166.838 | 466.5207 | 0.108 | -61.629 | 158.13 | 11.87 | 1.097 | 30.239
2008-02-03 10:53 | 167.838 | 467.5207 | 0.104 | -61.629 | 158.13 | 11.87 | 1.097 | 30.241
2008-02-03 10:54 | 168.838 | 468.5207 | 0.104 | -61.629 | 158.13 | 11.87 | 1.097 | 30.239
2008-02-03 10:55 | 169.838 | 469.5207 | 0.104 | -61.629 | 158.13 | 11.87 | 1.097 | 30.237
2008-02-03 10:56 | 170.838 | 470.5207 | 0.113 | -61.629 | 158.13 | 11.87 | 1.097 | 30.239
2008-02-03 10:57 | 171.838 | 471.5207 | 0.108 | -61.629 | 158.13 | 11.87 | 1.097 | 30.237
2008-02-03 10:58 | 172.838 | 472.5207 | 0.108 | -61.629 | 158.13 | 11.87 | 1.097 | 30.237
2008-02-03 10:59 | 173.838 | 473.5207 | 0.108 | -61.629 | 158.13 | 11.87 | 1.097 | 30.237
2008-02-03 11:00 | 174.838 | 474.5207 | 0.074 | -61.593 | 158.094 | 11.906 | 1.133 | 30.218
2008-02-03 11:01 | 175.838 | 475.5207 | 0.039 | -61.629 | 158.13 | 11.87 | 1.097 | 30.2
2008-02-03 11:02 | 176.838 | 476.5207 | 0.043 | -61.629 | 158.13 | 11.87 | 1.097 | 30.192
2008-02-03 11:03 | 177.838 | 477.5207 | 0.043 | -61.593 | 158.094 | 11.906 | 1.133 | 30.186