## Raw Data
In-Situ Inc. | Hermit 3000
Report generated: | 2007-08-18 |  | 11:51
Report from file: | C:\Win-Situ\Data\SN45416 2007-08-18 031518 Test #2.bin
DataMgr Version | 3.7
Serial number: | 45416
Firmware Version | 7.1
Unit name: | Hermit 3000
Test name: |  |  | Test #2
Test defined on: | 2007-07-31 |  | 2:20
Test started on: | 2007-08-18 |  | 3:15
Test stopped on: | 2007-08-18 |  | 5:31
Test extracted on: | 2007-08-18 |  | 11:50
Data gathered using Logarithmic testing
Maximum time between data points: 1.0000 | Minutes.
Number of data samples: | 206
TOTAL DATA SAMPLES | 206
Channel number [1]
Measurement type: | Pressure
Channel name: | 6013 30psi
Linearity: | 0.2823
Scale: |  |  | 29.7158
Offset: |  |  | -0.0473
Warmup: |  |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 |  | Feet H2O
Referenced on: | test start
Pressure head at reference: | 27.56 |  | Feet H2O
Channel number [5]
Measurement type: | Pressure
Channel name: | 5392 100psi
Linearity: | 0.2957
Scale: |  |  | 98.6064
Offset: |  |  | -0.4972
Warmup: |  |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 |  | Feet H2O
Referenced on: | test start
Pressure head at reference: | -9.533 |  | Feet H2O
Channel number [7]
Measurement type: | Pressure
Channel name: | 9285 250 psi
Linearity: | 1.7617
Scale: |  |  | 244.4532
Offset: |  |  | -0.5853
Warmup: |  |  | 50
Specific gravity: | 1
Mode: | TOC
User-defined reference: | 0 |  | Feet H2O
Referenced on: | test start
Pressure head at reference: | 49.714 |  | Feet H2O
Channel number [0]
Measurement type: | Barometric Pressure
Channel name: | Barometric
Linearity: | 0
Scale: |  |  | 0
Offset: |  |  | 0
Warmup: |  |  | 50
|  |  | Annulus | Pumping probe | Water Level | Drawdown | Barro
Date Time | ET (min) | Total ET (min) | Feet H2O | Feet H2O | Ft above the probe | Ft | Inches Hg
-------- -------- | ------------ |  | --------------- | --------------- |  |  | ---------------
2007-08-20 13:56 | 0 | 0 | 0 | 0 | 7.82 |  | 29.952
2007-08-20 13:56 | 0.0215 | 0.0215 | 0.043 | -0.035 | 7.785 |  | 29.952
2007-08-20 13:56 | 0.043 | 0.043 | 0.043 | -0.035 | 7.785 |  | 29.952
2007-08-20 13:56 | 0.0645 | 0.0645 | 0.043 | -0.035 | 7.785 |  | 29.952
2007-08-20 13:56 | 0.086 | 0.086 | 0.043 | -0.071 | 7.749 |  | 29.952
2007-08-20 13:56 | 0.1075 | 0.1075 | 0.043 | -0.035 | 7.785 |  | 29.95
2007-08-20 13:56 | 0.129 | 0.129 | 0.043 | -0.071 | 7.749 |  | 29.95
2007-08-20 13:56 | 0.1505 | 0.1505 | 0.043 | -0.071 | 7.749 |  | 29.95
2007-08-20 13:56 | 0.172 | 0.172 | 0.039 | -0.071 | 7.749 |  | 29.952
2007-08-20 13:56 | 0.1935 | 0.1935 | 0.039 | -0.071 | 7.749 |  | 29.95
2007-08-20 13:56 | 0.215 | 0.215 | 0.039 | -0.071 | 7.749 |  | 29.952
2007-08-20 13:56 | 0.2365 | 0.2365 | 0.039 | -0.106 | 7.714 |  | 29.952
2007-08-20 13:56 | 0.258 | 0.258 | 0.039 | -0.106 | 7.714 |  | 29.952
2007-08-20 13:56 | 0.2795 | 0.2795 | 0.039 | -0.142 | 7.678 |  | 29.952
2007-08-20 13:56 | 0.301 | 0.301 | 0.039 | -0.142 | 7.678 |  | 29.952
2007-08-20 13:56 | 0.3225 | 0.3225 | 0.039 | -0.142 | 7.678 |  | 29.952
2007-08-20 13:56 | 0.344 | 0.344 | 0.039 | -0.142 | 7.678 |  | 29.952
2007-08-20 13:56 | 0.3655 | 0.3655 | 0.03 | -0.142 | 7.678 |  | 29.952
2007-08-20 13:56 | 0.387 | 0.387 | 0.039 | -0.177 | 7.643 |  | 29.952
2007-08-20 13:56 | 0.4085 | 0.4085 | 0.039 | -0.177 | 7.643 |  | 29.952
2007-08-20 13:56 | 0.43 | 0.43 | 0.03 | -0.142 | 7.678 |  | 29.952
2007-08-20 13:56 | 0.4522 | 0.4522 | 0.03 | -0.177 | 7.643 |  | 29.952
2007-08-20 13:56 | 0.4757 | 0.4757 | 0.03 | -0.212 | 7.608 |  | 29.95
2007-08-20 13:56 | 0.5005 | 0.5005 | 0.03 | -0.212 | 7.608 |  | 29.952
2007-08-20 13:56 | 0.5268 | 0.5268 | 0.03 | -0.212 | 7.608 |  | 29.952
2007-08-20 13:56 | 0.5548 | 0.5548 | 0.03 | -0.212 | 7.608 |  | 29.952
2007-08-20 13:56 | 0.5845 | 0.5845 | 0.03 | -0.212 | 7.608 |  | 29.95
2007-08-20 13:56 | 0.6158 | 0.6158 | 0.026 | -0.248 | 7.572 |  | 29.95
2007-08-20 13:56 | 0.649 | 0.649 | 0.022 | -0.248 | 7.572 |  | 29.95
2007-08-20 13:56 | 0.6842 | 0.6842 | 0.022 | -0.248 | 7.572 |  | 29.952
2007-08-20 13:56 | 0.7215 | 0.7215 | 0.03 | -0.248 | 7.572 |  | 29.95
2007-08-20 13:56 | 0.761 | 0.761 | 0.004 | -0.283 | 7.537 |  | 29.95
2007-08-20 13:56 | 0.8028 | 0.8028 | 0.043 | -0.319 | 7.501 |  | 29.952
2007-08-20 13:57 | 0.8472 | 0.8472 | 0.03 | -0.354 | 7.466 |  | 29.952
2007-08-20 13:57 | 0.8942 | 0.8942 | 0.022 | -0.354 | 7.466 |  | 29.952
2007-08-20 13:57 | 0.944 | 0.944 | 0.009 | -0.354 | 7.466 |  | 29.952
2007-08-20 13:57 | 0.9967 | 0.9967 | 0.004 | -0.354 | 7.466 |  | 29.952
2007-08-20 13:57 | 1.0525 | 1.0525 | 0 | -0.425 | 7.395 |  | 29.952
2007-08-20 13:57 | 1.1117 | 1.1117 | -0.06 | -0.425 | 7.395 |  | 29.95
2007-08-20 13:57 | 1.1743 | 1.1743 | -0.017 | -0.425 | 7.395 |  | 29.952
2007-08-20 13:57 | 1.2407 | 1.2407 | -0.022 | -0.495 | 7.325 |  | 29.954
2007-08-20 13:57 | 1.311 | 1.311 | -0.03 | -0.495 | 7.325 |  | 29.952
2007-08-20 13:57 | 1.3855 | 1.3855 | -0.034 | -0.531 | 7.289 |  | 29.95
2007-08-20 13:57 | 1.4645 | 1.4645 | -0.039 | -0.566 | 7.254 |  | 29.95
2007-08-20 13:57 | 1.5482 | 1.5482 | -0.039 | -0.637 | 7.183 |  | 29.95
2007-08-20 13:57 | 1.6367 | 1.6367 | -0.043 | -0.637 | 7.183 |  | 29.95
2007-08-20 13:57 | 1.7305 | 1.7305 | -0.043 | -0.672 | 7.148 |  | 29.95
2007-08-20 13:57 | 1.8298 | 1.8298 | -0.073 | -0.708 | 7.112 |  | 29.95
2007-08-20 13:58 | 1.9352 | 1.9352 | -0.047 | -0.743 | 7.077 |  | 29.948
2007-08-20 13:58 | 2.0467 | 2.0467 | -0.052 | -0.779 | 7.041 |  | 29.95
2007-08-20 13:58 | 2.1648 | 2.1648 | -0.082 | -0.814 | 7.006 |  | 29.95
2007-08-20 13:58 | 2.29 | 2.29 | -0.056 | -0.849 | 6.971 |  | 29.95
2007-08-20 13:58 | 2.4225 | 2.4225 | 0 | -0.92 | 6.9 |  | 29.95
2007-08-20 13:58 | 2.563 | 2.563 | -0.06 | -0.92 | 6.9 |  | 29.95
2007-08-20 13:58 | 2.7118 | 2.7118 | -0.06 | -0.991 | 6.829 |  | 29.948
2007-08-20 13:59 | 2.8693 | 2.8693 | -0.065 | -1.026 | 6.794 |  | 29.95
2007-08-20 13:59 | 3.0362 | 3.0362 | -0.065 | -1.097 | 6.723 |  | 29.95
2007-08-20 13:59 | 3.213 | 3.213 | -0.103 | -1.132 | 6.688 |  | 29.952
2007-08-20 13:59 | 3.4003 | 3.4003 | -0.108 | -1.168 | 6.652 |  | 29.95
2007-08-20 13:59 | 3.5987 | 3.5987 | -0.078 | -1.239 | 6.581 |  | 29.948
2007-08-20 13:59 | 3.8088 | 3.8088 | -0.082 | -1.309 | 6.511 |  | 29.95
2007-08-20 14:00 | 4.0315 | 4.0315 | -0.121 | -1.345 | 6.475 |  | 29.952
2007-08-20 14:00 | 4.2673 | 4.2673 | -0.125 | -1.416 | 6.404 |  | 29.948
2007-08-20 14:00 | 4.5172 | 4.5172 | -0.129 | -1.522 | 6.298 |  | 29.952
2007-08-20 14:00 | 4.7818 | 4.7818 | -0.047 | -1.628 | 6.192 |  | 29.956
2007-08-20 14:01 | 5.0622 | 5.0622 | -0.052 | -1.663 | 6.157 |  | 29.97
2007-08-20 14:01 | 5.359 | 5.359 | -0.056 | -1.734 | 6.086 |  | 29.978
2007-08-20 14:01 | 5.6735 | 5.6735 | -0.065 | -1.805 | 6.015 |  | 29.982
2007-08-20 14:02 | 6.0067 | 6.0067 | -0.073 | -1.876 | 5.944 |  | 29.986
2007-08-20 14:02 | 6.3595 | 6.3595 | -0.082 | -1.946 | 5.874 |  | 29.992
2007-08-20 14:02 | 6.7333 | 6.7333 | -0.091 | -2.053 | 5.767 |  | 29.996
2007-08-20 14:03 | 7.1293 | 7.1293 | -0.095 | -2.159 | 5.661 |  | 29.996
2007-08-20 14:03 | 7.5487 | 7.5487 | -0.103 | -2.265 | 5.555 |  | 30.002
2007-08-20 14:04 | 7.993 | 7.993 | -0.112 | -2.3 | 5.52 |  | 30.007
2007-08-20 14:04 | 8.4637 | 8.4637 | -0.116 | -2.407 | 5.413 |  | 30.007
2007-08-20 14:05 | 8.9622 | 8.9622 | -0.116 | -2.477 | 5.343 |  | 30.007
2007-08-20 14:05 | 9.4902 | 9.4902 | -0.134 | -2.548 | 5.272 |  | 30.009
2007-08-20 14:06 | 10.0495 | 10.0495 | -0.138 | -2.619 | 5.201 |  | 30.013
2007-08-20 14:06 | 10.642 | 10.642 | -0.151 | -2.725 | 5.095 |  | 30.013
2007-08-20 14:07 | 11.2695 | 11.2695 | -0.155 | -2.831 | 4.989 |  | 30.015
2007-08-20 14:08 | 11.9343 | 11.9343 | -0.168 | -2.902 | 4.918 |  | 30.015
2007-08-20 14:08 | 12.6385 | 12.6385 | -0.177 | -3.008 | 4.812 |  | 30.013
2007-08-20 14:09 | 13.3843 | 13.3843 | -0.185 | -3.079 | 4.741 |  | 30.015
2007-08-20 14:10 | 14.1743 | 14.1743 | -0.203 | -3.185 | 4.635 |  | 30.015
2007-08-20 14:11 | 15.0112 | 15.0112 | -0.215 | -3.291 | 4.529 |  | 30.017
2007-08-20 14:12 | 15.8977 | 15.8977 | -0.228 | -3.362 | 4.458 |  | 30.015
2007-08-20 14:13 | 16.8367 | 16.8367 | -0.246 | -3.468 | 4.352 |  | 30.015
2007-08-20 14:13 | 17.8313 | 17.8313 | -0.259 | -3.539 | 4.281 |  | 30.013
2007-08-20 14:14 | 18.8313 | 18.8313 | -0.28 | -3.645 | 4.175 |  | 30.015
2007-08-20 14:15 | 19.8313 | 19.8313 | -0.289 | -3.681 | 4.139 |  | 30.015
2007-08-20 14:16 | 20.8313 | 20.8313 | -0.306 | -3.752 | 4.068 |  | 30.017
2007-08-20 14:17 | 21.8313 | 21.8313 | -0.315 | -3.858 | 3.962 |  | 30.017
2007-08-20 14:18 | 22.8313 | 22.8313 | -0.328 | -3.893 | 3.927 |  | 30.015
2007-08-20 14:19 | 23.8313 | 23.8313 | -0.336 | -3.928 | 3.892 |  | 30.015
2007-08-20 14:20 | 24.8313 | 24.8313 | -0.349 | -3.999 | 3.821 |  | 30.017
2007-08-20 14:21 | 25.8313 | 25.8313 | -0.362 | -3.999 | 3.821 |  | 30.013
2007-08-20 14:22 | 26.8313 | 26.8313 | -0.371 | -4.035 | 3.785 |  | 30.013
2007-08-20 14:23 | 27.8313 | 27.8313 | -0.384 | -4.07 | 3.75 |  | 30.013
2007-08-20 14:24 | 28.8313 | 28.8313 | -0.388 | -4.105 | 3.715 |  | 30.011
2007-08-20 14:25 | 29.8313 | 29.8313 | -0.397 | -4.141 | 3.679 |  | 30.011
2007-08-20 14:26 | 30.8313 | 30.8313 | -0.405 | -4.141 | 3.679 |  | 30.013
2007-08-20 14:27 | 31.8313 | 31.8313 | -0.414 | -4.176 | 3.644 |  | 30.013
2007-08-20 14:28 | 32.8313 | 32.8313 | -0.422 | -4.212 | 3.608 |  | 30.013
2007-08-20 14:29 | 33.8313 | 33.8313 | -0.44 | -4.212 | 3.608 |  | 30.013
2007-08-20 14:30 | 34.8313 | 34.8313 | -0.444 | -4.247 | 3.573 |  | 30.013
2007-08-20 14:31 | 35.8313 | 35.8313 | -0.457 | -4.247 | 3.573 |  | 30.013
2007-08-20 14:32 | 36.8313 | 36.8313 | -0.465 | -4.247 | 3.573 |  | 30.013
2007-08-20 14:33 | 37.8313 | 37.8313 | -0.474 | -4.318 | 3.502 |  | 30.011
2007-08-20 14:34 | 38.8313 | 38.8313 | -0.483 | -4.318 | 3.502 |  | 30.011
2007-08-20 14:35 | 39.8313 | 39.8313 | -0.487 | -4.318 | 3.502 |  | 30.011
2007-08-20 14:36 | 40.8313 | 40.8313 | -0.496 | -4.318 | 3.502 |  | 30.013
2007-08-20 14:37 | 41.8313 | 41.8313 | -0.5 | -4.353 | 3.467 |  | 30.013
2007-08-20 14:38 | 42.8313 | 42.8313 | -0.509 | -4.353 | 3.467 |  | 30.011
2007-08-20 14:39 | 43.8313 | 43.8313 | -0.517 | -4.353 | 3.467 |  | 30.013
2007-08-20 14:40 | 44.8313 | 44.8313 | -0.526 | -4.353 | 3.467 |  | 30.013
2007-08-20 14:41 | 45.8313 | 45.8313 | -0.534 | -4.389 | 3.431 |  | 30.013
2007-08-20 14:42 | 46.8313 | 46.8313 | -0.539 | -4.353 | 3.467 |  | 30.013
2007-08-20 14:43 | 47.8313 | 47.8313 | -0.543 | -4.389 | 3.431 |  | 30.011
2007-08-20 14:44 | 48.8313 | 48.8313 | -0.547 | -4.389 | 3.431 |  | 30.013
2007-08-20 14:45 | 49.8313 | 49.8313 | -0.556 | -4.389 | 3.431 |  | 30.015
2007-08-20 14:46 | 50.8313 | 50.8313 | -0.56 | -4.389 | 3.431 |  | 30.013
2007-08-20 14:47 | 51.8313 | 51.8313 | -0.569 | -4.389 | 3.431 |  | 30.013
2007-08-20 14:48 | 52.8313 | 52.8313 | -0.578 | -4.389 | 3.431 |  | 30.013
2007-08-20 14:49 | 53.8313 | 53.8313 | -0.586 | -4.389 | 3.431 |  | 30.013
2007-08-20 14:50 | 54.8313 | 54.8313 | -0.59 | -4.424 | 3.396 |  | 30.013
2007-08-20 14:51 | 55.8313 | 55.8313 | -0.599 | -4.424 | 3.396 |  | 30.013
2007-08-20 14:52 | 56.8313 | 56.8313 | -0.603 | -4.424 | 3.396 |  | 30.013
2007-08-20 14:53 | 57.8313 | 57.8313 | -0.612 | -4.424 | 3.396 |  | 30.015
2007-08-20 14:54 | 58.8313 | 58.8313 | -0.621 | -4.424 | 3.396 |  | 30.013
2007-08-20 14:55 | 59.8313 | 59.8313 | -0.625 | -4.495 | 3.325 |  | 30.013
2007-08-20 14:56 | 60.8313 | 60.8313 | -0.651 | -5.026 | 2.794 |  | 29.986
2007-08-20 14:57 | 61.8313 | 61.8313 | -0.681 | -5.557 | 2.263 |  | 29.97
2007-08-20 14:58 | 62.8313 | 62.8313 | -0.698 | -6.088 | 1.732 |  | 29.962
2007-08-20 14:59 | 63.8313 | 63.8313 | -0.668 | -6.477 | 1.343 |  | 29.964
2007-08-20 15:00 | 64.8313 | 64.8313 | -0.711 | -7.22 | 0.6 |  | 29.952
2007-08-20 15:01 | 0 | 64.8313 | 0 | 0 | 0.6 | 0 | 29.948
2007-08-20 15:01 | 0.0215 | 64.8528 | -0.022 | 0.035 | 0.635 | 0.035 | 29.948
2007-08-20 15:01 | 0.043 | 64.8743 | -0.022 | 0 | 0.6 | 0 | 29.95
2007-08-20 15:01 | 0.0645 | 64.8958 | -0.017 | 1.876 | 2.476 | 1.876 | 29.95
2007-08-20 15:01 | 0.086 | 64.9173 | -0.047 | -4 | -3.4 | -4 | 29.948
2007-08-20 15:01 | 0.1075 | 64.9388 | -0.069 | 5.415 | 6.015 | 5.415 | 29.948
2007-08-20 15:01 | 0.129 | 64.9603 | 0.009 | -0.637 | -0.037 | -0.637 | 29.95
2007-08-20 15:01 | 0.1505 | 64.9818 | -0.03 | 1.239 | 1.839 | 1.239 | 29.948
2007-08-20 15:01 | 0.172 | 65.0033 | -0.022 | 0.389 | 0.989 | 0.389 | 29.948
2007-08-20 15:01 | 0.1935 | 65.0248 | -0.03 | 1.274 | 1.874 | 1.274 | 29.948
2007-08-20 15:01 | 0.215 | 65.0463 | -0.022 | 1.026 | 1.626 | 1.026 | 29.948
2007-08-20 15:01 | 0.2365 | 65.0678 | -0.026 | 1.062 | 1.662 | 1.062 | 29.948
2007-08-20 15:01 | 0.258 | 65.0893 | -0.026 | 1.062 | 1.662 | 1.062 | 29.948
2007-08-20 15:01 | 0.2795 | 65.1108 | -0.026 | 1.239 | 1.839 | 1.239 | 29.948
2007-08-20 15:01 | 0.301 | 65.1323 | -0.026 | 1.239 | 1.839 | 1.239 | 29.948
2007-08-20 15:01 | 0.3225 | 65.1538 | -0.03 | 1.345 | 1.945 | 1.345 | 29.948
2007-08-20 15:01 | 0.344 | 65.1753 | -0.026 | 1.38 | 1.98 | 1.38 | 29.948
2007-08-20 15:01 | 0.3655 | 65.1968 | -0.026 | 1.522 | 2.122 | 1.522 | 29.948
2007-08-20 15:01 | 0.387 | 65.2183 | -0.03 | 1.628 | 2.228 | 1.628 | 29.948
2007-08-20 15:01 | 0.4085 | 65.2398 | -0.026 | 1.734 | 2.334 | 1.734 | 29.948
2007-08-20 15:01 | 0.43 | 65.2613 | -0.03 | 1.841 | 2.441 | 1.841 | 29.945
2007-08-20 15:01 | 0.4522 | 65.2835 | -0.03 | 1.982 | 2.582 | 1.982 | 29.948
2007-08-20 15:01 | 0.4757 | 65.307 | -0.026 | 2.124 | 2.724 | 2.124 | 29.945
2007-08-20 15:01 | 0.5005 | 65.3318 | -0.03 | 2.124 | 2.724 | 2.124 | 29.945
2007-08-20 15:01 | 0.5268 | 65.3581 | -0.03 | 2.23 | 2.83 | 2.23 | 29.948
2007-08-20 15:01 | 0.5548 | 65.3861 | -0.026 | 2.265 | 2.865 | 2.265 | 29.945
2007-08-20 15:01 | 0.5845 | 65.4158 | -0.03 | 2.336 | 2.936 | 2.336 | 29.945
2007-08-20 15:01 | 0.6158 | 65.4471 | -0.03 | 2.442 | 3.042 | 2.442 | 29.943
2007-08-20 15:01 | 0.649 | 65.4803 | -0.039 | 2.548 | 3.148 | 2.548 | 29.945
2007-08-20 15:02 | 0.6842 | 65.5155 | -0.039 | 2.69 | 3.29 | 2.69 | 29.945
2007-08-20 15:02 | 0.7215 | 65.5528 | -0.03 | 2.796 | 3.396 | 2.796 | 29.945
2007-08-20 15:02 | 0.761 | 65.5923 | -0.047 | 3.009 | 3.609 | 3.009 | 29.945
2007-08-20 15:02 | 0.8028 | 65.6341 | -0.013 | 3.15 | 3.75 | 3.15 | 29.945
2007-08-20 15:02 | 0.8472 | 65.6785 | -0.017 | 3.398 | 3.998 | 3.398 | 29.945
2007-08-20 15:02 | 0.8942 | 65.7255 | -0.026 | 3.646 | 4.246 | 3.646 | 29.945
2007-08-20 15:02 | 0.944 | 65.7753 | -0.039 | 3.964 | 4.564 | 3.964 | 29.945
2007-08-20 15:02 | 0.9967 | 65.828 | -0.108 | 4.212 | 4.812 | 4.212 | 29.943
2007-08-20 15:02 | 1.0525 | 65.8838 | -0.052 | 4.53 | 5.13 | 4.53 | 29.945
2007-08-20 15:02 | 1.1117 | 65.943 | -0.06 | 4.814 | 5.414 | 4.814 | 29.945
2007-08-20 15:02 | 1.1743 | 66.0056 | -0.06 | 5.097 | 5.697 | 5.097 | 29.945
2007-08-20 15:02 | 1.2407 | 66.072 | -0.073 | 5.38 | 5.98 | 5.38 | 29.943
2007-08-20 15:02 | 1.311 | 66.1423 | -0.078 | 5.805 | 6.405 | 5.805 | 29.943
2007-08-20 15:02 | 1.3855 | 66.2168 | -0.082 | 6.088 | 6.688 | 6.088 | 29.943
2007-08-20 15:02 | 1.4645 | 66.2958 | -0.086 | 6.477 | 7.077 | 6.477 | 29.943
2007-08-20 15:02 | 1.5482 | 66.3795 | -0.091 | 6.902 | 7.502 | 6.902 | 29.943
2007-08-20 15:02 | 1.6367 | 66.468 | -0.095 | 7.291 | 7.891 | 7.291 | 29.943
2007-08-20 15:03 | 1.7305 | 66.5618 | -0.095 | 7.716 | 8.316 | 7.716 | 29.943
2007-08-20 15:03 | 1.8298 | 66.6611 | -0.125 | 8.211 | 8.811 | 8.211 | 29.941
2007-08-20 15:03 | 1.9352 | 66.7665 | -0.095 | 8.707 | 9.307 | 8.707 | 29.941
2007-08-20 15:03 | 2.0467 | 66.878 | -0.125 | 9.273 | 9.873 | 9.273 | 29.939
2007-08-20 15:03 | 2.1648 | 66.9961 | -0.129 | 9.768 | 10.368 | 9.768 | 29.941
2007-08-20 15:03 | 2.29 | 67.1213 | -0.103 | 10.299 | 10.899 | 10.299 | 29.939
2007-08-20 15:03 | 2.4225 | 67.2538 | -0.103 | 10.936 | 11.536 | 10.936 | 29.939
2007-08-20 15:03 | 2.563 | 67.3943 | -0.103 | 11.502 | 12.102 | 11.502 | 29.939
2007-08-20 15:04 | 2.7118 | 67.5431 | -0.108 | 12.175 | 12.775 | 12.175 | 29.939
2007-08-20 15:04 | 2.8693 | 67.7006 | -0.134 | 12.918 | 13.518 | 12.918 | 29.939
2007-08-20 15:04 | 3.0362 | 67.8675 | -0.108 | 13.661 | 14.261 | 13.661 | 29.939
2007-08-20 15:04 | 3.213 | 68.0443 | -0.056 | 14.475 | 15.075 | 14.475 | 29.943
2007-08-20 15:04 | 3.4003 | 68.2316 | -0.056 | 15.288 | 15.888 | 15.288 | 29.954
2007-08-20 15:04 | 3.5987 | 68.43 | -0.06 | 16.102 | 16.702 | 16.102 | 29.962
2007-08-20 15:05 | 3.8088 | 68.6401 | -0.06 | 17.022 | 17.622 | 17.022 | 29.968
2007-08-20 15:05 | 4.0315 | 68.8628 | -0.06 | 17.942 | 18.542 | 17.942 | 29.97
2007-08-20 15:05 | 4.2673 | 69.0986 | -0.065 | 18.968 | 19.568 | 18.968 | 29.974
2007-08-20 15:05 | 4.5172 | 69.3485 | -0.065 | 19.994 | 20.594 | 19.994 | 29.978
2007-08-20 15:06 | 4.7818 | 69.6131 | -0.069 | 21.055 | 21.655 | 21.055 | 29.982
2007-08-20 15:06 | 5.0622 | 69.8935 | -0.065 | 22.258 | 22.858 | 22.258 | 29.982
2007-08-20 15:06 | 5.359 | 70.1903 | -0.069 | 23.355 | 23.955 | 23.355 | 29.986
2007-08-20 15:07 | 5.6735 | 70.5048 | -0.069 | 24.593 | 25.193 | 24.593 | 29.988
2007-08-20 15:07 | 6.0067 | 70.838 | -0.069 | 25.831 | 26.431 | 25.831 | 29.99
2007-08-20 15:07 | 6.3595 | 71.1908 | -0.073 | 27.211 | 27.811 | 27.211 | 29.992
2007-08-20 15:08 | 6.7333 | 71.5646 | -0.073 | 28.519 | 29.119 | 28.519 | 29.992
2007-08-20 15:08 | 7.1293 | 71.9606 | -0.073 | 29.899 | 30.499 | 29.899 | 29.996
2007-08-20 15:08 | 7.5487 | 72.38 | -0.078 | 31.596 | 32.196 | 31.596 | 29.996
2007-08-20 15:09 | 7.993 | 72.8243 | -0.082 | 33.153 | 33.753 | 33.153 | 29.996
2007-08-20 15:09 | 8.4637 | 73.295 | -0.082 | 34.779 | 35.379 | 34.779 | 29.998
2007-08-20 15:10 | 8.9622 | 73.7935 | -0.086 | 36.548 | 37.148 | 36.548 | 30
2007-08-20 15:10 | 9.4902 | 74.3215 | -0.086 | 38.245 | 38.845 | 38.245 | 30
2007-08-20 15:11 | 10.0495 | 74.8808 | -0.091 | 39.978 | 40.578 | 39.978 | 29.998
2007-08-20 15:11 | 10.642 | 75.4733 | -0.095 | 41.781 | 42.381 | 41.781 | 30
2007-08-20 15:12 | 11.2695 | 76.1008 | -0.095 | 43.655 | 44.255 | 43.655 | 30.002
2007-08-20 15:13 | 11.9343 | 76.7656 | -0.095 | 45.494 | 46.094 | 45.494 | 30.002
2007-08-20 15:13 | 12.6385 | 77.4698 | -0.099 | 47.261 | 47.861 | 47.261 | 30.005
2007-08-20 15:14 | 13.3843 | 78.2156 | -0.099 | 49.17 | 49.77 | 49.17 | 30
2007-08-20 15:15 | 14.1743 | 79.0056 | -0.103 | 51.079 | 51.679 | 51.079 | 30.002
2007-08-20 15:16 | 15.0112 | 79.8425 | -0.108 | 52.988 | 53.588 | 52.988 | 30.002
2007-08-20 15:17 | 15.8977 | 80.729 | -0.108 | 55.039 | 55.639 | 55.039 | 30.005
2007-08-20 15:18 | 16.8367 | 81.668 | -0.112 | 57.089 | 57.689 | 57.089 | 30.002
2007-08-20 15:19 | 17.8313 | 82.6626 | -0.108 | 59.139 | 59.739 | 59.139 | 30.005
2007-08-20 15:20 | 18.8313 | 83.6626 | -0.112 | 61.259 | 61.859 | 61.259 | 30.007
2007-08-20 15:21 | 19.8313 | 84.6626 | -0.108 | 63.132 | 63.732 | 63.132 | 30.005
2007-08-20 15:22 | 20.8313 | 85.6626 | -0.103 | 64.934 | 65.534 | 64.934 | 30.009
2007-08-20 15:23 | 21.8313 | 86.6626 | -0.108 | 66.701 | 67.301 | 66.701 | 30.005
2007-08-20 15:24 | 22.8313 | 87.6626 | -0.099 | 68.362 | 68.962 | 68.362 | 30.005
2007-08-20 15:25 | 23.8313 | 88.6626 | -0.099 | 70.094 | 70.694 | 70.094 | 30.007
2007-08-20 15:26 | 24.8313 | 89.6626 | -0.091 | 71.683 | 72.283 | 71.683 | 30.005
2007-08-20 15:27 | 25.8313 | 90.6626 | -0.086 | 73.132 | 73.732 | 73.132 | 30.005
2007-08-20 15:28 | 26.8313 | 91.6626 | -0.082 | 74.722 | 75.322 | 74.722 | 30.007
2007-08-20 15:29 | 27.8313 | 92.6626 | -0.078 | 76.382 | 76.982 | 76.382 | 30.007
2007-08-20 15:30 | 28.8313 | 93.6626 | -0.073 | 77.901 | 78.501 | 77.901 | 30.007
2007-08-20 15:31 | 29.8313 | 94.6626 | -0.069 | 79.385 | 79.985 | 79.385 | 30.007
2007-08-20 15:32 | 30.8313 | 95.6626 | -0.065 | 80.798 | 81.398 | 80.798 | 30.009
2007-08-20 15:33 | 31.8313 | 96.6626 | -0.052 | 82.105 | 82.705 | 82.105 | 30.007
2007-08-20 15:34 | 32.8313 | 97.6626 | -0.047 | 83.447 | 84.047 | 83.447 | 30.009
2007-08-20 15:35 | 33.8313 | 98.6626 | -0.043 | 84.719 | 85.319 | 84.719 | 30.007
2007-08-20 15:36 | 34.8313 | 99.6626 | -0.034 | 85.92 | 86.52 | 85.92 | 30.009
2007-08-20 15:37 | 35.8313 | 100.6626 | -0.03 | 87.085 | 87.685 | 87.085 | 30.007
2007-08-20 15:38 | 36.8313 | 101.6626 | -0.022 | 88.18 | 88.78 | 88.18 | 30.011
2007-08-20 15:39 | 37.8313 | 102.6626 | -0.017 | 89.24 | 89.84 | 89.24 | 30.009
2007-08-20 15:40 | 38.8313 | 103.6626 | -0.009 | 90.299 | 90.899 | 90.299 | 30.007
2007-08-20 15:41 | 39.8313 | 104.6626 | -0.004 | 91.253 | 91.853 | 91.253 | 30.007
2007-08-20 15:42 | 40.8313 | 105.6626 | 0 | 92.206 | 92.806 | 92.206 | 30.009
2007-08-20 15:43 | 41.8313 | 106.6626 | 0.009 | 93.124 | 93.724 | 93.124 | 30.007
2007-08-20 15:44 | 42.8313 | 107.6626 | 0.013 | 94.042 | 94.642 | 94.042 | 30.009
2007-08-20 15:45 | 43.8313 | 108.6626 | 0.022 | 94.855 | 95.455 | 94.855 | 30.007
2007-08-20 15:46 | 44.8313 | 109.6626 | 0.026 | 95.667 | 96.267 | 95.667 | 30.009
2007-08-20 15:47 | 45.8313 | 110.6626 | 0.034 | 96.479 | 97.079 | 96.479 | 30.009
2007-08-20 15:48 | 46.8313 | 111.6626 | 0.043 | 97.185 | 97.785 | 97.185 | 30.009
2007-08-20 15:49 | 47.8313 | 112.6626 | 0.047 | 97.927 | 98.527 | 97.927 | 30.009
2007-08-20 15:50 | 48.8313 | 113.6626 | 0.052 | 98.527 | 99.127 | 98.527 | 30.007
2007-08-20 15:51 | 49.8313 | 114.6626 | 0.065 | 99.268 | 99.868 | 99.268 | 30.007
2007-08-20 15:52 | 50.8313 | 115.6626 | 0.078 | 99.833 | 100.433 | 99.833 | 30.002
2007-08-20 15:53 | 51.8313 | 116.6626 | 0.082 | 100.469 | 101.069 | 100.469 | 30.007
2007-08-20 15:54 | 52.8313 | 117.6626 | 0.091 | 101.069 | 101.669 | 101.069 | 30.005
2007-08-20 15:55 | 53.8313 | 118.6626 | 0.095 | 101.669 | 102.269 | 101.669 | 30.002
2007-08-20 15:56 | 54.8313 | 119.6626 | 0.103 | 102.128 | 102.728 | 102.128 | 30.005
2007-08-20 15:57 | 55.8313 | 120.6626 | 0.108 | 102.622 | 103.222 | 102.622 | 30.005
2007-08-20 15:58 | 56.8313 | 121.6626 | 0.116 | 103.152 | 103.752 | 103.152 | 30.007
2007-08-20 15:59 | 57.8313 | 122.6626 | 0.125 | 103.575 | 104.175 | 103.575 | 30.007
2007-08-20 16:00 | 58.8313 | 123.6626 | 0.134 | 104.034 | 104.634 | 104.034 | 30.005
2007-08-20 16:01 | 59.8313 | 124.6626 | 0.134 | 104.458 | 105.058 | 104.458 | 30.009
2007-08-20 16:02 | 60.8313 | 125.6626 | 0.138 | 104.882 | 105.482 | 104.882 | 30.007
2007-08-20 16:03 | 61.8313 | 126.6626 | 0.142 | 105.305 | 105.905 | 105.305 | 30.009
2007-08-20 16:04 | 62.8313 | 127.6626 | 0.151 | 105.694 | 106.294 | 105.694 | 30.007
2007-08-20 16:05 | 63.8313 | 128.6626 | 0.159 | 106.047 | 106.647 | 106.047 | 30.007
2007-08-20 16:06 | 64.8313 | 129.6626 | 0.155 | 106.4 | 107 | 106.4 | 30.005
2007-08-20 16:07 | 65.8313 | 130.6626 | 0.164 | 106.753 | 107.353 | 106.753 | 30.005
2007-08-20 16:08 | 66.8313 | 131.6626 | 0.168 | 107.141 | 107.741 | 107.141 | 30.007
2007-08-20 16:09 | 67.8313 | 132.6626 | 0.177 | 107.459 | 108.059 | 107.459 | 30.002
2007-08-20 16:10 | 68.8313 | 133.6626 | 0.185 | 107.776 | 108.376 | 107.776 | 30.007
2007-08-20 16:11 | 69.8313 | 134.6626 | 0.185 | 108.094 | 108.694 | 108.094 | 30.007
2007-08-20 16:12 | 70.8313 | 135.6626 | 0.194 | 108.376 | 108.976 | 108.376 | 30.005
2007-08-20 16:13 | 71.8313 | 136.6626 | 0.198 | 108.624 | 109.224 | 108.624 | 30.005
2007-08-20 16:14 | 72.8313 | 137.6626 | 0.198 | 108.941 | 109.541 | 108.941 | 30.002
2007-08-20 16:15 | 73.8313 | 138.6626 | 0.203 | 109.153 | 109.753 | 109.153 | 30.005
2007-08-20 16:16 | 74.8313 | 139.6626 | 0.207 | 109.4 | 110 | 109.4 | 30.005
2007-08-20 16:17 | 75.8313 | 140.6626 | 0.207 | 109.647 | 110.247 | 109.647 | 30.002
2007-08-20 16:18 | 76.8313 | 141.6626 | 0.211 | 109.93 | 110.53 | 109.93 | 30.002
2007-08-20 16:19 | 77.8313 | 142.6626 | 0.216 | 110.071 | 110.671 | 110.071 | 30.005
2007-08-20 16:20 | 78.8313 | 143.6626 | 0.224 | 110.318 | 110.918 | 110.318 | 30.002
2007-08-20 16:21 | 79.8313 | 144.6626 | 0.224 | 110.494 | 111.094 | 110.494 | 30.007
2007-08-20 16:22 | 80.8313 | 145.6626 | 0.228 | 110.706 | 111.306 | 110.706 | 30.005
2007-08-20 16:23 | 81.8313 | 146.6626 | 0.233 | 110.847 | 111.447 | 110.847 | 30.007
2007-08-20 16:24 | 82.8313 | 147.6626 | 0.237 | 111.024 | 111.624 | 111.024 | 30.007
2007-08-20 16:25 | 83.8313 | 148.6626 | 0.246 | 111.2 | 111.8 | 111.2 | 30.002
2007-08-20 16:26 | 84.8313 | 149.6626 | 0.25 | 111.412 | 112.012 | 111.412 | 30.007
2007-08-20 16:27 | 85.8313 | 150.6626 | 0.254 | 111.518 | 112.118 | 111.518 | 30.005
2007-08-20 16:28 | 86.8313 | 151.6626 | 0.259 | 111.624 | 112.224 | 111.624 | 30.002
2007-08-20 16:29 | 87.8313 | 152.6626 | 0.259 | 111.8 | 112.4 | 111.8 | 30.005
2007-08-20 16:30 | 88.8313 | 153.6626 | 0.263 | 111.977 | 112.577 | 111.977 | 30.005
2007-08-20 16:31 | 89.8313 | 154.6626 | 0.263 | 112.083 | 112.683 | 112.083 | 30.002
2007-08-20 16:32 | 90.8313 | 155.6626 | 0.267 | 112.259 | 112.859 | 112.259 | 30.002
2007-08-20 16:33 | 91.8313 | 156.6626 | 0.267 | 112.365 | 112.965 | 112.365 | 30
2007-08-20 16:34 | 92.8313 | 157.6626 | 0.272 | 112.471 | 113.071 | 112.471 | 30
2007-08-20 16:35 | 93.8313 | 158.6626 | 0.276 | 112.577 | 113.177 | 112.577 | 30
2007-08-20 16:36 | 94.8313 | 159.6626 | 0.272 | 112.683 | 113.283 | 112.683 | 30
2007-08-20 16:37 | 95.8313 | 160.6626 | 0.276 | 112.789 | 113.389 | 112.789 | 30
2007-08-20 16:38 | 96.8313 | 161.6626 | 0.276 | 112.894 | 113.494 | 112.894 | 30
2007-08-20 16:39 | 97.8313 | 162.6626 | 0.276 | 113 | 113.6 | 113 | 30.002
2007-08-20 16:40 | 98.8313 | 163.6626 | 0.276 | 113.071 | 113.671 | 113.071 | 30.002
2007-08-20 16:41 | 99.8313 | 164.6626 | 0.28 | 113.177 | 113.777 | 113.177 | 30
2007-08-20 16:42 | 100.8313 | 165.6626 | 0.28 | 113.247 | 113.847 | 113.247 | 30
2007-08-20 16:43 | 101.8313 | 166.6626 | 0.28 | 113.318 | 113.918 | 113.318 | 30.002
2007-08-20 16:44 | 102.8313 | 167.6626 | 0.284 | 113.424 | 114.024 | 113.424 | 30.002
2007-08-20 16:45 | 103.8313 | 168.6626 | 0.284 | 113.495 | 114.095 | 113.495 | 30
2007-08-20 16:46 | 104.8313 | 169.6626 | 0.284 | 113.6 | 114.2 | 113.6 | 29.998
2007-08-20 16:47 | 105.8313 | 170.6626 | 0.284 | 113.671 | 114.271 | 113.671 | 29.996
2007-08-20 16:48 | 106.8313 | 171.6626 | 0.284 | 113.742 | 114.342 | 113.742 | 30
2007-08-20 16:49 | 107.8313 | 172.6626 | 0.289 | 113.812 | 114.412 | 113.812 | 30
2007-08-20 16:50 | 108.8313 | 173.6626 | 0.293 | 113.883 | 114.483 | 113.883 | 30.002
2007-08-20 16:51 | 109.8313 | 174.6626 | 0.293 | 113.918 | 114.518 | 113.918 | 30.002
2007-08-20 16:52 | 110.8313 | 175.6626 | 0.297 | 113.989 | 114.589 | 113.989 | 30
2007-08-20 16:53 | 111.8313 | 176.6626 | 0.297 | 114.024 | 114.624 | 114.024 | 30.002
2007-08-20 16:54 | 112.8313 | 177.6626 | 0.306 | 114.13 | 114.73 | 114.13 | 30
2007-08-20 16:55 | 113.8313 | 178.6626 | 0.306 | 114.165 | 114.765 | 114.165 | 30
2007-08-20 16:56 | 114.8313 | 179.6626 | 0.306 | 114.2 | 114.8 | 114.2 | 30.002
2007-08-20 16:57 | 115.8313 | 180.6626 | 0.31 | 114.271 | 114.871 | 114.271 | 30.002
2007-08-20 16:58 | 116.8313 | 181.6626 | 0.31 | 114.306 | 114.906 | 114.306 | 29.998
2007-08-20 16:59 | 117.8313 | 182.6626 | 0.31 | 114.412 | 115.012 | 114.412 | 29.996
2007-08-20 17:00 | 118.8313 | 183.6626 | 0.31 | 114.483 | 115.083 | 114.483 | 29.996
2007-08-20 17:01 | 119.8313 | 184.6626 | 0.315 | 114.518 | 115.118 | 114.518 | 29.998
2007-08-20 17:02 | 120.8313 | 185.6626 | 0.31 | 114.553 | 115.153 | 114.553 | 29.996
2007-08-20 17:03 | 121.8313 | 186.6626 | 0.315 | 114.589 | 115.189 | 114.589 | 29.996
2007-08-20 17:04 | 122.8313 | 187.6626 | 0.31 | 114.624 | 115.224 | 114.624 | 29.996
2007-08-20 17:05 | 123.8313 | 188.6626 | 0.31 | 114.695 | 115.295 | 114.695 | 29.996
2007-08-20 17:06 | 124.8313 | 189.6626 | 0.306 | 114.73 | 115.33 | 114.73 | 29.996
2007-08-20 17:07 | 125.8313 | 190.6626 | 0.306 | 114.765 | 115.365 | 114.765 | 29.996
2007-08-20 17:08 | 126.8313 | 191.6626 | 0.306 | 114.765 | 115.365 | 114.765 | 29.996
2007-08-20 17:09 | 127.8313 | 192.6626 | 0.306 | 114.836 | 115.436 | 114.836 | 29.996
2007-08-20 17:10 | 128.8313 | 193.6626 | 0.31 | 114.871 | 115.471 | 114.871 | 29.996
2007-08-20 17:11 | 129.8313 | 194.6626 | 0.302 | 114.906 | 115.506 | 114.906 | 29.994
2007-08-20 17:12 | 130.8313 | 195.6626 | 0.306 | 114.942 | 115.542 | 114.942 | 29.994
2007-08-20 17:13 | 131.8313 | 196.6626 | 0.302 | 114.942 | 115.542 | 114.942 | 29.994
2007-08-20 17:14 | 132.8313 | 197.6626 | 0.302 | 114.977 | 115.577 | 114.977 | 29.996
2007-08-20 17:15 | 133.8313 | 198.6626 | 0.302 | 115.047 | 115.647 | 115.047 | 29.994
2007-08-20 17:16 | 134.8313 | 199.6626 | 0.297 | 115.047 | 115.647 | 115.047 | 29.996
2007-08-20 17:17 | 135.8313 | 200.6626 | 0.297 | 115.083 | 115.683 | 115.083 | 29.996
2007-08-20 17:18 | 136.8313 | 201.6626 | 0.297 | 115.083 | 115.683 | 115.083 | 29.996
2007-08-20 17:19 | 137.8313 | 202.6626 | 0.297 | 115.118 | 115.718 | 115.118 | 29.996
2007-08-20 17:20 | 138.8313 | 203.6626 | 0.293 | 115.118 | 115.718 | 115.118 | 29.996
2007-08-20 17:21 | 139.8313 | 204.6626 | 0.293 | 115.153 | 115.753 | 115.153 | 29.998
2007-08-20 17:22 | 140.8313 | 205.6626 | 0.293 | 115.259 | 115.859 | 115.259 | 29.996
2007-08-20 17:23 | 141.8313 | 206.6626 | 0.293 | 115.259 | 115.859 | 115.259 | 29.994
2007-08-20 17:24 | 142.8313 | 207.6626 | 0.293 | 115.259 | 115.859 | 115.259 | 29.996
2007-08-20 17:25 | 143.8313 | 208.6626 | 0.284 | 115.259 | 115.859 | 115.259 | 29.994
2007-08-20 17:26 | 144.8313 | 209.6626 | 0.284 | 115.294 | 115.894 | 115.294 | 29.994
2007-08-20 17:27 | 145.8313 | 210.6626 | 0.293 | 115.294 | 115.894 | 115.294 | 29.994
2007-08-20 17:28 | 146.8313 | 211.6626 | 0.293 | 115.33 | 115.93 | 115.33 | 29.996
2007-08-20 17:29 | 147.8313 | 212.6626 | 0.289 | 115.365 | 115.965 | 115.365 | 29.994
2007-08-20 17:30 | 148.8313 | 213.6626 | 0.289 | 115.365 | 115.965 | 115.365 | 29.994
2007-08-20 17:31 | 149.8313 | 214.6626 | 0.293 | 115.4 | 116 | 115.4 | 29.996
2007-08-20 17:32 | 150.8313 | 215.6626 | 0.293 | 115.4 | 116 | 115.4 | 29.996
2007-08-20 17:33 | 151.8313 | 216.6626 | 0.289 | 115.4 | 116 | 115.4 | 29.996
2007-08-20 17:34 | 152.8313 | 217.6626 | 0.289 | 115.436 | 116.036 | 115.436 | 29.994
2007-08-20 17:35 | 153.8313 | 218.6626 | 0.293 | 115.471 | 116.071 | 115.471 | 29.994
2007-08-20 17:36 | 154.8313 | 219.6626 | 0.293 | 115.506 | 116.106 | 115.506 | 29.996
2007-08-20 17:37 | 155.8313 | 220.6626 | 0.289 | 115.542 | 116.142 | 115.542 | 29.998
2007-08-20 17:38 | 156.8313 | 221.6626 | 0.293 | 115.542 | 116.142 | 115.542 | 29.996
2007-08-20 17:39 | 157.8313 | 222.6626 | 0.289 | 115.577 | 116.177 | 115.577 | 29.996
2007-08-20 17:40 | 158.8313 | 223.6626 | 0.293 | 115.542 | 116.142 | 115.542 | 29.996
2007-08-20 17:41 | 159.8313 | 224.6626 | 0.289 | 115.577 | 116.177 | 115.577 | 29.998
2007-08-20 17:42 | 160.8313 | 225.6626 | 0.289 | 115.612 | 116.212 | 115.612 | 29.996
2007-08-20 17:43 | 161.8313 | 226.6626 | 0.293 | 115.612 | 116.212 | 115.612 | 29.996
2007-08-20 17:44 | 162.8313 | 227.6626 | 0.293 | 115.612 | 116.212 | 115.612 | 29.998
2007-08-20 17:45 | 163.8313 | 228.6626 | 0.293 | 115.612 | 116.212 | 115.612 | 29.998
2007-08-20 17:46 | 164.8313 | 229.6626 | 0.293 | 115.647 | 116.247 | 115.647 | 30
2007-08-20 17:47 | 165.8313 | 230.6626 | 0.293 | 115.647 | 116.247 | 115.647 | 29.998
2007-08-20 17:48 | 166.8313 | 231.6626 | 0.293 | 115.647 | 116.247 | 115.647 | 29.998
2007-08-20 17:49 | 167.8313 | 232.6626 | 0.293 | 115.718 | 116.318 | 115.718 | 29.996
2007-08-20 17:50 | 168.8313 | 233.6626 | 0.293 | 115.718 | 116.318 | 115.718 | 29.998
2007-08-20 17:51 | 169.8313 | 234.6626 | 0.284 | 115.718 | 116.318 | 115.718 | 30
2007-08-20 17:52 | 170.8313 | 235.6626 | 0.289 | 115.718 | 116.318 | 115.718 | 30
2007-08-20 17:53 | 171.8313 | 236.6626 | 0.284 | 115.753 | 116.353 | 115.753 | 29.998
2007-08-20 17:54 | 172.8313 | 237.6626 | 0.284 | 115.753 | 116.353 | 115.753 | 30
2007-08-20 17:55 | 173.8313 | 238.6626 | 0.284 | 115.789 | 116.389 | 115.789 | 29.998
2007-08-20 17:56 | 174.8313 | 239.6626 | 0.28 | 115.753 | 116.353 | 115.753 | 29.998
2007-08-20 17:57 | 175.8313 | 240.6626 | 0.28 | 115.789 | 116.389 | 115.789 | 30
2007-08-20 17:58 | 176.8313 | 241.6626 | 0.28 | 115.824 | 116.424 | 115.824 | 29.998
2007-08-20 17:59 | 177.8313 | 242.6626 | 0.28 | 115.859 | 116.459 | 115.859 | 29.998
2007-08-20 18:00 | 178.8313 | 243.6626 | 0.276 | 115.859 | 116.459 | 115.859 | 30
2007-08-20 18:01 | 179.8313 | 244.6626 | 0.276 | 115.859 | 116.459 | 115.859 | 30.002
2007-08-20 18:02 | 180.8313 | 245.6626 | 0.276 | 115.859 | 116.459 | 115.859 | 30.002
2007-08-20 18:03 | 181.8313 | 246.6626 | 0.28 | 115.93 | 116.53 | 115.93 | 30.002
2007-08-20 18:04 | 182.8313 | 247.6626 | 0.276 | 115.93 | 116.53 | 115.93 | 30.002
2007-08-20 18:05 | 183.8313 | 248.6626 | 0.276 | 115.93 | 116.53 | 115.93 | 30
2007-08-20 18:06 | 184.8313 | 249.6626 | 0.276 | 115.894 | 116.494 | 115.894 | 30.002
2007-08-20 18:07 | 185.8313 | 250.6626 | 0.272 | 115.93 | 116.53 | 115.93 | 30
2007-08-20 18:08 | 186.8313 | 251.6626 | 0.272 | 115.965 | 116.565 | 115.965 | 30.002
2007-08-20 18:09 | 187.8313 | 252.6626 | 0.276 | 115.965 | 116.565 | 115.965 | 30.002
2007-08-20 18:10 | 188.8313 | 253.6626 | 0.276 | 115.965 | 116.565 | 115.965 | 29.998
2007-08-20 18:11 | 189.8313 | 254.6626 | 0.276 | 115.93 | 116.53 | 115.93 | 30
2007-08-20 18:12 | 190.8313 | 255.6626 | 0.276 | 116 | 116.6 | 116 | 29.998
2007-08-20 18:13 | 191.8313 | 256.6626 | 0.276 | 116 | 116.6 | 116 | 30
2007-08-20 18:14 | 192.8313 | 257.6626 | 0.276 | 116 | 116.6 | 116 | 30
2007-08-20 18:15 | 193.8313 | 258.6626 | 0.272 | 116 | 116.6 | 116 | 30
2007-08-20 18:16 | 194.8313 | 259.6626 | 0.272 | 116.036 | 116.636 | 116.036 | 30
2007-08-20 18:17 | 195.8313 | 260.6626 | 0.263 | 116.036 | 116.636 | 116.036 | 29.998
2007-08-20 18:18 | 196.8313 | 261.6626 | 0.267 | 116 | 116.6 | 116 | 30
2007-08-20 18:19 | 197.8313 | 262.6626 | 0.267 | 116.106 | 116.706 | 116.106 | 30
2007-08-20 18:20 | 198.8313 | 263.6626 | 0.263 | 116.106 | 116.706 | 116.106 | 30
2007-08-20 18:21 | 199.8313 | 264.6626 | 0.263 | 116.036 | 116.636 | 116.036 | 30.002
2007-08-20 18:22 | 200.8313 | 265.6626 | 0.259 | 116.106 | 116.706 | 116.106 | 30.002
2007-08-20 18:23 | 201.8313 | 266.6626 | 0.254 | 116.106 | 116.706 | 116.106 | 30.002
2007-08-20 18:24 | 202.8313 | 267.6626 | 0.254 | 116.142 | 116.742 | 116.142 | 30
2007-08-20 18:25 | 203.8313 | 268.6626 | 0.246 | 116.106 | 116.706 | 116.106 | 30.002
2007-08-20 18:26 | 204.8313 | 269.6626 | 0.241 | 116.106 | 116.706 | 116.106 | 30.005
2007-08-20 18:27 | 205.8313 | 270.6626 | 0.241 | 116.142 | 116.742 | 116.142 | 30.007
2007-08-20 18:28 | 206.8313 | 271.6626 | 0.241 | 116.142 | 116.742 | 116.142 | 30.005
2007-08-20 18:29 | 207.8313 | 272.6626 | 0.237 | 116.142 | 116.742 | 116.142 | 30.007
2007-08-20 18:30 | 208.8313 | 273.6626 | 0.233 | 116.177 | 116.777 | 116.177 | 30.005
2007-08-20 18:31 | 209.8313 | 274.6626 | 0.233 | 116.177 | 116.777 | 116.177 | 30.005
2007-08-20 18:32 | 210.8313 | 275.6626 | 0.224 | 116.177 | 116.777 | 116.177 | 30.007
2007-08-20 18:33 | 211.8313 | 276.6626 | 0.224 | 116.212 | 116.812 | 116.212 | 30.005
2007-08-20 18:34 | 212.8313 | 277.6626 | 0.22 | 116.177 | 116.777 | 116.177 | 30.007
2007-08-20 18:35 | 213.8313 | 278.6626 | 0.22 | 116.212 | 116.812 | 116.212 | 30.007
2007-08-20 18:36 | 214.8313 | 279.6626 | 0.22 | 116.212 | 116.812 | 116.212 | 30.007
2007-08-20 18:37 | 215.8313 | 280.6626 | 0.216 | 116.247 | 116.847 | 116.247 | 30.007
2007-08-20 18:38 | 216.8313 | 281.6626 | 0.211 | 116.247 | 116.847 | 116.247 | 30.007
2007-08-20 18:39 | 217.8313 | 282.6626 | 0.211 | 116.247 | 116.847 | 116.247 | 30.007
2007-08-20 18:40 | 218.8313 | 283.6626 | 0.211 | 116.212 | 116.812 | 116.212 | 30.009
2007-08-20 18:41 | 219.8313 | 284.6626 | 0.211 | 116.247 | 116.847 | 116.247 | 30.009
2007-08-20 18:42 | 220.8313 | 285.6626 | 0.207 | 116.247 | 116.847 | 116.247 | 30.009
2007-08-20 18:43 | 221.8313 | 286.6626 | 0.207 | 116.247 | 116.847 | 116.247 | 30.009
2007-08-20 18:44 | 222.8313 | 287.6626 | 0.207 | 116.247 | 116.847 | 116.247 | 30.007
2007-08-20 18:45 | 223.8313 | 288.6626 | 0.203 | 116.247 | 116.847 | 116.247 | 30.009
2007-08-20 18:46 | 224.8313 | 289.6626 | 0.203 | 116.283 | 116.883 | 116.283 | 30.005
2007-08-20 18:47 | 225.8313 | 290.6626 | 0.203 | 116.283 | 116.883 | 116.283 | 30.007
2007-08-20 18:48 | 226.8313 | 291.6626 | 0.207 | 116.283 | 116.883 | 116.283 | 30.007
2007-08-20 18:49 | 227.8313 | 292.6626 | 0.207 | 116.283 | 116.883 | 116.283 | 30.007
2007-08-20 18:50 | 228.8313 | 293.6626 | 0.203 | 116.318 | 116.918 | 116.318 | 30.009
2007-08-20 18:51 | 229.8313 | 294.6626 | 0.203 | 116.318 | 116.918 | 116.318 | 30.007
2007-08-20 18:52 | 230.8313 | 295.6626 | 0.198 | 116.318 | 116.918 | 116.318 | 30.009
2007-08-20 18:53 | 231.8313 | 296.6626 | 0.198 | 116.353 | 116.953 | 116.353 | 30.009
2007-08-20 18:54 | 232.8313 | 297.6626 | 0.203 | 116.389 | 116.989 | 116.389 | 30.007
2007-08-20 18:55 | 233.8313 | 298.6626 | 0.198 | 116.389 | 116.989 | 116.389 | 30.009
2007-08-20 18:56 | 234.8313 | 299.6626 | 0.198 | 116.424 | 117.024 | 116.424 | 30.009
2007-08-20 18:57 | 235.8313 | 300.6626 | 0.198 | 116.389 | 116.989 | 116.389 | 30.009
2007-08-20 18:58 | 236.8313 | 301.6626 | 0.198 | 116.459 | 117.059 | 116.459 | 30.009
2007-08-20 18:59 | 237.8313 | 302.6626 | 0.194 | 116.459 | 117.059 | 116.459 | 30.009
2007-08-20 19:00 | 238.8313 | 303.6626 | 0.194 | 116.494 | 117.094 | 116.494 | 30.013
2007-08-20 19:01 | 239.8313 | 304.6626 | 0.112 | 116.459 | 117.059 | 116.459 | 30.011
2007-08-20 19:02 | 0 | 311.3959 | 0 | 0 | 117.059 | 116.459 | 29.986
2007-08-20 19:02 | 0.0215 | 311.4174 | -0.026 | 0.035 | 117.094 | 116.494 | 29.984
2007-08-20 19:02 | 0.043 | 311.4389 | -0.026 | 0 | 117.059 | 116.459 | 29.984
2007-08-20 19:02 | 0.0645 | 311.4604 | -0.022 | 0 | 117.059 | 116.459 | 29.984
2007-08-20 19:02 | 0.086 | 311.4819 | -0.026 | 0 | 117.059 | 116.459 | 29.984
2007-08-20 19:02 | 0.1075 | 311.5034 | -0.022 | 0.035 | 117.094 | 116.494 | 29.984
2007-08-20 19:02 | 0.129 | 311.5249 | -0.026 | 0.035 | 117.094 | 116.494 | 29.984
2007-08-20 19:02 | 0.1505 | 311.5464 | -0.026 | 0.035 | 117.094 | 116.494 | 29.984
2007-08-20 19:02 | 0.172 | 311.5679 | -0.026 | 0.035 | 117.094 | 116.494 | 29.982
2007-08-20 19:02 | 0.1935 | 311.5894 | -0.026 | 0.035 | 117.094 | 116.494 | 29.982
2007-08-20 19:02 | 0.215 | 311.6109 | -0.026 | 0.035 | 117.094 | 116.494 | 29.982
2007-08-20 19:02 | 0.2365 | 311.6324 | -0.026 | 0 | 117.059 | 116.459 | 29.98
2007-08-20 19:02 | 0.258 | 311.6539 | -0.026 | 0 | 117.059 | 116.459 | 29.98
2007-08-20 19:02 | 0.2795 | 311.6754 | -0.022 | 0.035 | 117.094 | 116.494 | 29.98
2007-08-20 19:02 | 0.301 | 311.6969 | -0.022 | 0 | 117.059 | 116.459 | 29.98
2007-08-20 19:02 | 0.3225 | 311.7184 | -0.026 | 0.035 | 117.094 | 116.494 | 29.98
2007-08-20 19:02 | 0.344 | 311.7399 | -0.026 | 0.035 | 117.094 | 116.494 | 29.98
2007-08-20 19:02 | 0.3655 | 311.7614 | -0.026 | 0.035 | 117.094 | 116.494 | 29.982
2007-08-20 19:02 | 0.387 | 311.7829 | -0.026 | 0 | 117.059 | 116.459 | 29.98
2007-08-20 19:02 | 0.4085 | 311.8044 | -0.026 | 0.035 | 117.094 | 116.494 | 29.98
2007-08-20 19:02 | 0.43 | 311.8259 | -0.022 | -0.071 | 116.988 | 116.388 | 29.978
2007-08-20 19:02 | 0.4522 | 311.8481 | 0.004 | -0.176 | 116.883 | 116.283 | 29.98
2007-08-20 19:02 | 0.4757 | 311.8716 | -0.004 | -0.176 | 116.883 | 116.283 | 29.98
2007-08-20 19:02 | 0.5005 | 311.8964 | -0.026 | -0.318 | 116.741 | 116.141 | 29.98
2007-08-20 19:02 | 0.5268 | 311.9227 | -0.03 | -0.282 | 116.777 | 116.177 | 29.978
2007-08-20 19:02 | 0.5548 | 311.9507 | -0.026 | -0.671 | 116.388 | 115.788 | 29.978
2007-08-20 19:02 | 0.5845 | 311.9804 | -0.022 | -0.671 | 116.388 | 115.788 | 29.978
2007-08-20 19:02 | 0.6158 | 312.0117 | -0.03 | -0.882 | 116.177 | 115.577 | 29.978
2007-08-20 19:02 | 0.649 | 312.0449 | -0.03 | -0.953 | 116.106 | 115.506 | 29.976
2007-08-20 19:02 | 0.6842 | 312.0801 | -0.03 | -1.129 | 115.93 | 115.33 | 29.978
2007-08-20 19:02 | 0.7215 | 312.1174 | -0.026 | -1.271 | 115.788 | 115.188 | 29.976
2007-08-20 19:02 | 0.761 | 312.1569 | -0.022 | -1.482 | 115.577 | 114.977 | 29.976
2007-08-20 19:02 | 0.8028 | 312.1987 | 0.004 | -1.694 | 115.365 | 114.765 | 29.974
2007-08-20 19:02 | 0.8472 | 312.2431 | -0.009 | -1.835 | 115.224 | 114.624 | 29.976
2007-08-20 19:02 | 0.8942 | 312.2901 | -0.06 | -2.118 | 114.941 | 114.341 | 29.976
2007-08-20 19:02 | 0.944 | 312.3399 | -0.022 | -2.329 | 114.73 | 114.13 | 29.974
2007-08-20 19:03 | 0.9967 | 312.3926 | -0.078 | -2.576 | 114.483 | 113.883 | 29.974
2007-08-20 19:03 | 1.0525 | 312.4484 | -0.026 | -2.823 | 114.236 | 113.636 | 29.974
2007-08-20 19:03 | 1.1117 | 312.5076 | -0.034 | -3.071 | 113.988 | 113.388 | 29.974
2007-08-20 19:03 | 1.1743 | 312.5702 | -0.034 | -3.388 | 113.671 | 113.071 | 29.972
2007-08-20 19:03 | 1.2407 | 312.6366 | -0.034 | -3.671 | 113.388 | 112.788 | 29.974
2007-08-20 19:03 | 1.311 | 312.7069 | -0.039 | -3.988 | 113.071 | 112.471 | 29.972
2007-08-20 19:03 | 1.3855 | 312.7814 | -0.103 | -4.306 | 112.753 | 112.153 | 29.97
2007-08-20 19:03 | 1.4645 | 312.8604 | -0.108 | -4.659 | 112.4 | 111.8 | 29.97
2007-08-20 19:03 | 1.5482 | 312.9441 | -0.052 | -5.047 | 112.012 | 111.412 | 29.97
2007-08-20 19:03 | 1.6367 | 313.0326 | -0.056 | -5.435 | 111.624 | 111.024 | 29.966
2007-08-20 19:03 | 1.7305 | 313.1264 | -0.06 | -5.859 | 111.2 | 110.6 | 29.968
2007-08-20 19:03 | 1.8298 | 313.2257 | -0.108 | -6.318 | 110.741 | 110.141 | 29.968
2007-08-20 19:03 | 1.9352 | 313.3311 | -0.065 | -6.777 | 110.282 | 109.682 | 29.968
2007-08-20 19:04 | 2.0467 | 313.4426 | -0.065 | -7.235 | 109.824 | 109.224 | 29.966
2007-08-20 19:04 | 2.1648 | 313.5607 | -0.069 | -7.765 | 109.294 | 108.694 | 29.966
2007-08-20 19:04 | 2.29 | 313.6859 | -0.065 | -8.294 | 108.765 | 108.165 | 29.964
2007-08-20 19:04 | 2.4225 | 313.8184 | -0.112 | -8.895 | 108.164 | 107.564 | 29.966
2007-08-20 19:04 | 2.563 | 313.9589 | -0.065 | -9.495 | 107.564 | 106.964 | 29.964
2007-08-20 19:04 | 2.7118 | 314.1077 | -0.073 | -10.165 | 106.894 | 106.294 | 29.962
2007-08-20 19:04 | 2.8693 | 314.2652 | -0.069 | -10.836 | 106.223 | 105.623 | 29.96
2007-08-20 19:05 | 3.0362 | 314.4321 | -0.069 | -11.507 | 105.552 | 104.952 | 29.962
2007-08-20 19:05 | 3.213 | 314.6089 | -0.03 | -12.213 | 104.846 | 104.246 | 29.968
2007-08-20 19:05 | 3.4003 | 314.7962 | -0.034 | -12.99 | 104.069 | 103.469 | 29.978
2007-08-20 19:05 | 3.5987 | 314.9946 | -0.034 | -13.802 | 103.257 | 102.657 | 29.982
2007-08-20 19:05 | 3.8088 | 315.2047 | -0.034 | -14.614 | 102.445 | 101.845 | 29.984
2007-08-20 19:06 | 4.0315 | 315.4274 | -0.034 | -15.567 | 101.492 | 100.892 | 29.988
2007-08-20 19:06 | 4.2673 | 315.6632 | -0.034 | -16.52 | 100.539 | 99.939 | 29.99
2007-08-20 19:06 | 4.5172 | 315.9131 | -0.039 | -17.544 | 99.515 | 98.915 | 29.992
2007-08-20 19:06 | 4.7818 | 316.1777 | -0.034 | -18.603 | 98.456 | 97.856 | 29.994
2007-08-20 19:07 | 5.0622 | 316.4581 | -0.039 | -19.698 | 97.361 | 96.761 | 29.998
2007-08-20 19:07 | 5.359 | 316.7549 | -0.034 | -20.863 | 96.196 | 95.596 | 30
2007-08-20 19:07 | 5.6735 | 317.0694 | -0.039 | -22.134 | 94.925 | 94.325 | 30
2007-08-20 19:08 | 6.0067 | 317.4026 | -0.039 | -23.476 | 93.583 | 92.983 | 30.002
2007-08-20 19:08 | 6.3595 | 317.7554 | -0.039 | -24.818 | 92.241 | 91.641 | 30.005
2007-08-20 19:08 | 6.7333 | 318.1292 | -0.039 | -26.231 | 90.828 | 90.228 | 30.007
2007-08-20 19:09 | 7.1293 | 318.5252 | -0.039 | -27.714 | 89.345 | 88.745 | 30.005
2007-08-20 19:09 | 7.5487 | 318.9446 | -0.043 | -29.233 | 87.826 | 87.226 | 30.007
2007-08-20 19:10 | 7.993 | 319.3889 | -0.043 | -30.857 | 86.202 | 85.602 | 30.007
2007-08-20 19:10 | 8.4637 | 319.8596 | -0.043 | -32.517 | 84.542 | 83.942 | 30.009
2007-08-20 19:10 | 8.9622 | 320.3581 | -0.043 | -34.248 | 82.811 | 82.211 | 30.009
2007-08-20 19:11 | 9.4902 | 320.8861 | -0.047 | -36.014 | 81.045 | 80.445 | 30.013
2007-08-20 19:12 | 10.0495 | 321.4454 | -0.052 | -37.922 | 79.137 | 78.537 | 30.011
2007-08-20 19:12 | 10.642 | 322.0379 | -0.052 | -39.9 | 77.159 | 76.559 | 30.013
2007-08-20 19:13 | 11.2695 | 322.6654 | -0.056 | -41.949 | 75.11 | 74.51 | 30.013
2007-08-20 19:13 | 11.9343 | 323.3302 | -0.06 | -43.928 | 73.131 | 72.531 | 30.013
2007-08-20 19:14 | 12.6385 | 324.0344 | -0.06 | -45.871 | 71.188 | 70.588 | 30.015
2007-08-20 19:15 | 13.3843 | 324.7802 | -0.065 | -47.85 | 69.209 | 68.609 | 30.013
2007-08-20 19:16 | 14.1743 | 325.5702 | -0.069 | -49.934 | 67.125 | 66.525 | 30.015
2007-08-20 19:17 | 15.0112 | 326.4071 | -0.078 | -52.055 | 65.004 | 64.404 | 30.015
2007-08-20 19:17 | 15.8977 | 327.2936 | -0.082 | -54.281 | 62.778 | 62.178 | 30.015
2007-08-20 19:18 | 16.8367 | 328.2326 | -0.091 | -56.614 | 60.445 | 59.845 | 30.015
2007-08-20 19:19 | 17.8313 | 329.2272 | -0.099 | -58.982 | 58.077 | 57.477 | 30.017
2007-08-20 19:20 | 18.8313 | 330.2272 | -0.108 | -61.279 | 55.78 | 55.18 | 30.015
2007-08-20 19:21 | 19.8313 | 331.2272 | -0.116 | -63.541 | 53.518 | 52.918 | 30.011
2007-08-20 19:22 | 20.8313 | 332.2272 | -0.125 | -65.733 | 51.326 | 50.726 | 30.015
2007-08-20 19:23 | 21.8313 | 333.2272 | -0.138 | -67.89 | 49.169 | 48.569 | 30.013
2007-08-20 19:24 | 22.8313 | 334.2272 | -0.151 | -69.975 | 47.084 | 46.484 | 30.015
2007-08-20 19:25 | 23.8313 | 335.2272 | -0.164 | -72.026 | 45.033 | 44.433 | 30.013
2007-08-20 19:26 | 24.8313 | 336.2272 | -0.177 | -74.183 | 42.876 | 42.276 | 30.013
2007-08-20 19:27 | 25.8313 | 337.2272 | -0.19 | -76.198 | 40.861 | 40.261 | 30.015
2007-08-20 19:28 | 26.8313 | 338.2272 | -0.207 | -78.179 | 38.88 | 38.28 | 30.015
2007-08-20 19:29 | 27.8313 | 339.2272 | -0.224 | -80.088 | 36.971 | 36.371 | 30.017
2007-08-20 19:30 | 28.8313 | 340.2272 | -0.237 | -81.927 | 35.132 | 34.532 | 30.017
2007-08-20 19:31 | 29.8313 | 341.2272 | -0.254 | -83.731 | 33.328 | 32.728 | 30.017
2007-08-20 19:32 | 30.8313 | 342.2272 | -0.267 | -85.499 | 31.56 | 30.96 | 30.017
2007-08-20 19:33 | 31.8313 | 343.2272 | -0.289 | -87.162 | 29.897 | 29.297 | 30.017
2007-08-20 19:34 | 32.8313 | 344.2272 | -0.302 | -88.789 | 28.27 | 27.67 | 30.019
2007-08-20 19:35 | 33.8313 | 345.2272 | -0.323 | -90.31 | 26.749 | 26.149 | 30.019
2007-08-20 19:36 | 34.8313 | 346.2272 | -0.341 | -91.831 | 25.228 | 24.628 | 30.019
2007-08-20 19:37 | 35.8313 | 347.2272 | -0.362 | -93.281 | 23.778 | 23.178 | 30.021
2007-08-20 19:38 | 36.8313 | 348.2272 | -0.379 | -94.732 | 22.327 | 21.727 | 30.021
2007-08-20 19:39 | 37.8313 | 349.2272 | -0.397 | -96.111 | 20.948 | 20.348 | 30.021
2007-08-20 19:40 | 38.8313 | 350.2272 | -0.414 | -97.385 | 19.674 | 19.074 | 30.021
2007-08-20 19:41 | 39.8313 | 351.2272 | -0.431 | -98.659 | 18.4 | 17.8 | 30.023
2007-08-20 19:42 | 40.8313 | 352.2272 | -0.448 | -99.897 | 17.162 | 16.562 | 30.021
2007-08-20 19:43 | 41.8313 | 353.2272 | -0.461 | -101.065 | 15.994 | 15.394 | 30.023
2007-08-20 19:44 | 42.8313 | 354.2272 | -0.474 | -102.197 | 14.862 | 14.262 | 30.025
2007-08-20 19:45 | 43.8313 | 355.2272 | -0.491 | -103.365 | 13.694 | 13.094 | 30.023
2007-08-20 19:46 | 44.8313 | 356.2272 | -0.513 | -104.426 | 12.633 | 12.033 | 30.023
2007-08-20 19:47 | 45.8313 | 357.2272 | -0.53 | -105.417 | 11.642 | 11.042 | 30.025
2007-08-20 19:48 | 46.8313 | 358.2272 | -0.543 | -106.478 | 10.581 | 9.981 | 30.025
2007-08-20 19:49 | 47.8313 | 359.2272 | -0.556 | -107.434 | 9.625 | 9.025 | 30.025
2007-08-20 19:50 | 48.8313 | 360.2272 | -0.573 | -108.319 | 8.74 | 8.14 | 30.025
2007-08-20 19:51 | 49.8313 | 361.2272 | -0.591 | -109.239 | 7.82 | 7.22 | 30.025
2007-08-20 19:52 | 50.8313 | 362.2272 | -0.608 | -110.159 | 6.9 | 6.3 | 30.025
2007-08-20 19:53 | 51.8313 | 363.2272 | -0.625 | -111.008 | 6.051 | 5.451 | 30.025
2007-08-20 19:54 | 52.8313 | 364.2272 | -0.638 | -111.822 | 5.237 | 4.637 | 30.025
2007-08-20 19:55 | 53.8313 | 365.2272 | -0.66 | -112.636 | 4.423 | 3.823 | 30.027
2007-08-20 19:56 | 54.8313 | 366.2272 | -0.677 | -113.273 | 3.786 | 3.186 | 30.027
2007-08-20 19:57 | 55.8313 | 367.2272 | -0.698 | -113.769 | 3.29 | 2.69 | 30.029
2007-08-20 19:58 | 56.8313 | 368.2272 | -0.711 | -114.441 | 2.618 | 2.018 | 30.031
2007-08-20 19:59 | 57.8313 | 369.2272 | -0.728 | -114.831 | 2.228 | 1.628 | 30.031
2007-08-20 20:00 | 58.8313 | 370.2272 | -0.741 | -115.468 | 1.591 | 0.991 | 30.031
2007-08-20 20:01 | 59.8313 | 371.2272 | -0.754 | -115.822 | 1.237 | 0.637 | 30.031
2007-08-20 20:02 | 60.8313 | 372.2272 | -0.785 | -115.787 | 1.272 | 0.672 | 30.035
2007-08-20 20:03 | 61.8313 | 373.2272 | -0.828 | -115.822 | 1.237 | 0.637 | 30.033
2007-08-20 20:04 | 62.8313 | 374.2272 | -0.871 | -115.787 | 1.272 | 0.672 | 30.033
2007-08-20 20:05 | 63.8313 | 375.2272 | -0.918 | -115.787 | 1.272 | 0.672 | 30.033
2007-08-20 20:06 | 64.8313 | 376.2272 | -0.966 | -115.787 | 1.272 | 0.672 | 30.035
2007-08-20 20:07 | 65.8313 | 377.2272 | -1.009 | -115.787 | 1.272 | 0.672 | 30.035
2007-08-20 20:08 | 66.8313 | 378.2272 | -1.052 | -115.751 | 1.308 | 0.708 | 30.035
2007-08-20 20:09 | 67.8313 | 379.2272 | -1.099 | -115.751 | 1.308 | 0.708 | 30.033
2007-08-20 20:10 | 68.8313 | 380.2272 | -1.147 | -115.751 | 1.308 | 0.708 | 30.033
2007-08-20 20:11 | 69.8313 | 381.2272 | -1.194 | -115.751 | 1.308 | 0.708 | 30.035
2007-08-20 20:12 | 70.8313 | 382.2272 | -1.233 | -115.751 | 1.308 | 0.708 | 30.035
2007-08-20 20:13 | 71.8313 | 383.2272 | -1.272 | -115.751 | 1.308 | 0.708 | 30.037
2007-08-20 20:14 | 72.8313 | 384.2272 | -1.31 | -115.716 | 1.343 | 0.743 | 30.035
2007-08-20 20:15 | 73.8313 | 385.2272 | -1.349 | -115.716 | 1.343 | 0.743 | 30.037
2007-08-20 20:16 | 74.8313 | 386.2272 | -1.379 | -115.716 | 1.343 | 0.743 | 30.037
2007-08-20 20:17 | 75.8313 | 387.2272 | -1.414 | -115.716 | 1.343 | 0.743 | 30.035
2007-08-20 20:18 | 76.8313 | 388.2272 | -1.44 | -115.716 | 1.343 | 0.743 | 30.037
2007-08-20 20:19 | 77.8313 | 389.2272 | -1.474 | -115.68 | 1.379 | 0.779 | 30.037
2007-08-20 20:20 | 78.8313 | 390.2272 | -1.5 | -115.68 | 1.379 | 0.779 | 30.037
2007-08-20 20:21 | 79.8313 | 391.2272 | -1.522 | -115.716 | 1.343 | 0.743 | 30.037
2007-08-20 20:22 | 80.8313 | 392.2272 | -1.543 | -115.68 | 1.379 | 0.779 | 30.039
2007-08-20 20:23 | 81.8313 | 393.2272 | -1.561 | -115.68 | 1.379 | 0.779 | 30.039
2007-08-20 20:24 | 82.8313 | 394.2272 | -1.582 | -115.68 | 1.379 | 0.779 | 30.039
2007-08-20 20:25 | 83.8313 | 395.2272 | -1.599 | -115.68 | 1.379 | 0.779 | 30.041
2007-08-20 20:26 | 84.8313 | 396.2272 | -1.617 | -115.68 | 1.379 | 0.779 | 30.041
2007-08-20 20:27 | 85.8313 | 397.2272 | -1.63 | -115.645 | 1.414 | 0.814 | 30.041
2007-08-20 20:28 | 86.8313 | 398.2272 | -1.643 | -115.645 | 1.414 | 0.814 | 30.043
2007-08-20 20:29 | 87.8313 | 399.2272 | -1.651 | -115.645 | 1.414 | 0.814 | 30.043
2007-08-20 20:30 | 88.8313 | 400.2272 | -1.664 | -115.645 | 1.414 | 0.814 | 30.043
2007-08-20 20:31 | 89.8313 | 401.2272 | -1.677 | -115.61 | 1.449 | 0.849 | 30.041
2007-08-20 20:32 | 90.8313 | 402.2272 | -1.681 | -115.61 | 1.449 | 0.849 | 30.043
2007-08-20 20:33 | 91.8313 | 403.2272 | -1.699 | -115.61 | 1.449 | 0.849 | 30.043
2007-08-20 20:34 | 92.8313 | 404.2272 | -1.707 | -115.61 | 1.449 | 0.849 | 30.043
2007-08-20 20:35 | 93.8313 | 405.2272 | -1.716 | -115.61 | 1.449 | 0.849 | 30.045
2007-08-20 20:36 | 94.8313 | 406.2272 | -1.72 | -115.61 | 1.449 | 0.849 | 30.045
2007-08-20 20:37 | 95.8313 | 407.2272 | -1.729 | -115.574 | 1.485 | 0.885 | 30.045
2007-08-20 20:38 | 96.8313 | 408.2272 | -1.737 | -115.574 | 1.485 | 0.885 | 30.047
2007-08-20 20:39 | 97.8313 | 409.2272 | -1.75 | -115.574 | 1.485 | 0.885 | 30.045
2007-08-20 20:40 | 98.8313 | 410.2272 | -1.759 | -115.574 | 1.485 | 0.885 | 30.045
2007-08-20 20:41 | 99.8313 | 411.2272 | -1.768 | -115.574 | 1.485 | 0.885 | 30.047
2007-08-20 20:42 | 100.8313 | 412.2272 | -1.78 | -115.574 | 1.485 | 0.885 | 30.049
2007-08-20 20:43 | 101.8313 | 413.2272 | -1.789 | -115.574 | 1.485 | 0.885 | 30.047
2007-08-20 20:44 | 102.8313 | 414.2272 | -1.793 | -115.539 | 1.52 | 0.92 | 30.047
2007-08-20 20:45 | 103.8313 | 415.2272 | -1.802 | -115.539 | 1.52 | 0.92 | 30.047
2007-08-20 20:46 | 104.8313 | 416.2272 | -1.806 | -115.539 | 1.52 | 0.92 | 30.049
2007-08-20 20:47 | 105.8313 | 417.2272 | -1.811 | -115.539 | 1.52 | 0.92 | 30.049
2007-08-20 20:48 | 106.8313 | 418.2272 | -1.815 | -115.539 | 1.52 | 0.92 | 30.051
2007-08-20 20:49 | 107.8313 | 419.2272 | -1.819 | -115.539 | 1.52 | 0.92 | 30.051
2007-08-20 20:50 | 108.8313 | 420.2272 | -1.828 | -115.503 | 1.556 | 0.956 | 30.051
2007-08-20 20:51 | 109.8313 | 421.2272 | -1.832 | -115.539 | 1.52 | 0.92 | 30.051
2007-08-20 20:52 | 110.8313 | 422.2272 | -1.837 | -115.503 | 1.556 | 0.956 | 30.051
2007-08-20 20:53 | 111.8313 | 423.2272 | -1.845 | -115.503 | 1.556 | 0.956 | 30.051
2007-08-20 20:54 | 112.8313 | 424.2272 | -1.849 | -115.503 | 1.556 | 0.956 | 30.053
2007-08-20 20:55 | 113.8313 | 425.2272 | -1.862 | -115.539 | 1.52 | 0.92 | 30.053
2007-08-20 20:56 | 114.8313 | 426.2272 | -1.862 | -115.539 | 1.52 | 0.92 | 30.053
2007-08-20 20:57 | 115.8313 | 427.2272 | -1.867 | -115.539 | 1.52 | 0.92 | 30.053
2007-08-20 20:58 | 116.8313 | 428.2272 | -1.875 | -115.539 | 1.52 | 0.92 | 30.055
2007-08-20 20:59 | 117.8313 | 429.2272 | -1.88 | -115.503 | 1.556 | 0.956 | 30.055
2007-08-20 21:00 | 118.8313 | 430.2272 | -1.884 | -115.503 | 1.556 | 0.956 | 30.055
2007-08-20 21:01 | 119.8313 | 431.2272 | -1.888 | -115.503 | 1.556 | 0.956 | 30.055
2007-08-20 21:02 | 120.8313 | 432.2272 | -1.893 | -115.503 | 1.556 | 0.956 | 30.055
2007-08-20 21:03 | 121.8313 | 433.2272 | -1.897 | -115.503 | 1.556 | 0.956 | 30.057
2007-08-20 21:04 | 122.8313 | 434.2272 | -1.901 | -115.503 | 1.556 | 0.956 | 30.039
=